## Year to Date
Ecofin |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2237061 | 2581090.7584 | -344029.7584 | -13.33% | 0 | 2237061 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 418250 | 390427.6237 | 27822.3763 | 7.126% |  | -23053.03
San Luis Valley | CO | 0 | 0 | 0 |  |  | 0
Golden NREL 2 | CO | 22181 | 22245.2058 | -64.2058 | -0.2886% |  | -6550.96
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  |  | 0
Pratt Solar Farm | KS | 1796630 | 2168417.929 | -371787.929 | -17.15% |  | -83098.04

## 1st Qtr
Ecofin |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 2107421 | 2460365.2047 | -352944.2047 | -14.35% | 2220161.3 | -112740.3 | -5.078%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 288610 | 269702.0699 | 18907.9301 | 7.011% | 311701.3 | -23091.3 | -7.408%
San Luis Valley | CO | 0 | 0 | 0 |  | 0 | 0
Golden NREL 2 | CO | 22181 | 22245.2058 | -64.2058 | -0.2886% | 28731.96 | -6550.96 | -22.8%
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  | 0 | 0
Pratt Solar Farm | KS | 1796630 | 2168417.929 | -371787.929 | -17.15% | 1879728.04 | -83098.04 | -4.421%

## 2nd Qtr
Ecofin |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 1126136.837 | 1267971.9095 | -141835.0725 | -11.19% | 1237372.96 | -111236.123 | -8.99%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 129640 | 120725.5538 | 8914.4462 | 7.384% | 129601.73 | 38.27 | 0.02953%
San Luis Valley | CO | 100708.837 | 0 | 100708.837 |  | 0 | 100708.837
Golden NREL 2 | CO | 12208 | 10993.1857 | 1214.8143 | 11.05% | 12899.28 | -691.28 | -5.359%
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  | 0 | 0
Pratt Solar Farm | KS | 883580 | 1136253.17 | -252673.17 | -22.24% | 1094871.95 | -211291.95 | -19.3%

## 3rd Qtr
Ecofin |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 0 | 0 | 0 |  |  | 0
San Luis Valley | CO | 0 | 0 | 0 |  |  | 0
Golden NREL 2 | CO | 0 | 0 | 0 |  |  | 0
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  |  | 0
Pratt Solar Farm | KS | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Ecofin |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 0 | 0 | 0 |  |  | 0
San Luis Valley | CO | 0 | 0 | 0 |  |  | 0
Golden NREL 2 | CO | 0 | 0 | 0 |  |  | 0
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  |  | 0
Pratt Solar Farm | KS | 0 | 0 | 0 |  |  | 0

## Jan
Ecofin |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 78991 | 79673 | -682 | -0.856% | 100783 | -21792 | -21.62% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO | 72896 | 73786 | -890 | -1.206% | 93005 | -20109 | -21.62% | 1. Inverter 1 is offline on 01/09, 01/10, 01/12, 01/17. | 1. SR080094
San Luis Valley | CO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicating from 04/22 | 1. SR077495
Golden NREL 2 | CO | 6095 | 5887 | 208 | 3.533% | 7778 | -1683 | -21.64% | 1. Inverter was barely produced on 1/13, 1/14 and 1/15 | 1. SR080235
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicating from 05/23/2022 | 1. SR079089
Pratt Solar Farm | KS

## Feb
Ecofin |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 911881 | 1076640.553 | -164759.553 | -15.3% | 944891.36 | -33010.36 | -3.494%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO | 100394 | 90505.5 | 9888.5 | 10.93% | 97813.3 | 2580.7 | 2.638%
San Luis Valley | CO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site stopped communicating from 04/22 | 1. SR077494
Golden NREL 2 | CO | 6597 | 7237.8 | -640.8 | -8.854% | 8862.2 | -2265.2 | -25.56%
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicating from 05/23/2022 | 1. SR079089
Pratt Solar Farm | KS | 804890 | 978897.253 | -174007.253 | -17.78% | 838215.86 | -33325.86 | -3.976% | 1.(A) Inverter 2 was taken offline by technician on 02/26/2024 at 13:30 to 15:00 & inverter 1 at 15:00 - 16:15. 1.(B) Inverter 2 tripped offline on 02/27/2024 at 15:48 & back online at 12:00 on 02/28/2024. | 1. SR081345

## Mar
Ecofin |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 1116549 | 1304051.6517 | -187502.6517 | -14.38% | 1174486.94 | -57937.94 | -4.933%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO | 115320 | 105410.5699 | 9909.4301 | 9.401% | 120883 | -5563 | -4.602%
San Luis Valley | CO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site stopped communicating from 04/22/20223 and communication regained on 04/03 | 1. SR077494
Golden NREL 2 | CO | 9489 | 9120.4058 | 368.5942 | 4.041% | 12091.76 | -2602.76 | -21.53%
Golden NREL Wind 3 | CO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicating from 05/23/2022 | 1. SR079089
Pratt Solar Farm | KS | 991740 | 1189520.676 | -197780.676 | -16.63% | 1041512.18 | -49772.18 | -4.779% | 1. Inverter 2 is derating, due to overheating 2 modules are offline | 1. SR081345

## Apr
Ecofin |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 1126136.837 | 1267971.9095 | -141835.0725 | -11.19% | 1237372.96 | -111236.123 | -8.99%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO | 129640 | 120725.5538 | 8914.4462 | 7.384% | 129601.73 | 38.27 | 0.02953%
San Luis Valley | CO | 100708.837 | 0 | 100708.837 |  | 0 | 100708.837
Golden NREL 2 | CO | 12208 | 10993.1857 | 1214.8143 | 11.05% | 12899.28 | -691.28 | -5.359%
Golden NREL Wind 3 | CO | 0 | 0 |  | 0% | 0 | 0 |  | 1. Site was not communicating from 05/23/2022 | 1. SR079089
Pratt Solar Farm | KS | 883580 | 1136253.17 | -252673.17 | -22.24% | 1094871.95 | -211291.95 | -19.3% | 1. Inverter 2 is derating, due to overheating 2 modules are offline 2. Site is offline from 04/17 to 04/19. | 1. SR081345 2. SR083483

## May
Ecofin |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Jun
Ecofin |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Jul
Ecofin |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Aug
Ecofin |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Sep
Ecofin |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Oct
Ecofin |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Nov
Ecofin |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Dec
Ecofin |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Alamosa School District | CO
San Luis Valley | CO
Golden NREL 2 | CO
Golden NREL Wind 3 | CO
Pratt Solar Farm | KS

## Sites
Portfolio: | Ecofin
Site DAS Name | Site | State | Update | DAS
003 - Alamosa School District | Alamosa School District | CO
002 - San Luis Valley Regional MC | San Luis Valley | CO
002 - NREL 2 | Golden NREL 2 | CO
004 - NREL Wind 3 | Golden NREL Wind 3 | CO
Kenyon Energy KS Solar | Pratt Solar Farm | KS