## sites
Monthly Site Performance Summary
Account: | Ameresco
Report's period: | 08/01/2024 - 08/31/2024
Sites: | Manually selected sites
# of sites: | 11
Generated on: | 09/09/2024 12:39
Site Information | [6 empty] | Open Alerts | Current Month |  |  | Previous Month |  |  | Same month last year |  |  | Previous twelve months
# | Site Name | Country | State | City | Installation Date | Peak Power (kWp) | Highest Alert Impact | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue
1 | NBHA Adams st | United States | Massachusetts | New Bedford | 12/01/2020 | 69.255 | 1 | 5784.2 | 83.5 |  | 6225.6 | 89.9 |  | 8179 | 118.1 |  | 55378.9 | 799.6
2 | NBHA Ben Rose | United States | Massachusetts | New Bedford | 03/03/2022 | 152.425 | 2 | 19151.2 | 125.6 |  | 19144.6 | 125.6 |  | 14634.4 | 96 |  | 162866.6 | 1068.5
3 | NBHA Brickenwood | United States | Massachusetts | New Bedford | 03/01/2022 | 572.325 | 6 | 70975.9 | 124 |  | 69558.6 | 121.5 |  | 62578.7 | 109.3 |  | 630401.7 | 1101.5
4 | NBHA Chaffee Fairfield | United States | Massachusetts | New Bedford | 07/29/2020 | 49.4 | 0 | 6499.7 | 131.6 |  | 6265.4 | 126.8 |  | 5857.5 | 118.6 |  | 57672.6 | 1167.5
5 | NBHA DeMedeiros | United States | Massachusetts | New Bedford | 01/10/2022 | 64.35 | 0 | 8507.6 | 132.2 |  | 7465.8 | 116 |  | 7146.6 | 111.1 |  | 55570.4 | 863.6
6 | NBHA Dottin Place 1 | United States | Massachusetts | New Bedford | 07/29/2020 | 88.4 | 0 | 10395.4 | 117.6 |  | 10209.7 | 115.5 |  | 9573.9 | 108.3 |  | 91885.4 | 1039.4
7 | NBHA Hillside | United States | Massachusetts | New Bedford | 06/28/2021 | 117 | 0 | 15231.8 | 130.2 |  | 14788.5 | 126.4 |  | 13945.4 | 119.2 |  | 134010.6 | 1145.4
8 | NBHA Presidential | United States | Massachusetts | New Bedford | 09/12/2021 | 468.65 | 2 | 48200.3 | 102.8 |  | 46524.7 | 99.3 |  | 39845.6 | 85 |  | 427151.4 | 911.5
9 | NBHA Satellite | United States | Massachusetts | New Bedford | 11/18/2021 | 169 | 2 | 12143.8 | 71.9 |  | 15800.6 | 93.5 |  | 19440.4 | 115 |  | 169928.8 | 1005.5
10 | NBHA Shawmut Village | United States | Massachusetts | New Bedford | 10/21/2020 | 443.625 | 5 | 32198.7 | 72.6 |  | 35433 | 79.9 |  | 44121.2 | 99.5 |  | 419713.3 | 946.1
11 | NBHA Westlawn | United States | Massachusetts | New Bedford | 03/03/2022 | 267.8 | 2 | 29070.9 | 108.6 |  | 28611.4 | 106.8 |  | 30166.7 | 112.6 |  | 270388.9 | 1009.7
Total | [5 empty] | 2462.23 |  | 258159.5 |  |  | 260027.9 |  |  | 255489.4 |  |  | 2474968.6

## Sheet1
Owner | Asset | Site Equipment | kW Down | Date | Description | Account Manager | Status | Pending | Priority | Summary | Request | D365 Project
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | 17 | 2024-05-17 13:33 | 5/17/24 - Satellite inverters 3,9,18 stopped communicating possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084812 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | 5 | 2024-05-17 13:29 | 5/17/24 - Shawmut inverter 52 has stopped communicating; possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084811 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | 23.4 | 2024-05-17 12:41 | 5/17/24 - Presidential inverters 18, 27 have stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084807 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | 21.8 | 2024-05-11 13:39 | 6/3/24 - invs 15 and 16 regained comms, invs 4 and 6 still have no comms. 5/11 - Westlawn inverters 4, 6, 15, 16 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR084580 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Adams St - 14 Adams St - Inverter 4 | 14.4 | 2023-08-31 14:53 | 10/16/23 - Inverter is still offline. 08/31/23 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075642 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Ben Rose - 26 Delano St - Inverter 16 | - | 2023-12-18 16:44 | 12/18 - Inverter 16 tripped offline on a DC isolation fault. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR079489 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 190 Harvard - Inverter 35 | 10 | 2023-07-11 13:59 | 10/17/23 - Inverter 35 is still offline 07/11/23 - Inverter 35 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073743 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 20 Malden - Inverter 20 | 7.5 | 2024-07-22 14:41 | 7/22/24 Inverter 20 tripped offline on 7/14, SolarEdge reporting inverter production issue. detected | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR087996
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 6 | 2024-03-04 12:55 | 3/4 - Inverter 46 at Brickenwood is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081555 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 7.6 | 2023-05-22 14:23 | 05/22/23 - Inverter 46 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071782 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 58 Yale - Inverter 49 | 5 | 2024-06-03 12:37 | 6/3/24 - inverter 49 stopped communicating on 5/25/24; possibly offline. | Diana Balayan | Pending | Pending Return Visit | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | SR085484 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Dottin Place 1 - Amanda Ave Bldg 5 (61) - Inverter 4 | 6 | 2023-07-07 04:52 | 07/07/2023 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073621 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 119 Fillmore St Bldg 9 - Inverter 21 | 9 ? | 2023-01-03 12:33 | 10/17/2023 - Issue still exists 4/3/23 - Issue still exists. 1/3/23 - Inverter 21 lost communications on 8/23/22. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR068143 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 310 Mt-Pleasant St Bldg 2 - Inverter 1 | 14.4 | 2024-03-04 12:57 | 3/4 - Inverter 1 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081556 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 100 Libra Dr - Inverter 12 | - | 2024-08-14 14:59 | 8/14/24 Inverter 12 stopped communicating on 8/7. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089037 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 104 Aries Dr - Inverter 13 | 5 | 2023-10-16 09:41 | 10/16/23 - While examining the quarterly production log it appears that inverter 13 at Satellite is not communicating (production can't be confirmed). | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077488 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 112 Aries Dr - Inverter 17 | - | 2024-08-14 15:00 | 8/14/24 Inverter 17 stopped communicating on 8/7. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089038 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 130 Virgo Dr - Inverter 20 | - | 2024-08-14 15:01 | 8/14/24 Inverter 20 stopped communicating on 8/8. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089039 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 131 Virgo Dr - Inverter 21 | - | 2024-08-14 15:02 | 8/14/24 Inverter 21 stopped communicating on 8/8. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089040 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 134 Virgo Dr - Inverter 22 | - | 2024-08-14 15:02 | 8/14/24 Inverter 22 stopped communicating on 8/8. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089041 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 63 Saturn Dr - Inverter 3 | - | 2024-08-14 15:05 | 8/14/24 Inverter 3 stopped communicating on 8/7. Production not confirmed | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR089042 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 85 Libra Dr - Inverter 9 | - | 2023-06-09 04:59 | 06/09/23 - Inverter 9 lost communication from 06/08/23. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072530
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 87 Libra Dr - Inverter 10 | 6 ? | 2023-06-15 12:50 | 10/16/23 - Inverter 10 is not communicating and production can't be confirmed. 06/15/23 - Inverter 10 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072700 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 90 Libra Dr - Inverter 11 | 6 | 2023-10-05 14:16 | 10/5/23 - Inverter 11 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR077287 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 102 Navaho CT - Inverter 53 | NBHA | 2024-04-19 12:53 | 4/18 - Shawmut Inverter 53 is not communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083628 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 103 Navaho CT - Inverter 27 | 5 ? | 2023-03-21 15:31 | 4/3/23 - Still an issue. 3/21/23 - Inverter not communicating. Last status was Sleeping at 3:22am on 3/20. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR069980
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 105 Navaho CT - Inverter 46 | 5 | 2024-04-19 12:51 | 4/19 - Inverter 46 is not communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083627 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 109 Navaho CT - Inverter 40 | - | 2024-07-26 15:15 | 7/26/24 Inverter 40 stopped communicating on 7/19. Production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR088285
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 111 Mashpee CT - Inverter 49 | 6 | 2023-10-17 03:39 | 10/17/23 - Inverter 49 is not communicating from 07/09, possibly offline | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077517 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 116 Mashpee CT - Inverter 23 | - | 2024-07-26 15:13 | 7/26/24 Inverter 23 stopped communicating on 7/19. Production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR088284
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 117 Mashpee CT - Inverter 22 | 6 | 2024-07-22 14:51 | 7/22/24 Inverter 22 did not start up on 7/16 and lost comms on 7/20. Solar Edge reporting production issue detected | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR087998
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 119 Mashpee CT - Inverter 56 | Inverter Comms | 2024-07-26 15:18 | 7/26/24 Inverter 56 stopped communicating on 7/19. Production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR088286
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 121 Mashpee CT - Inverter 25 | 7.6 | 2023-08-09 12:46 | 10/17/2023 - Inverter is still not reporting, possibly offline 8/9 - Inverter 25 stopped communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074887 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 131 Dakota CT - Inverter 38 | - | 2024-07-15 15:29 | 7/15/24 Inverter 38 stopped communicating on 7/6/24, production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087728
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 135 Dakota CT - Inverter 12 | - | 2024-03-01 14:56 | 3/1 - Inverter 12 lost communications; production cannot be confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081505 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 138 Dakota CT (Now 149 Dakota CT) - Inverter 52 | 5 | 2024-06-28 14:51 | 6/28/24 Inverter 52 is not communicating since 4/21, possibly offline | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087105
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 155 Gay Head CT - Inverter 33 | - | 2024-07-15 15:27 | 7/15/24 Inverter 33 stopped communicating on 7/6/24, production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087727
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 157 Gay Head CT - Inverter 51 | 7 | 2023-04-25 14:19 | 4/25 - Shawmut Village inverter 51 no comms today. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071089
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 161 Gay Head CT - Inverter 54 | - | 2023-09-08 12:40 | 7/3/2024 - Inverter stopped communicating 6/26/24 10/17/2023 - Inverter is communicating from 10/03 9/8 - Inverter stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075876 | 1006999.001
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 21 Mohawk CT - Inverter 8 | - | 2023-11-07 12:49 | 11/7 - Inverter 8 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR078119 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 45 Cherokee CT - Inverter 37 | 6 | 2023-07-13 12:37 | 10/17/2023 - Inverter is still not communicating from 07/10, possibly offline 7/13 - Inverter 37 stopped communicating, possibly offline. S/N: 73086310-EE | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR073825 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 59 Apache CT - Inverter 32 | 5 | 2024-05-11 13:37 | 5/10 - Inverter 32 lost comms again. Inverter has a history of comms losses - see SR071733 for prior history. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR084579 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 63 Apache CT - Inverter 42 | 5 | 2023-05-09 14:11 | 10/17/2023 - Inverter is still not communicating from 05/07, possibly offline 5/9 - Inverter 42 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071467 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 67 Apache CT - Inverter 48 | 7.6 | 2023-04-21 12:34 | 10/17/2023 - Inverter is still not communicating from 04/11, possibly offline 4/21 - Inverter 48 stopped communicating. | Diana Balayan | Pending |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR070992 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 70 Apache CT - Inverter 14 | - | 2024-07-24 14:09 | 7/25/24 Inverter 14 stopped communicating 7/17. Production not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR088121
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 22 - Inverter 12 | - | 2024-07-16 13:22 | 7/16/24 Inverter 12 stopped communicating on 7/6/24. Production is not confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087778
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 38 - Inverter 30 | - | 2024-07-02 13:01 | 7/2/24: Inverter 30 stopped communicating on 6/14, cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087283
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 45 - Inverter 23 | 10 | 2024-02-20 14:04 | 2/20/24 - Inverter 23 stopped communicating; cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081129 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 7 - Inverter 4 | - | 2024-07-02 13:00 | 7/2/24: Inverter 4 stopped communicating on 5/2, cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR087282
Total