## Year to Date
Accel International |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 709114.5401 | 0 | 709114.5401 | 0% | 752746.46 | -43631.9199 | -5.796%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Meriden - Accel International | CT | 709114.5401 | 0 | 709114.5401 |  | 752746.46 | -43631.9199 | -5.796%

## 1st Qtr
Accel International |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 141080.5997 | 0 | 141080.5997 | 0% | 142896.26 | -1815.6603 | -1.271%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Meriden - Accel International | CT | 141080.5997 | 0 | 141080.5997 |  | 142896.26 | -1815.6603 | -1.271%

## 2nd Qtr
Accel International |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 231713.1801 | 0 | 231713.1801 | 0% | 262600.02 | -30886.8399 | -11.76%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Meriden - Accel International | CT | 231713.1801 | 0 | 231713.1801 |  | 262600.02 | -30886.8399 | -11.76%

## 3rd Qtr
Accel International |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 203796.0595 | 0 | 203796.0595 | 0% | 241577.81 | -37781.7505 | -15.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Meriden - Accel International | CT | 203796.0595 | 0 | 203796.0595 |  | 241577.81 | -37781.7505 | -15.64%

## 4th Qtr
Accel International |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 132524.7008 | 0 | 132524.7008 | 0% | 105672.37 | 26852.3308 | 25.41%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Meriden - Accel International | CT | 132524.7008 | 0 | 132524.7008 |  | 105672.37 | 26852.3308 | 25.41%

## Jan
Accel International |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 19139.5597 | 0 | 19139.5597 | 0% | 34815 | -15675.4403 | -45.02%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 19139.5597 | 0 | 19139.5597 |  | 34815 | -15675.4403 | -45.02% | 1. Inverter 3 was offline from 10/28 to till. 2. Inverter 14 is underperforming 10kW compared to its peers. | 1. SR077823 2. SR076525

## Feb
Accel International |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 50980.2201 | 0 | 50980.2201 | 0% | 44165.46 | 6814.7601 | 15.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 50980.2201 | 0 | 50980.2201 |  | 44165.46 | 6814.7601 | 15.43%

## Mar
Accel International |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 70960.82 | 0 | 70960.82 | 0% | 63915.8 | 7045.02 | 11.02%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 70960.82 | 0 | 70960.82 |  | 63915.8 | 7045.02 | 11.02%

## Apr
Accel International |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 70271.5097 | 0 | 70271.5097 | 0% | 78936.59 | -8665.0803 | -10.98%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 70271.5097 | 0 | 70271.5097 |  | 78936.59 | -8665.0803 | -10.98%

## May
Accel International |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 81286.4804 | 0 | 81286.4804 | 0% | 88787.03 | -7500.5496 | -8.448%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 81286.4804 | 0 | 81286.4804 |  | 88787.03 | -7500.5496 | -8.448% | 1.Inverter 7 underperforming by 3kW since 5/2/24 and increased to 6kW from 05/24/24 | 1. SR084518

## Jun
Accel International |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 80155.19 | 0 | 80155.19 | 0% | 94876.4 | -14721.21 | -15.52%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 80155.19 | 0 | 80155.19 |  | 94876.4 | -14721.21 | -15.52% | 1.Inverter 13 was tripped offline at 12:15 on 06/05 and back online at 10:30 on 06/14. 2.Inverter 14 was offline from 06/08 throughout the month | 1. SR085588 2.SR085759

## Jul
Accel International |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 76379.0897 | 0 | 76379.0897 | 0% | 93041.95 | -16662.8603 | -17.91%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 76379.0897 | 0 | 76379.0897 |  | 93041.95 | -16662.8603 | -17.91% | 1. Inverter 14 was offline since 06/08. 2. Inverter 12 was offline from 07/02 throughout the month. | 1. SR085759. 2. SR087305.

## Aug
Accel International |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 68623.2204 | 0 | 68623.2204 | 0% | 83435.84 | -14812.6196 | -17.75%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 68623.2204 | 0 | 68623.2204 |  | 83435.84 | -14812.6196 | -17.75% | 1. Inverter 14 was offline since 06/08. 2. Inverter 12 was offline from 07/02 throughout the month. | 1. SR085759. 2. SR087305.

## Sep
Accel International |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 58793.7494 | 0 | 58793.7494 | 0% | 65100.02 | -6306.2706 | -9.687%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 58793.7494 | 0 | 58793.7494 |  | 65100.02 | -6306.2706 | -9.687% | 1. Inverter 12 was offline from 07/02 and back online at 11:45EDT on 09/06. 2. Inverter 15 tripped offline from 10:45 to 12 and from 12:45 to 14:45 on 09/06/2024. 3. Inverter 9 was offline from 09/23 throught out the month. 4.Inverter 14 was offline since 06/08. | 1. SR087305, SR089907. 2. SR090065. 3. SR091076. 4.SR085759.

## Oct
Accel International |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 56134.3208 | 0 | 56134.3208 | 0% | 48428.93 | 7705.3908 | 15.91%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 56134.3208 | 0 | 56134.3208 |  | 48428.93 | 7705.3908 | 15.91% | 1. Inverter 9 was offline since 09/23. 2.Inverter 14 was offline since 06/08. 3.Inverter 7 tripped offline at 14:00 on 10/14 and came back online at 10:30AM on 10/15 and again tripped offline again at 13:45 on 10/15 and back online on 08:00AM and again tripped offline at 13:45 on 10/17 and came back online at 14:00 on 10/18. | 1.SR091076 2.SR085759 3.SR092128

## Nov
Accel International |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 43937.6298 | 0 | 43937.6298 | 0% | 30311.22 | 13626.4098 | 44.96%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 43937.6298 | 0 | 43937.6298 |  | 30311.22 | 13626.4098 | 44.96% | 1. Inverter 9 was offline since 09/23. 2.Inverter 14 was offline since 06/08. | 1.SR091076 2.SR085759

## Dec
Accel International |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 32452.7503 | 0 | 32452.7503 | 0% | 26932.22 | 5520.5302 | 20.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Meriden - Accel International | CT | 32452.7503 | 0 | 32452.7503 |  | 26932.22 | 5520.5302 | 20.5% | 1. Inverter 9 was offline since 09/23. 2.Inverter 14 was offline since 06/08. | 1.SR091076 2.SR085759

## Sites
Portfolio: | Accel International
Site DAS Name | Site | State | Update | DAS
Accel International | CT: Meriden - Accel International | CT | AF | PowerTrack