## Year to Date
Catalyze |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 49362691.0335 | 43179518.691 | 6183172.3425 | 14.32% | 48681915.605 | 680775.4285 | 1.398%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Fresno - 3150 Shaw Ave | CA | 1029662.4375 | 1072060.767 | -42398.3295 | -3.955% | 1167191.363 | -137528.9255 | -11.78%
Adelanto - 1 Sheep Creek Road | CA | 5280566.19 | 5130002.58 | 150563.61 | 2.935% | 8986935.39 | -3706369.2 | -41.24%
Blackstone - 83 Federal Street | MA | 16885203.3 | 7308718.8 | 9576484.5 | 131% | 7811283.6 | 9073919.7 | 116.2%
Charlton - 299 Worcester Road | MA | 582660.5 | 639489.55 | -56829.05 | -8.887% | 626129.81 | -43469.31 | -6.943%
Wareham - 8 Thatcher Drive | MA | 165632.125 | 179301.982 | -13669.857 | -7.624% | 179170.737 | -13538.612 | -7.556%
West Yarmouth - 42 Mid Tech | MA | 143668.2915 | 157663.828 | -13995.5365 | -8.877% | 171983.381 | -28315.0895 | -16.46%
Harrison - 130 Union Street | NY | 237156.5625 | 272504.656 | -35348.0935 | -12.97% | 258431.514 | -21274.9515 | -8.232%
Staten Island - Ellis Storage | NY | 554187.75 | 618861.86 | -64674.11 | -10.45% | 591044.77 | -36857.02 | -6.236%
Amherst - 595 Scholles Road | NY | 7759075 | 8227853.77 | -468778.77 | -5.697% | 9175848.4 | -1416773.4 | -15.44%
Lancaster 1 - Gunnville Road | NY | 6057243 | 7096748.546 | -1039505.546 | -14.65% | 6967750.41 | -910507.41 | -13.07%
Lancaster 2 - Shisler Road | NY | 6094074 | 7634930.924 | -1540856.924 | -20.18% | 7621934.98 | -1527860.98 | -20.05%
Fullerton - 200 W Orangethorpe | CA | 1155239.8135 | 1212410.838 | -57171.0245 | -4.715% | 1312554.41 | -157314.5965 | -11.99%
El Paso - 10500 Railroad Drive | TX | 1415610.25 | 1498990.69 | -83380.44 | -5.562% | 1538051.95 | -122441.7 | -7.961%
Friona - 900 Millard Ave | TX | 1133368.75 | 1212003.21 | -78634.46 | -6.488% | 1303844.31 | -170475.56 | -13.07%
Augusta - 13 York Farm Road | ME | 453391.0625 | 513181.7 | -59790.6375 | -11.65% | 480340.7 | -26949.6375 | -5.611%
Santa Ana - 1441 West | CA | 186716.2198 | 159386.29 | 27329.9298 | 17.15% | 231076.38 | -44360.1602 | -19.2%
Jessup -7950 Oceano Ave | MD | 229235.7812 | 245408.7 | -16172.9188 | -6.59% | 258343.5 | -29107.7188 | -11.27%

## 1st Qtr
Catalyze |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 5923301.1 | 7368149.323 | -1444848.223 | -19.61% | 8460490.51 | -2537189.41 | -29.99%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Fresno - 3150 Shaw Ave | CA | 192358.5656 | 190192.12 | 2166.4456 | 1.139% | 217612.88 | -25254.3144 | -11.61%
Adelanto - 1 Sheep Creek Road | CA | 698121 | 899827.54 | -201706.54 | -22.42% | 1896484.45 | -1198363.45 | -63.19%
Blackstone - 83 Federal Street | MA | 1021429 | 1250983.5 | -229554.5 | -18.35% | 1492708.3 | -471279.3 | -31.57%
Charlton - 299 Worcester Road | MA | 106387.5 | 122897.92 | -16510.42 | -13.43% | 124156.29 | -17768.79 | -14.31%
Wareham - 8 Thatcher Drive | MA | 26732.625 | 32689.431 | -5956.806 | -18.22% | 36054.829 | -9322.204 | -25.86%
West Yarmouth - 42 Mid Tech | MA | 21092.2942 | 26594.646 | -5502.3518 | -20.69% | 27861.181 | -6768.8868 | -24.3%
Harrison - 130 Union Street | NY | 38110 | 49114.896 | -11004.896 | -22.41% | 46444.25 | -8334.25 | -17.94%
Staten Island - Ellis Storage | NY | 90871.75 | 116168.46 | -25296.71 | -21.78% | 102799.02 | -11927.27 | -11.6%
Amherst - 595 Scholles Road | NY | 1004650 | 1305937.17 | -301287.17 | -23.07% | 1513702 | -509052 | -33.63%
Lancaster 1 - Gunnville Road | NY | 993680 | 1203596.5 | -209916.5 | -17.44% | 1025700 | -32020 | -3.122%
Lancaster 2 - Shisler Road | NY | 951657 | 1317386.2 | -365729.2 | -27.76% | 1119615.1 | -167958.1 | -15%
Fullerton - 200 W Orangethorpe | CA | 228387.8652 | 237208.44 | -8820.5748 | -3.718% | 268566.67 | -40178.8048 | -14.96%
El Paso - 10500 Railroad Drive | TX | 302499.25 | 350397.5 | -47898.25 | -13.67% | 330854.97 | -28355.72 | -8.57%
Friona - 900 Millard Ave | TX | 247324.25 | 265155 | -17830.75 | -6.725% | 257930.57 | -10606.32 | -4.112%
Augusta - 13 York Farm Road | ME | 0 | 0 | 0 |  | 0 | 0
Santa Ana - 1441 West | CA | 0 | 0 | 0 |  | 0 | 0
Jessup -7950 Oceano Ave | MD | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
Catalyze |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 12687067.2893 | 13892911.39 | -1205844.1007 | -8.68% | 16400042.04 | -3712974.7507 | -22.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Fresno - 3150 Shaw Ave | CA | 362194.6219 | 382377.8 | -20183.1781 | -5.278% | 392007.1 | -29812.4781 | -7.605%
Adelanto - 1 Sheep Creek Road | CA | 1292585 | 1527342 | -234757 | -15.37% | 2950734 | -1658149 | -56.19%
Blackstone - 83 Federal Street | MA | 2014135 | 2344243.4 | -330108.4 | -14.08% | 2445554.4 | -431419.4 | -17.64%
Charlton - 299 Worcester Road | MA | 189047.25 | 198845.99 | -9798.74 | -4.928% | 206105.8 | -17058.55 | -8.277%
Wareham - 8 Thatcher Drive | MA | 57729.125 | 59578.27 | -1849.145 | -3.104% | 59234.58 | -1505.455 | -2.542%
West Yarmouth - 42 Mid Tech | MA | 55410.9076 | 59560.35 | -4149.4424 | -6.967% | 61214.37 | -5803.4624 | -9.481%
Harrison - 130 Union Street | NY | 82236.0625 | 88062.58 | -5826.5175 | -6.616% | 87265.51 | -5029.4475 | -5.763%
Staten Island - Ellis Storage | NY | 191765.875 | 207822.32 | -16056.445 | -7.726% | 204052.08 | -12286.205 | -6.021%
Amherst - 595 Scholles Road | NY | 2867321 | 2878595.31 | -11274.31 | -0.3917% | 3401178 | -533857 | -15.7%
Lancaster 1 - Gunnville Road | NY | 2083516 | 2359960.67 | -276444.67 | -11.71% | 2540431.6 | -456915.6 | -17.99%
Lancaster 2 - Shisler Road | NY | 2235309 | 2491591.1 | -256282.1 | -10.29% | 2787145.4 | -551836.4 | -19.8%
Fullerton - 200 W Orangethorpe | CA | 354761.1973 | 367438.7 | -12677.5027 | -3.45% | 393892.4 | -39131.2027 | -9.934%
El Paso - 10500 Railroad Drive | TX | 503296.5 | 500389.6 | 2906.9 | 0.5809% | 463380.8 | 39915.7 | 8.614%
Friona - 900 Millard Ave | TX | 397759.75 | 427103.3 | -29343.55 | -0.068704 | 407846 | -10086.25 | -0.024731
Augusta - 13 York Farm Road | ME | 0 | 0 | 0 |  | 0 | 0
Santa Ana - 1441 West | CA | 0 | 0 | 0 |  | 0 | 0
Jessup -7950 Oceano Ave | MD | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Catalyze |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 24556373.3647 | 13338415.565 | 11217957.7997 | 84.1% | 16091335.063 | 8465038.3017 | 52.61%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Fresno - 3150 Shaw Ave | CA | 327335.75 | 356125.757 | -28790.007 | -8.084% | 356900.593 | -29564.843 | -8.284%
Adelanto - 1 Sheep Creek Road | CA | 2114215 | 1461106.78 | 653108.22 | 44.7% | 2614830 | -500615 | -19.15%
Blackstone - 83 Federal Street | MA | 13578462.9 | 2158752.5 | 11419710.4 | 529% | 2524794.7 | 11053668.2 | 437.8%
Charlton - 299 Worcester Road | MA | 177889.25 | 187940.82 | -10051.57 | -5.348% | 193805.18 | -15915.93 | -8.212%
Wareham - 8 Thatcher Drive | MA | 53263.1875 | 56020.57 | -2757.3825 | -4.922% | 56817.75 | -3554.5625 | -6.256%
West Yarmouth - 42 Mid Tech | MA | 48266.4314 | 50053.63 | -1787.1986 | -3.571% | 59052.35 | -10785.9186 | -18.27%
Harrison - 130 Union Street | NY | 76723.875 | 84368.2 | -7644.325 | -9.061% | 84686.16 | -7962.285 | -9.402%
Staten Island - Ellis Storage | NY | 176827.75 | 197643.68 | -20815.93 | -10.53% | 192599.3 | -15771.55 | -8.189%
Amherst - 595 Scholles Road | NY | 2877859 | 2974616.59 | -96757.59 | -3.253% | 3227692.3 | -349833.3 | -10.84%
Lancaster 1 - Gunnville Road | NY | 1949345 | 2223602.676 | -274257.676 | -12.33% | 2521779.91 | -572434.91 | -22.7%
Lancaster 2 - Shisler Road | NY | 2002886 | 2352331.324 | -349445.324 | -14.86% | 2763271.98 | -760385.98 | -27.52%
Fullerton - 200 W Orangethorpe | CA | 365346.001 | 377445.998 | -12099.997 | -3.206% | 407532.61 | -42186.609 | -10.35%
El Paso - 10500 Railroad Drive | TX | 316759 | 332052.47 | -15293.47 | -4.606% | 440187.4 | -123428.4 | -28.04%
Friona - 900 Millard Ave | TX | 250550.375 | 284730.52 | -34180.145 | -12% | 393920.8 | -143370.425 | -36.4%
Augusta - 13 York Farm Road | ME | 175245 | 177556.3 | -2311.3 | -1.302% | 179724.4 | -4479.4 | -2.492%
Santa Ana - 1441 West | CA | 65398.8448 | 64067.75 | 1331.0948 | 2.078% | 73739.63 | -8340.7852 | -11.31%
Jessup -7950 Oceano Ave | MD | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Catalyze |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 6195949.2796 | 8580042.413 | -2384093.1334 | -27.79% | 7730047.992 | -1534098.7124 | -19.85%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Fresno - 3150 Shaw Ave | CA | 147773.5 | 143365.09 | 4408.41 | 3.075% | 200670.79 | -52897.29 | -26.36%
Adelanto - 1 Sheep Creek Road | CA | 1175645.19 | 1241726.26 | -66081.07 | -5.322% | 1524886.94 | -349241.75 | -22.9%
Blackstone - 83 Federal Street | MA | 271176.4 | 1554739.4 | -1283563 | -82.56% | 1348226.2 | -1077049.8 | -79.89%
Charlton - 299 Worcester Road | MA | 109336.5 | 129804.82 | -20468.32 | -15.77% | 102062.54 | 7273.96 | 7.127%
Wareham - 8 Thatcher Drive | MA | 27907.1875 | 31013.711 | -3106.5235 | -10.02% | 27063.578 | 843.6095 | 3.117%
West Yarmouth - 42 Mid Tech | MA | 18898.6583 | 21455.202 | -2556.5437 | -11.92% | 23855.48 | -4956.8217 | -20.78%
Harrison - 130 Union Street | NY | 40086.625 | 50958.98 | -10872.355 | -21.34% | 40035.594 | 51.031 | 0.1275%
Staten Island - Ellis Storage | NY | 94722.375 | 97227.4 | -2505.025 | -2.576% | 91594.37 | 3128.005 | 3.415%
Amherst - 595 Scholles Road | NY | 1009245 | 1068704.7 | -59459.7 | -5.564% | 1033276.1 | -24031.1 | -2.326%
Lancaster 1 - Gunnville Road | NY | 1030702 | 1309588.7 | -278886.7 | -21.3% | 879838.9 | 150863.1 | 17.15%
Lancaster 2 - Shisler Road | NY | 904222 | 1473622.3 | -569400.3 | -38.64% | 951902.5 | -47680.5 | -5.009%
Fullerton - 200 W Orangethorpe | CA | 206744.75 | 230317.7 | -23572.95 | -10.23% | 242562.73 | -35817.98 | -14.77%
El Paso - 10500 Railroad Drive | TX | 293055.5 | 316151.12 | -23095.62 | -7.305% | 303628.78 | -10573.28 | -3.482%
Friona - 900 Millard Ave | TX | 237734.375 | 235014.39 | 2719.985 | 1.157% | 244146.94 | -6412.565 | -2.627%
Augusta - 13 York Farm Road | ME | 278146.0625 | 335625.4 | -57479.3375 | -17.13% | 300616.3 | -22470.2375 | -7.475%
Santa Ana - 1441 West | CA | 121317.375 | 95318.54 | 25998.835 | 27.28% | 157336.75 | -36019.375 | -22.89%
Jessup -7950 Oceano Ave | MD | 229235.7812 | 245408.7 | -16172.9188 | -6.59% | 258343.5 | -29107.7188 | -11.27%

## Jan
Catalyze |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 592532.4922 | 833649.635 | -241117.1428 | -28.92% | 1493236.849 | -900704.3568 | -60.32% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 40368.4375 | 39837.75 | 530.6875 | 1.332% | 48161.71 | -7793.2725 | -16.18% | 1.Inverter 5 tripped offline on 01/19/2024 at 12:30 & back online at 14:00. | 1.SR080353
Adelanto - 1 Sheep Creek Road | CA | 80417 | 352340 | -271923 | -77.18% | 479912 | -399495 | -83.24% | 1. Site frequently experiencing outages due to its ongoing curtailment by CAISO | 1. SR077480, SR079342
Blackstone - 83 Federal Street | MA | 106968 | 0 | 106968 |  | 352931.5 | -245963.5 | -69.69% | 1. SIte was offline from 01/15/2024 - 01/17/2024. | 1. SR080251
Charlton - 299 Worcester Road | MA | 11889 | 21739.23 | -9850.23 | -45.31% | 32151.25 | -20262.25 | -63.02% | 1. Site was offline on 01/27/2024 & back online on 01/29/2024. | 1. SR080523
Wareham - 8 Thatcher Drive | MA | 5780.1687 | 7080.061 | -1299.8923 | -18.36% | 8785.329 | -3005.1603 | -34.21%
West Yarmouth - 42 Mid Tech | MA | 4426.7571 | 5459.478 | -1032.7209 | -18.92% | 6769.56 | -2342.8029 | -34.61%
Harrison - 130 Union Street | NY | 5693.0625 | 9025.686 | -3332.6235 | -36.92% | 10708.14 | -5015.0775 | -46.83%
Staten Island - Ellis Storage | NY | 12897.375 | 21330.59 | -8433.215 | -39.54% | 23412.4 | -10515.025 | -44.91%
Amherst - 595 Scholles Road | NY | 99935 | 131383.6 | -31448.6 | -23.94% | 286492 | -186557 | -65.12% | 1. Site tripped offlline at 01/31/2024 at 09:30 & back online at 11:41. 2. Inverter 1 was offline on 01/10/2024 & back online at 01/11/2024 at 16:30. | 1.SR080616 2. SR080129
Lancaster 1 - Gunnville Road | NY
Lancaster 2 - Shisler Road | NY
Fullerton - 200 W Orangethorpe | CA | 66219.8789 | 65950.86 | 269.0189 | 0.4079% | 75151.27 | -8931.3911 | -11.88%
El Paso - 10500 Railroad Drive | TX | 94436.375 | 110748.9 | -16312.525 | -14.73% | 95880.07 | -1443.695 | -1.506%
Friona - 900 Millard Ave | TX | 63501.4375 | 68753.48 | -5252.0425 | -7.639% | 72881.62 | -9380.1825 | -12.87% | 1. Inverter 6 tripping on & off throught out the month. 2. Inverter 7 has tripping event on 01/12,1/14,1/16,1/19. | 1. SR074295 2. SR079995
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## Feb
Catalyze |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 2118917.295 | 2947649.778 | -828732.483 | -28.12% | 2750893.591 | -631976.296 | -22.97% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 58842.25 | 57965.88 | 876.37 | 1.512% | 67323.77 | -8481.52 | -12.6% | 1. Inverter 5 tripped offline most of the days. | 1. SR080353
Adelanto - 1 Sheep Creek Road | CA | 300982 | 344128.54 | -43146.54 | -12.54% | 597256.79 | -296274.79 | -49.61% | 1. Expected data was not populated for multiple days due to a weather station issue. 2. Inverter 4 turned offline on 02/23 & continued. 3. Site frequently experiencing outages due to its ongoing curtailment by CAISO | 1. SR081023 2. SR081269 3. SR081208
Blackstone - 83 Federal Street | MA | 371405 | 591797.9 | -220392.9 | -37.24% | 474063.7 | -102658.7 | -21.66% | 1. Inverter tripped offline on 02/23/2024 & back online on 02/26/2024. | 1. SR081287
Charlton - 299 Worcester Road | MA | 41404 | 47717.86 | -6313.86 | -13.23% | 31813.95 | 9590.05 | 30.14% | 1. Inverter 1 is offline from 02/05 to 02/14 & tripped offline from 02/20 at 10:30 & back online on 02/26 at 16:30. 2. Inverter 13 tripping on and off during high irradiance days. | 1.SR080728 2. SR081303
Wareham - 8 Thatcher Drive | MA | 7001.2688 | 11238.1 | -4236.8312 | -37.7% | 11253.3 | -4252.0312 | -37.78%
West Yarmouth - 42 Mid Tech | MA | 4449.0054 | 8729.468 | -4280.4626 | -49.03% | 7749.511 | -3300.5056 | -42.59%
Harrison - 130 Union Street | NY | 10644.0445 | 17668.44 | -7024.3955 | -39.76% | 14230.04 | -3585.9955 | -25.2%
Staten Island - Ellis Storage | NY | 28780.5 | 41920.19 | -13139.69 | -31.34% | 28582.98 | 197.52 | 0.691%
Amherst - 595 Scholles Road | NY | 238762 | 462549 | -223787 | -48.38% | 462796 | -224034 | -48.41% | 1. Inverter 2 tripping on & off on 02/03 & 02/04 & continued offline from 02/05 to 02/28. 2. Site was taken offline on 02/27/2023 at 12:53 & back online on 02/28. | 1. SR080713 2. SR081369
Lancaster 1 - Gunnville Road | NY | 422356 | 522536.7 | -100180.7 | -19.17% | 381411.8 | 40944.2 | 10.73% | 1. Site tripped offline on 02/10 & back online on 02/12 at 15:15. | 1.SR080915
Lancaster 2 - Shisler Road | NY | 393093 | 577373.1 | -184280.1 | -31.92% | 412202.9 | -19109.9 | -4.636% | 1. Site tripped offline on 02/10 & back online on 02/12 at 15:15. 2. Inverter 4.4 is offline on 02/18 and back online next day. 3. Inverter 4.4 was derating on multiple days this month due to a fan fault... 3. Inverters 3.1 through 3.6, and inverters 3.8 through 3.10 started derating on 02/25 & continued. | 1. SR080916 2. SR081087 3. SR081047 4. SR081344
Fullerton - 200 W Orangethorpe | CA | 64169.3512 | 65724.88 | -1555.5288 | -2.367% | 81499 | -17329.6488 | -21.26%
El Paso - 10500 Railroad Drive | TX | 102707.75 | 113239.9 | -10532.15 | -9.301% | 101578.9 | 1128.85 | 1.111%
Friona - 900 Millard Ave | TX | 74321.125 | 85059.82 | -10738.695 | -12.62% | 79130.95 | -4809.825 | -6.078% | 1. Inverter 6 tripping on & off throught out the month. | 1.SR074295
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## Mar
Catalyze |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 3211851.3128 | 3586849.91 | -374998.5972 | -10.45% | 4216360.07 | -1004508.7572 | -23.82% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 93147.8781 | 92388.49 | 759.3881 | 0.822% | 102127.4 | -8979.5219 | -8.792% | 1. Site was offline on 03/20 between 10:50am to 12:15pm 2. Inverter 5 has tripping events on daily bases | 1. SR082279 2. SR082780
Adelanto - 1 Sheep Creek Road | CA | 316722 | 203359 | 113363 | 55.75% | 819315.66 | -502593.66 | -61.34% | 1. Weather station reporting zero from 03/01 and resolved on 03/20 at 13:00 due to that expected energy is low 2. Sit was offline on 03/27 between 08:00am to 12:00 pm 3. Inverter 4 is offline throughout the month, breaker need to be replaced | 1. SR081023 2. SR082819 3. SR081269
Blackstone - 83 Federal Street | MA | 543056 | 659185.6 | -116129.6 | -17.62% | 665713.1 | -122657.1 | -18.42% | 1. Inverter tripped offline on 03/24 at 12:00pm and back online on 03/25 at 10:15am | 1. SR082618
Charlton - 299 Worcester Road | MA | 53094.5 | 53440.83 | -346.33 | -0.6481% | 60191.09 | -7096.59 | -11.79%
Wareham - 8 Thatcher Drive | MA | 13951.1875 | 14371.27 | -420.0825 | -2.923% | 16016.2 | -2065.0125 | -12.89%
West Yarmouth - 42 Mid Tech | MA | 12216.5316 | 12405.7 | -189.1684 | -1.525% | 13342.11 | -1125.5784 | -8.436%
Harrison - 130 Union Street | NY | 21772.893 | 22420.77 | -647.877 | -2.89% | 21506.07 | 266.823 | 1.241%
Staten Island - Ellis Storage | NY | 49193.875 | 52917.68 | -3723.805 | -7.037% | 50803.64 | -1609.765 | -3.169%
Amherst - 595 Scholles Road | NY | 665953 | 712004.57 | -46051.57 | -6.468% | 764414 | -98461 | -12.88%
Lancaster 1 - Gunnville Road | NY | 571324 | 681059.8 | -109735.8 | -16.11% | 644288.2 | -72964.2 | -11.32% | 1. Site tripped offline on 03/10 at 17:30 and back online on 03/11 at 11:00am 2. Site tripped offline on 03/13 at 12:25pm and back online on 03/14 at 08:35am | 1. SR081733 2. SR081870
Lancaster 2 - Shisler Road | NY | 558564 | 740013.1 | -181449.1 | -24.52% | 707412.2 | -148848.2 | -21.04% | 1. Inverters 3.1 to 3.10 are derating from 02/26 to 03/09. 2. Site tripped offline, Voltages available at the meter. Possible main breaker trip at 12:15 on 03/13 and back online at 8:30 on 03/14. | 1. SR081344 2. SR081871
Fullerton - 200 W Orangethorpe | CA | 97998.635 | 105532.7 | -7534.065 | -7.139% | 111916.4 | -13917.765 | -12.44% | 1. Inverter 3 is derating on sunny days resolved on 03/26 2. Site was offline on 03/13 between 08:30am to 09:15 | 1. SR081571 2. SR081844
El Paso - 10500 Railroad Drive | TX | 105355.125 | 126408.7 | -21053.575 | -16.66% | 133396 | -28040.875 | -21.02% | 1. Site tripped offline due to missing "Phase A voltages" at 11:45 on 03/17 and back online at 10:30 on 03/25. | 1. SR081970
Friona - 900 Millard Ave | TX | 109501.6875 | 111341.7 | -1840.0125 | -1.653% | 105918 | 3583.6875 | 3.383% | 1. Inverter 6 tripping on & off on 03/05, 03/18, 03/25, 03/26. | 1. SR074295
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## Apr
Catalyze |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 3586730.2794 | 4172026.29 | -585296.0106 | -14.03% | 4897603.03 | -1310872.7506 | -26.77% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 110443.9344 | 110570.8 | -126.8656 | -0.1147% | 119130.8 | -8686.8656 | -7.292% | 1. Inverter 5 has tripping events on daily bases. | 1. SR082780
Adelanto - 1 Sheep Creek Road | CA | 402561 | 693821 | -291260 | -41.98% | 898384 | -495823 | -55.19% | 1. Inverter 4 is offline throughout the month, breaker need to be replaced | 1. SR081269
Blackstone - 83 Federal Street | MA | 606024 | 680455.2 | -74431.2 | -10.94% | 770475.3 | -164451.3 | -21.34%
Charlton - 299 Worcester Road | MA | 56399 | 57742.91 | -1343.91 | -2.327% | 70885.53 | -14486.53 | -20.44% | 1. Inverter 6 tripped offline on 04/28 at 6:30AM and back online on 04/28 at 7:45am | 1. SR083896
Wareham - 8 Thatcher Drive | MA | 16925.875 | 17111.19 | -185.315 | -1.083% | 18394.93 | -1469.055 | -7.986%
West Yarmouth - 42 Mid Tech | MA | 16282.5227 | 16635.1 | -352.5773 | -2.119% | 18770.49 | -2487.9673 | -13.25%
Harrison - 130 Union Street | NY | 21737.375 | 23442.16 | -1704.785 | -7.272% | 26207.47 | -4470.095 | -17.06% | 1. Site was offline from 13:15 to 15:00 on 04/29. 2. Site is offline on 04/03 at 18:45 and back online on 9:30am on 04/05 and again offline on 04/07 10:00am and back online on 04/07 at 12:30pm. | 1. SR083973 2. SR082599
Staten Island - Ellis Storage | NY | 56581 | 60019.33 | -3438.33 | -5.729% | 60619.51 | -4038.51 | -6.662%
Amherst - 595 Scholles Road | NY | 718270 | 768638 | -50368 | -6.553% | 953051 | -234781 | -24.63% | 1. Site tripped offline on 04/09 at 17:52 and back online on 04/10 at 16:00 2. Site tripped offline on 04/17 at 10:52 and back online on 12:00pm | 1. SR083278 2. SR083540
Lancaster 1 - Gunnville Road | NY | 557874 | 635837.5 | -77963.5 | -12.26% | 746890.6 | -189016.6 | -25.31% | 1. Inverter 1.3 is offline on 04/08 and back online on 04/08 at 15:15 2. All inverters tripped offline at 15:02 on 04/19 and back online on 04/22 at 8:30am | 1. SR083167 2. SR083639
Lancaster 2 - Shisler Road | NY | 609258 | 678559.1 | -69301.1 | -10.21% | 820159.4 | -210901.4 | -25.71% | 1. All inverters tripped offline at 15:02 on 04/19 and back online on 04/22 at 8:30am | 1. SR083640
Fullerton - 200 W Orangethorpe | CA | 118417.1973 | 125423.7 | -7006.5027 | -5.586% | 121841.4 | -3424.2027 | -2.81% | 1. Site is offline on 04/13 at 21:00 on 04/13/2024 and back online on 04/13 at 23:00. | 1. SR083388
El Paso - 10500 Railroad Drive | TX | 160423.625 | 160278.5 | 145.125 | 0.09055% | 148074 | 12349.625 | 8.34% | 1. Inverter 6 tripping on and off on 04/02, 04/06, 04/20, 04/22, 04/27, 04/29 & 04/30 with fault "Fault to stop DC wrong polarity." | 1. SR083891
Friona - 900 Millard Ave | TX | 135532.75 | 143491.8 | -7959.05 | -5.547% | 124718.6 | 10814.15 | 8.671% | 1. Inverter 6 tripping on & off 04/12, 04/14, 04/17, 04/18, 04/20, 04/21 & 04/27 | 1. SR074295
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## May
Catalyze |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 4754643.5405 | 4977329.46 | -222685.9195 | -4.474% | 5677264.59 | -922621.0495 | -16.25% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 129623.4375 | 138492 | -8868.5625 | -6.404% | 137316 | -7692.5625 | -5.602%
Adelanto - 1 Sheep Creek Road | CA | 444296 | 486481 | -42185 | -8.671% | 998170 | -553874 | -55.49%
Blackstone - 83 Federal Street | MA | 667886 | 782886.8 | -115000.8 | -14.69% | 818352.4 | -150466.4 | -18.39% | 1. Site tripped offline at 15:15 on 05/15 and back online at 18:00 on 05/19. | 1. SR084815
Charlton - 299 Worcester Road | MA | 63015.5 | 66192.48 | -3176.98 | -4.8% | 69886.66 | -6871.16 | -9.832%
Wareham - 8 Thatcher Drive | MA | 19262.5 | 19740.83 | -478.33 | -2.423% | 20442.38 | -1179.88 | -5.772%
West Yarmouth - 42 Mid Tech | MA | 18404.1693 | 19706.43 | -1302.2607 | -6.608% | 20391.91 | -1987.7407 | -9.748%
Harrison - 130 Union Street | NY | 28316.3125 | 29728.98 | -1412.6675 | -4.752% | 30348.96 | -2032.6475 | -6.698%
Staten Island - Ellis Storage | NY | 63332.7462 | 67493.26 | -4160.5138 | -6.164% | 69978.38 | -6645.6338 | -9.497%
Amherst - 595 Scholles Road | NY | 1116729 | 1058881.31 | 57847.69 | 5.463% | 1200817 | -84088 | -7.003%
Lancaster 1 - Gunnville Road | NY | 849171 | 904354.17 | -55183.17 | -6.102% | 894596 | -45425 | -5.078% | 1. Site tripped offline at 16:15 on 05/22 and back online at 08:45AM on 05/23. | 1. SR085032
Lancaster 2 - Shisler Road | NY | 919274 | 954343 | -35069 | -3.675% | 981722 | -62448 | -6.361% | 1. Inverter 4.7 tripped offline at 14:53 on 05/03 additionally it stopped communicating, later data got backfilled and issue resolved on 05/15. 2. Inverter 4.7 tripped offline at 14:30 on 05/19 and back online at 07:00AM on 05/20 inverter tripped offline at 13:15 on 05/20 and back online at 07:00AM on 05/21 inverter again tripped offline at 14:00 on 05/26 and back online at 07:00AM on 05/27. 3. Site tripped offline at 16:15 on 05/22 and back online at 08:45AM on 05/23. 4. Inverter 3.2 tripped offline at 13:15 on 05/26 and back online at 15:30 on 5/29. | 1. SR084244 2. SR084914 3. SR085033 4. SR085171
Fullerton - 200 W Orangethorpe | CA | 113363 | 113261 | 102 | 0.09006% | 135181 | -21818 | -16.14%
El Paso - 10500 Railroad Drive | TX | 184602.875 | 182605.6 | 1997.275 | 1.094% | 160947.4 | 23655.475 | 14.7% | 1. Inverter 6 is offline from 08:00AM to 13:00 on 05/08. | 1. SR083891
Friona - 900 Millard Ave | TX | 137367 | 153162.6 | -15795.6 | -10.31% | 139114.5 | -1747.5 | -1.256% | 1. Site is offline from 13:00 to 14:45 on 05/16 and again site is offline 10:00AM from 12:15PM on 05/22 but inverters still not communicating. | 1. SR084785
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## Jun
Catalyze |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 4345693.4694 | 4743555.64 | -397862.1706 | -8.387% | 5825174.42 | -1479480.9506 | -25.4% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 122127.25 | 133315 | -11187.75 | -8.392% | 135560.3 | -13433.05 | -9.909%
Adelanto - 1 Sheep Creek Road | CA | 445728 | 347040 | 98688 | 28.44% | 1054180 | -608452 | -57.72% | 1.Weather station stopped communicating from 06/21 at 10:00 throghout the month | 1.SR086598
Blackstone - 83 Federal Street | MA | 740225 | 880901.4 | -140676.4 | -15.97% | 856726.7 | -116501.7 | -13.6% | 1. Meter was replaced on 06/14. 2. Site tripped offline at 11:30 on 06/26 and back online at 16:23 on same day | 1. SR084901 2. SR086820
Charlton - 299 Worcester Road | MA | 69632.75 | 74910.6 | -5277.85 | -7.046% | 65333.61 | 4299.14 | 6.58%
Wareham - 8 Thatcher Drive | MA | 21540.75 | 22726.25 | -1185.5 | -5.216% | 20397.27 | 1143.48 | 5.606%
West Yarmouth - 42 Mid Tech | MA | 20724.2156 | 23218.82 | -2494.6044 | -10.74% | 22051.97 | -1327.7544 | -6.021% | 1. Inverter 1 was offline on 06/16 and back online on 06/17 | 1. SR086284
Harrison - 130 Union Street | NY | 32182.375 | 34891.44 | -2709.065 | -7.764% | 30709.08 | 1473.295 | 4.798%
Staten Island - Ellis Storage | NY | 71852.1288 | 80309.73 | -8457.6012 | -10.53% | 73454.19 | -1602.0612 | -2.181% | 1. Inverter 2 primary unit was offline from 06/06 and was being RMA'd | 1. SR085732
Amherst - 595 Scholles Road | NY | 1032322 | 1051076 | -18754 | -1.784% | 1247310 | -214988 | -17.24% | 1. SEL relay opened at 22:30 and was remotely reclosed at 23:00 on 06/28 | 1. SR083540
Lancaster 1 - Gunnville Road | NY | 676471 | 819769 | -143298 | -17.48% | 898945 | -222474 | -24.75% | 1. Site tripped offline at 11:30 on 06/27 due to utility outage and was still offline | 1. SR087032
Lancaster 2 - Shisler Road | NY | 706777 | 858689 | -151912 | -17.69% | 985264 | -278487 | -28.27% | 1. Site tripped offline at 11:30 on 06/27 due to utility outage and was still offline 2. Inverters 3.6, 3.10, 4.5 and 4.7 are derating compared to peers thorughout the month from 06/13 | 1. SR087033 2. SR086289, SR086502
Fullerton - 200 W Orangethorpe | CA | 122981 | 128754 | -5773 | -4.484% | 136870 | -13889 | -10.15% | 1. Inverter 2 tripped offline at 13:07 on 06/29 and back online on 06/30 | 1. SR087133
El Paso - 10500 Railroad Drive | TX | 158270 | 157505.5 | 764.5 | 0.4854% | 154359.4 | 3910.6 | 2.533% | 1. Inverter 6 tripping on and off throughout the month | 1. SR083891
Friona - 900 Millard Ave | TX | 124860 | 130448.9 | -5588.9 | -4.284% | 144012.9 | -19152.9 | -13.3%
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## Jul
Catalyze |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 10168856.2742 | 4695360.013 | 5473496.2612 | 116.6% | 5873579.602 | 4295276.6722 | 73.13% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 115895.75 | 130968.021 | -15072.271 | -11.51% | 131600.289 | -15704.539 | -11.93% | 1.Inverter 2 is underproducing compared to its rated capacity on 7/25 2. Inverters 1, 5, 6, 7 are down strings. 100kW inverters producing roughly 60-65 kW through out the month | 1.SR088244 2.SR088370
Adelanto - 1 Sheep Creek Road | CA | 537972 | 424045 | 113927 | 26.87% | 950229 | -412257 | -43.39% | 1.Weather station stopped communicating from 06/21 at 10:00 and not communicated till 07/03 | 1.SR086598
Blackstone - 83 Federal Street | MA | 6510624 | 790280.4 | 5720343.6 | 723.8% | 914785.3 | 5595838.7 | 611.7% | 1.Inverter tripped offline from 7/16 at 11:15AM and back online on 7/17 at 07:30AM | 1.SR087755
Charlton - 299 Worcester Road | MA | 65183.75 | 69391.77 | -4208.02 | -6.064% | 67724.03 | -2540.28 | -3.751%
Wareham - 8 Thatcher Drive | MA | 19338 | 20306.2 | -968.2 | -4.768% | 20720.27 | -1382.27 | -6.671%
West Yarmouth - 42 Mid Tech | MA | 18250.4612 | 19901.52 | -1651.0588 | -8.296% | 22751.73 | -4501.2688 | -19.78%
Harrison - 130 Union Street | NY | 29157 | 32679.73 | -3522.73 | -10.78% | 32407.31 | -3250.31 | -10.03% | 1.Inverter 3 started to underperform by 15kW through out the month. | 1.SR087481
Staten Island - Ellis Storage | NY | 68730.75 | 75949.18 | -7218.43 | -9.504% | 73790.26 | -5059.51 | -6.857% | 1.Inverter 2 primary unit was offline from 06/06 and was being RMA'd | 1.SR085732
Amherst - 595 Scholles Road | NY | 1215073 | 1252059 | -36986 | -2.954% | 1284779 | -69706 | -5.426%
Lancaster 1 - Gunnville Road | NY | 603967 | 719584.66 | -115617.66 | -16.07% | 922070.49 | -318103.49 | -34.5% | 1.Site tripped offline from 06/27 at 11:30 due to utility outage and back online on 7/9 at 16:45. | 1.SR087032
Lancaster 2 - Shisler Road | NY | 565331 | 718700.599 | -153369.599 | -21.34% | 1010220.65 | -444889.65 | -44.04% | 1.Site tripped offline from 06/27 at 11:30 due to utility outage and back online on 7/10 at 19:30. 2.Inverters 3.6, 3.10, 4.5 and 4.7 are derating compared to peers thorughout the month from 06/13 | 1.SR087033 2. SR086289, SR088216
Fullerton - 200 W Orangethorpe | CA | 125670.813 | 140511.833 | -14841.02 | -10.56% | 145309.173 | -19638.36 | -13.51%
El Paso - 10500 Railroad Drive | TX | 161467.25 | 159590.3 | 1876.95 | 1.176% | 152764.1 | 8703.15 | 5.697% | 1.Inverter 6 having multilpe tripping events | 1.SR088483
Friona - 900 Millard Ave | TX | 132195.5 | 141391.8 | -9196.3 | -6.504% | 144428 | -12232.5 | -8.47% | 1.Inverter 6 has a history of tripping intermittently 2.Inverter 2 tripped offline from 7/20 at 14:45 through out the month | 1.SR087629 2.SR087961
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## Aug
Catalyze |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 10206865.794 | 4550188.792 | 5656677.002 | 124.3% | 5433447.141 | 4773418.653 | 87.85% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 118176.875 | 123432.136 | -5255.261 | -4.258% | 127023.464 | -8846.589 | -6.965% | 1.Site offline from 12:00 to 13:00 | 1.SR089164
Adelanto - 1 Sheep Creek Road | CA | 896073 | 594050.18 | 302022.82 | 50.84% | 907237.63 | -11164.63 | -1.231% | 1. Inverters 12, 14, 16, and 19 have been RMA’d. Weather station stopped communications on 08/22 and regained communications on 08/27 | 1 SR089438
Blackstone - 83 Federal Street | MA | 6508477 | 751944.1 | 5756532.9 | 765.6% | 867226 | 5641251 | 650.5% | 1.Site tripped offline from 09:45AM to 18:00PM on 8/27 | 1.SR089606
Charlton - 299 Worcester Road | MA | 58878.25 | 62942.85 | -4064.6 | -6.458% | 65777.84 | -6899.59 | -10.49% | 1.Inverter 12 tripped offline at 11:45 from 8/17 and back online on 8/19 | 1. SR089195
Wareham - 8 Thatcher Drive | MA | 18908.75 | 19888.56 | -979.81 | -4.927% | 19571.71 | -662.96 | -3.387%
West Yarmouth - 42 Mid Tech | MA | 17724.5435 | 17631.99 | 92.5535 | 0.5249% | 20351.46 | -2626.9165 | -12.91%
Harrison - 130 Union Street | NY | 25807.4375 | 28003.88 | -2196.4425 | -7.843% | 28652.64 | -2845.2025 | -9.93%
Staten Island - Ellis Storage | NY | 57841.375 | 65548.18 | -7706.805 | -11.76% | 63963.51 | -6122.135 | -9.571% | 1.Inverter 2 back online on 8/13 at 12:30. 2.Inverter 7 offline on 8/4 | 1.SR085732 2.SR088588
Amherst - 595 Scholles Road | NY | 914981 | 945249.87 | -30268.87 | -3.202% | 1107868 | -192887 | -17.41% | 1. Site was tripped offline on 08/05 at 07:00am and back online at 09:00am on 08/05 | 1. SR088603
Lancaster 1 - Gunnville Road | NY | 633199 | 793351.616 | -160152.616 | -20.19% | 858359.02 | -225160.02 | -26.23% | 1.Site offline from 8/13 at 12:15 and back online on 8/16 at 14:45. | 1.SR088990
Lancaster 2 - Shisler Road | NY | 705750 | 876216.325 | -170466.325 | -19.45% | 941132.53 | -235382.53 | -25.01% | 1.Inverter 04.6 has started derating on 8/4 from 13:00 and is producing only 45kW. 2.Inverter 3.6 is underperforming by 15 Kw 3.Inverter 4.6, 4.8 are being RMAD | 1.SR088597 2. SR089161 3. SR088420
Fullerton - 200 W Orangethorpe | CA | 136080.188 | 130392.365 | 5687.823 | 4.362% | 140568.937 | -4488.749 | -3.193% | 1.Site had a brief outage from 23:45 on 08/06 to 00:02 on 08/07. | 1.SR088714
El Paso - 10500 Railroad Drive | TX | 65442.75 | 71995.97 | -6553.22 | -9.102% | 151100.7 | -85657.95 | -56.69% | 1. Site tripped offline at 11:55 from 8/14 due to on going roof fire investigations. Per Catalyze the site is to remain off | 1.SR089036
Friona - 900 Millard Ave | TX | 49525.625 | 69540.77 | -20015.145 | -28.78% | 134613.7 | -85088.075 | -63.21% | 1.Inverter 2 back online on 08/05 2.Inverter 4 being RMAD 3.Site is offline. Meter has voltage - possible main breaker trip. Per Catalyze the site is to remain off from 08/14 | 1.SR087961 2.SR088579 3.SR089026
Augusta - 13 York Farm Road | ME
Santa Ana - 1441 West | CA
Jessup -7950 Oceano Ave | MD

## Sep
Catalyze |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 4180651.2964 | 4092866.76 | 87784.5364 | 2.145% | 4784308.32 | -603657.0236 | -12.62% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 93263.125 | 101725.6 | -8462.475 | -8.319% | 98276.84 | -5013.715 | -5.102%
Adelanto - 1 Sheep Creek Road | CA | 680170 | 443011.6 | 237158.4 | 53.53% | 757363.37 | -77193.37 | -10.19% | 1. Inverters 6 and 13 are offline from 10/16 inverter 6 is back online on 10/21 and inverter 13 back online on 10/29 | 1. SR092228
Blackstone - 83 Federal Street | MA | 559361.9 | 616528 | -57166.1 | -9.272% | 742783.4 | -183421.5 | -24.69% | 1. Inverters tripped offline at 11:30am and back online at 14:15am on 09/09. | 1. SR090037.
Charlton - 299 Worcester Road | MA | 53827.25 | 55606.2 | -1778.95 | -3.199% | 60303.31 | -6476.06 | -10.74%
Wareham - 8 Thatcher Drive | MA | 15016.4375 | 15825.81 | -809.3725 | -5.114% | 16525.77 | -1509.3325 | -9.133%
West Yarmouth - 42 Mid Tech | MA | 12291.4267 | 12520.12 | -228.6933 | -1.827% | 15949.16 | -3657.7333 | -22.93%
Harrison - 130 Union Street | NY | 21759.4375 | 23684.59 | -1925.1525 | -8.128% | 23626.21 | -1866.7725 | -7.901%
Staten Island - Ellis Storage | NY | 50255.625 | 56146.32 | -5890.695 | -10.49% | 54845.53 | -4589.905 | -8.369%
Amherst - 595 Scholles Road | NY | 747805 | 777307.72 | -29502.72 | -3.796% | 835045.3 | -87240.3 | -10.45%
Lancaster 1 - Gunnville Road | NY | 712179 | 710666.4 | 1512.6 | 0.2128% | 741350.4 | -29171.4 | -3.935%
Lancaster 2 - Shisler Road | NY | 731805 | 757414.4 | -25609.4 | -3.381% | 811918.8 | -80113.8 | -9.867% | 1. Inverter 4.8 are being RMAD | 1. SR088420
Fullerton - 200 W Orangethorpe | CA | 103595 | 106541.8 | -2946.8 | -2.766% | 121654.5 | -18059.5 | -14.84%
El Paso - 10500 Railroad Drive | TX | 89849 | 100466.2 | -10617.2 | -10.57% | 136322.6 | -46473.6 | -34.09% | 1. Site tripped offline at 11:55 from 8/14 and is back online on 09/12. 2. Inverter 6 is having tripping issue from 09/20 and inverter being RMAD from 10/01. | 1. SR089036. 2. SR090993.
Friona - 900 Millard Ave | TX | 68829.25 | 73797.95 | -4968.7 | -6.733% | 114879.1 | -46049.85 | -40.09% | 1. Site tripped offline at 12:30 from 8/14 and is back online on 09/10. 2. Inverter 4 being RMAD 3. Inverter 6 is having tripping issue from 09/23. | 1. SR089026. 2. SR088579, SR090275. 3. SR091081.
Augusta - 13 York Farm Road | ME | 175245 | 177556.3 | -2311.3 | -1.302% | 179724.4 | -4479.4 | -2.492%
Santa Ana - 1441 West | CA | 65398.8448 | 64067.75 | 1331.0948 | 2.078% | 73739.63 | -8340.7852 | -11.31%
Jessup -7950 Oceano Ave | MD

## Oct
Catalyze |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 3118893.8389 | 3900092.66 | -781198.8211 | -20.03% | 3455426.42 | -336532.5811 | -9.739% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 65772.8172 | 69341.71 | -3568.8928 | -5.147% | 89199.55 | -23426.7328 | -26.26%
Adelanto - 1 Sheep Creek Road | CA | 325155.19 | 520859.43 | -195704.24 | -37.57% | 598929.86 | -273774.67 | -45.71% | 1. Inverters 6 and 13 are offline from 10/16, inverter 6 back online on 10/21, inverter 14 is being RMA'd from 10/28 and inverter 13 and 14 are back online on 10/29. 2. BOM temperature sensor reporting zero value from 10/18. 3. Site appears to be curtailed. The site is not reaching past 370 kW on 10/30 and Curtailment period has ended at 2:15PM on 10/30 | 1. SR092228 2. SR092324 3. SR092807
Blackstone - 83 Federal Street | MA | 252743 | 624897.2 | -372154.2 | -59.55% | 578684.6 | -325941.6 | -56.32% | 1. Inverter tripped offline at 11:00 AM from 10/15 through out the month | 1.SR092161
Charlton - 299 Worcester Road | MA | 53585 | 54004.93 | -419.93 | -0.7776% | 44160.56 | 9424.44 | 21.34%
Wareham - 8 Thatcher Drive | MA | 13329.25 | 14614.66 | -1285.41 | -8.795% | 12814.24 | 515.01 | 4.019%
West Yarmouth - 42 Mid Tech | MA | 10083.027 | 10303.93 | -220.903 | -2.144% | 11188.85 | -1105.823 | -9.883%
Harrison - 130 Union Street | NY | 20126.375 | 23942.07 | -3815.695 | -15.94% | 17598.99 | 2527.385 | 14.36%
Staten Island - Ellis Storage | NY | 47060.625 | 48562.54 | -1501.915 | -3.093% | 41106.87 | 5953.755 | 14.48%
Amherst - 595 Scholles Road | NY | 594632 | 508137.8 | 86494.2 | 17.02% | 504807.8 | 89824.2 | 17.79% | 1. Site taken offline on 10/21 at 18:00 approximately 1hour 2. Inverter 1 under performance. Previous thermal flight attached, but there are likely more strings offline | 1. SR092384 2. SR092466
Lancaster 1 - Gunnville Road | NY | 607271 | 717300 | -110029 | -15.34% | 497052.2 | 110218.8 | 22.17% | 1. Site offline from 10/23 and back onine at 08:00AM on 10/25. 2.Site was taken offline from 10:45AM to 12:30PM on 10/17 for transformer work. | 1. SR092464 2. SR092035
Lancaster 2 - Shisler Road | NY | 636011 | 809279.2 | -173268.2 | -21.41% | 542837.9 | 93173.1 | 17.16% | 1. Site offline from 10/23 and back onine at 08:00AM on 10/25 | 1. SR092465
Fullerton - 200 W Orangethorpe | CA | 86851.375 | 94171.76 | -7320.385 | -7.773% | 99851.99 | -13000.615 | -13.02%
El Paso - 10500 Railroad Drive | TX | 122042.8047 | 149453.3 | -27410.4953 | -18.34% | 124795.5 | -2752.6953 | -2.206% | 1. Inverter 6 is offline on 10/30. 2. Inverter 3 is underperforming approximately 49kW from 10/21 | 1. SR090993 2. SR092377
Friona - 900 Millard Ave | TX | 92571.625 | 93674.19 | -1102.565 | -1.177% | 98836.71 | -6265.085 | -6.339% | 1. Inverter 4 is offline from 08/03 and back online on 10/16. 2. Inverter 7 is having multiple tripping event fom 10/06 and issue resolved on 10/22. 3. Inverter 6 is experiencing multiple tripping from 10/04 | 1. SR090275, SR088579 2. SR091081 3. SR091081, SR092449
Augusta - 13 York Farm Road | ME | 138014.9375 | 143255.2 | -5240.2625 | -3.658% | 130076.1 | 7938.8375 | 6.103% | 1. Inverter 1 is underproducing approximately 15-25kw from 10/04 | 1. SR092361
Santa Ana - 1441 West | CA | 53643.8125 | 18294.74 | 35349.0725 | 193.2% | 63484.7 | -9840.8875 | -15.5% | 1. Weather station is not communicating from 10/11 and later started communication on 10/30. | 1. SR092453
Jessup -7950 Oceano Ave | MD

## Nov
Catalyze |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 1905541.8993 | 2685992.217 | -780450.3177 | -29.06% | 2422577.952 | -517036.0527 | -21.34%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 46223.8078 | 42986.62 | 3237.1878 | 7.531% | 62770.53 | -16546.7222 | -26.36%
Adelanto - 1 Sheep Creek Road | CA | 469130 | 407805.98 | 61324.02 | 15.04% | 479345.77 | -10215.77 | -2.131% | 1. Site tripped offline at 10:35 and back online at 11:59 on 11/19/2024. | 1.SR093418
Blackstone - 83 Federal Street | MA | 0 | 519242.8 | -519242.8 | -100% | 438059.4 | -438059.4 | -100% | 1. Inverter tripped offline at 11:00 AM from 10/15 and remained offline through out this month. | 1.SR092161, SR093563
Charlton - 299 Worcester Road | MA | 38841.5 | 42069.51 | -3228.01 | -7.673% | 33801.97 | 5039.53 | 14.91%
Wareham - 8 Thatcher Drive | MA | 8593.875 | 9287.178 | -693.303 | -7.465% | 8499.435 | 94.44 | 1.111%
West Yarmouth - 42 Mid Tech | MA | 6205.2349 | 6504.519 | -299.2841 | -4.601% | 7250.587 | -1045.3521 | -14.42% | 1. POA sensor is to be re-callibarated. | 1.SR086960
Harrison - 130 Union Street | NY | 12581.3175 | 15511.96 | -2930.6425 | -18.89% | 12465.85 | 115.4675 | 0.9263%
Staten Island - Ellis Storage | NY | 27847.25 | 26953.81 | 893.44 | 3.315% | 29237.46 | -1390.21 | -4.755%
Amherst - 595 Scholles Road | NY | 291894 | 315882.8 | -23988.8 | -7.594% | 311666.3 | -19772.3 | -6.344% | 1. Site has started production late at 15:00 on 11/04/2024. 2. There is an issue with the DC zone configuration, and AE and Ameresco are working to resolve it. Due to this, multiple strings are showing as offline. 3. The site was migrated from Acuity DAS to PowerTrack. Due to this, the net energy was configured with negative values until 11/13. After that, it was configured with correct values. As a result, we considered the negative energy values until 11/13 as positive values and manually added them together. | 1. SR092928 2. SR093132 3. SR089691
Lancaster 1 - Gunnville Road | NY | 292401 | 360249.5 | -67848.5 | -18.83% | 237948.1 | 54452.9 | 22.88% | 1. Site was tripped offline at 13:45 and back online at 15:45 on 11/16/2024 due to tech at site | 1.SR093339
Lancaster 2 - Shisler Road | NY | 215195 | 415398.2 | -200203.2 | -48.2% | 254160.7 | -38965.7 | -15.33% | 1. Site tripped offline at 11:00 on 11/14 and back online at 8:30 on 11/15. 2. Site was offline from 12:00 to 15:45 on 11/16 due tech at site. 3. Site tripped offline at 11:30 on 11/18 and back online at 9:00AM on 11/19 and again tripped offline at 11:30 and back online at 12:00 on 11/22 and also the site is running at 50% with 1 pad bypassed. | 1. SR093255 2. SR093338 3. SR093380, SR093435,SR093642.
Fullerton - 200 W Orangethorpe | CA | 69728.875 | 78291.8 | -8562.925 | -10.94% | 77874.16 | -8145.285 | -10.46% | 1. Inverter 5 was offline from 11:00 to 13:15 on 11/14 and Inverter 3 has shading issue. | 1.SR093259
El Paso - 10500 Railroad Drive | TX | 91804.1953 | 88174.06 | 3630.1353 | 4.117% | 95311.76 | -3507.5647 | -3.68%
Friona - 900 Millard Ave | TX | 76371.125 | 72349.02 | 4022.105 | 5.559% | 78818.95 | -2447.825 | -3.106% | 1. Inverter 7 was offline at 8:45AM on 10/31 and back online at 7:45AM on 11/05. 2. Inverter 6 experiencing multiple tripping issues on 11/21, 11/24 and 11/27. | 1.SR092834 2.SR093503
Augusta - 13 York Farm Road | ME | 84132.25 | 97189.37 | -13057.12 | -13.43% | 98826.7 | -14694.45 | -14.87% | 1. Site tripped offline at 6:30AM on 11/24 and back online at 07:15AM on 11/25. | 1.SR093573
Santa Ana - 1441 West | CA | 39462.8125 | 44936.39 | -5473.5775 | -12.18% | 50990.28 | -11527.4675 | -22.61% | 1. Inverter 1 is underperforming approximately 15kw from 11/01 and it is also having seasonal shading history. | 1.SR093259
Jessup -7950 Oceano Ave | MD | 135129.6562 | 143158.7 | -8029.0438 | -5.608% | 145550 | -10420.3438 | -7.159%

## Dec
Catalyze |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 1171513.5415 | 1993957.536 | -822443.9945 | -41.25% | 1852043.62 | -680530.0785 | -36.74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Fresno - 3150 Shaw Ave | CA | 35776.875 | 31036.76 | 4740.115 | 15.27% | 48700.71 | -12923.835 | -26.54% | 1.Inverter 2 started delay production at 9:30AM on 12/06. 2.Inverter 5 was tripped offline from 8:30AM to 9:15AM on 12/07 and from 10:30AM to 11AM on 12/30 and started delay production at 9AM on 12/08. | 1.SR094210 2.SR094993
Adelanto - 1 Sheep Creek Road | CA | 381360 | 313060.85 | 68299.15 | 21.82% | 446611.31 | -65251.31 | -14.61%
Blackstone - 83 Federal Street | MA | 18433.4 | 410599.4 | -392166 | -95.51% | 331482.2 | -313048.8 | -94.44% | 1. Inverter tripped offline at 11:00 AM on 10/15 and back online at 14:00 on 12/26 and again offline on 12/30 and back online at 13:45 on 12/31. | 1.SR092161, SR093563 & SR095160
Charlton - 299 Worcester Road | MA | 16910 | 33730.38 | -16820.38 | -49.87% | 24100.01 | -7190.01 | -29.83%
Wareham - 8 Thatcher Drive | MA | 5984.0625 | 7111.873 | -1127.8105 | -15.86% | 5749.903 | 234.1595 | 4.072%
West Yarmouth - 42 Mid Tech | MA | 2610.3965 | 4646.753 | -2036.3565 | -43.82% | 5416.043 | -2805.6465 | -51.8% | 1. POA sensor was to be re-callibarated. | 1.SR086960
Harrison - 130 Union Street | NY | 7378.9325 | 11504.95 | -4126.0175 | -35.86% | 9970.754 | -2591.8215 | -25.99%
Staten Island - Ellis Storage | NY | 19814.5 | 21711.05 | -1896.55 | -8.735% | 21250.04 | -1435.54 | -6.755%
Amherst - 595 Scholles Road | NY | 122719 | 244684.1 | -121965.1 | -49.85% | 216802 | -94083 | -43.4% | 1.Site tipped offline at 10:45 on 12/16 and back online at 10:15 on 12/17. 2.Inverter 1 tripped offline at 10:00 and back online at 14:00 on 12/27. 3.Site tripped offline at 14:30 on 12/02 and back online at 9:15 on 12/04. | 1.SR093132,SR093999 & SR094698 2.SR093132 3.SR093802
Lancaster 1 - Gunnville Road | NY | 131030 | 232039.2 | -101009.2 | -43.53% | 144838.6 | -13808.6 | -9.534%
Lancaster 2 - Shisler Road | NY | 53016 | 248944.9 | -195928.9 | -78.7% | 154903.9 | -101887.9 | -65.77% | 1.Site taken offline from 09:00AM to 11:00AM on 12/06, to work on grounding tranformer. 2. Site was running at 50% with 1 pad bypassed from 11/22. Site was taken offline from 10:30 AM on 12/27 for MV repairs. Neutral Ground transfomer was installed and site was re-energized at 12:35 PM on 12/30 but site is not communicating cell modem was faulted and is being RMA'd. | 1. SR094029 2. SR093642,SR094298
Fullerton - 200 W Orangethorpe | CA | 50164.5 | 57854.14 | -7689.64 | -13.29% | 64836.58 | -14672.08 | -22.63%
El Paso - 10500 Railroad Drive | TX | 79208.5 | 78523.76 | 684.74 | 0.872% | 83521.52 | -4313.02 | -5.164%
Friona - 900 Millard Ave | TX | 68791.625 | 68991.18 | -199.555 | -0.2892% | 66491.28 | 2300.345 | 3.46% | 1. Inverter 6 experienced multiple tripping events on 12/16 and 12/24. | 1.SR093503
Augusta - 13 York Farm Road | ME | 55998.875 | 95180.83 | -39181.955 | -41.17% | 71713.5 | -15714.625 | -21.91%
Santa Ana - 1441 West | CA | 28210.75 | 32087.41 | -3876.66 | -12.08% | 42861.77 | -14651.02 | -34.18%
Jessup -7950 Oceano Ave | MD | 94106.125 | 102250 | -8143.875 | -7.965% | 112793.5 | -18687.375 | -16.57%

## Sites
Portfolio: | Catalyze
Site DAS Name | Site | State | Update | DAS
CA Fresno - 3150 Shaw Ave - 19600 [T0275] | Fresno - 3150 Shaw Ave | CA | AEF | PowerTrack
Sheep Creek Solar | Adelanto - 1 Sheep Creek Road | CA |  | Aderis
MA Blackstone - 83 Federal St - 18170 | Blackstone - 83 Federal Street | MA | AEF | PowerTrack
MA Charlton - 299 Worcester Rd - 18063 | Charlton - 299 Worcester Road | MA | AEF | PowerTrack
MA Wareham - 8 Thatcher Ln - 1010 | Wareham - 8 Thatcher Drive | MA | AEF | PowerTrack
MA West Yarmouth - 42 Mid-Tech Drive - 17944 | West Yarmouth - 42 Mid Tech | MA | AEF | PowerTrack
NY Harrison - 130 Union Ave - 18141 | Harrison - 130 Union Street | NY | AEF | PowerTrack
NY Staten Island - 1 Ellis St - 18195 | Staten Island - Ellis Storage | NY | AEF | PowerTrack
NY AMHERST 595 SCHOELLES RD - 18208 | Amherst - 595 Scholles Road | NY | AEF | Aderis
NY LANCASTER GUNNVILLE RD - SHISLER RD Site 1 - 18237 | Lancaster 1 - Gunnville Road | NY | AEF | PowerTrack
NY LANCASTER GUNNVILLE RD - SHISLER RD Site 2 - 18238 | Lancaster 2 - Shisler Road | NY | AEF | PowerTrack
CA Fullerton - 200 W Orangethorpe - 19603 [T1418] | Fullerton - 200 W Orangethorpe | CA | AEF | PowerTrack
TX El Paso - 10500 Railroad Drive - 19648 | El Paso - 10500 Railroad Drive | TX | AEF | PowerTrack
TX Friona - 900 Millard Ave - 19506 | Friona - 900 Millard Ave | TX | AEF | PowerTrack
ME Augusta - 13 York Farm Rd - 18196 | Augusta - 13 York Farm Road | ME | AEF | PowerTrack
CA Santa Ana - 1441 W 17th St - 21198 [T1936] | Santa Ana - 1441 West | CA | AEF | PowerTrack
MD Jessup 7950 Oceano Ave - 22337 | Jessup -7950 Oceano Ave | MD | AEF | PowerTrack