## Year to Date
City of Providence |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 759875.2 | 0 | 759875.2 | 0% | 0 | 759875.2 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
City of Providence | RI | 759875.2 | 0 | 759875.2 |  | 0 | 759875.2

## 1st Qtr
City of Providence |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 121140 | 0 | 121140 | 0% | 0 | 121140 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
City of Providence | RI | 121140 | 0 | 121140 |  | 0 | 121140

## 2nd Qtr
City of Providence |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 260830 | 0 | 260830 | 0% | 0 | 260830 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
City of Providence | RI | 260830 | 0 | 260830 |  | 0 | 260830

## 3rd Qtr
City of Providence |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 243217.1 | 0 | 243217.1 | 0% | 0 | 243217.1 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
City of Providence | RI | 243217.1 | 0 | 243217.1 |  | 0 | 243217.1

## 4th Qtr
City of Providence |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 134688.1 | 0 | 134688.1 | 0% | 0 | 134688.1 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
City of Providence | RI | 134688.1 | 0 | 134688.1 |  | 0 | 134688.1

## Jan
City of Providence |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 17756 | 0 | 17756 | 0% | 0 | 17756 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 17756 | 0 | 17756 |  | 0 | 17756

## Feb
City of Providence |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 37359 | 0 | 37359 | 0% | 0 | 37359 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 37359 | 0 | 37359 |  | 0 | 37359

## Mar
City of Providence |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 66025 | 0 | 66025 | 0% | 0 | 66025 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 66025 | 0 | 66025 |  | 0 | 66025

## Apr
City of Providence |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 72848 | 0 | 72848 | 0% | 0 | 72848 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 72848 | 0 | 72848 |  | 0 | 72848

## May
City of Providence |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 87173 | 0 | 87173 | 0% | 0 | 87173 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 87173 | 0 | 87173 |  | 0 | 87173

## Jun
City of Providence |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 100809 | 0 | 100809 | 0% | 0 | 100809 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 100809 | 0 | 100809 |  | 0 | 100809

## Jul
City of Providence |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 87997.6 | 0 | 87997.6 | 0% | 0 | 87997.6 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 87997.6 | 0 | 87997.6 |  | 0 | 87997.6 |  | 1. Inverters 8 and 14 are underperforming approximately 10kW from 07/06 and issue resolved on 07/12. | 1. SR087427

## Aug
City of Providence |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 86761 | 0 | 86761 | 0% | 0 | 86761 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 86761 | 0 | 86761 |  | 0 | 86761

## Sep
City of Providence |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 68458.5 | 0 | 68458.5 | 0% | 0 | 68458.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 68458.5 | 0 | 68458.5 |  | 0 | 68458.5

## Oct
City of Providence |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 63294.4 | 0 | 63294.4 | 0% | 0 | 63294.4 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 63294.4 | 0 | 63294.4 |  | 0 | 63294.4 |  | 1.Inverter 14 is underperforming by 10kW compared to its peers thorughout the month. | 1.SR092715

## Nov
City of Providence |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 43062.5 | 0 | 43062.5 | 0% | 0 | 43062.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 43062.5 | 0 | 43062.5 |  | 0 | 43062.5

## Dec
City of Providence |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 28331.2 | 0 | 28331.2 | 0% | 0 | 28331.2 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
City of Providence | RI | 28331.2 | 0 | 28331.2 |  | 0 | 28331.2

## Sites
Portfolio: | City of Providence
Site DAS Name | Site | State | Update | DAS
RI - Providence Water | City of Providence | RI | A | Inaccess