## Year to Date
HAJJAR SOLAR LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 902214.4125 | 0 | 902214.4125 | 0% | 1089224.43 | -187010.0175 | -17.17%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 359558.3025 | 0 | 359558.3025 |  | 429843.27 | -70284.9675 | -16.35%
Hanover - Hajjar Solar LLC | MA | 542656.11 | 0 | 542656.11 |  | 659381.16 | -29944.22 | -4.541%

## 1st Qtr
HAJJAR SOLAR LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 156184.1821 | 0 | 156184.1821 | 0% | 213712.09 | -57527.9079 | -26.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 63026.3121 | 0 | 63026.3121 |  | 90610 | -27583.6879 | -30.44%
Hanover - Hajjar Solar LLC | MA | 93157.87 | 0 | 93157.87 |  | 123102.09 | -29944.22 | -24.32%

## 2nd Qtr
HAJJAR SOLAR LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 321549.7154 | 0 | 321549.7154 | 0% | 375252.7 | -53702.9846 | -14.31%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 120216.6154 | 0 | 120216.6154 |  | 138530 | -18313.3846 | -13.22%
Hanover - Hajjar Solar LLC | MA | 201333.1 | 0 | 201333.1 |  | 236722.7 | -35389.6 | -14.95%

## 3rd Qtr
HAJJAR SOLAR LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 276750.62 | 0 | 276750.62 | 0% | 354682.02 | -77931.4 | -21.97%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 116856.5 | 0 | 116856.5 |  | 139729 | -22872.5 | -16.37%
Hanover - Hajjar Solar LLC | MA | 159894.12 | 0 | 159894.12 |  | 214953.02 | -55058.9 | -25.61%

## 4th Qtr
HAJJAR SOLAR LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 147729.895 | 0 | 147729.895 | 0% | 145577.62 | 2152.275 | 1.478%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 59458.875 | 0 | 59458.875 |  | 60974.27 | -1515.395 | -2.485%
Hanover - Hajjar Solar LLC | MA | 88271.02 | 0 | 88271.02 |  | 84603.35 | 3667.67 | 4.335%

## Jan
HAJJAR SOLAR LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 22427.4275 | 0 | 22427.4275 | 0% | 52572.45 | -30145.0225 | -57.34%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 7854.4375 | 0 | 7854.4375 |  | 23810 | -15955.5625 | -67.01%
Hanover - Hajjar Solar LLC | MA | 14572.99 | 0 | 14572.99 |  | 28762.45 | -14189.46 | -49.33%

## Feb
HAJJAR SOLAR LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 55384.7546 | 0 | 55384.7546 | 0% | 66869.64 | -11484.8854 | -17.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 23218.8746 | 0 | 23218.8746 |  | 28409 | -5190.1254 | -18.27%
Hanover - Hajjar Solar LLC | MA | 32165.88 | 0 | 32165.88 |  | 38460.64 | -6294.76 | -16.37%

## Mar
HAJJAR SOLAR LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 78372 | 0 | 78372 | 0% | 94270 | -15898 | -16.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 31953 | 0 | 31953 |  | 38391 | -6438 | -16.77%
Hanover - Hajjar Solar LLC | MA | 46419 | 0 | 46419 |  | 55879 | -9460 | -16.93%

## Apr
HAJJAR SOLAR LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 93426.2254 | 0 | 93426.2254 | 0% | 114666.8 | -21240.5746 | -18.52%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 33375.6254 | 0 | 33375.6254 |  | 43075 | -9699.3746 | -22.52%
Hanover - Hajjar Solar LLC | MA | 60050.6 | 0 | 60050.6 |  | 71591.8 | -11541.2 | -16.12%

## May
HAJJAR SOLAR LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 106982.35 | 0 | 106982.35 | 0% | 129749.2 | -22766.85 | -17.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 38263.75 | 0 | 38263.75 |  | 47735 | -9471.25 | -19.84%
Hanover - Hajjar Solar LLC | MA | 68718.6 | 0 | 68718.6 |  | 82014.2 | -13295.6 | -16.21%

## Jun
HAJJAR SOLAR LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 121141.14 | 0 | 121141.14 | 0% | 130836.7 | -9695.56 | -7.41%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 48577.24 | 0 | 48577.24 |  | 47720 | 857.24 | 1.796% | 1. Inverter 2 left unit is offline from 07:30AM to 14:32 on 06/27. | 1. SR087060
Hanover - Hajjar Solar LLC | MA | 72563.9 | 0 | 72563.9 |  | 83116.7 | -10552.8 | -12.7% | 1. Inverter 4 left unit is offline from 06/22. Inverter being RMA'd | 1. SR086954

## Jul
HAJJAR SOLAR LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 107332.635 | 0 | 107332.635 | 0% | 133777.83 | -26445.195 | -19.77%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 44848.375 | 0 | 44848.375 |  | 51021 | -6172.625 | -12.1%
Hanover - Hajjar Solar LLC | MA | 62484.26 | 0 | 62484.26 |  | 82756.83 | -20272.57 | -24.5% | 1.Inverter 4 left unit is tripped offline on 06/23/2024 | 1.SR086954

## Aug
HAJJAR SOLAR LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 99145.2854 | 0 | 99145.2854 | 0% | 122624.78 | -23479.4946 | -19.15%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 40993.1254 | 0 | 40993.1254 |  | 48449 | -7455.8746 | -15.39% | 1.Inverter 3 tripped offline on 08/27/2024 for PM 2.Inverter 1 is derating compared to peer, due to inverter left unit having multiple tripping on 08/30/2024 | 1.SR089628 2.SR090032
Hanover - Hajjar Solar LLC | MA | 58152.16 | 0 | 58152.16 |  | 74175.78 | -16023.62 | -21.6% | 1. Inverter 2 right unit tripped offline at 10:30am on 8/29/24 2.Inverter 4 left unit is tripped offline on 06/23/2024 | 1.SR089755 2.SR086954

## Sep
HAJJAR SOLAR LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 70272.6996 | 0 | 70272.6996 | 0% | 98279.41 | -28006.7104 | -28.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 31014.9996 | 0 | 31014.9996 |  | 40259 | -9244.0004 | -22.96% | 1.Inverter 1 is derating compared to peer, due to inverter left unit having multiple tripping on 08/30/2024.And it has stable operation from 09/06/2024 | 1..SR090032
Hanover - Hajjar Solar LLC | MA | 39257.7 | 0 | 39257.7 |  | 58020.41 | -18762.71 | -32.34% | 1.Inverter 4 left unit is tripped offline on 09/27 2.Inverter 4 primary unit tripped offline at 16:30 on 09/09/2024 and back online at 13:00 on 09/27/2024 | 1.SR086954 2.SR090259

## Oct
HAJJAR SOLAR LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 70033.975 | 0 | 70033.975 | 0% | 66985.64 | 3048.335 | 4.551%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 30331.875 | 0 | 30331.875 |  | 28598.26 | 1733.615 | 6.062% | 1.Inverter 1 is derating compared to peer, due to inverter left unit having multiple tripping on 08/30/2024. Inverter 1 left unit tripped offline on 10/23 and back online on 10/25. Inverter 1 left unit again tripped offline on 10/29 | 1. SR090032, SR092293
Hanover - Hajjar Solar LLC | MA | 39702.1 | 0 | 39702.1 |  | 38387.38 | 1314.72 | 3.425% | 1. Inverter 2 right unit was offline from 10/02 and back online on 10/18 2. Inverter 4 left unit was offline from 09/27 and was replaced on 10/02 | 1. SR089755 2. SR090259

## Nov
HAJJAR SOLAR LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 46153.76 | 0 | 46153.76 | 0% | 49355.98 | -3202.22 | -6.488%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 19018.5 | 0 | 19018.5 |  | 20740.01 | -1721.51 | -8.3% | 1. Inverter 1 left unit was offline from 10/29 and and is being RMA'd | 1. SR090032, SR092293
Hanover - Hajjar Solar LLC | MA | 27135.26 | 0 | 27135.26 |  | 28615.97 | -1480.71 | -5.174%

## Dec
HAJJAR SOLAR LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 31542.16 | 0 | 31542.16 | 0% | 29236 | 2306.16 | 7.888%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 10108.5 | 0 | 10108.5 |  | 11636 | -1527.5 | -13.13%
Hanover - Hajjar Solar LLC | MA | 21433.66 | 0 | 21433.66 |  | 17600 | 3833.66 | 21.78%

## Sites
Portfolio: | HAJJAR SOLAR LLC
Site DAS Name | Site | State | Update | DAS
24 Norfolk Ave | South Easton - Hajjar Solar LLC | MA |  | PowerTrack
389 Columbia Road | Hanover - Hajjar Solar LLC | MA | AF | PowerTrack