## Year to Date
Lodestar |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 78125244.85 | 72250536.68 | 5874708.17 | 8.131% | 68686520.93 | 9438723.92 | 13.74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 1651520 | 1880792.61 | -229272.61 | -12.19% | 1790062.17 | -138542.17 | -7.74%
Bunce | CT | 3315861 | 3017831.4 | 298029.6 | 9.876% | 0 | 3315861
Norcap North | CT | 3483334.5 | 3748756.7 | -265422.2 | -7.08% | 3458261.7 | 25072.8 | 0.725%
Norcap South | CT | 3567818 | 4007649.3 | -439831.3 | -10.97% | 3321259.8 | 246558.2 | 7.424%
Platt Hill | CT | 2403919 | 2584739.93 | -180820.93 | -6.996% | 3204437.9 | -800518.9 | -24.98%
Powder Hill | CT | 3325460 | 3518455.8 | -192995.8 | -5.485% | 2690268 | 635192 | 23.61%
Sand Road | CT | 3545625.5 | 3260106.4 | 285519.1 | 8.758% | 3021906 | 523719.5 | 17.33%
Suffield | CT | 3556742 | 3519626.3 | 37115.7 | 1.055% | 3507192.5 | 49549.5 | 1.413%
Ashby-Duffy | MA | 3177404 | 4106077 | -928673 | -22.62% | 3271755.8 | -94351.8 | -2.884%
Ashland | MA | 2713770.5 | 2637796.99 | 75973.51 | 2.88% | 3166410.2 | -452639.7 | -14.3%
Barrington | MA | 736564.5 | 670779.64 | 65784.86 | 9.807% | 788100 | -51535.5 | -6.539%
Bedford - 205 Burlington Rd | MA | 352907 | 0 | 352907 |  | 0 | 352907
Billerica - 6 Cook Street | MA | 329537 | 0 | 329537 |  | 0 | 329537
Billerica - 780 Boston Road | MA | 395239 | 0 | 395239 |  | 0 | 395239
Cheshire | MA | 748397.25 | 814220.83 | -65823.58 | -8.084% | 581695.72 | 166701.53 | 28.66%
Lilly Lane | MA | 1699296 | 1630692.26 | 68603.74 | 4.207% | 1808754.85 | -109458.85 | -6.052%
Monument Valley | MA | 3171593.5 | 705233.71 | 2466359.79 | 349.7% | 0 | 3171593.5
Nationwide | MA | 5474346.5 | 4944623.8 | 529722.7 | 10.71% | 5182815.7 | 291530.8 | 5.625%
Pulpit Hill | MA | 7211047.4 | 6975942 | 235105.4 | 3.37% | 7259745.5 | -48698.1 | -0.6708%
Sandwich | MA | 4907243 | 73621 | 4833622 | 6566% | 818577 | 4610492 | 563.2%
Sturbridge Barn | MA | 1699064.5 | 1820847.26 | -121782.76 | -6.688% | 1910412.38 | -211347.88 | -11.06%
Sturbridge Garage | MA | 858494.25 | 868572.25 | -10078 | -1.16% | 893481.21 | -34986.96 | -3.916%
Halsey Valley | NY | 8159793 | 8522227.5 | -362434.5 | -4.253% | 8817000 | -657207 | -7.454%
Hunt Creek | NY | 5431424.45 | 6137832.3 | -706407.85 | -11.51% | 6128700 | -697275.55 | -11.38%
Smith Creek | NY | 6208843 | 6804111.7 | -595268.7 | -8.749% | 7065684.5 | -856841.5 | -12.13%

## 1st Qtr
Lodestar |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 14301791.4442 | 14695832.35 | -394040.9058 | -2.681% | 13873875.93 | 427915.5142 | 3.084%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 331357 | 391097.81 | -59740.81 | -15.28% | 378859.37 | -47502.37 | -12.54%
Bunce | CT | 589639.25 | 643231.5 | -53592.25 | -8.332% | 0 | 589639.25
Norcap North | CT | 642155 | 816049.6 | -173894.6 | -21.31% | 700223.8 | -58068.8 | -8.293%
Norcap South | CT | 665333.5 | 894303.9 | -228970.4 | -25.6% | 659879.9 | 5453.6 | 0.8265%
Platt Hill | CT | 713579.3442 | 797244.8 | -83665.4558 | -10.49% | 861464.8 | -147885.4558 | -17.17%
Powder Hill | CT | 611028 | 714272.8 | -103244.8 | -14.45% | 566964 | 44064 | 7.772%
Sand Road | CT | 639429 | 660829.7 | -21400.7 | -3.238% | 602989 | 36440 | 6.043%
Suffield | CT | 645254 | 692965.8 | -47711.8 | -6.885% | 732511.5 | -87257.5 | -11.91%
Ashby-Duffy | MA | 623058 | 1011075.2 | -388017.2 | -38.38% | 651654.5 | -28596.5 | -4.388%
Ashland | MA | 9993.5 | 38664.69 | -28671.19 | -74.15% | 361298.4 | -351304.9 | -97.23%
Barrington | MA | 133250 | 132357.65 | 892.35 | 0.6742% | 159190 | -25940 | -16.29%
Bedford - 205 Burlington Rd | MA | 68679 | 0 | 68679 |  | 0 | 68679
Billerica - 6 Cook Street | MA | 60164 | 0 | 60164 |  | 0 | 60164
Billerica - 780 Boston Road | MA | 67050 | 0 | 67050 |  | 0 | 67050
Cheshire | MA | 136259.5 | 156576.82 | -20317.32 | -12.98% | 106349.84 | 29909.66 | 28.12%
Lilly Lane | MA | 293261 | 319905.81 | -26644.81 | -8.329% | 407685.3 | -114424.3 | -28.07%
Monument Valley | MA | 597881 | 148824.21 | 449056.79 | 301.7% | 0 | 597881
Nationwide | MA | 953320.5 | 1079498 | -126177.5 | -11.69% | 1097779 | -144458.5 | -13.16%
Pulpit Hill | MA | 1415998.4 | 1508555.6 | -92557.2 | -6.135% | 1513090.9 | -97092.5 | -6.417%
Sandwich | MA | 1215871 | 73621 | 1142250 | 1552% | 296751 | 919120 | 309.7%
Sturbridge Barn | MA | 300101 | 374920.06 | -74819.06 | -19.96% | 417980.1 | -117879.1 | -28.2%
Sturbridge Garage | MA | 148743 | 179839.5 | -31096.5 | -17.29% | 201387.32 | -52644.32 | -26.14%
Halsey Valley | NY | 1416755 | 1627635.5 | -210880.5 | -12.96% | 1609000 | -192245 | -11.95%
Hunt Creek | NY | 927108.45 | 1155381.6 | -228273.15 | -19.76% | 1067900 | -140791.55 | -13.18%
Smith Creek | NY | 1096523 | 1278980.8 | -182457.8 | -14.27% | 1480917.2 | -384394.2 | -25.96%

## 2nd Qtr
Lodestar |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 25207200.1781 | 21347716.99 | 3859483.1881 | 18.08% | 22319986.04 | 2887214.1381 | 12.94%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 483902 | 506022.3 | -22120.3 | -4.371% | 553076.9 | -69174.9 | -12.51%
Bunce | CT | 1041829.5 | 816525.6 | 225303.9 | 27.59% | 0 | 1041829.5
Norcap North | CT | 1068839 | 983849.3 | 84989.7 | 8.638% | 1061382.5 | 7456.5 | 0.7025%
Norcap South | CT | 1082382.5 | 1041942.3 | 40440.2 | 3.881% | 1039883.7 | 42498.8 | 4.087%
Platt Hill | CT | 1163399.6558 | 1160344.2 | 3055.4558 | 0.2633% | 1214750.7 | -51351.0442 | -4.227%
Powder Hill | CT | 1066609 | 1062212.9 | 4396.1 | 0.4139% | 838176 | 228433 | 27.25%
Sand Road | CT | 1123596.4802 | 967197.3 | 156399.1802 | 16.17% | 1002416 | 121180.4802 | 12.09%
Suffield | CT | 1106769 | 1053877.3 | 52891.7 | 5.019% | 1094753 | 12016 | 1.098%
Ashby-Duffy | MA | 1001020 | 1084740.7 | -83720.7 | -7.718% | 1001422.4 | -402.4 | -0.04018%
Ashland | MA | 1106492.0473 | 808930.5 | 297561.5473 | 36.78% | 1150840 | -44347.9527 | -3.854%
Barrington | MA | 237104 | 216939.89 | 20164.11 | 9.295% | 248210 | -11106 | -4.474%
Bedford - 205 Burlington Rd | MA | 119081 | 0 | 119081 |  | 0 | 119081
Billerica - 6 Cook Street | MA | 101170 | 0 | 101170 |  | 0 | 101170
Billerica - 780 Boston Road | MA | 136270 | 0 | 136270 |  | 0 | 136270
Cheshire | MA | 239853.25 | 250365.22 | -10511.97 | -4.199% | 203327.58 | 36525.67 | 17.96%
Lilly Lane | MA | 546575.5 | 505665.5 | 40910 | 8.09% | 532788.1 | 13787.4 | 2.588%
Monument Valley | MA | 1043012.5 | 191069.27 | 851943.23 | 445.9% | 0 | 1043012.5
Nationwide | MA | 2007063.5 | 1554853 | 452210.5 | 29.08% | 1614023.1 | 393040.4 | 24.35%
Pulpit Hill | MA | 2150328.25 | 1791934.2 | 358394.05 | 20% | 2275842.6 | -125514.35 | -5.515%
Sandwich | MA | 1137172 | 0 | 1137172 |  | 521826 | 1137172 | 217.9%
Sturbridge Barn | MA | 536632 | 529378.7 | 7253.3 | 1.37% | 575361.2 | -38729.2 | -6.731%
Sturbridge Garage | MA | 274505.75 | 253072.31 | 21433.44 | 8.469% | 263183.56 | 11322.19 | 4.302%
Halsey Valley | NY | 2557880 | 2580465.4 | -22585.4 | -0.8752% | 2876000 | -318120 | -11.06%
Hunt Creek | NY | 1889993.464 | 1906453.7 | -16460.236 | -0.8634% | 2078200 | -188206.536 | -9.056%
Smith Creek | NY | 1985719.7807 | 2081877.4 | -96157.6193 | -4.619% | 2174522.7 | -188802.9193 | -8.682%

## 3rd Qtr
Lodestar |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 23800467.39 | 20785262.36 | 3015205.03 | 14.51% | 21005261.02 | 2795206.37 | 13.31%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 464601 | 536830.9 | -72229.9 | -13.45% | 547331.2 | -82730.2 | -15.12%
Bunce | CT | 1029483.25 | 830747.2 | 198736.05 | 23.92% | 0 | 1029483.25
Norcap North | CT | 1039621.5 | 997174.6 | 42446.9 | 4.257% | 1064446.2 | -24824.7 | -2.332%
Norcap South | CT | 1047841 | 1051499.3 | -3658.3 | -0.3479% | 1044230.3 | 3610.7 | 0.3458%
Platt Hill | CT | 645 | 52792.23 | -52147.23 | -98.78% | 460450.4 | -459805.4 | -99.86%
Powder Hill | CT | 976725 | 1013341.6 | -36616.6 | -3.613% | 837084 | 139641 | 16.68%
Sand Road | CT | 1078627.0198 | 946091.6 | 132535.4198 | 14.01% | 972780 | 105847.0198 | 10.88%
Suffield | CT | 1049427 | 1034108.5 | 15318.5 | 1.481% | 1072921 | -23494 | -2.19%
Ashby-Duffy | MA | 923920 | 1074553.5 | -150633.5 | -14.02% | 1021186.8 | -97266.8 | -9.525%
Ashland | MA | 1029195.8328 | 1044899.2 | -15703.3672 | -1.503% | 1127421.9 | -98226.0672 | -8.712%
Barrington | MA | 232974 | 199147.21 | 33826.79 | 16.99% | 253900 | -20926 | -8.242%
Bedford - 205 Burlington Rd | MA | 99700 | 0 | 99700 |  | 0 | 99700
Billerica - 6 Cook Street | MA | 112721 | 0 | 112721 |  | 0 | 112721
Billerica - 780 Boston Road | MA | 128738 | 0 | 128738 |  | 0 | 128738
Cheshire | MA | 236628.75 | 246559.08 | -9930.33 | -4.028% | 191515.45 | 45113.3 | 23.56%
Lilly Lane | MA | 533083 | 492540.9 | 40542.1 | 8.231% | 530891.9 | 2191.1 | 0.4127%
Monument Valley | MA | 1069709.7822 | 209176.95 | 860532.8322 | 411.4% | 0 | 1069709.7822
Nationwide | MA | 1591893 | 1252273.8 | 339619.2 | 27.12% | 1604230.5 | -12337.5 | -0.7691%
Pulpit Hill | MA | 2294253.75 | 2227841.3 | 66412.45 | 2.981% | 2254058.3 | 40195.45 | 1.783%
Sandwich | MA | 1509328 | 0 | 1509328 |  | 0 | 1509328
Sturbridge Barn | MA | 519292.5 | 513272 | 6020.5 | 1.173% | 567619.1 | -48326.6 | -8.514%
Sturbridge Garage | MA | 266531.25 | 245458.39 | 21072.86 | 8.585% | 262248.17 | 4283.08 | 1.633%
Halsey Valley | NY | 2736351 | 2706844.9 | 29506.1 | 1.09% | 2919000 | -182649 | -6.257%
Hunt Creek | NY | 1819564.536 | 1954500.4 | -134935.864 | -6.904% | 2081600 | -262035.464 | -12.59%
Smith Creek | NY | 2009612.2193 | 2155608.8 | -145996.5807 | -6.773% | 2192345.8 | -182733.5807 | -8.335%

## 4th Qtr
Lodestar |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 14815785.8377 | 15421724.98 | -605939.1423 | -3.929% | 11487397.94 | 3328387.8977 | 28.97%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 371660 | 446841.6 | -75181.6 | -16.83% | 310794.7 | 60865.3 | 19.58%
Bunce | CT | 654909 | 727327.1 | -72418.1 | -9.957% | 0 | 654909
Norcap North | CT | 732719 | 951683.2 | -218964.2 | -23.01% | 632209.2 | 100509.8 | 15.9%
Norcap South | CT | 772261 | 1019903.8 | -247642.8 | -24.28% | 577265.9 | 194995.1 | 33.78%
Platt Hill | CT | 526295 | 574358.7 | -48063.7 | -8.368% | 667772 | -141477 | -21.19%
Powder Hill | CT | 671098 | 728628.5 | -57530.5 | -7.896% | 448044 | 223054 | 49.78%
Sand Road | CT | 703973 | 685987.8 | 17985.2 | 2.622% | 443721 | 260252 | 58.65%
Suffield | CT | 755292 | 738674.7 | 16617.3 | 2.25% | 607007 | 148285 | 24.43%
Ashby-Duffy | MA | 629406 | 935707.6 | -306301.6 | -32.73% | 597492.1 | 31913.9 | 5.341%
Ashland | MA | 568089.1198 | 745302.6 | -177213.4802 | -23.78% | 526849.9 | 41239.2198 | 7.828%
Barrington | MA | 133236.5 | 122334.89 | 10901.61 | 8.911% | 126800 | 6436.5 | 5.076%
Bedford - 205 Burlington Rd | MA | 65447 | 0 | 65447 |  | 0 | 65447
Billerica - 6 Cook Street | MA | 55482 | 0 | 55482 |  | 0 | 55482
Billerica - 780 Boston Road | MA | 63181 | 0 | 63181 |  | 0 | 63181
Cheshire | MA | 135655.75 | 160719.71 | -25063.96 | -15.59% | 80502.85 | 55152.9 | 68.51%
Lilly Lane | MA | 326376.5 | 312580.05 | 13796.45 | 4.414% | 337389.55 | -11013.05 | -3.264%
Monument Valley | MA | 460990.2178 | 156163.28 | 304826.9378 | 195.2% | 0 | 460990.2178
Nationwide | MA | 922069.5 | 1057999 | -135929.5 | -12.85% | 866783.1 | 55286.4 | 6.378%
Pulpit Hill | MA | 1350467 | 1447610.9 | -97143.9 | -6.711% | 1216753.7 | 133713.3 | 10.99%
Sandwich | MA | 1044872 | 0 | 1044872 |  | 0 | 1044872
Sturbridge Barn | MA | 343039 | 403276.5 | -60237.5 | -14.94% | 349451.98 | -6412.98 | -1.835%
Sturbridge Garage | MA | 168714.25 | 190202.05 | -21487.8 | -11.3% | 166662.16 | 2052.09 | 1.231%
Halsey Valley | NY | 1448807 | 1607281.7 | -158474.7 | -9.86% | 1413000 | 35807 | 2.534%
Hunt Creek | NY | 794758 | 1121496.6 | -326738.6 | -29.13% | 901000 | -106242 | -11.79%
Smith Creek | NY | 1116988 | 1287644.7 | -170656.7 | -13.25% | 1217898.8 | -100910.8 | -8.286%

## Jan
Lodestar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 1646953.4436 | 3008243.41 | -1361289.9664 | -45.25% | 3755846.53 | -2108893.0864 | -56.15%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 40962 | 81116.11 | -40154.11 | -49.5% | 95666.17 | -54704.17 | -57.18%
Bunce | CT | 85317.75 | 134339.2 | -49021.45 | -36.49% | 0 | 85317.75
Norcap North | CT | 86946 | 190151.4 | -103205.4 | -54.28% | 179846.6 | -92900.6 | -51.66%
Norcap South | CT | 92879.5 | 212284 | -119404.5 | -56.25% | 156565.5 | -63686 | -40.68% | 1. Inverter 1 started at 14:00 on 01/05. 2. Inverter 1 offline on 01/07 and resolved on 01/10 and reporting Bus Differential High Fault - Fault 0110. 2. inverter 4 is currently offline on 01/07 and resolved on 01/09 and reporting Bus Differential High Fault - Fault 0110. 3. Inverters 1, 4 and 11 are offline on 01/13 and resolved on 01/14 due to "Bus differential high fault". 4. Inverter 11 is offline on 01/13 resolved on 01/19 due to Bus differential fault. 5. Inverter 11 is offline from 01/19 due to Bus differential fault. | 1. SR079979 2. SR080049 3. SR080194 4. SR080314 5. SR080441
Platt Hill | CT | 104226.4936 | 164040.9 | -59814.4064 | -36.46% | 232504.1 | -128277.6064 | -55.17% | 1.Inverters 61 to 64 have tripped offline at 11:15am on 01/01 and resolved next day 2.Inverters 61 to 64 have tripped offline at 11:15am on 01/15 and resolved next day 3.Inverter 48 was offline due to "Bus sum high" fault on 01/27 and RMA'd | 1.SR079853 2.SR080230 3.SR080522
Powder Hill | CT | 73609 | 144364.9 | -70755.9 | -49.01% | 155676 | -82067 | -52.72%
Sand Road | CT | 78068.5 | 124790 | -46721.5 | -37.44% | 145302 | -67233.5 | -46.27% | 1.Inverter 1 is offline and reporting "Excessive Leakage Current" from 01/01 to 01/15 2.Inverter 5 is offline and reporting "Internal hardware failure" on 01/22 and back online next day 3.Inverter 1 is offline and reporting "Excessive Leakage Current from 01/25 and still offline | 1.SR078505 2.SR080384 3.SR080614
Suffield | CT | 86425 | 139100 | -52675 | -37.87% | 191955.4 | -105530.4 | -54.98%
Ashby-Duffy | MA | 83884 | 228874 | -144990 | -63.35% | 158269.5 | -74385.5 | -47% | 1.Site tripped offline on 01/16 at 19:15 and autoreclosed at 19:30 2. CB 1.8 on DAS, (CB 10 onsite) was offline from 01/23 to 02/01. | 1.SR080271 2.SR080413
Ashland | MA | 3053 | 18082.05 | -15029.05 | -83.12% | 134293.1 | -131240.1 | -97.73%
Barrington | MA | 15412 | 23642.96 | -8230.96 | -34.81% | 35820 | -20408 | -56.97% | 1.Site was tripped offline from 12/22/2023 to 01/10/2024 and again tripped offline on the same day and still offline | 1.SR080143
Bedford - 205 Burlington Rd | MA | 7938 | 0 | 7938 |  | 0 | 7938
Billerica - 6 Cook Street | MA | 7069 | 0 | 7069 |  | 0 | 7069
Billerica - 780 Boston Road | MA | 7922 | 0 | 7922 |  | 0 | 7922
Cheshire | MA | 15272 | 27330.66 | -12058.66 | -44.12% | 24314.38 | -9042.38 | -37.19%
Lilly Lane | MA | 37262 | 61721.41 | -24459.41 | -39.63% | 113135.5 | -75873.5 | -67.06%
Monument Valley | MA | 68801 | 28968.03 | 39832.97 | 137.5% | 0 | 68801
Nationwide | MA | 98960 | 221313.9 | -122353.9 | -55.29% | 298977.6 | -200017.6 | -66.9%
Pulpit Hill | MA | 147440 | 286661.3 | -139221.3 | -48.57% | 356965.5 | -209525.5 | -58.7% | 1.Inverters 20,24,25 and 26 came back online on 01/25 | 1.SR077715
Sandwich | MA | 69116 | 73621 | -4505 | -6.119% | 296751 | -227635 | -76.71%
Sturbridge Barn | MA | 40594 | 79345.86 | -38751.86 | -48.84% | 110612.6 | -70018.6 | -63.3% | 1.Site was offline at around 6:30am and later back online at 19:15 due to planned outage 2.Site was offline from 01/12 till 01/26 due to planned outage. | 1.SR080613 2.SR080117
Sturbridge Garage | MA | 20528.25 | 36997.33 | -16469.08 | -44.51% | 55886.08 | -35357.83 | -63.27% | 1.Site has a brief outage and later auto reclosed. | 1.SR080569
Halsey Valley | NY | 147564 | 292774.6 | -145210.6 | -49.6% | 384000 | -236436 | -61.57% | 1.Inverter 11 tripped offline on an arc fault on 01/31 at EOD and back online next day. | 1.SR080631
Hunt Creek | NY | 87616.95 | 201235.3 | -113618.35 | -56.46% | 228700 | -141083.05 | -61.69% | 1. Site tripped offline at 10:05 am on 01/05 and back online at 7:00 Am on 01/06. 2. Inverter 29 started late for the production on 01/15, 01/17 and 01/20 3. Inverter was 25 tripped offline on 01/22 and back online 02/06. 4. Site has a brief outage and later self resolved on 01/29 | 1.SR079976 2.SR080227 3.SR080394 4.SR080570
Smith Creek | NY | 140087 | 237488.5 | -97401.5 | -41.01% | 400605.5 | -260518.5 | -65.03%

## Feb
Lodestar |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 5730613.6364 | 5700189.23 | 30424.4064 | 0.5337% | 4428387.15 | 1302226.4864 | 29.41%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 137901 | 155136.7 | -17235.7 | -11.11% | 118880.1 | 19020.9 | 16%
Bunce | CT | 255566.25 | 264677.8 | -9111.55 | -3.443% | 0 | 255566.25
Norcap North | CT | 258225.5 | 313527 | -55301.5 | -17.64% | 213416.4 | 44809.1 | 21%
Norcap South | CT | 270255 | 346522.8 | -76267.8 | -22.01% | 203138.3 | 67116.7 | 33.04% | 1. Inverter 48 was offline from 01/27 & back online on 02/07 after replacement of inverter. 2. Inverter 36 is offline from 08:00 to 14:45 on 02/24, offline on 02/28 & back online on 02/29. 3. Inverter 49 is offline on 02/26 & RMA'd. | 1.SR080522 2. SR081051 3.SR081326
Platt Hill | CT | 291036.5064 | 311905.1 | -20868.5936 | -6.691% | 274974.6 | 16061.9064 | 5.841%
Powder Hill | CT | 245989 | 275345.2 | -29356.2 | -10.66% | 178140 | 67849 | 38.09%
Sand Road | CT | 267257 | 262006 | 5251 | 2.004% | 179737 | 87520 | 48.69%
Suffield | CT | 246077 | 257109 | -11032 | -4.291% | 223048.4 | 23028.6 | 10.32% | 1. SEL relay tripped open due to drop in B phase Voltage. Battery mode activate from 02/15 at 13:15 and back online on 02/18 at 09:00 2. After site came back online on 02/18, Inverter 2 Combiner boxes 2.15 and 2.16 offline and back onlline at 11:30 | 1. SR081008 2. SR081084
Ashby-Duffy | MA | 261552 | 374863.5 | -113311.5 | -30.23% | 210128.9 | 51423.1 | 24.47%
Ashland | MA | 6940.5 | 20582.64 | -13642.14 | -66.28% | 227005.3 | -220064.8 | -96.94% | 1.Site was tripped offline from 12/22/2023 to 01/10/2024 and again tripped offline on the same day and still offline | 1. .SR080143
Barrington | MA | 57373.5 | 51584.33 | 5789.17 | 11.22% | 54460 | 2913.5 | 5.35%
Bedford - 205 Burlington Rd | MA | 27156 | 0 | 27156 |  | 0 | 27156
Billerica - 6 Cook Street | MA | 23191 | 0 | 23191 |  | 0 | 23191
Billerica - 780 Boston Road | MA | 25917 | 0 | 25917 |  | 0 | 25917 |  | 1. Inverter 4 offline due to isolation fault on 02/24 and back online at EOD | 1. SR081293
Cheshire | MA | 59648.75 | 63568.84 | -3920.09 | -6.167% | 34278.74 | 25370.01 | 74.01%
Lilly Lane | MA | 106235.5 | 114676.2 | -8440.7 | -7.36% | 134093 | -27857.5 | -20.77% | 1. Inverter 55 tripped offline 02/02 at 11:30 and back online on 022/03 and again offline from 02/14 and back online on 02/06 2. Utility planned outage from 02/25 to 02/28 | 1. SR080677 2. SR081010
Monument Valley | MA | 256982.68 | 60936.71 | 196045.97 | 321.7% | 0 | 256982.68
Nationwide | MA | 335697.5 | 411623.2 | -75925.7 | -18.45% | 341058.3 | -5360.8 | -1.572%
Pulpit Hill | MA | 599611.2 | 582439.6 | 17171.6 | 2.948% | 492197.3 | 107413.9 | 21.82%
Sandwich | MA | 388044 | 0 | 388044 |  | 0 | 388044 |  | 1. planned outage from 01/31 to 02/09 2. Planned outage on 2/29/24 | 2. SR081024
Sturbridge Barn | MA | 109399 | 145433.5 | -36034.5 | -24.78% | 134159 | -24760 | -18.46% | 1. planned outage from 02/25 to 02/28 | 1. SR081011
Sturbridge Garage | MA | 54338.25 | 70059.81 | -15721.56 | -22.44% | 66239.01 | -11900.76 | -17.97% | 1. planned outage from 02/25 to 02/28 | 1. SR081012
Halsey Valley | NY | 605139 | 647510 | -42371 | -6.544% | 528000 | 77139 | 14.61%
Hunt Creek | NY | 375246.5 | 461895.2 | -86648.7 | -18.76% | 340300 | 34946.5 | 10.27% | 1. Site tripped offline on 02/17/2024 at 10:45AM and later back online on 02/18/2024 at 07:45AM. 2. Inverters 2 to 6, 8, 10 to 19, 21 to 32 are tripped offline on 02/22/2024 at 12:15 and later back online on 02/22/2024 at 16:15 3. Inverters 2, 3, 5, 8, 15, 23, 27 and 28 are tripped offline 02/26/2024 at 13:30 and later back online on 02/26/2024 at 14:15 | 1. SR081075 2. SR081200 3. SR081338
Smith Creek | NY | 465834 | 508786.1 | -42952.1 | -8.442% | 475132.8 | -9298.8 | -1.957% | 1. Inverters 1, 2, 8, 9, 10, 14, 15, 22, 23, 24, 25, 27, and 30 having tripping events on 02/03/2024, 02/04/2024 and 02/05/2024. 2. Inverters 1, 4-6, 9, 11-13, 16, 17, 20, 22, 24, and 29 are offline on 02/22/2024 at 12:15 and later back online on 02/22/2024 at 16:15 | 1. SR080710 2. SR081201

## Mar
Lodestar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 6924224.3642 | 5987399.71 | 936824.6542 | 15.65% | 5689642.25 | 1234582.1142 | 21.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 152494 | 154845 | -2351 | -1.518% | 164313.1 | -11819.1 | -7.193%
Bunce | CT | 248755.25 | 244214.5 | 4540.75 | 1.859% | 0 | 248755.25 |  | 1. Site tripped offline on 03/08 and back online on 03/09 and again the site is offline on 03/11 and back online on 03/12. | 1. SR081731
Norcap North | CT | 296983.5 | 312371.2 | -15387.7 | -4.926% | 306960.8 | -9977.3 | -3.25% | 1. Inverter 25 is offline on 03/06 and back online on 03/07 2. Inverter 16 is offline on 03/11 and back online on 03/21 | 1. SR081597 2. SR081757
Norcap South | CT | 302199 | 335497.1 | -33298.1 | -9.925% | 300176.1 | 2022.9 | 0.6739% | 1. Inverter 49 is offline from 03/01 to 03/21 | 1. SR082215
Platt Hill | CT | 318316.3442 | 321298.8 | -2982.4558 | -0.9282% | 353986.1 | -35669.7558 | -10.08%
Powder Hill | CT | 291430 | 294562.7 | -3132.7 | -1.064% | 233148 | 58282 | 25%
Sand Road | CT | 294103.5 | 274033.7 | 20069.8 | 7.324% | 277950 | 16153.5 | 5.812%
Suffield | CT | 312752 | 296756.8 | 15995.2 | 5.39% | 317507.7 | -4755.7 | -1.498%
Ashby-Duffy | MA | 277622 | 407337.7 | -129715.7 | -31.84% | 283256.1 | -5634.1 | -1.989% | 1. Site was offline from 10:05AM to 10:36AM on 03/19. 2. Inverter 6 tripped offline on 03/10 and back online on 03/21. | 1. SR082098 2. SR081729
Ashland | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was offline for whole month. | 1. SR082823
Barrington | MA | 60464.5 | 57130.36 | 3334.14 | 5.836% | 68910 | -8445.5 | -12.26%
Bedford - 205 Burlington Rd | MA | 33585 | 0 | 33585 |  | 0 | 33585
Billerica - 6 Cook Street | MA | 29904 | 0 | 29904 |  | 0 | 29904
Billerica - 780 Boston Road | MA | 33211 | 0 | 33211 |  | 0 | 33211 |  | 1. Inverter 5 was offline from 11/07 to 03/25. Inverter 3 is offline since 11/07 | 1. SR078016
Cheshire | MA | 61338.75 | 65677.32 | -4338.57 | -6.606% | 47756.72 | 13582.03 | 28.44%
Lilly Lane | MA | 149763.5 | 143508.2 | 6255.3 | 4.359% | 160456.8 | -10693.3 | -6.664%
Monument Valley | MA | 272097.32 | 58919.47 | 213177.85 | 361.8% | 0 | 272097.32
Nationwide | MA | 518663 | 446560.9 | 72102.1 | 16.15% | 457743.1 | 60919.9 | 13.31%
Pulpit Hill | MA | 668947.2 | 639454.7 | 29492.5 | 4.612% | 663928.1 | 5019.1 | 0.756% | 1. Inverter 23 tripped offline on 03/30 and inverter 25 is offline on 03/31. | 1. SR082932
Sandwich | MA | 758711 | 0 | 758711 |  | 0 | 758711
Sturbridge Barn | MA | 150108 | 150140.7 | -32.7 | -0.02178% | 173208.5 | -23100.5 | -13.34%
Sturbridge Garage | MA | 73876.5 | 72782.36 | 1094.14 | 1.503% | 79262.23 | -5385.73 | -6.795%
Halsey Valley | NY | 664052 | 687350.9 | -23298.9 | -3.39% | 697000 | -32948 | -4.727% | 1. Inverter 13 is underproducing 100kW down compared to its peers since 03/15 | 1. SR081967
Hunt Creek | NY | 464245 | 492251.1 | -28006.1 | -5.689% | 498900 | -34655 | -6.946% | 1. Inverters 5, 23, and 27 tripped offline on 03817 at 13:15 and back online at 14:45 and again all inverters except inverter 7 tripped offline at 15:45 and back online at 17:15 2. inverters 2, 3, 5, 8, 15, 23, and 27 have tripped offline on 03/02 and back online on 03/03. | 1. SR081969 2. SR081519
Smith Creek | NY | 490602 | 532706.2 | -42104.2 | -7.904% | 605178.9 | -114576.9 | -18.93% | 1. All the inverters have tripped offline on 03/17 at 15:45 and back online at 17:15 and inverters 1-6, 8,10 -13, 15- 17, 21, 23, 24,28 and 29 tripped offline on 03/24 at 11:00 and back online at 17:15 and again Inverters 1,2,8,9, 11-13,15,17,20,24,25,28,29 tripped offline on 03/30 at 8:45 and back online at 10:30 | 1. SR081977

## Apr
Lodestar |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 6808143.6945 | 6153090.57 | 655053.1245 | 10.65% | 7225641.27 | -417497.5755 | -5.778% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 157884 | 155450.8 | 2433.2 | 1.565% | 171280.9 | -13396.9 | -7.822%
Bunce | CT | 289452 | 236881.7 | 52570.3 | 22.19% | 0 | 289452
Norcap North | CT | 307060 | 292119.5 | 14940.5 | 5.115% | 325819.4 | -18759.4 | -5.758% | 1. Inverters 5 and 29 are underperforming approximately 4kW compared to its peers from 01/15/24. | 1. SR083869
Norcap South | CT | 313759.5 | 311746.2 | 2013.3 | 0.6458% | 319425.1 | -5665.6 | -1.774% | 1. Inverters 48, 49. 50 and 51 tripped offline due to "Grid under frequency" at 15:00 on 04/09 and later back online at 09:00AM on 11:30AM and site was offline from 07:30AM to 09:00AM on 04/10. 2. Inverters 47, 50 and 53 are underperforming approximately 6kW compared to its peers from 12/21/23. | 1. SR083271 2. SR083868
Platt Hill | CT | 331891.6558 | 331208.9 | 682.7558 | 0.2061% | 384644.4 | -52752.7442 | -13.71%
Powder Hill | CT | 307749 | 304400.8 | 3348.2 | 1.1% | 265344 | 42405 | 15.98% | 1. Inverter 2 was offline at 07:00AM on 04/11 and inverter was back at 07:00AM on 04/12. | 1. SR083323, SR083324
Sand Road | CT | 309752.5 | 274136.8 | 35615.7 | 12.99% | 308583 | 1169.5 | 0.379%
Suffield | CT | 328549 | 309402.9 | 19146.1 | 6.188% | 336370.6 | -7821.6 | -2.325% | 1. Combiner box 1.3 underperforming 6kW compared to its peers combiner box since 7/3/21 | 1. SR083968
Ashby-Duffy | MA | 302085 | 366955.6 | -64870.6 | -17.68% | 296590.6 | 5494.4 | 1.853% | 1. Inverter 31 was offline from 12:15PM to 14:30 on 04/04/2024. 2. Inverter 44 tripped offline at 07:00AM on 04/26 and inverter was back online at 13:30 on 04/30. | 1. SR083095 2. SR083848, SR083990
Ashland | MA | 245156.8607 | 116306.1 | 128850.7607 | 110.8% | 351693.9 | -106537.0393 | -30.29% | 1. Inverter 66 tripped offline 06:45AM to 15:45 on 04/08. 2. Inverter 5 was underperforming approximately 18kW compared to its peers. 3. Inverter 30 and 56 are offline on 04/12 , inverter 30 was back online at 08:30AM and inverter 56 was back online at 09:15AM on 04/13. 4. Inverter 66 tripped offline from 07:45AM to 14:00 on 04/15 5. Weather station was not communicated from 04/15 to 05/08 due to that expected energy was low | 1. SR083192 2. SR083238, SR072698, SR084779 3. SR083364 4. SR083424
Barrington | MA | 64661 | 64127.95 | 533.05 | 0.8312% | 74480 | -9819 | -13.18% | 1. Inverter was offline from 12:00PM to 17:15 on 04/16. 2. Technician took site offline from 07:25AM to 11:30AM on 04/17 to work on relay. | 1. SR083488 2. SR083527
Bedford - 205 Burlington Rd | MA | 38794 | 0 | 38794 |  | 0 | 38794
Billerica - 6 Cook Street | MA | 35642 | 0 | 35642 |  | 0 | 35642
Billerica - 780 Boston Road | MA | 39610 | 0 | 39610 |  | 0 | 39610 |  | 1. Inverter 4 was offline at 07:00AM on 04/13 and inverter back online at 07:10AM on 04/14. | 1. SR083379
Cheshire | MA | 66969.75 | 70639.95 | -3670.2 | -5.196% | 59983.95 | 6985.8 | 11.65%
Lilly Lane | MA | 155710 | 147625.5 | 8084.5 | 5.476% | 179054.8 | -23344.8 | -13.04% | 1. Site tripped offline at 13:00 on 04/05 and back online at 11:00AM on 04/06. 2. Site was offline from 05:00AM to 07:15AM on 04/12. | 1. SR083124 2. SR083349
Monument Valley | MA | 305805.678 | 59124.94 | 246680.738 | 417.2% | 0 | 305805.678 |  | 1. Site tripped at 23:15 on 04/04 and back online at 09:00AM on 04/05 2. Expected energy values are low compared to actual and estimated, case created with Also Energy. | 1. SR083052 2. SR087370
Nationwide | MA | 573692.5 | 473387.6 | 100304.9 | 21.19% | 509562 | 64130.5 | 12.59% | 1. Inverters 1,12 and 26 are underperforming approximately 20kW compared to its peers from 04/24 | 1. SR083822
Pulpit Hill | MA | 638849.75 | 637225.2 | 1624.55 | 0.2549% | 688685.2 | -49835.45 | -7.236% | 1. Inverters 24 was offline from 03/31, inverter 25 was offline from 04/01 and inverters are back online after replacing the AC panel board at 12:00 on 04/26. Inverters 23 was offline from 03/31, inverter 22 was offline from 04/01. 2. Inverter 34 tripped offline at 12:00PM on 04/09 and back online at 12:45PM on 04/10. | 1. SR083067 2. SR083265
Sandwich | MA | 478,696 | 0 |  |  | 521826 |  |  | 1. Pad 4 was offline from 07:00AM to 10:30AM on 04/04. 2. Pads 3 and 4 are offline from 10:15AM to 11:15AM on 04/16 | 1. SR083072 2. SR083480
Sturbridge Barn | MA | 154149 | 154864.9 | -715.9 | -0.4623% | 177649.4 | -23500.4 | -13.23% | 1. Site tripped offline at 13:00 on 04/05 and back online at 10:45AM on 04/06. 2. Site was offline from 05:00AM to 07:00AM on 04/12 | 1. SR083125 2. SR083347
Sturbridge Garage | MA | 79604.5 | 74429.43 | 5175.07 | 6.953% | 88448.22 | -8843.72 | -9.999% | 1. Site was offline from 13:00 to 19:45 on 04/05. 2. Site was offline from 05:00PM to 07:15PM on 04/12. | 1. SR083123 2. SR083348
Halsey Valley | NY | 693683 | 696330.8 | -2647.8 | -0.3803% | 868000 | -174317 | -20.08% | 1. Site was offline at 20:00 on 04/03 and back online at 02:00AM on 04/04. | 1. SR083051
Hunt Creek | NY | 521834 | 517166.8 | 4667.2 | 0.9025% | 629400 | -107566 | -17.09% | 1. Inverter 2,3,4,5,6,8,10,14,15,16,17,18,19,22,23,25,27,28 and 29 are offline from 11:15AM to 13:30 on 04/21. | 1. SR083658
Smith Creek | NY | 545799 | 559558.2 | -13759.2 | -2.459% | 668799.8 | -123000.8 | -18.39% | 1. Inverters 1 and 20 was offline from 14:45 to 15:30 on 04/01 | 1. SR081977

## May
Lodestar |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 9079070.9148 | 7601050.39 | 1478020.5248 | 19.44% | 7556275.23 | 1522795.6848 | 20.15%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 174396 | 179679.3 | -5283.3 | -2.94% | 187813.4 | -13417.4 | -7.144% | 1.Combiner box 1.13 was offline from 05/13 | 1. SR084617
Bunce | CT | 374138.75 | 294274.7 | 79864.05 | 27.14% | 0 | 374138.75 |  | 1. Site was offline from 09:45AM to 13:35 on 05/14. | 1. SR084667
Norcap North | CT | 366441 | 334709.1 | 31731.9 | 9.48% | 363260.7 | 3180.3 | 0.8755% | 1. Inverter 29 was underperforming approximately 4kW compared to its peers from 01/15/24. | 1.SR083869
Norcap South | CT | 370295 | 353336.4 | 16958.6 | 4.8% | 355513.2 | 14781.8 | 4.158% | 1. Inverter 55 was offline at 07:00AM on 05/23 due to "Bus differential High Fault 0110" and later back online at 11:00AM on 05/24. 2. Inverter 55 was offline at 07:00AM on 05/25 due to "Bus differential High Fault 0110" and back online at 16:15 on 05/29. 3. Inverter 55 was offline from 07:00AM to 14:15 due to "Bus differential High Fault 05/29. | 1. SR085050 2. SR085150 3. SR085318
Platt Hill | CT | 396267 | 396413 | -146 | -0.03683% | 422036.3 | -25769.3 | -6.106%
Powder Hill | CT | 371291 | 364769 | 6522 | 1.788% | 285876 | 85415 | 29.88% | 1.Inverter 6 derating during high irradiance days since 5/24/24 2.Inverter 3 underperforming since 5/21/24 | 1.SR085493 2.SR085494
Sand Road | CT | 402004 | 350805.7 | 51198.3 | 14.59% | 345518 | 56486 | 16.35%
Suffield | CT | 369211 | 346940.2 | 22270.8 | 6.419% | 372477.3 | -3266.3 | -0.8769% | 1. Site tripped offline at 08:45AM on 05/10 and later site back online at 13:15 on 05/12. | 1. SR084537
Ashby-Duffy | MA | 332695.5 | 357298 | -24602.5 | -6.886% | 348234.4 | -15538.9 | -4.462%
Ashland | MA | 452990.1393 | 284266.8 | 168723.3393 | 59.35% | 397972.9 | 55017.2393 | 13.82% | 1. Inverter 56 was offline from 07:00AM to 17:00 on 05/16. 2. Inverter 5 was underperforming approximately 3kW from 05/13 at 12:45 and back to its peers from 05/17 at 10:00 inverter 7 was underperforming approximately 10kW 05/10 and back to its peers from 05/17 at 10:00 inverter 26 was underperforming approximately 4kW from 06/09/21 and back to its peers from 05/17 at 10:00. 3. Inverter 56 was offline from 07:00AM to 12:00PM on 05/19. 4. Inverter 64 was offline from 10:00AM to 13:45 on 05/21. 5. Inverter 6 was offline at 13:30 on 05/23 and back online at 07:00AM on 05/24. 6. Inverter 51 was underperforming approximately 4kW compare to its peers from 05/21 at 14:15 7. Weather station was not communicated from 04/15 to 05/08 | 1. SR084763 2. SR084779, SR083238, SR072698 3. SR084836 4. SR084939 5. SR085082 6. SR085277
Barrington | MA | 86339.5 | 77217.49 | 9122.01 | 11.81% | 88630 | -2290.5 | -2.584%
Bedford - 205 Burlington Rd | MA | 42474 | 0 | 42474 |  | 0 | 42474 |  | 1. Inverter 3 was offline at 07:00AM on 05/25 and later back online at 14:50 on 05/28, 2. Inverter 3 was offline from 07:00AM on 05/29 and Inverter 3 needs an arc board and will stay offline, inverter 5 tripped offline on 05/29 at 15:25 and back online on 05/31 at 16:00 | 1. SR085151 2. SR085278
Billerica - 6 Cook Street | MA | 36051 | 0 | 36051 |  | 0 | 36051 |  | 1. Site offline from 12:50PM on 05/28 to month end | 1. SR085274
Billerica - 780 Boston Road | MA | 45941 | 0 | 45941 |  | 0 | 45941 |  | 1. Inverter 7 tripped offline at 10:15AM on 05/21 and later back online at 07:00AM on 05/22 | 1. SR084969
Cheshire | MA | 86900 | 90124.36 | -3224.36 | -3.578% | 72538.91 | 14361.09 | 19.8%
Lilly Lane | MA | 187341 | 170623 | 16718 | 9.798% | 175820.9 | 11520.1 | 6.552%
Monument Valley | MA | 345191.5255 | 62239.27 | 282952.2555 | 454.6% | 0 | 345191.5255 |  | 1. Planned outage from 05/28 to 06/01 2. Expected energy values are low compared to actual and estimated, case created with Also Energy. | 1. SR084791 2. SR087370
Nationwide | MA | 688778.5 | 520436.9 | 168341.6 | 32.35% | 551905.2 | 136873.3 | 24.8% | 1.Inverter 13 tripped offline on 05/28 at 08:15 till end of the month | 1.SR085230
Pulpit Hill | MA | 778918.25 | 792881.8 | -13963.55 | -1.761% | 784998.9 | -6080.65 | -0.7746% | 1. Inverters 17-21 were left offline on 05/10 for stripped lug for panel HP5 and back online on 05/31 at 13:00 | 1.SR084525
Sandwich | MA | 554953 | 0 | 554953 |  | 0 | 554953 |  | 1.Pad 4 was offline from 08:00 to 09:45 on 05/31 | 1.SR085345
Sturbridge Barn | MA | 183646 | 179311.5 | 4334.5 | 2.417% | 200705.7 | -17059.7 | -8.5%
Sturbridge Garage | MA | 92582.75 | 85768.17 | 6814.58 | 7.945% | 86851.12 | 5731.63 | 6.599%
Halsey Valley | NY | 923966 | 928661.1 | -4695.1 | -0.5056% | 1022000 | -98034 | -9.592% | 1.Inverter 13 tripped offline on 05/05 at 11:15 till end of the month 2.Inverter 25 started late at 16:00 on 05/10 3.Inverter 14 has a string down from 03/17 till end of the month and tripped offline on 06/27 at 09:30 and back online at 14:45. | 1.SR084274 2.SR084564 3.SR081968
Hunt Creek | NY | 691726 | 684081.8 | 7644.2 | 1.117% | 742100 | -50374 | -6.788% | 1.Inverters 1-6, 8, 10-19, 22-30 are tripped offline on 05/23 at 13:45 and back online at 15:00, site has a brief outage from 09:44 AM to 10:04AM on 05/27 and inverters back back online at 11:15 but inverter 27 was back online at 14:30 and inevrter 27 again tripped offline at 17:30 and resolved at the end of the day 2.Site tripped offline on 05/14 at 00:30 and back online at 03:00 | 1.SR083658 2.SR084647
Smith Creek | NY | 724533 | 747212.8 | -22679.8 | -3.035% | 752022.3 | -27489.3 | -3.655% | 1.Site tripped offline on 05/14 at 00:30 and back online at 01:30 2.All Inverters except 10 & 14 tripped offline at 18:30 on 05/26 and back online on 05/27 at 07:00, Site has a brief outage from 09:43AM to 10:00AM and inverters started late at 11:00. | 1.SR084646 2.SR085174

## Jun
Lodestar |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 9319985.5688 | 7593576.03 | 1726409.5388 | 22.74% | 7538069.54 | 1781916.0288 | 23.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 151622 | 170892.2 | -19270.2 | -11.28% | 193982.6 | -42360.6 | -21.84% | 1.Site tripped offline on 06/21 at 19:00 and back online on 06/26 at 15:00 2.Combiner box 1.13 was offline from 05/13 3.Combiner box 1.1 was offline from 06/04 at 07:00 4.Site tripped offline on 06/30 at 14:30 5.The site was taken offline from 09:00 to 12:15 on 06/17 for safety inspect the AC switchgear. | 1.SR086618 2.SR084617 3.SR085539 4.SR087141 5.PM3268
Bunce | CT | 378238.75 | 285369.2 | 92869.55 | 32.54% | 0 | 378238.75
Norcap North | CT | 395338 | 357020.7 | 38317.3 | 10.73% | 372302.4 | 23035.6 | 6.187% | 1.Inverter 7 tripped offline at 16:00 on 06/01 and back online on 06/13 at 09:45 2. Inverter 4 was offline from 06/05 at 07:00 and back online on 06/06 3.Inverter 4 was offline from 06/18 at 07:00 and back online on 06/19 and again offline on 06/23 at 07:00 and back online on 06/24 4.Inverter 25 was offline from 06/23 at 07:00 and back online on 06/24 5. Inverter 29 was underperforming approximately 4kW compared to its peers from 01/15/24. | 1.SR085410 2.SR085568 3.SR086136 4.SR086764 5. SR083869
Norcap South | CT | 398328 | 376859.7 | 21468.3 | 5.697% | 364945.4 | 33382.6 | 9.147% | 1.Inverter 55 was back online on 06/02 at 11:30 2.Inverter 55 was offline from 06/03 at 07:00 and back online on 06/13 at 10:00 3.Inverter 61 was offline from 06/17 at 06:15 | 1.SR085318 2.SR085761 3.SR086313
Platt Hill | CT | 435241 | 432722.3 | 2518.7 | 0.5821% | 408070 | 27171 | 6.658%
Powder Hill | CT | 387569 | 393043.1 | -5474.1 | -1.393% | 286956 | 100613 | 35.06% | 1.Inverter 6 derating during high irradiance days since 5/24/24 2.Inverter 3 underperforming since 5/21/24 and back to peersfrom 06/12 at 15:15 3.Inverter 4 tripped offline on 06/20 at 06:45 and back online on 06/26 at 12:45 4.Inverter 6 tripped offline at 07:30 on 06/22 and back online on 06/26 at 09:30 | 1.SR085493 2.SR085494 3.SR086487 4.SR086637
Sand Road | CT | 411839.9802 | 342254.8 | 69585.1802 | 20.33% | 348315 | 63524.9802 | 18.24% | 1.Site tripped offline at 12:30 on 06/30 | 1.SR087147
Suffield | CT | 409009 | 397534.2 | 11474.8 | 2.886% | 385905.1 | 23103.9 | 5.987%
Ashby-Duffy | MA | 366239.5 | 360487.1 | 5752.4 | 1.596% | 356597.4 | 9642.1 | 2.704% | 1.Inverter 44 tripped offline on 06/24 at 10:30 and back online on 06/27 at 14:45 | 1.SR086870
Ashland | MA | 408345.0473 | 408357.6 | -12.5527 | -0.003074% | 401173.2 | 7171.8473 | 1.788% | 1.Inverter 51 was producing with its peers from 06/21 at 11:00 | 1.SR085277
Barrington | MA | 86103.5 | 75594.45 | 10509.05 | 13.9% | 85100 | 1003.5 | 1.179%
Bedford - 205 Burlington Rd | MA | 37813 | 0 | 37813 |  | 0 | 37813 |  | 1.Inverter 3 was offline from 07:00AM on 05/29 through out the month 2.Inverter 5 tripped offline on 06/10 at 18:10 | 1.SR085278 2.SR085862
Billerica - 6 Cook Street | MA | 29477 | 0 | 29477 |  | 0 | 29477 |  | 1.Site was back online from 06/06 at 09:15 2.Site was offline on 06/08 at 12:30 and back online on 06/09 at 10:35 3.Site was offline on 06/10 at 14:05 back online 06/13 at 09:40 4.Site was offline on 06/20 at 12:30 and back online on 06/21 at 08:15 and again offline from 10:20 and back online on 06/26 at 09:00 | 1. SR085274 2.SR085758 3.SR085857 4.SR086514
Billerica - 780 Boston Road | MA | 50719 | 0 | 50719 |  | 0 | 50719
Cheshire | MA | 85983.5 | 89600.91 | -3617.41 | -4.037% | 70804.72 | 15178.78 | 21.44% | 1.Site tripped offline on 06/24 at 20:30 and back online at 21:15 | 1.SR086878
Lilly Lane | MA | 203524.5 | 187417 | 16107.5 | 8.594% | 177912.4 | 25612.1 | 14.4% | 1.Inverters 57-63 are tripped offline on 06/28 at 09:45 and back online at 16:00 | 1.SR087087
Monument Valley | MA | 392015.2965 | 69705.06 | 322310.2365 | 462.4% | 0 | 392015.2965 |  | 1.Site was back online on 06/01 at 12:00 2.Site was offline from 20:00 on 06/01 and back online on 11:45 on 06/02 3. Expected Gneration values are too low , reached out to AlsoEnergy for asswastance | 1. SR084791 2.SR085414 3. SR087370
Nationwide | MA | 744592.5 | 561028.5 | 183564 | 32.72% | 552555.9 | 192036.6 | 34.75% | 1.Inverter 13 was back online from 06/02 at 11:15 and offline from 06/03 and back online from 06/10 at 06:30 | 1.SR085230
Pulpit Hill | MA | 732560.25 | 361827.2 | 370733.05 | 102.5% | 802158.5 | -69598.25 | -8.676% | 1.Inverter 19 was derating about 17kW and external fan fault from 06/02 at 14:15 and back to normal on 06/07 2.Inverter 6 tripped offline on 06/04 at 09:15 and back online at 12:15 on 06/05 and again tripped offline 10:00 on 06/06 and back online on 06/07 and again tripped offline on 06/07 at 11 :15 and back online on 06/26 at 12:45 3.Inverter 22 has a multiple tripping and have a hwastory of self resolving and again tripping offline the next day 4. Weather station stopped communicating from 06/09 to 06/26 due to that expected generation was nearly half of the actual. | 1.SR085486 2.SR085541 3.SR087059 4.SR085796
Sandwich | MA | 582219 | 0 | 582219 |  | 0 | 582219 |  | 1. Site was kept offline from 06/13 at 06:15 and tunedback online on 06/14 at 10:15 2.Site tripped offline on 06/23 at 21:15 and back online on 06/24 at 13:30 3.Inverter 8 was kept offline on 06/23 and back online on 06/26 at 09:30 | 1.SR085727 2.SR086809 3.SR086848
Sturbridge Barn | MA | 198837 | 195202.3 | 3634.7 | 1.862% | 197006.1 | 1830.9 | 0.9294%
Sturbridge Garage | MA | 102318.5 | 92874.71 | 9443.79 | 10.17% | 87884.22 | 14434.28 | 16.42%
Halsey Valley | NY | 940231 | 955473.5 | -15242.5 | -1.595% | 986000 | -45769 | -4.642% | 1.Inverter 13 tripped offline on 05/05 at 11:15 till end of the month 2.Inverter 14 has a string down from 03/17 till end of the month and tripped offline on 06/27 at 09:30 and back online at 14:45. | 1.SR084274 2.SR081968
Hunt Creek | NY | 676433.464 | 705205.1 | -28771.636 | -4.08% | 706700 | -30266.536 | -4.283% | 1.Inverters 2, 8, 13, 14, 15, 17, 18, 22, 26, 27, 28 are tripped offline on 06/05 at 18:30 and back online at 07:00 on 06/06, Inverters 2, 3, 5, 8, 14, 15, 19, 23 & 27 at 17:15 on 06/06 and back online at 19:00, Inverters 2, 5, 8, 14, 23, 27 & 28 are tripped offline on 06/17 at 14:45 and back online at 16:45 2.Site was offline on 06/20 at 17:15 and back online on 06/21 at 07:00 3.Site tripped offline on 06/30 at 08:30 and back online on 07/01 | 1.SR085607 2.SR086524 3.SR087138
Smith Creek | NY | 715387.7807 | 775106.4 | -59718.6193 | -7.705% | 753700.6 | -38312.8193 | -5.083% | 1.Site was offline on 06/20 at 17:15 and back online on 06/21 at 07:00 2.Site has tripped offline on 06/30 at 08:30 and back online on 07/01 | 1.SR086525 2.SR087137

## Jul
Lodestar |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 9041351.3331 | 7897048.53 | 1144302.8031 | 14.49% | 7956157.99 | 1085193.3431 | 13.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 159234 | 191586 | -32352 | -16.89% | 196465.3 | -37231.3 | -18.95% | 1. Combiner box 1.14 is producing double the amps compared to peers from 06/03. 2. Combiner box 1.1 is offline from 06/04. 3. Site tripped offline at 14:30 on 06/30 and back online at 07:45AM on 07/01. | 1. SR085462, SR084617 2. SR085539 3. SR087141
Bunce | CT | 390087.25 | 296867.8 | 93219.45 | 31.4% | 0 | 390087.25
Norcap North | CT | 386328 | 349481.2 | 36846.8 | 10.54% | 381922.2 | 4405.8 | 1.154% | 1. Inverter 25 is offline on 07/07 later back online on 07/08 and inverter 25 is again offline on 07/25 and back online on 07/26. | 1. SR086764, SR088228
Norcap South | CT | 382575.5 | 369441.1 | 13134.4 | 3.555% | 373890.8 | 8684.7 | 2.323%
Platt Hill | CT | 645 | 52792.23 | -52147.23 | -98.78% | 460450.4 | -459805.4 | -99.86% | 1. Site offline from 07/01. | 1. SR087330
Powder Hill | CT | 374785 | 377123.9 | -2338.9 | -0.6202% | 306552 | 68233 | 22.26% | 1.Inverter 6 is offline on 07/06 and back online on 07/08 and Inverter 6 again offline from 07/17. | 1. SR087409,SR087575,SR087821,SR088376
Sand Road | CT | 397883.0198 | 338643.4 | 59239.6198 | 17.49% | 370289 | 27594.0198 | 7.452% | 1. Inverter 9 is offline from 07:00AM to 12:00PM on 07/15. 2. Again inverer 9 offline from 07:00AM to 17:15 on 07/24, inverter 9 offline from 07:00AM to 14:30 on 07/25 and inverter 9 offline from 07:00AM to 10:00AM on 07/26. | 1. SR087707 2. SR088101
Suffield | CT | 391495.0732 | 388561.7 | 2933.3732 | 0.7549% | 389406.2 | 2088.8732 | 0.5364% | 1. Site tripped offline at 17:45 on 07/31 and back online at 13:$5 on 08/01. | 1.SR088485
Ashby-Duffy | MA | 351673 | 374124.3 | -22451.3 | -6.001% | 364281.6 | -12608.6 | -3.461% | 1. Inverters 29, 39 and 44 are offline at 07:00AM on 07/10 and back online at 11:45AM on 07/11. | 1.SR087548
Ashland | MA | 380110.4527 | 376119.1 | 3991.3527 | 1.061% | 412652.5 | -32542.0473 | -7.886% | 1. Inverter 6 is from 07:00AM to 14:30 on 07/21. 2. Inverter 49 tripped offline at 16:15 on 07/28 and back online at 07:00AM on 07/29. | 1. SR087973 2. SR088322, SR088449
Barrington | MA | 87936 | 74920.89 | 13015.11 | 17.37% | 92730 | -4794 | -5.17%
Bedford - 205 Burlington Rd | MA | 34743 | 0 | 34743 |  | 0 | 34743
Billerica - 6 Cook Street | MA | 42913 | 0 | 42913 |  | 0 | 42913
Billerica - 780 Boston Road | MA | 48929 | 0 | 48929 |  | 0 | 48929
Cheshire | MA | 88670.0322 | 92482.17 | -3812.1378 | -4.122% | 74385.87 | 14284.1622 | 19.2%
Lilly Lane | MA | 192601.5 | 175565.6 | 17035.9 | 9.703% | 188370.5 | 4231 | 2.246% | 1. Inverter 52 is offline from 07:00AM to 10:00AM on 07/27. | 1. SR088292
Monument Valley | MA | 410604 | 75065.2 | 335538.8 | 447% | 0 | 410604 |  | 1. Expected generation values are low compared to the Actual and Estimated values | 1. SR087370
Nationwide | MA | 702416 | 525495.5 | 176920.5 | 33.67% | 601743.9 | 100672.1 | 16.73% | 1. Site is offline from 16:00 on 07/17 and back online at 12:00PM on 07/19. | 1. SR087853
Pulpit Hill | MA | 869048.75 | 840772.6 | 28276.15 | 3.363% | 811987.9 | 57060.85 | 7.027%
Sandwich | MA | 521868 | 0 | 521868 |  | 0 | 521868
Sturbridge Barn | MA | 186423 | 183255.5 | 3167.5 | 1.728% | 210258.8 | -23835.8 | -11.34%
Sturbridge Garage | MA | 95677 | 87732.34 | 7944.66 | 9.056% | 93050.82 | 2626.18 | 2.822%
Halsey Valley | NY | 1091705 | 1081012 | 10693 | 0.9892% | 1064000 | 27705 | 2.604%
Hunt Creek | NY | 687118.536 | 783948.8 | -96830.264 | -12.35% | 755800 | -68681.464 | -9.087% | 1. Inverters 2,3,5,8,10, 14 and 15 are offline from 14:30 to 17:30 on 07/02. 2. Meter offline from 07//03 and back online at 19:00 on 07/05. 3. Inverters are offline from 15:30 to 18:45 on 07/04. 4. Site tripped offline at 11:15AM on 07/22 and back online at 14:30 on 07/23. 5. Inverters 1,2,3,4,6,5,8,10,14 and 15 are offline from 14:00 to 18:45 on 07/27. 6. Site tripped offline on 06/30 at 08:30AM and back online at 15:30 on 07/01 | 1. SR087295 2. SR087367 3. SR087377 4. SR088004 5. SR088302 6. SR087138
Smith Creek | NY | 765882.2193 | 862057.2 | -96174.9807 | -11.16% | 807920.2 | -42037.9807 | -5.203% | 1. Inverters are offline from 15:30 to 18:45 on 07/04. 2. Inverter 15 offline from 11:30AM to 12:30PM on 07/10. 3. Inverters 1, 2 & 15 are offline from 15:14 to 18:20 on 07/27. 4. All inverter are offline from 08:15AM to 11:30AM on 07/31. 5. Site tripped offline on 06/30 at 08:30 and back online at 15:30 on 07/01 | 1. SR087376 2. SR087551 3. SR088303 4. SR088452 5. SR087137

## Aug
Lodestar |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 7571185.2086 | 6533264.38 | 1037920.8286 | 15.89% | 7068513.54 | 502671.6686 | 7.111%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 138052 | 172615.7 | -34563.7 | -20.02% | 185797.3 | -47745.3 | -25.7% | 1. Inverter module 1.3 derated due to multiple tripping events from 8/22 resolved on 8/28 2.Combiner box 1.13 was offline from 05/13 3. Inverter CTs in CB1.13 and 1.14, the inverter will be taken offline on 8/29 | 1.SR089436 2.SR084617 3.SR089658
Bunce | CT | 326056.5 | 261052.1 | 65004.4 | 24.9% | 0 | 326056.5
Norcap North | CT | 338439.5 | 327032.4 | 11407.1 | 3.488% | 362318.7 | -23879.2 | -6.591% | 1.Inverters 5,6,7 and 8 tripped offline and reporting " Grid under Frequency" from 8/10 at 14:15 and back online on 8/12 at 10:15 2.Inverter 31 is underperforming approximately 5kW and also derating during noon hours on high irradiance days. | 1.SR088878 2.SR089585
Norcap South | CT | 341863 | 341992.9 | -129.9 | -0.03798% | 355838.3 | -13975.3 | -3.927% | 1.Inverter 59 offline ffrom 8/8 through out the month and also Inverter 61 offline from 8/8 and back online on 8/9 2.Inverter 61 is derating, producing 39.8kW and reporting "External fan fault" from 8/10 | 1.SR088760,SR088920 2.SR088877
Platt Hill | CT | 0 | 0 | 0 |  | 0 | 0 |  | 1.Site offline through out the month | 1.SR087160,PM #4561
Powder Hill | CT | 307436 | 331328.6 | -23892.6 | -7.211% | 284916 | 22520 | 7.904% | 1.Inverter 6 back online on 8/20 2. Inverter 1 production dropped and constantly producing 4kW from 8/5 3.Inverter 2 offline on 8/29 and back online on 8/30 | 1.SR087409 2. SR088659 3. SR089699
Sand Road | CT | 335026 | 298161.4 | 36864.6 | 12.36% | 328508 | 6518 | 1.984% | 1.Site offline from 8/2 at 15:00 and back online at 08:15 on 8/3 2.Inverter 9 offfline from 8/2 and back online on 8/15 at 13:45 | 1. SR088551 2. SR089048
Suffield | CT | 331521.9268 | 329855 | 1666.9268 | 0.5054% | 365268.1 | -33746.1732 | -9.239% | 1.Site back online on 8/1 at 13:45 2. Inverter 2.1 is offline due to Phase A & B voltages dropped down from 8/19 and back online 8/28 at 15:00 | 1.SR088485 2. SR089268
Ashby-Duffy | MA | 282285 | 340050.7 | -57765.7 | -16.99% | 358908.2 | -76623.2 | -21.35% | 1.Inverters 47 & 59 are underperforming approximately 10kW | 1.SR089715
Ashland | MA | 348630.5 | 354266.8 | -5636.3 | -1.591% | 387370.5 | -38740 | -10% | 1.Inverter 67 offline multiple days 2. Inverter 12 offline from 8/18 and back online on 8/19 and again offline on 8/28 back online on 8/29 3.inverters 3 and 26 are down 1 string each and inverter 5 is down 2 strings. The total kW down is about 20kW 4.Inverter 49 tripped offline every day from 8/22 at 12:45 | 1. SR088450 2.SR089216 3.SR089351 4.SR088322
Barrington | MA | 73571.5 | 63238.5 | 10333 | 16.34% | 87310 | -13738.5 | -15.74%
Bedford - 205 Burlington Rd | MA | 30957 | 0 | 30957 |  | 0 | 30957
Billerica - 6 Cook Street | MA | 38002 | 0 | 38002 |  | 0 | 38002
Billerica - 780 Boston Road | MA | 43311 | 0 | 43311 |  | 0 | 43311
Cheshire | MA | 71721.4678 | 74948.66 | -3227.1922 | -4.306% | 66027.44 | 5694.0278 | 8.624%
Lilly Lane | MA | 176695.5 | 162968.2 | 13727.3 | 8.423% | 179222.6 | -2527.1 | -1.41%
Monument Valley | MA | 333003 | 64015.77 | 268987.23 | 420.2% | 0 | 333003 |  | 1.Expected Gneration values are too low , reached out to AlsoEnergy for assistance | 1. SR087370
Nationwide | MA | 500263.5764 | 390885.6 | 109377.9764 | 27.98% | 540286.6 | -40023.0236 | -7.408% | 1.Inverter 13 tripped offline multiple days , inverter is under RMA'd process. 2.Site offline from 8/16 at 22:30 and back online on 8/19 at 09:45AM 3.Site offline from 8/27 at 08:45 AM through out the month | 1.SR085853 2. SR089183 3.SR089633
Pulpit Hill | MA | 729427 | 713098.9 | 16328.1 | 2.29% | 796702.5 | -67275.5 | -8.444% | 1. Inverter 34 is underproducing. DC current 3 dropped to zero at 1:15pm from 7/25. | 1. SR088281
Sandwich | MA | 548939 | 0 | 548939 |  | 0 | 548939 |  | 1.Pad 4 tripped offline at 12:30 on 8/4 2. Pad 4 tripped offline at 12:47 on 8/11 | 1. SR088585 2. SR088903
Sturbridge Barn | MA | 171571.5 | 168397.9 | 3173.6 | 1.885% | 192414.7 | -20843.2 | -10.83%
Sturbridge Garage | MA | 88858.75 | 80597.65 | 8261.1 | 10.25% | 88531.5 | 327.25 | 0.3696%
Halsey Valley | NY | 818929 | 813284.3 | 5644.7 | 0.6941% | 1015000 | -196071 | -19.32%
Hunt Creek | NY | 574787 | 591162.3 | -16375.3 | -2.77% | 723000 | -148213 | -20.5% | 1. Inverters 2,3,5,8,14,15 offline after brief outage on 8/15 and also again All inverters tripped offline, inverter and meter voltages are available. Inverter 4 tripped offline at 09:30Am from 8/25 and back online on 8/28 and again inverter 4 offline from 8/29 | 1. SR089133
Smith Creek | NY | 621837.4876 | 654311 | -32473.5124 | -4.963% | 751093.1 | -129255.6124 | -17.21%

## Sep
Lodestar |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 7187930.8484 | 6354949.45 | 832981.3984 | 13.11% | 5980589.49 | 1207341.3584 | 20.19%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 167315 | 172629.2 | -5314.2 | -3.078% | 165068.6 | 2246.4 | 1.361%
Bunce | CT | 313339.5 | 272827.3 | 40512.2 | 14.85% | 0 | 313339.5
Norcap North | CT | 314854 | 320661 | -5807 | -1.811% | 320205.3 | -5351.3 | -1.671%
Norcap South | CT | 323402.5 | 340065.3 | -16662.8 | -4.9% | 314501.2 | 8901.3 | 2.83%
Platt Hill | CT | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site offline from 07/01. | 1. SR087330
Powder Hill | CT | 294504 | 304889.1 | -10385.1 | -3.406% | 245616 | 48888 | 19.9%
Sand Road | CT | 345718 | 309286.8 | 36431.2 | 11.78% | 273983 | 71735 | 26.18%
Suffield | CT | 326410 | 315691.8 | 10718.2 | 3.395% | 318246.7 | 8163.3 | 2.565%
Ashby-Duffy | MA | 289962 | 360378.5 | -70416.5 | -19.54% | 297997 | -8035 | -2.696% | 1. Production meter power has dropped from 380 kW to 209 kW, and approximately 6 inverters are offline. We can confirm that inverters 25, 28, and 29 are tripped offline at 12:30PM on 09/05 as they are communicating but remaining inverters are not communicating and issue resolved on 09/06. 2. Inverters from 25 to 32 tripped offline at 10:00AM on 09/11 and back online at 10:30AM on 09/12. 3. Inverter 24 is offline from 09/21 and back online at 08:45AM on 09/22. | 1. SR090026 2. SR090294 3. SR091025
Ashland | MA | 300454.8802 | 314513.3 | -14058.4198 | -4.47% | 327398.9 | -26944.0198 | -8.23%
Barrington | MA | 71466.5 | 60987.82 | 10478.68 | 17.18% | 73860 | -2393.5 | -3.241%
Bedford - 205 Burlington Rd | MA | 34000 | 0 | 34000 |  | 0 | 34000
Billerica - 6 Cook Street | MA | 31806 | 0 | 31806 |  | 0 | 31806
Billerica - 780 Boston Road | MA | 36498 | 0 | 36498 |  | 0 | 36498
Cheshire | MA | 76237.25 | 79128.25 | -2891 | -3.654% | 51102.14 | 25135.11 | 49.19%
Lilly Lane | MA | 163786 | 154007.1 | 9778.9 | 6.35% | 163298.8 | 487.2 | 0.2983%
Monument Valley | MA | 326102.7822 | 70095.98 | 256006.8022 | 365.2% | 0 | 326102.7822 |  | 1. Battery 4 is offline from 09/24. 2. Expected generation values are low compared to the Actual and Estimated values. Expected values are calculated based on inverter data and weather conditions. However, due to communication issues with the inverters, the current expected value remains low. | 1. SR091349 2. SR087370
Nationwide | MA | 389213.4236 | 335892.7 | 53320.7236 | 15.87% | 462200 | -72986.5764 | -15.79%
Pulpit Hill | MA | 695778 | 673969.8 | 21808.2 | 3.236% | 645367.9 | 50410.1 | 7.811%
Sandwich | MA | 438521 | 0 | 438521 |  | 0 | 438521
Sturbridge Barn | MA | 161298 | 161618.6 | -320.6 | -0.1984% | 164945.6 | -3647.6 | -2.211%
Sturbridge Garage | MA | 81995.5 | 77128.4 | 4867.1 | 6.31% | 80665.85 | 1329.65 | 1.648%
Halsey Valley | NY | 825717 | 812548.6 | 13168.4 | 1.621% | 840000 | -14283 | -1.7%
Hunt Creek | NY | 557659 | 579389.3 | -21730.3 | -3.751% | 602800 | -45141 | -7.489%
Smith Creek | NY | 621892.5124 | 639240.6 | -17348.0876 | -2.714% | 633332.5 | -11439.9876 | -1.806%

## Oct
Lodestar |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 7165769.2683 | 6711104.87 | 454664.3983 | 6.775% | 5096506 | 2069263.2683 | 40.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 175293 | 187503.5 | -12210.5 | -6.512% | 133100 | 42193 | 31.7% | 1. Combiner 1.14 (DCP-3) is showing constant value of 312Amps from 08/30 | 1. SR089788
Bunce | CT | 307912 | 311500.4 | -3588.4 | -1.152% | 0 | 307912
Norcap North | CT | 336186.5 | 379363.3 | -43176.8 | -11.38% | 270400 | 65786.5 | 24.33% | 1. Inverter 32 is underperforming approximately 4-5kw started from 10/5/2024 and throughout the month. 2. Inverter 1 underperforming approximately 5kW compared to its peers started from 10/19/2024 and throughout the month. Inverter 2 underperforming approximately 4kW compared to its peers from 10/18/2024 and throughout the month. | 1. SR091897 2. SR092641
Norcap South | CT | 346731.5 | 408596.2 | -61864.7 | -15.14% | 259100 | 87631.5 | 33.82% | 1. Inverter 68 has tripped offline at 09:00AM on 10/12/2024 and back online at 9:00AM on 10/15/2024. 2. Inverter 36 has started late for production at 14:00 on 10/30/2024. | 1. SR092081 2. SR092771
Platt Hill | CT | 174373.9306 | 172356.3 | 2017.6306 | 1.171% | 280512 | -106138.0694 | -37.84% | 1. Site is offline from 8AM on 07/01/2024 and back online at 10AM on 10/17/2024. 2. Site tripped offline at 11:15AM on 10/20/2024 and back online at 07:15AM on 10/21/2024. 3. Site is offline from 13:15 on 10/31/2024 and back online at 13:15 on 11/01. | 1. SR087330 2. SR092371 3. SR092854
Powder Hill | CT | 298993 | 312991.3 | -13998.3 | -4.472% | 189168 | 109825 | 58.06% | 1. Inverter 12 is offline from 13:00 on 09/16/2024 and back online at 12Pm on 10/09/2024. 2. Inverter 10 tripped offline at 09:15 on 09/18/2024 and being RMA'd and back online at 12Pm on 10/09/2024. 3. Site offline from 10:30AM to 11:00AM on 10/10/24. | 1.SR090627 2.SR090668 3. SR091969
Sand Road | CT | 331669 | 310481.6 | 21187.4 | 6.824% | 190297 | 141372 | 74.29% | 1. Site tripped offline at 18:00 on 10/25/2024 and back online at 14:00 on 10/26/2024. | 1.SR092605
Suffield | CT | 337787 | 322372.6 | 15414.4 | 4.782% | 260100 | 77687 | 29.87%
Ashby-Duffy | MA | 296403 | 375051 | -78648 | -20.97% | 273300 | 23103 | 8.453% | 1. Inverters 43, 47 and 59 are derating through out the month. 2. Inverter 24 was offline on 10/07 and back online at 09:30 on 11/08 and again offline on 10/30 and back online on 10/31. 3.Site tripped offline at 14:45 on 10/31. | 1.SR091836 2.SR091861,SR092775 3.SR092845
Ashland | MA | 269204.6198 | 306008.6 | -36803.9802 | -12.03% | 266600 | 2604.6198 | 0.977% | 1. Inverter 67 is being RMA'D from 10/09/24. 2. Inverter 49 is being RMA'D. 3. Inverter 6 started delay production at 12:30 on 10/05. 4. Inverter 56 started delay production at 13:00 on 10/11 and delay started at 15:30 on 10/20 and was offline on 10/28. 5. Inverter 12 was offline on 10/13, 10/15, 10/21, 10/28 and 10/29. 6. Inverter 66 tripped offline at 08:45 on 10/28 and back online on 10/29. 7. Inverter 7 was offline on 10/29 and back online on 10/30. 8. Inverter 57 is being RMA'D | 1.SR088450, SR089929,SR092649 2.SR090383 3.SR091815 4.SR092043 5.SR092114 6.SR092649 7. SR092740 8.SR077362,SR091962
Barrington | MA | 66891.5 | 59892.62 | 6998.88 | 11.69% | 60070 | 6821.5 | 11.36%
Bedford - 205 Burlington Rd | MA | 30803 | 0 | 30803 |  | 0 | 30803
Billerica - 6 Cook Street | MA | 26168 | 0 | 26168 |  | 0 | 26168
Billerica - 780 Boston Road | MA | 29960 | 0 | 29960 |  | 0 | 29960
Cheshire | MA | 72433.5 | 75802.64 | -3369.14 | -4.445% | 38943 | 33490.5 | 86%
Lilly Lane | MA | 157630 | 139518.2 | 18111.8 | 12.98% | 131783 | 25847 | 19.61%
Monument Valley | MA | 238792.2178 | 72177.23 | 166614.9878 | 230.8% | 0 | 238792.2178 |  | 1. Battery Inverter 4 is offline from 09/28. 2. Expected generation values are low compared to the Actual values. Also Energy stated that Expected values are calculated based on inverter data and weather conditions also recommended onsite visit. However, due to communication issues with the inverters, the current expected value remains low. | 1.SR091349, SR092422 2.SR087370
Nationwide | MA | 431701.5 | 428527.4 | 3174.1 | 0.7407% | 363351 | 68350.5 | 18.81% | 1. Inverter 13 is being RMA'D from 06/07 and back online on 10/22. | 1.SR085230, SR085853
Pulpit Hill | MA | 597491.5 | 585625.9 | 11865.6 | 2.026% | 564300 | 33191.5 | 5.882% | 1.Site tripped offline at 8:15 on 10/01 and back online on 10/05. 2.Inverter 34 is underproducing from 07/26 and is being RMA'D from 10/31. | 1.SR091305 2.SR088281, SR092816
Sandwich | MA | 469430 | 0 | 469430 |  | 0 | 469430
Sturbridge Barn | MA | 159114.5 | 165239.6 | -6125.1 | -3.707% | 150444 | 8670.5 | 5.763%
Sturbridge Garage | MA | 79165 | 79073.28 | 91.72 | 0.116% | 65098 | 14067 | 21.61%
Halsey Valley | NY | 816279 | 815179.7 | 1099.3 | 0.1349% | 659000 | 157279 | 23.87%
Hunt Creek | NY | 498855 | 567841.4 | -68986.4 | -12.15% | 444300 | 54555 | 12.28% | 1.Inverter 4 was offline throughout the month and is being RMA'D from 08/27. 2.Inverter 21 tripped offline at 08:30 on 10/24 and back online at 07:30 on 10/25 and Inverter 21 was having multiple trippings on 10/26 and issue self resolved on 10/27.And again Inverter 21 tripped offline at 11:00 on 10/30 throughout the month. | 1.SR089133,SR093547 2.SR092521
Smith Creek | NY | 616501 | 636002.1 | -19501.1 | -3.066% | 496640 | 119861 | 24.13% | 1.Inverter 1 tripped offline at 11:00 on 10/19 and back online at 12:00 on 10/19 | 1.SR092334

## Nov
Lodestar |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 4662567.2994 | 4816136.96 | -153569.6606 | -3.189% | 3557743 | 1104824.2994 | 31.05%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 121796 | 140174.4 | -18378.4 | -13.11% | 100400 | 21396 | 21.31% | 1. Combiner 1.14 (DCP-3) is showing constant value of 312Amps from 08/30 | 1. SR089788
Bunce | CT | 200627 | 229093.5 | -28466.5 | -12.43% | 0 | 200627
Norcap North | CT | 230392.5 | 305241.3 | -74848.8 | -24.52% | 207700 | 22692.5 | 10.93% | 1.Inverter 25 was offline from 11/21 throughout the month | 1.SR093486
Norcap South | CT | 240989.5 | 328122.5 | -87133 | -26.56% | 188100 | 52889.5 | 28.12% | 1.Inverter 54 was tripped offline on 11/03 and it is being RMA'd from 11/04 | 1.SR092910
Platt Hill | CT | 160963.0694 | 191145.3 | -30182.2306 | -15.79% | 218480 | -57516.9306 | -26.33% | 1.Site is offline from 10:30AM on 11/07 and back online at 16:30 PM on 11/07 2.Site is offline from 12:00 PM on 11/09 and back online at 13:30 PM on 11/10 3.Site is offline from 12:00 PM on 11/13 and back online at 12:15 on 11/14 and again site is offline from 11/18 throughout the month | 1.SR093032 2.SR093111 3.SR093209
Powder Hill | CT | 213626 | 226240.1 | -12614.1 | -5.576% | 141768 | 71858 | 50.69% | 1.Inverter 2 was offline from 11/16 and back online at 11:00 AM on 11/18 2. Inverters 5,6,9,10 are underperforming approximately 10 kW Inverters 2,4 are underperforming approximately 15 kW Inverters 7,11 are underperforming approximately 20 kW Inverter 8 is underperforming approximately 30 kW Above mentioned inverters are underperforming from 11/27. | 1.SR093337 2.SR093686
Sand Road | CT | 222258 | 209802.6 | 12455.4 | 5.937% | 135386 | 86872 | 64.17%
Suffield | CT | 242545 | 228953.9 | 13591.1 | 5.936% | 196200 | 46345 | 23.62%
Ashby-Duffy | MA | 182771 | 278791.3 | -96020.3 | -34.44% | 184400 | -1629 | -0.8834% | 1. Site tripped offline at 14:45 on 10/31 and back online at 13:00 on 11/07. 2. Inverters 43, 47 and 59 are derating through out the month. 3. Inverter 39 is offline on 11/18 and back online at 13:45 on 11/22. | 1.SR092845 2.SR091836 3.SR093098,SR093376, SR094255
Ashland | MA | 190657.5 | 241854.6 | -51197.1 | -21.17% | 159800 | 30857.5 | 19.31% | 1.Inverter 16 tripped offline at 8:15 on 11/13 and is being RMA'D. 2.Inverter 12 is being RMA'D. 3.Inverter 67 is being RMA'D. 4.Inverter 57 is being RMA'D. 5.Inverter 10 tripped offline at 7:30AM and back online at 11:45AM on 11/04. 6.Inverter 15 tripped offline at 8AM on 11/20 and back online at 14:15 on 11/22. 7.Inverter 6 started for delay production at 9:45AM on 11/20. | 1.SR093207 2.SR092114,SR093117 3.SR088450,SR089929,SR092649 4.SR077362,SR091962 5.SR092941 6.SR093456 7.SR093456
Barrington | MA | 40584 | 34890.5 | 5693.5 | 16.32% | 39410 | 1174 | 2.979% | 1. Site lost communication on 11/28 at 11:00 and restored on 12/02 at 07:00 | 1.SR093706
Bedford - 205 Burlington Rd | MA | 20874 | 0 | 20874 |  | 0 | 20874
Billerica - 6 Cook Street | MA | 17711 | 0 | 17711 |  | 0 | 17711
Billerica - 780 Boston Road | MA | 20293 | 0 | 20293 |  | 0 | 20293
Cheshire | MA | 43973 | 47803.39 | -3830.39 | -8.013% | 22459 | 21514 | 95.79%
Lilly Lane | MA | 109994.5 | 96719.5 | 13275 | 13.73% | 109658 | 336.5 | 0.3069%
Monument Valley | MA | 133545.98 | 46659.62 | 86886.36 | 186.2% | 0 | 133545.98 |  | 1. Site tripped offline at 8AM on 11/10 and back online at 9:45AM on 11/11. 2.Battery Inverter 4 is offline from 09/28. 3. Expected generation values are low compared to the Actual values. Also Energy stated that Expected values are calculated based on inverter data and weather conditions also recommended onsite visit. However, due to communication issues with the inverters, the current expected value remains low. | 1.SR093118 2.SR091349, SR092422 3.SR087370
Nationwide | MA | 296129 | 346793.7 | -50664.7 | -14.61% | 264275 | 31854 | 12.05%
Pulpit Hill | MA | 455816 | 476943.9 | -21127.9 | -4.43% | 360100 | 95716 | 26.58% | 1.Inverter 34 is being RMA'D from 10/31 2.Inverter 83 was offline from 07:00 on 11/23 to 11:00 on 11/27. | 1.SR092816 2.SR093591
Sandwich | MA | 336585 | 0 | 336585 |  | 0 | 336585
Sturbridge Barn | MA | 117841 | 130627.7 | -12786.7 | -9.789% | 106259 | 11582 | 10.9% | 1.Inverter 32 tripped offline at 08:00 on 11/02 and back online at 08:45 on 11/04 and again Inverter 32 tripped offline at 14:15 on 11/05 and back online at 08:45 on 11/06 and again Inverter 32 tripped offline at 08:15 on 11/29 throughout the month | 1.SR092893,SR092985, SR093718
Sturbridge Garage | MA | 58046.25 | 61680.25 | -3634 | -5.892% | 54168 | 3878.25 | 7.16% | 1.Inverter 3 tripped offline at 11:00 on 11/18 and back online at 06:15 on 11/19 and again tripped offline at 09:15 on 11/19 and baack online at 06:15 on 11/20 2.Inverter 2 Communication board is being RMA'd | 1.SR093378 2.SR078570
Halsey Valley | NY | 460237 | 485214.1 | -24977.1 | -5.148% | 424000 | 36237 | 8.546% | 1.Inverter 13 and 25 were offfline on 11/22 and back online at 11/23 2.Inverter 7 is producing the constant value 2.09 kW throughout the day on 11/23 and it is producing as expected from 11/24. | 1.SR093543 2.SR093557
Hunt Creek | NY | 209764 | 325319.6 | -115555.6 | -35.52% | 254400 | -44636 | -17.55% | 1.Inverter 4 was offline from 11/01 and back online at 12:15 on 11/13. 2.Inverter 21 has multiple trippings and resolved on 11/26/2024. 3. Inverter 27 tripped offline at 11:00 on 11/09 and back online at 11:30 on 11/09 4.Site tripped offline at 01:00 AM on 11/21 and back online at 09:15 on 11/21 | 1.SR089133 2.SR092521 3.SR093101 4.SR093479
Smith Creek | NY | 334548 | 384065.2 | -49517.2 | -12.89% | 390780 | -56232 | -14.39% | 1.Site tripped offline at 11:45 on 11/03 and back online at 10:30 on 11/04 2.Site tripped offline at 01:00 AM on 11/21 and bck online at 09:15 on 11/21 | 1.SR092915 2.SR093480

## Dec
Lodestar |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 2987449.27 | 3894483.15 | -907033.88 | -23.29% | 2833148.94 | 154300.33 | 5.446%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 74571 | 119163.7 | -44592.7 | -37.42% | 77294.7 | -2723.7 | -3.524% | 1. Combiner 1.14 (DCP-3) is showing constant value of 312Amps from 08/30 2. Inverter 1.2 is derating by approximately 120 kW due to multiple trip events from 12/13 and tripped offline at 10:15 AM on 12/15 and back online on 12/17 . | 1. SR089788 2. SR094679
Bunce | CT | 146370 | 186733.2 | -40363.2 | -21.62% | 0 | 146370
Norcap North | CT | 166140 | 267078.6 | -100938.6 | -37.79% | 154109.2 | 12030.8 | 7.807% | 1. Inverter 25 was offline at 6:45AM on 12/03 and back online at 11:45AM on 12/10, and having multiple tripping events from 12/11 2. Inverter 12 tripped offline at 13:30 on 12/30 | 1. SR094843 2. SR095170
Norcap South | CT | 184540 | 283185.1 | -98645.1 | -34.83% | 130065.9 | 54474.1 | 41.88% | 1.Inverter 54 back online at 12:45 on 12/02. 2. Inverter 36 was offline from 7:00 on 12/05 and was back online at 7:00AM 12/06, and again offline at 7:00Am on 12/10 and back online at 14:00 on 12/10, and again offline at 7:00Am on 12/28 and back online at 11:15 on 12/30. | 1. SR092910 2. SR095132
Platt Hill | CT | 190958 | 210857.1 | -19899.1 | -9.437% | 168780 | 22178 | 13.14% | 1. Site is offline from 11/18 and back online at 9:15 on 12/02/25. 2. Site tripped offline from 22:15 on 12/10 and back online at 01:45 AM on 12/11. | 1. SR093209 2. SR094378
Powder Hill | CT | 158479 | 189397.1 | -30918.1 | -16.32% | 117108 | 41371 | 35.33% | 1. All Inverters tripped offline at 08:45AM and back online at 15:15 on 12/05. 2. Inverter IH production dropped and constantly producing 5kW. | 1. SR094065 2. SR095081
Sand Road | CT | 150046 | 165703.6 | -15657.6 | -9.449% | 118038 | 32008 | 27.12%
Suffield | CT | 174960 | 187348.2 | -12388.2 | -6.612% | 150707 | 24253 | 16.09%
Ashby-Duffy | MA | 150232 | 281865.3 | -131633.3 | -46.7% | 139792.1 | 10439.9 | 7.468% | 1. Inverter 2 has multiple tripping events from 12/02. 2. Inverter 39 offline on 12/08 and back online at 10:30AM on 12/10, and Inverter 39 strings 5 & 6 are kept offline. | 1. SR093777 2. SR094255, SR094894
Ashland | MA | 108227 | 197439.4 | -89212.4 | -45.18% | 100449.9 | 7777.1 | 7.742% | 1.Inverter 16 tripped offline at 8:15 on 11/13 and is being RMA'D. 2.Inverter 12 is being RMA'D. 3.Inverter 67 is being RMA'D. 4.Inverter 57 is being RMA'D. 5.Inverter 66 is offline since 12/14 and back online at 07:45AM on 12/16 | 1.SR093207 2.SR092114,SR093117 3.SR088450,SR089929,SR092649 4.SR077362,SR091962 5. SR094685
Barrington | MA | 25761 | 27551.77 | -1790.77 | -6.5% | 27320 | -1559 | -5.706% | 1. Actual data was taken from total inverter production since data has not backfilled at meter level which lost communication on 11/28 at 11:00 and regained on 12/02
Bedford - 205 Burlington Rd | MA | 13770 | 0 | 13770 |  | 0 | 13770
Billerica - 6 Cook Street | MA | 11603 | 0 | 11603 |  | 0 | 11603
Billerica - 780 Boston Road | MA | 12928 | 0 | 12928 |  | 0 | 12928
Cheshire | MA | 19249.25 | 37113.68 | -17864.43 | -48.13% | 19100.85 | 148.4 | 0.7769%
Lilly Lane | MA | 58752 | 76342.35 | -17590.35 | -23.04% | 95948.55 | -37196.55 | -38.77% | 1. Inverter 47 is offline on 12/13 and back online at 9:30AM on 12/16. 2. Inverter 61 is offline from 7:00 AM to 2:00 PM on 12/23, and again offline from 12/24 until coming back online at 2:30 PM on 12/26. | 1. SR094605 2. SR095034, SR095088
Monument Valley | MA | 88652.02 | 37326.43 | 51325.59 | 137.5% | 0 | 88652.02 |  | 1. Pad 4 PV back online at 12:15 on 12/13 and again from 12/16 undergoing multiple tripping events. 2. Expected generation values are low compared to the Actual values. Also Energy stated that Expected values are calculated based on inverter data and weather conditions also recommended onsite visit. However, due to communication issues with the inverters, the current expected value remains low. | 1. SR092970 2. SR087370
Nationwide | MA | 194239 | 282677.9 | -88438.9 | -31.29% | 239157.1 | -44918.1 | -18.78%
Pulpit Hill | MA | 297159.5 | 385041.1 | -87881.6 | -22.82% | 292353.7 | 4805.8 | 1.644% | 1. Inverter 83 has string 8 down from 11/27 through the month. | 1. SR093591
Sandwich | MA | 238857 | 0 | 238857 |  | 0 | 238857 |  | 1. Pad 2 has tripped offline at 15:30 on 12/18 and back online at 07:10 on 12/19. | 1. SR094944
Sturbridge Barn | MA | 66083.5 | 107409.2 | -41325.7 | -38.48% | 92748.98 | -26665.48 | -28.75% | 1. Inverter 32 back online at 11:45 on 12/02 2. Inverter 32 tripped offline at 8:30 on 12/14 and back online at 10:30 on 12/16. 3.Inverter 35 tripped offline at 7:30 on 12/17 and back online at 13:30 on 12/19. It tripped offline again at 7:30 on 12/20 and back online on 12/22. It was offline from 12/24 to 12/27 and tripped offline again on 12/28, being resolved at 12:45 on 12/30. | 1. SR093718 2. SR094667 3. SR094837
Sturbridge Garage | MA | 31503 | 49448.52 | -17945.52 | -36.29% | 47396.16 | -15893.16 | -33.53% | 1. Inverter 3 tripped offline at 10:45 on 12/08 and back online on 12/09. | 1. SR093378
Halsey Valley | NY | 172291 | 306887.9 | -134596.9 | -43.86% | 330000 | -157709 | -47.79% | 1.Inverter 18 was offline from 7:45 to 12:00 on 12/12/2024, then went offline again on 12/18 and back online on 12/21. 2. Inverter 13 has been offline since 12/20/2024 and remains offline throughout the month. 3. Inverter 25 was offline on 12/20/2024 and back online on 12/22. It went offline again from 7:45 to 13:45 on 12/24/2024. | 1. SR094509 2. SR094509, SR094997 3. SR094509
Hunt Creek | NY | 86139 | 228335.6 | -142196.6 | -62.28% | 202300 | -116161 | -57.42% | 1. Inverter 18 has multiple tripping events from 12/06. | 1. SR094254
Smith Creek | NY | 165939 | 267577.4 | -101638.4 | -37.98% | 330478.8 | -164539.8 | -49.79%

## Sites
Portfolio: | Lodestar
Site DAS Name | Site | State | Update | DAS
Barkhamsted Solar | Barkhamsted | CT | AEF | PowerTrack
Bunce Solar | Bunce | CT | AEF | PowerTrack
Norcap North | Norcap North | CT | AEF | PowerTrack
Norcap South | Norcap South | CT | AEF | PowerTrack
Platt Hill | Platt Hill | CT | AEF | PowerTrack
Powder Hill | Powder Hill | CT | AEF | PowerTrack
Sand Road Solar | Sand Road | CT | AEF | PowerTrack
Suffield Solar | Suffield | CT | AEF | PowerTrack
Ashby-Duffy | Ashby-Duffy | MA | AEF | PowerTrack
Ashland Solar | Ashland | MA | AEF | PowerTrack
Barrington Fairgrounds | Barrington | MA | AEF | PowerTrack
MA: Bedford - 205 Burlington Rd | Bedford - 205 Burlington Rd | MA |  | GPM
MA: Billerica: 6 Cook Street | Billerica - 6 Cook Street | MA |  | GPM
MA: Billerica - 780 Boston Road | Billerica - 780 Boston Road | MA |  | GPM
Cheshire Solar | Cheshire | MA | AEF | PowerTrack
Lilly Lane (N-4) | Lilly Lane | MA | AEF | PowerTrack
Monument Valley | Monument Valley | MA | AEF | PowerTrack
Nationwide | Nationwide | MA | AEF | PowerTrack
Pulpit Hill | Pulpit Hill | MA | AEF | PowerTrack
MA: Sandwich - 9 Victory Drive Solar | Sandwich | MA |  | PowerTrack
Sturbridge Barn (N-3) | Sturbridge Barn | MA | AEF | PowerTrack
Sturbridge Garage (R-2) | Sturbridge Garage | MA | AEF | PowerTrack
Halsey Valley | Halsey Valley | NY | AEF | PowerTrack
Hunt Creek Solar | Hunt Creek | NY | AEF | PowerTrack
Smith Creek Solar | Smith Creek | NY | AEF | PowerTrack