## Year to Date
MAC Phase I |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2950732 | 1090912.653 | 1859819.347 | 170.5% | 1428314.23 | 1522417.77 | 106.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 2950732 | 1090912.653 | 1859819.347 | 170.5% | 1428314.23 | 1522417.77 | 106.6%

## 1st Qtr
MAC Phase I |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%

## 2nd Qtr
MAC Phase I |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 992413 | 387837 | 604576 | 155.9% | 505696 | 486717 | 96.25%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 992413 | 387837 | 604576 | 155.9% | 505696 | 486717 | 96.25%

## 3rd Qtr
MAC Phase I |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 1029800 | 373956.753 | 655843.247 | 175.4% | 472555.7 | 557244.3 | 117.9%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 1029800 | 373956.753 | 655843.247 | 175.4% | 472555.7 | 557244.3 | 117.9%

## 4th Qtr
MAC Phase I |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 399350 | 133731.9 | 265618.1 | 198.6% | 183902.53 | 215447.47 | 117.2%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 399350 | 133731.9 | 265618.1 | 198.6% | 183902.53 | 215447.47 | 117.2%

## Jan
MAC Phase I |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 91599 | 30865 | 60734 | 196.8% | 62234 | 29365 | 47.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 91599 | 30865 | 60734 | 196.8% | 62234 | 29365 | 47.18% | 1. Inverter 2.3(old 22) was offline from 01/16 2. Inverter 1.17 was offline from 01/23 and back online on 01/26 at 10:00am | 1. SR080257 2. SR080410

## Feb
MAC Phase I |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 171585 | 63395 | 108190 | 170.7% | 84292 | 87293 | 103.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 171585 | 63395 | 108190 | 170.7% | 84292 | 87293 | 103.6% | 1. Inverter 2.3(old 22) was offline for entire month | 1. SR080257

## Mar
MAC Phase I |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 265985 | 101127 | 164858 | 163% | 119634 | 146351 | 122.3%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 265985 | 101127 | 164858 | 163% | 119634 | 146351 | 122.3% | 1. Inverter 2.3(old 22) was offline for entire month. Inverter being RMA'd 2. Inverter 1.15 was offline from offline on 03/21 | 1. SR080257 2. SR082315

## Apr
MAC Phase I |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 284251 | 108295 | 175956 | 162.5% | 137029 | 147222 | 107.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 284251 | 108295 | 175956 | 162.5% | 137029 | 147222 | 107.4% | 1. Inverter 1.15 is offline from 03/21 and back online at 10:45AM on 04/18. 2. Inverter 2.3(old 22) is offline from 01/15 and back online at 10:00AM on 04/18. 3. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1. SR082315 2. SR080257

## May
MAC Phase I |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 371604 | 146173 | 225431 | 154.2% | 181197 | 190407 | 105.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 371604 | 146173 | 225431 | 154.2% | 181197 | 190407 | 105.1% | 1. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2

## Jun
MAC Phase I |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 336558 | 133369 | 203189 | 152.4% | 187470 | 149088 | 79.53%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 336558 | 133369 | 203189 | 152.4% | 187470 | 149088 | 79.53% | 1. Inverter 3.4 is offline from 07:00AM to 11:45AM on 06/11 and also again Inverter 3.4 is offline from 07:00AM on 06/12 and back online at 15:10 on 06/16 2. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1. SR085851

## Jul
MAC Phase I |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 370540 | 141065.353 | 229474.647 | 162.7% | 188759.5 | 181780.5 | 96.3%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 370540 | 141065.353 | 229474.647 | 162.7% | 188759.5 | 181780.5 | 96.3% | 1. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2

## Aug
MAC Phase I |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 337530 | 121714.1 | 215815.9 | 177.3% | 160958.1 | 176571.9 | 109.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 337530 | 121714.1 | 215815.9 | 177.3% | 160958.1 | 176571.9 | 109.7% | 1. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2

## Sep
MAC Phase I |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 321730 | 111177.3 | 210552.7 | 189.4% | 122838.1 | 198891.9 | 161.9%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 321730 | 111177.3 | 210552.7 | 189.4% | 122838.1 | 198891.9 | 161.9% | 1. Inverter 2.14 tripped offline at 08:00AM on 09/15 and back online 13:00 on 09/17. 2. Inverter 1.9 tripped offline from 09/17. 3. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1. SR090577 2. SR090630

## Oct
MAC Phase I |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 227790 | 75346 | 152444 | 202.3% | 87092 | 140698 | 161.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 227790 | 75346 | 152444 | 202.3% | 87092 | 140698 | 161.6% | 1. Inverter 1.15 tripped offline at 08:30 on 10/03/24 and back online at 11:30 on 10/18/24. 2.Inverter 1.9 tripped offline at 17:15 on 09/17/24 and back online at 11:30 on 10/18/24 and the Inverter 1.9 is being RMA'd from 10/29/24 3.Inverter 1.3 tripped offline at 11:30 on 10/16/2024 and remained offline throughout the month. 4. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1.SR091718 2.SR091731,SR092746 3.SR092746

## Nov
MAC Phase I |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 105910 | 33357 | 72553 | 217.5% | 51862.7 | 54047.3 | 104.2%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 105910 | 33357 | 72553 | 217.5% | 51862.7 | 54047.3 | 104.2% | 1. Inverter 1.9 is being RMA'd from 10/29/24. 2.Inverter 1.3 tripped offline at 11:30 on 10/16/2024 and stopped communicating form 7:00 on 11/19/24 3. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1.SR092746 2.SR092746

## Dec
MAC Phase I |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 65650 | 25028.9 | 40621.1 | 162.3% | 44947.83 | 20702.17 | 46.06%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 65650 | 25028.9 | 40621.1 | 162.3% | 44947.83 | 20702.17 | 46.06% | 1.Inverter 1.9 back online on 12/10 2.Inverter 1.3 back online on 12/10 3.Inverter 1.7 was offline on multiple days 4. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1.SR092746 2.SR092746 3. SR094282

## Sites
Portfolio: | MAC Phase I
Site DAS Name | Site | State | Update | DAS
MAC | MAC - Phase 1 | MN |  | PowerTrack