## Year to Date
One United (Cheer Pack) |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2397300 | 2447736.9 | -50436.9 | -2.061% | 2501917.99 | -104617.99 | -4.182%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 2397300 | 2447736.9 | -50436.9 | -2.061% | 2501917.99 | -104617.99 | -4.182%

## 1st Qtr
One United (Cheer Pack) |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 394602 | 463986 | -69384 | -14.95% | 500815.3 | -106213.3 | -21.21%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 394602 | 463986 | -69384 | -14.95% | 500815.3 | -106213.3 | -21.21%

## 2nd Qtr
One United (Cheer Pack) |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 823694 | 842899.4 | -19205.4 | -2.278% | 830286.6 | -6592.6 | -0.794%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 823694 | 842899.4 | -19205.4 | -2.278% | 830286.6 | -6592.6 | -0.794%

## 3rd Qtr
One United (Cheer Pack) |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 760268 | 767489.5 | -7221.5 | -0.9409% | 782272.4 | -22004.4 | -2.813%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 760268 | 767489.5 | -7221.5 | -0.9409% | 782272.4 | -22004.4 | -2.813%

## 4th Qtr
One United (Cheer Pack) |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 418736 | 373362 | 45374 | 12.15% | 388543.69 | 30192.31 | 7.771%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 418736 | 373362 | 45374 | 12.15% | 388543.69 | 30192.31 | 7.771%

## Jan
One United (Cheer Pack) |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 59106 | 98220.7 | -39114.7 | -39.82% | 120187.9 | -61081.9 | -50.82%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 59106 | 98220.7 | -39114.7 | -39.82% | 120187.9 | -61081.9 | -50.82%

## Feb
One United (Cheer Pack) |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 139092 | 162361.3 | -23269.3 | -14.33% | 153747.4 | -14655.4 | -9.532%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 139092 | 162361.3 | -23269.3 | -14.33% | 153747.4 | -14655.4 | -9.532%

## Mar
One United (Cheer Pack) |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 196404 | 203404 | -7000 | -3.441% | 226880 | -30476 | -13.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 196404 | 203404 | -7000 | -3.441% | 226880 | -30476 | -13.43% | 1. Inverter 2 is offline due to Isolated fault on 03/22 and the inverter was re energized by technician and is back online on 03/23. | 1. SR082397

## Apr
One United (Cheer Pack) |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 244760 | 241399.8 | 3360.2 | 1.392% | 248718 | -3958 | -1.591%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 244760 | 241399.8 | 3360.2 | 1.392% | 248718 | -3958 | -1.591%

## May
One United (Cheer Pack) |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 276998 | 279548.9 | -2550.9 | -0.9125% | 292988.8 | -15990.8 | -5.458%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 276998 | 279548.9 | -2550.9 | -0.9125% | 292988.8 | -15990.8 | -5.458%

## Jun
One United (Cheer Pack) |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 301936 | 321950.7 | -20014.7 | -6.217% | 288579.8 | 13356.2 | 4.628%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 301936 | 321950.7 | -20014.7 | -6.217% | 288579.8 | 13356.2 | 4.628% | 1. Inverter 2 is derating from 06/23 at 11:30 approximately 150kW compared to its peer inverters and also Inverter 2 is offline from 06/28 | 1.SR086763

## Jul
One United (Cheer Pack) |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 274886 | 287411.8 | -12525.8 | -4.358% | 287997.4 | -13111.4 | -4.553%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 274886 | 287411.8 | -12525.8 | -4.358% | 287997.4 | -13111.4 | -4.553% | 1. Inverter 2 is derating approximately 200kw compared to its peers inverters from 06/23 to 07/05 | 1. SR086763

## Aug
One United (Cheer Pack) |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 264164 | 263313.4 | 850.6 | 0.323% | 270658.2 | -6494.2 | -2.399%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 264164 | 263313.4 | 850.6 | 0.323% | 270658.2 | -6494.2 | -2.399% | 1. Inverter 2 is derating approximately 200kw compared to its peers inverters from 07/29. | 1. SR088494

## Sep
One United (Cheer Pack) |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 221218 | 216764.3 | 4453.7 | 2.055% | 223616.8 | -2398.8 | -1.073%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 221218 | 216764.3 | 4453.7 | 2.055% | 223616.8 | -2398.8 | -1.073% | 1. Site tripped offline at 14:30 on 09/19 and back online at 14:15 on 09/20. | 1. SR090872

## Oct
One United (Cheer Pack) |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 208412 | 172629.5 | 35782.5 | 20.73% | 178390.3 | 30021.7 | 16.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 208412 | 172629.5 | 35782.5 | 20.73% | 178390.3 | 30021.7 | 16.83%

## Nov
One United (Cheer Pack) |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 132692 | 112109.7 | 20582.3 | 18.36% | 111801.7 | 20890.3 | 18.69%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 132692 | 112109.7 | 20582.3 | 18.36% | 111801.7 | 20890.3 | 18.69% | 1. Site tripped offline at 09:30 AM on 11/27 and continued throughout the month | 1. SR093687

## Dec
One United (Cheer Pack) |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 77632 | 88622.8 | -10990.8 | -12.4% | 98351.69 | -20719.69 | -21.07%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 77632 | 88622.8 | -10990.8 | -12.4% | 98351.69 | -20719.69 | -21.07% | 1. Site tripped offline at 09:30AM on 11/27 and back online at 8:30AM on 12/02. 2. Site was offline from 7:30AM to 13:15 on 12/12/2024. | 1. SR093687 2. SR094500

## Sites
Portfolio: | One United (Cheer Pack)
Site DAS Name | Site | State | Update | DAS
Cheer Pack | MA: West Bridgewater - One United | MA | AEF | PowerTrack