## Year to Date
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 478366.98 | 0 | 478366.98 | 0% | 513985.358 | -35618.378 | -6.93%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 478366.98 | 0 | 478366.98 |  | 513985.358 | -35618.378 | -6.93%

## 1st Qtr
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 83001.34 | 0 | 83001.34 | 0% | 96524.59 | -13523.25 | -14.01%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 83001.34 | 0 | 83001.34 |  | 96524.59 | -13523.25 | -14.01%

## 2nd Qtr
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 162756 | 0 | 162756 | 0% | 172187 | -9431 | -5.477%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 162756 | 0 | 162756 |  | 172187 | -9431 | -5.477%

## 3rd Qtr
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 154602.47 | 0 | 154602.47 | 0% | 170326 | -15723.53 | -9.231%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 154602.47 | 0 | 154602.47 |  | 170326 | -15723.53 | -9.231%

## 4th Qtr
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 78007.17 | 0 | 78007.17 | 0% | 74947.768 | 3059.402 | 4.082%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 78007.17 | 0 | 78007.17 |  | 74947.768 | 3059.402 | 4.082%

## Jan
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 8796 | 0 | 8796 | 0% | 22339 | -13543 | -60.62%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 8796 | 0 | 8796 |  | 22339 | -13543 | -60.62%

## Feb
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 32517.959 | 0 | 32517.959 | 0% | 30499.143 | 2018.816 | 6.619%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 32517.959 | 0 | 32517.959 |  | 30499.143 | 2018.816 | 6.619%

## Mar
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 41687.381 | 0 | 41687.381 | 0% | 43686.447 | -1999.066 | -4.576%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 41687.381 | 0 | 41687.381 |  | 43686.447 | -1999.066 | -4.576%

## Apr
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 46736 | 0 | 46736 | 0% | 50625 | -3889 | -7.682%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 46736 | 0 | 46736 |  | 50625 | -3889 | -7.682% | 1. Inverter 6 is having tripping events from 09:25AM on 04/27 and later resolved on 04/29. | 1. SR083904

## May
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 54866 | 0 | 54866 | 0% | 60160 | -5294 | -8.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 54866 | 0 | 54866 |  | 60160 | -5294 | -8.8%

## Jun
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 61154 | 0 | 61154 | 0% | 61402 | -248 | -0.4039%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 61154 | 0 | 61154 |  | 61402 | -248 | -0.4039%

## Jul
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 60042.75 | 0 | 60042.75 | 0% | 67212 | -7169.25 | -10.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 60042.75 | 0 | 60042.75 |  | 67212 | -7169.25 | -10.67%

## Aug
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 50907.11 | 0 | 50907.11 | 0% | 58133 | -7225.89 | -12.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 50907.11 | 0 | 50907.11 |  | 58133 | -7225.89 | -12.43%

## Sep
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 43652.61 | 0 | 43652.61 | 0% | 44981 | -1328.39 | -2.953%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 43652.61 | 0 | 43652.61 |  | 44981 | -1328.39 | -2.953%

## Oct
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 36373.76 | 0 | 36373.76 | 0% | 34768 | 1605.76 | 4.618%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 36373.76 | 0 | 36373.76 |  | 34768 | 1605.76 | 4.618%

## Nov
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 25188.03 | 0 | 25188.03 | 0% | 21923 | 3265.03 | 14.89%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 25188.03 | 0 | 25188.03 |  | 21923 | 3265.03 | 14.89%

## Dec
MA: Leominster - 1776 Lock Dr - Rapco Horizon |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 16445.38 | 0 | 16445.38 | 0% | 18256.768 | -1811.388 | -9.922%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | 16445.38 | 0 | 16445.38 |  | 18256.768 | -1811.388 | -9.922% | 1. Inverter 3 was offline on 12/30 and back online on 12/31. 2. Inverter 1 was tripped offline at 10:45AM on 12/31 and back online at 12:00PM on same day. | 1. SR095165 2. SR094603

## Sites
Portfolio: | MA: Leominster - 1776 Lock Dr - Rapco Horizon
Site DAS Name | Site | State | Update | DAS
Rapco Horizon - 1776 Lock Dr | MA: Leominster - 1776 Lock Dr - Rapco Horizon | MA | AF | PowerTrack