## Year to Date
Solar Income LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 802633.4701 | 156766.136 | 645867.3341 | 412% | 393817.461 | 408816.0091 | 103.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 383494.3399 | 76640.268 | 306854.0719 | 400.4% | 0 | 383494.3399
Westbrook - Lee Building 82 | CT | 419139.1302 | 80125.868 | 339013.2622 | 423.1% | 393817.461 | -9536.001 | -2.421%

## 1st Qtr
Solar Income LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 147069.43 | 156494.349 | -9424.919 | -6.023% | 84521.241 | 62548.189 | 74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 72084.19 | 76368.481 | -4284.291 | -5.61% | 0 | 72084.19
Westbrook - Lee Building 82 | CT | 74985.24 | 80125.868 | -5140.628 | -6.416% | 84521.241 | -9536.001 | -11.28%

## 2nd Qtr
Solar Income LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 249302.42 | 539.987 | 248762.433 | 46068% | 123194.51 | 126107.91 | 102.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 120998.54 | 271.787 | 120726.753 | 44420% | 0 | 120998.54
Westbrook - Lee Building 82 | CT | 128303.88 | 268.2 | 128035.68 | 47739% | 123194.51 | 5109.37 | 4.147%

## 3rd Qtr
Solar Income LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 236808.6199 | 0 | 236808.6199 | 0% | 114941.58 | 121867.0399 | 106%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 113480.5799 | 0 | 113480.5799 |  | 0 | 113480.5799
Westbrook - Lee Building 82 | CT | 123328.04 | 0 | 123328.04 |  | 114941.58 | 8386.46 | 7.296%

## 4th Qtr
Solar Income LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 169453.0002 | 0 | 169453.0002 | 0% | 71160.13 | 98292.8702 | 138.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 76931.0301 | 0 | 76931.0301 |  | 0 | 76931.0301
Westbrook - Lee Building 82 | CT | 92521.9701 | 0 | 92521.9701 |  | 71160.13 | 21361.8401 | 30.02%

## Jan
Solar Income LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 23279.28 | 31853.409 | -8574.129 | -26.92% | 23363.283 | -84.003 | -0.3596%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 11433.8 | 15679.7 | -4245.9 | -0.27079 | 0 | 11433.8
Westbrook - Lee Building 82 | CT | 11845.48 | 16173.709 | -4328.229 | -0.26761 | 23363.283 | -11517.803 | -49.3%

## Feb
Solar Income LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 52653.18 | 57932.348 | -5279.168 | -9.113% | 27025.858 | 25627.322 | 94.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 26066.52 | 28274.989 | -2208.469 | -0.078107 | 0 | 26066.52
Westbrook - Lee Building 82 | CT | 26586.66 | 29657.359 | -3070.699 | -0.10354 | 27025.858 | -439.198 | -1.625% | 1. Inverter 9 tripped offline at 09:00am on 02/18 and back online on 02/20 at 9:30am. | 1. SR081093

## Mar
Solar Income LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 71136.97 | 66708.592 | 4428.378 | 6.638% | 34132.1 | 37004.87 | 108.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 34583.87 | 32413.792 | 2170.078 | 0.066949 | 0 | 34583.87
Westbrook - Lee Building 82 | CT | 36553.1 | 34294.8 | 2258.3 | 0.06585 | 34132.1 | 2421 | 7.093%

## Apr
Solar Income LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 69768.3 | 539.987 | 69228.313 | 12820% | 39176.33 | 30591.97 | 78.09%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 33975.59 | 271.787 | 33703.803 | 12401% | 0 | 33975.59 |  | 1. Virtual weather station stopped communicating at 14:45 on 04/01/2024, impacting the expected energy data for both Lee Buildings 9 and 82. AE Case #529710 | 1. SR092275
Westbrook - Lee Building 82 | CT | 35792.71 | 268.2 | 35524.51 | 13246% | 39176.33 | -3383.62 | -8.637% | 1. Virtual weather station stopped communicating at 14:45 on 04/01/2024, impacting the expected energy data for both Lee Buildings 9 and 82. AE Case #529710 | 1. SR092275, SR085123

## May
Solar Income LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 84173.39 | 0 | 84173.39 | 0% | 42499.68 | 41673.71 | 98.06%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 40883.57 | 0 | 40883.57 |  | 0 | 40883.57 |  | 1. Virtual weather station stopped communicating at 14:45 on 04/01/2024, impacting the expected energy data for both Lee Buildings 9 and 82. AE Case #529710 | 1. SR092275
Westbrook - Lee Building 82 | CT | 43289.82 | 0 | 43289.82 |  | 42499.68 | 790.14 | 1.859% | 1. Virtual weather station stopped communicating at 14:45 on 04/01/2024, impacting the expected energy data for both Lee Buildings 9 and 82. AE Case #529710 | 1. SR092275, SR085123

## Jun
Solar Income LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 95360.73 | 0 | 95360.73 | 0% | 41518.5 | 53842.23 | 129.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 46139.38 | 0 | 46139.38 |  | 0 | 46139.38 |  | 1. Virtual weather station stopped communicating at 14:45 on 04/01/2024, impacting the expected energy data for both Lee Buildings 9 and 82. AE Case #529710 | 1. SR092275
Westbrook - Lee Building 82 | CT | 49221.35 | 0 | 49221.35 |  | 41518.5 | 7702.85 | 18.55% | 1. Virtual weather station stopped communicating at 14:45 on 04/01/2024, impacting the expected energy data for both Lee Buildings 9 and 82. AE Case #529710 | 1. SR092275, SR085123

## Jul
Solar Income LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 82294.4799 | 0 | 82294.4799 | 0% | 41979.56 | 40314.9199 | 96.03%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 39563.6397 | 0 | 39563.6397 |  | 0 | 39563.6397 |  | 1. Weather station is reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR087331
Westbrook - Lee Building 82 | CT | 42730.8402 | 0 | 42730.8402 |  | 41979.56 | 751.2802 | 1.79% | 1. Weather station is reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR085123, SR071639, SR081173

## Aug
Solar Income LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 81878.4399 | 0 | 81878.4399 | 0% | 39595.11 | 42283.3299 | 106.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 39299.21 | 0 | 39299.21 |  | 0 | 39299.21 |  | 1. Weather station is reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR087331
Westbrook - Lee Building 82 | CT | 42579.2299 | 0 | 42579.2299 |  | 39595.11 | 2984.1199 | 7.537% | 1. Weather station is reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR085123, SR071639, SR081173

## Sep
Solar Income LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 72635.7001 | 0 | 72635.7001 | 0% | 33366.91 | 39268.7901 | 117.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 34617.7302 | 0 | 34617.7302 |  | 0 | 34617.7302 |  | 1. Weather station is reporting erroneous since 2021 and weather station lost communication from 04/01. | 1. SR092275
Westbrook - Lee Building 82 | CT | 38017.9699 | 0 | 38017.9699 |  | 33366.91 | 4651.0599 | 13.94% | 1. Weather station is reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR085123, SR071639, SR081173

## Oct
Solar Income LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 76982.5798 | 0 | 76982.5798 | 0% | 30377.81 | 46604.7698 | 153.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 35712.1997 | 0 | 35712.1997 |  | 0 | 35712.1997 |  | 1. Weather station was reporting erroneous since 2021 and weather station lost communication from 04/01. | 1. SR092275
Westbrook - Lee Building 82 | CT | 41270.38 | 0 | 41270.38 |  | 30377.81 | 10892.57 | 35.86% | 1. Weather station was reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR085123, SR071639, SR081173

## Nov
Solar Income LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 54596.7301 | 0 | 54596.7301 | 0% | 20527.32 | 34069.4101 | 166%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 24698.1401 | 0 | 24698.1401 |  | 0 | 24698.1401 |  | 1. Inverter 2 - 114 was tripped offline at 13:45 on 11/30/2024. 2. Weather station was reporting erroneous since 2021 and weather station lost communication from 04/01. | 1. SR093742 2. SR092275
Westbrook - Lee Building 82 | CT | 29898.5899 | 0 | 29898.5899 |  | 20527.32 | 9371.2699 | 45.65% | 1. Weather station was reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR085123, SR071639, SR081173

## Dec
Solar Income LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 37873.6904 | 0 | 37873.6904 | 0% | 20255 | 17618.6904 | 86.98%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 16520.6902 | 0 | 16520.6902 |  | 0 | 16520.6902 |  | 1. Inverter 2 - 114 was tripped offline at 13:45 on 11/30/2024 and back online at 15:30 on 12/02, but 1 string down due to a bad optimizer. 2. Weather station was reporting erroneous since 2021 and weather station lost communication from 04/01. | 1. SR093742 2. SR092275
Westbrook - Lee Building 82 | CT | 21353.0002 | 0 | 21353.0002 |  | 20255 | 1098.0002 | 5.421% | 1. Weather station was reporting erroneous since 2021 and lost weather station lost communication from 04/01. | 1. SR085123, SR071639, SR081173

## Sites
Portfolio: | Solar Income LLC
Site DAS Name | Site | State | Update | DAS
Lee Company - B9 | Westbrook - Lee Building 9 | CT | AEF | PowerTrack
The Lee Company B82 | Westbrook - Lee Building 82 | CT | AEF | PowerTrack