## Year to Date
Superior USD |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 323549 | 0 | 323549 | 0% | 0 | 323549 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 323549 | 0 | 323549 | 0% | 0 | 323549 | 0%

## 1st Qtr
Superior USD |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 66115 | 0 | 66115 | 0% | 0 | 66115 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 66115 | 0 | 66115 | 0% | 0 | 66115 | 0%

## 2nd Qtr
Superior USD |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 102540 | 0 | 102540 | 0% | 0 | 102540 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 102540 | 0 | 102540 |  | 0 | 102540

## 3rd Qtr
Superior USD |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 92883 | 0 | 92883 | 0% | 0 | 92883 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 92883 | 0 | 92883 |  | 0 | 92883

## 4th Qtr
Superior USD |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 62011 | 0 | 62011 | 0% | 0 | 62011 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Superior High School | AZ | 62011 | 0 | 62011 |  | 0 | 62011

## Jan
Superior USD |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 18248 | 0 | 18248 | 0% | 0 | 18248 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 18248 | 0 | 18248 | 0% | 0 | 18248 | 0%

## Feb
Superior USD |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 20758 | 0 | 20758 | 0% | 0 | 20758 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 20758 | 0 | 20758 |  | 0 | 20758

## Mar
Superior USD |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 27109 | 0 | 27109 | 0% | 0 | 27109 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 27109 | 0 | 27109 |  | 0 | 27109

## Apr
Superior USD |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 33903 | 0 | 33903 | 0% | 0 | 33903 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 33903 | 0 | 33903 |  | 0 | 33903

## May
Superior USD |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 36741 | 0 | 36741 | 0% | 0 | 36741 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 36741 | 0 | 36741 |  | 0 | 36741

## Jun
Superior USD |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 31896 | 0 | 31896 | 0% | 0 | 31896 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 31896 | 0 | 31896 |  | 0 | 31896

## Jul
Superior USD |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 33283 | 0 | 33283 | 0% | 0 | 33283 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 33283 | 0 | 33283 |  | 0 | 33283

## Aug
Superior USD |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 30235 | 0 | 30235 | 0% | 0 | 30235 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 30235 | 0 | 30235 |  | 0 | 30235

## Sep
Superior USD |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 29365 | 0 | 29365 | 0% | 0 | 29365 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 29365 | 0 | 29365 |  | 0 | 29365

## Oct
Superior USD |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 25362 | 0 | 25362 | 0% | 0 | 25362 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 25362 | 0 | 25362 |  | 0 | 25362

## Nov
Superior USD |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 20213 | 0 | 20213 | 0% | 0 | 20213 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 20213 | 0 | 20213 |  | 0 | 20213 |  | 1.Inverter 2 tripped offline at 12:30 on 11/29 through out the month. | 1.SR094077

## Dec
Superior USD |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 16436 | 0 | 16436 | 0% | 0 | 16436 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Superior High School | AZ | 16436 | 0 | 16436 |  | 0 | 16436 |  | 1.Inverter 2 is back online from at 13:45 on 12/10 | 1.SR094077

## Sites
Portfolio: | Superior USD
Site DAS Name | Site | State | Update | DAS
AZ: Superior - Superior High School | AZ: Superior High School | AZ