## Year to Date
CT: Guilford - Safety Zone |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 375186.5 | 0 | 375186.5 | 0% | 326787.382 | 48399.118 | 14.81%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guilford - Safety Zone | CT | 375186.5 | 0 | 375186.5 |  | 326787.382 | 48399.118 | 14.81%

## 1st Qtr
CT: Guilford - Safety Zone |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 65462 | 0 | 65462 | 0% | 61858 | 3604 | 5.826%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guilford - Safety Zone | CT | 65462 | 0 | 65462 |  | 61858 | 3604 | 5.826%

## 2nd Qtr
CT: Guilford - Safety Zone |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 123564 | 0 | 123564 | 0% | 114125.959 | 9438.041 | 8.27%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guilford - Safety Zone | CT | 123564 | 0 | 123564 |  | 114125.959 | 9438.041 | 8.27%

## 3rd Qtr
CT: Guilford - Safety Zone |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 114219.5 | 0 | 114219.5 | 0% | 103505.094 | 10714.406 | 10.35%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guilford - Safety Zone | CT | 114219.5 | 0 | 114219.5 |  | 103505.094 | 10714.406 | 10.35%

## 4th Qtr
CT: Guilford - Safety Zone |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 71941 | 0 | 71941 | 0% | 47298.329 | 24642.671 | 52.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Guilford - Safety Zone | CT | 71941 | 0 | 71941 |  | 47298.329 | 24642.671 | 52.1%

## Jan
CT: Guilford - Safety Zone |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 10445 | 0 | 10445 | 0% | 13616 | -3171 | -23.29%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 10445 | 0 | 10445 |  | 13616 | -3171 | -23.29%

## Feb
CT: Guilford - Safety Zone |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 21166 | 0 | 21166 | 0% | 18770 | 2396 | 12.77%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 21166 | 0 | 21166 |  | 18770 | 2396 | 12.77%

## Mar
CT: Guilford - Safety Zone |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 33851 | 0 | 33851 | 0% | 29472 | 4379 | 14.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 33851 | 0 | 33851 |  | 29472 | 4379 | 14.86%

## Apr
CT: Guilford - Safety Zone |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 34979.75 | 0 | 34979.75 | 0% | 33873.105 | 1106.645 | 3.267%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 34979.75 | 0 | 34979.75 |  | 33873.105 | 1106.645 | 3.267%

## May
CT: Guilford - Safety Zone |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 42098.25 | 0 | 42098.25 | 0% | 39767.35 | 2330.9 | 5.861%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 42098.25 | 0 | 42098.25 |  | 39767.35 | 2330.9 | 5.861%

## Jun
CT: Guilford - Safety Zone |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 46486 | 0 | 46486 | 0% | 40485.504 | 6000.496 | 14.82%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 46486 | 0 | 46486 |  | 40485.504 | 6000.496 | 14.82% | 1. Inverter A tripped offline on 06/07 at 10:45 & back online at 11:15 on same day and again tripped offline on 06/11 at 12:30 & back online at 13:45 on same day. | 1.SR085740

## Jul
CT: Guilford - Safety Zone |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 41571.5 | 0 | 41571.5 | 0% | 39241.819 | 2329.681 | 5.937%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 41571.5 | 0 | 41571.5 |  | 39241.819 | 2329.681 | 5.937%

## Aug
CT: Guilford - Safety Zone |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 39379.5 | 0 | 39379.5 | 0% | 35506.431 | 3873.069 | 10.91%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 39379.5 | 0 | 39379.5 |  | 35506.431 | 3873.069 | 10.91%

## Sep
CT: Guilford - Safety Zone |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 33268.5 | 0 | 33268.5 | 0% | 28756.844 | 4511.656 | 15.69%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 33268.5 | 0 | 33268.5 |  | 28756.844 | 4511.656 | 15.69%

## Oct
CT: Guilford - Safety Zone |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 32587 | 0 | 32587 | 0% | 22041.022 | 10545.978 | 47.85%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 32587 | 0 | 32587 |  | 22041.022 | 10545.978 | 47.85%

## Nov
CT: Guilford - Safety Zone |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 22180.5 | 0 | 22180.5 | 0% | 13673.327 | 8507.173 | 62.22%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 22180.5 | 0 | 22180.5 |  | 13673.327 | 8507.173 | 62.22% | 1.Inverter is offline on 11/28 and back online at 07:00 on 11/29 | 1.SR093709

## Dec
CT: Guilford - Safety Zone |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 17173.5 | 0 | 17173.5 | 0% | 11583.98 | 5589.52 | 48.25%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Guilford - Safety Zone | CT | 17173.5 | 0 | 17173.5 |  | 11583.98 | 5589.52 | 48.25%

## Sites
Portfolio: | CT: Guilford - Safety Zone
Site DAS Name | Site | State | Update | DAS
The Safety Zone | CT: Guilford - Safety Zone | CT | AF | PowerTrack