## Year to Date
Valmont Industries |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 348313.24 | 155538.788 | 192774.452 | 123.9% | 0 | 348313.24 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 348313.24 | 155538.788 | 192774.452 | 123.9% | 0 | 348313.24

## 1st Qtr
Valmont Industries |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
Valmont Industries |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Valmont Industries |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 202261.365 | 55015.48 | 147245.885 | 267.6% | 0 | 202261.365 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 202261.365 | 55015.48 | 147245.885 | 267.6% |  | 202261.365

## 4th Qtr
Valmont Industries |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 146051.875 | 100523.308 | 45528.567 | 45.29% | 0 | 146051.875 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Valmont | IN | 146051.875 | 100523.308 | 45528.567 | 45.29% |  | 146051.875

## Jan
Valmont Industries |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## Feb
Valmont Industries |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## Mar
Valmont Industries |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## Apr
Valmont Industries |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## May
Valmont Industries |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## Jun
Valmont Industries |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN

## Jul
Valmont Industries |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site data is not available

## Aug
Valmont Industries |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 96734.24 | 0 | 96734.24 | 0% | 0 | 96734.24 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 96734.24 | 0 | 96734.24 |  | 0 | 96734.24 |  | 1. Site data is available from 08/08/2024 at 13:00 2. Weather station is not communicating for whole month | 2. SR089346

## Sep
Valmont Industries |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 105527.125 | 55015.48 | 50511.645 | 91.81% | 0 | 105527.125 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 105527.125 | 55015.48 | 50511.645 | 91.81% | 0 | 105527.125 |  | 1. Forecasted data is not available 2. Inverter 2 is underperforming by 6kW compared to peer from 09/10 | 2. SR092069

## Oct
Valmont Industries |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 95419.563 | 63443.714 | 31975.849 | 50.4% | 0 | 95419.563 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 95419.563 | 63443.714 | 31975.849 | 50.4% | 0 | 95419.563 |  | 1. Inverter 2 is underperforming by 6kW compared to peer from 09/10. Fuses were replaced on 10/24 and inverter back to expected production. 2. Forecasted data is not available | 1. SR092069

## Nov
Valmont Industries |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 33767.281 | 22866.494 | 10900.787 | 47.67% | 0 | 33767.281 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 33767.281 | 22866.494 | 10900.787 | 47.67% | 0 | 33767.281 |  | 1. Inverter 4 is underperforming by 6kW from 11/02 due to stuck tracker. 2. Site tripped offline at 05:15 AM and back online at 06:00 AM on 11/25 due to utility outage. 3. Forecasted data is not available. | 1. SR092973 2. SR093586

## Dec
Valmont Industries |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 16865.031 | 14213.1 | 2651.931 | 18.66% | 0 | 16865.031 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Valmont | IN | 16865.031 | 14213.1 | 2651.931 | 18.66% | 0 | 16865.031 |  | 1. Inverter 4 is underperforming by 6kW from 11/02 due to stuck tracker. Tracker was replaced on 12/19. 2. Site was offline from 06:28 AM on 12/12 to 03:15 PM on 12/16 to work on actuators. 3. Forecasted data is not available. | 1. SR092973 2. SR093586

## Sites
Portfolio: | Valmont Industries
Site DAS Name | Site | State | Update | DAS
Valmont Bristol | Valmont | IN |  | PowerTrack