## Year to Date
Walden Liberty |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1013297 | 0 | 1013297 | 0% | 0 | 1013297 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 809556 | 0 | 809556 |  | 0 | 809556
Walden Liberty | MA | 203741 | 0 | 203741 |  | 0 | 203741

## 1st Qtr
Walden Liberty |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 194142 | 0 | 194142 | 0% | 0 | 194142 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 152797 | 0 | 152797 |  | 0 | 152797
Walden Liberty | MA | 41345 | 0 | 41345 |  | 0 | 41345

## 2nd Qtr
Walden Liberty |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 334241 | 0 | 334241 | 0% | 0 | 334241 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 248784 | 0 | 248784 |  | 0 | 248784
Walden Liberty | MA | 85457 | 0 | 85457 |  | 0 | 85457

## 3rd Qtr
Walden Liberty |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 290872 | 0 | 290872 | 0% | 0 | 290872 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 242112 | 0 | 242112 |  | 0 | 242112
Walden Liberty | MA | 48760 | 0 | 48760 |  | 0 | 48760

## 4th Qtr
Walden Liberty |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 194042 | 0 | 194042 | 0% | 0 | 194042 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 165863 | 0 | 165863 |  | 0 | 165863
Walden Liberty | MA | 28179 | 0 | 28179 |  | 0 | 28179

## Jan
Walden Liberty |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 39051 | 0 | 39051 | 0% | 0 | 39051 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 34113 | 0 | 34113 |  | 0 | 34113
Walden Liberty | MA | 4938 | 0 | 4938 |  | 0 | 4938

## Feb
Walden Liberty |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 68716 | 0 | 68716 | 0% | 0 | 68716 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 53834 | 0 | 53834 |  | 0 | 53834
Walden Liberty | MA | 14882 | 0 | 14882 |  | 0 | 14882

## Mar
Walden Liberty |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 86375 | 0 | 86375 | 0% | 0 | 86375 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 64850 | 0 | 64850 |  | 0 | 64850
Walden Liberty | MA | 21525 | 0 | 21525 |  | 0 | 21525

## Apr
Walden Liberty |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 91941 | 0 | 91941 | 0% | 0 | 91941 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 67078 | 0 | 67078 |  | 0 | 67078
Walden Liberty | MA | 24863 | 0 | 24863 |  | 0 | 24863

## May
Walden Liberty |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 114024 | 0 | 114024 | 0% | 0 | 114024 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 85060 | 0 | 85060 |  | 0 | 85060
Walden Liberty | MA | 28964 | 0 | 28964 |  | 0 | 28964

## Jun
Walden Liberty |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 128276 | 0 | 128276 | 0% | 0 | 128276 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 96646 | 0 | 96646 |  | 0 | 96646
Walden Liberty | MA | 31630 | 0 | 31630 |  | 0 | 31630

## Jul
Walden Liberty |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 107263 | 0 | 107263 | 0% | 0 | 107263 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 84955 | 0 | 84955 |  | 0 | 84955
Walden Liberty | MA | 22308 | 0 | 22308 |  | 0 | 22308 |  | 1. Inverter 1 derating approximately 225kW from 07/17 | 1. SR087933

## Aug
Walden Liberty |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 100113 | 0 | 100113 | 0% | 0 | 100113 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 85973 | 0 | 85973 |  | 0 | 85973
Walden Liberty | MA | 14140 | 0 | 14140 |  | 0 | 14140 |  | 1. Inverter 1 derating approximately 225kW from 07/17. 2. Inverter tripped offline at 12PM on 08/24 and back online on 08/25. | 1. SR087933 2. SR089494

## Sep
Walden Liberty |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 83496 | 0 | 83496 | 0% | 0 | 83496 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 71184 | 0 | 71184 |  | 0 | 71184
Walden Liberty | MA | 12312 | 0 | 12312 |  | 0 | 12312 |  | 1. Inverter 1 derating approximately 225kW from 07/17. 2. Site tripped offline at 06:00PM on 09/15 and back online at 12PM on 09/16 | 1. SR087933 2. SR090605

## Oct
Walden Liberty |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 85937 | 0 | 85937 | 0% | 0 | 85937 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 72951 | 0 | 72951 |  | 0 | 72951
Walden Liberty | MA | 12986 | 0 | 12986 |  | 0 | 12986 |  | 1. Inverter is derating at 50KW approximetly 175KW down due to an fan issue | 1. SR087933

## Nov
Walden Liberty |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 63488 | 0 | 63488 | 0% | 0 | 63488 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 53675 | 0 | 53675 |  | 0 | 53675
Walden Liberty | MA | 9813 | 0 | 9813 |  | 0 | 9813 |  | 1. Inverter is derating at 50KW approximetly 175KW down due to an fan issue | 1. SR087933

## Dec
Walden Liberty |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 44617 | 0 | 44617 | 0% | 0 | 44617 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 39237 | 0 | 39237 |  | 0 | 39237 |  | 1. Inverter 2 tripped offline at 10:20AM on 12/10/2024 and back online at 11:05AM on 12/11 | 1.SR094315
Walden Liberty | MA | 5380 | 0 | 5380 |  | 0 | 5380 |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue. 2. Inverter 1 tripped offline at 12:00PM on 12/20/2024 and back online at 11:20AM on 12/26. | 1. SR087933 2. SR095038

## Sites
Portfolio: | Walden Liberty
Site DAS Name | Site | State | Update | DAS
Cape Cod Community College | CCC College | MA | A | SolrenView
Walden Liberty Solar LLC | Walden Liberty | MA | A | SolrenView