## Year to Date
Agilitas Energy |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2216107.6167 | 1725797.66 | 490309.9567 | 28.41% | 1003502.73 | 1212604.8867 | 120.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 88839.95 | 95594.66 | -6754.71 | -7.066% | 90949.13 | -2109.18 | -2.319%
Auburn - Leicester Street Solar | MA | 782823.6667 | 467792.3 | 315031.3667 | 67.34% | 0 | 782823.6667
Rochester - Old Middleboro | MA | 1168756 | 1162410.7 | 6345.3 | 0.5459% | 912553.6 | 256202.4 | 28.08%
Dover - Littleworth Road | NH | 43521 | 0 | 43521 |  | 0 | 43521
Milton - Landfill | NH | 132167 | 0 | 132167 |  | 0 | 132167

## 1st Qtr
Agilitas Energy |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 2216107.6167 | 1725797.66 | 490309.9567 | 28.41% | 1003502.73 | 1212604.8867 | 120.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 88839.95 | 95594.66 | -6754.71 | -7.066% | 90949.13 | -2109.18 | -2.319%
Auburn - Leicester Street Solar | MA | 782823.6667 | 467792.3 | 315031.3667 | 67.34% | 0 | 782823.6667
Rochester - Old Middleboro | MA | 1168756 | 1162410.7 | 6345.3 | 0.5459% | 912553.6 | 256202.4 | 28.08%
Dover - Littleworth Road | NH | 43521 | 0 | 43521 |  | 0 | 43521
Milton - Landfill | NH | 132167 | 0 | 132167 |  | 0 | 132167

## 2nd Qtr
Agilitas Energy |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 0 | 0 | 0 |  |  | 0
Auburn - Leicester Street Solar | MA | 0 | 0 | 0 |  |  | 0
Rochester - Old Middleboro | MA | 0 | 0 | 0 |  |  | 0
Dover - Littleworth Road | NH | 0 | 0 | 0 |  |  | 0
Milton - Landfill | NH | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
Agilitas Energy |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 0 | 0 | 0 |  |  | 0
Auburn - Leicester Street Solar | MA | 0 | 0 | 0 |  |  | 0
Rochester - Old Middleboro | MA | 0 | 0 | 0 |  |  | 0
Dover - Littleworth Road | NH | 0 | 0 | 0 |  |  | 0
Milton - Landfill | NH | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Agilitas Energy |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 0 | 0 | 0 |  |  | 0
Auburn - Leicester Street Solar | MA | 0 | 0 | 0 |  |  | 0
Rochester - Old Middleboro | MA | 0 | 0 | 0 |  |  | 0
Dover - Littleworth Road | NH | 0 | 0 | 0 |  |  | 0
Milton - Landfill | NH | 0 | 0 | 0 |  |  | 0

## Jan
Agilitas Energy |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 643797.6434 | 502858.5 | 140939.1434 | 28.03% | 459223.17 | 184574.4734 | 40.19%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA | 23660.31 | 29500.5 | -5840.19 | -19.8% | 37551.17 | -13890.86 | -36.99%
Auburn - Leicester Street Solar | MA | 172284.3333 | 0 | 172284.3333 |  | 0 | 172284.3333 |  | 1. Site was offline on 01/07 at 10:00AM and later back online on 01/08 at 15:30. 2. Site tripped offline on 01/22 at 10:15AM and later back online on 01/25 at 15:45. 3. Inverters 28, 29 & 39 are offline from 01/26 and later back online on 01/31 at 14:45. | 1. SR080001 2. SR080133 3. SR080577
Rochester - Old Middleboro | MA | 406951 | 473358 | -66407 | -14.03% | 421672 | -14721 | -3.491% | 1. Site was offline on 01/13 from 06:15 to 11:30 . 2. Site was offline from 01/14 at 11:00 to 01/15 at 15:00. | 1. SR080191 2. SR080222
Dover - Littleworth Road | NH | 10197 | 0 | 10197 |  | 0 | 10197
Milton - Landfill | NH | 30705 | 0 | 30705 |  | 0 | 30705

## Feb
Agilitas Energy |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 1572309.9733 | 1222939.16 | 349370.8133 | 28.57% | 544279.56 | 1028030.4133 | 188.9%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA | 65179.64 | 66094.16 | -914.52 | -1.384% | 53397.96 | 11781.68 | 22.06%
Auburn - Leicester Street Solar | MA | 610539.3333 | 467792.3 | 142747.0333 | 30.52% | 0 | 610539.3333
Rochester - Old Middleboro | MA | 761805 | 689052.7 | 72752.3 | 10.56% | 490881.6 | 270923.4 | 55.19% | 1. Site relay tripped open at 15:00 on 02/29 and back online next day. | 1. SR081475
Dover - Littleworth Road | NH | 33324 | 0 | 33324 |  | 0 | 33324
Milton - Landfill | NH | 101462 | 0 | 101462 |  | 0 | 101462 |  | 1. Inverter 11 tripped offline twice this month and self-resolved itself each time. | 1. SR081067

## Mar
Agilitas Energy |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Apr
Agilitas Energy |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## May
Agilitas Energy |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Jun
Agilitas Energy |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Jul
Agilitas Energy |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Aug
Agilitas Energy |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Sep
Agilitas Energy |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Oct
Agilitas Energy |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Nov
Agilitas Energy |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Dec
Agilitas Energy |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Rowley - Central Street Solar | MA
Auburn - Leicester Street Solar | MA
Rochester - Old Middleboro | MA
Dover - Littleworth Road | NH
Milton - Landfill | NH

## Sites
Portfolio: | Agilitas Energy
Site DAS Name | Site | State | Update | DAS
Central Street Solar, Rowley | Rowley - Central Street Solar | MA | AEF | PowerTrack
Leicester Street Solar: DAS + BESS | Auburn - Leicester Street Solar | MA | AEF | PowerTrack
Middleboro Road | Rochester - Old Middleboro | MA | AEF | PowerTrack
Littleworth Road Solar | Dover - Littleworth Road | NH |  | SolrenView
Milton Municipal Landfill | Milton - Landfill | NH |  | SolrenView