## Quarterly
Coxsackie
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted
Quarter | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted
1st Quarter | 833686 | 971826.7 | -138140.7 | -14.21% | 1051581.5 | -217895.5 | -20.72%
2nd Quarter | 0 | 0 | 0 | 0% | 0 | 0 | 0%
3rd Quarter | 0 | 0 | 0 | 0% | 0 | 0 | 0%
4th Quarter | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Year to Date | 833686 | 971826.7 | -138140.7 | -14.21% | 1051581.5 | -217895.5 | -20.72%

## Monthly
Coxsackie
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 218416 | 252236.7 | -33820.7 | -13.41% | 463970.5 | -245554.5 | -52.92% | 1. Site tripped offline on 01/04/2024 at 08:30 & back online on 01/09/2024 at 09:45. 2. Site tripped offline due to Utility outage on 1/18 at 1:15 AM and back online at 5:00 AM on the same day | 1. SR079936 2. SR080309
Feb | 615270 | 719590 | -104320 | -14.5% | 587611 | 27659 | 4.707%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 833686 | 971826.7 | -138140.7 | -14.21% | 1051581.5 | -217895.5 | -20.72%