## Production
Monthly Site Performance Summary
Account: | Ameresco
Report's period: | 02/01/2024 - 02/29/2024
Sites: | Manually selected sites
# of sites: | 11
Generated on: | 03/07/2024 00:22
Site Information | [6 empty] | Open Alerts | Current Month |  |  | Previous Month |  |  | Same month last year |  |  | Previous twelve months
# | Site Name | Country | State | City | Installation Date | Peak Power (kWp) | Highest Alert Impact | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue
1 | NBHA Adams st | United States | Massachusetts | New Bedford | 12/01/2020 | 69.255 | 2 | 2013.9 | 29.1 |  | 1696.1 | 24.5 |  | 4390.1 | 63.4 |  | 73930.1 | 1067.5
2 | NBHA Ben Rose | United States | Massachusetts | New Bedford | 03/03/2022 | 152.425 | 2 | 9639.6 | 63.2 |  | 6039.8 | 39.6 |  | 6243.7 | 41 |  | 160938.7 | 1055.9
3 | NBHA Brickenwood | United States | Massachusetts | New Bedford | 03/01/2022 | 572.325 | 2 | 39166.9 | 68.4 |  | 25545.2 | 44.6 |  | 36955.8 | 64.6 |  | 660931.7 | 1154.8
4 | NBHA Chaffee Fairfield | United States | Massachusetts | New Bedford | 07/29/2020 | 49.4 | 2 | 3415.3 | 69.1 |  | 2203.4 | 44.6 |  | 1485.8 | 30.1 |  | 53011.5 | 1073.1
5 | NBHA DeMedeiros | United States | Massachusetts | New Bedford | 01/10/2022 | 64.35 | 6 | 2958.1 | 46 |  | 2028.7 | 31.5 |  | 4146.7 | 64.4 |  | 71334.6 | 1108.5
6 | NBHA Dottin Place 1 | United States | Massachusetts | New Bedford | 07/29/2020 | 88.4 | 5 | 5118.1 | 57.9 |  | 3359.2 | 38 |  | 6104.1 | 69.1 |  | 101608.5 | 1149.4
7 | NBHA Hillside | United States | Massachusetts | New Bedford | 06/28/2021 | 117 | 2 | 7281.9 | 62.2 |  | 5219 | 44.6 |  | 8298 | 70.9 |  | 140697.3 | 1202.5
8 | NBHA Presidential | United States | Massachusetts | New Bedford | 09/12/2021 | 468.65 | 6 | 28464.2 | 60.7 |  | 18137.8 | 38.7 |  | 30990.1 | 66.1 |  | 456405.2 | 973.9
9 | NBHA Satellite | United States | Massachusetts | New Bedford | 11/18/2021 | 169 | 2 | 11189.5 | 66.2 |  | 7506.2 | 44.4 |  | 10705.7 | 63.3 |  | 192351.2 | 1138.2
10 | NBHA Shawmut Village | United States | Massachusetts | New Bedford | 10/21/2020 | 443.625 | 4 | 26297.4 | 59.3 |  | 17478.7 | 39.4 |  | 32747.5 | 73.8 |  | 487308.5 | 1098.5
11 | NBHA Westlawn | United States | Massachusetts | New Bedford | 03/03/2022 | 267.8 | 2 | 14019 | 52.3 |  | 9711.3 | 36.3 |  | 16475 | 61.5 |  | 294938.8 | 1101.3
Total | [5 empty] | 2462.23 |  | 149563.9 |  |  | 98925.4 |  |  | 158542.5 |  |  | 2693456.1

## Open items
Owner | Asset | Site Equipment | kW Down | Date | Description | Account Manager | Status | Pending | Priority | Summary | Request Number
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 87 Libra Dr - Inverter 10 | 6 ? | 2023-06-15 12:50 | 10/16/23 - Inverter 10 is not communicating and production can't be confirmed. 06/15/23 - Inverter 10 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072700
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 67 Apache CT - Inverter 48 | 7.6 | 2023-04-21 12:34 | 10/17/2023 - Inverter is still not communicating from 04/11, possibly offline 4/21 - Inverter 48 stopped communicating. | Diana Balayan | Pending |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR070992
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 63 Apache CT - Inverter 42 | 5 | 2023-05-09 14:11 | 10/17/2023 - Inverter is still not communicating from 05/07, possibly offline 5/9 - Inverter 42 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071467
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 190 Harvard - Inverter 35 | 10 | 2023-07-11 14:00 | 10/17/23 - Inverter 35 is still offline 07/11/23 - Inverter 35 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073743
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 45 Cherokee CT - Inverter 37 | 6 | 2023-07-13 12:37 | 10/17/2023 - Inverter is still not communicating from 07/10, possibly offline 7/13 - Inverter 37 stopped communicating, possibly offline. S/N: 73086310-EE | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR073825
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Ben Rose - 688 S 1St St - Inverter 10 | 5 | 2023-08-01 12:24 | 10/16/23 - Inverter 10 last communicated 7/30 and production can't be confirmed. 08/01/23 - Inverter 10 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074473
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 121 Mashpee CT - Inverter 25 | 7.6 | 2023-08-09 12:47 | 10/17/2023 - Inverter is still not reporting, possibly offline 8/9 - Inverter 25 stopped communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074887
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 110 Hathaway - Inverter 10 | 7.6 ? | 2023-08-10 12:07 | 10/17/23 - Inverter 10 still not communicating or possibly offline from 08/10 8/10/23 - Inverter 10 stopped communicating overnight, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074960
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 21 Malden - Inverter 18 | comms | 2023-08-17 14:35 | 10/17/23 - Inverter 18 again lost communication at 12:34 from 10/14 08/17/23 - Inverter 18 stopped communicating. | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075214
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Adams St - 14 Adams St - Inverter 4 | <12 | 2023-08-31 14:54 | 10/16/23 - Inverter is still offline. 08/31/23 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075642
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 90 Libra Dr - Inverter 11 | 6 | 2023-10-05 14:16 | 10/5/23 - Inverter 11 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR077287
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 21 Mohawk CT - Inverter 8 |  | 2023-11-07 12:50 | 11/7 - Inverter 8 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR078119
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 29 Mohawk CT - Inverter 6 |  | 2023-12-04 13:15 | 12/4 - Inverter 6 has been tripping offline on isolation faults due to wet weather. See prior history on SR073371 and SR068558. | Diana Balayan | Pending | Pending Reoccurring Events | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | SR078791
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Ben Rose - 26 Delano St - Inverter 16 |  | 2023-12-18 16:45 | 12/18 - Inverter 16 tripped offline on a DC isolation fault. | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR079489
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 20 Shawnee CT - Inverter 4 |  | 2024-02-06 12:16 | 2/6 - Inverter 4 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR080775
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 45 - Inverter 23 |  | 2024-02-20 14:04 | 2/20/24 - Inverter 23 stopped communicating; cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081129
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 25 - Inverter 8 |  | 2024-02-21 12:59 | 2/21/24 - Inverter did not start up. Inverter had a history of start up issues from last summer. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081166
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 13 - Inverter 17 |  | 2024-02-29 13:03 | 2/29 - Inverter 17 stopped communicating and is possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081460
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 126 Aries Dr - Inverter 18 |  | 2024-02-29 13:05 | 2/29 - Satellite inv 18 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081461
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 146 Virgo Dr - Inverter 23 |  | 2024-02-29 13:09 | 2/29 - Satellite inverter 23 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081464
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 33 - Inverter 26 |  | 2024-03-01 14:54 | 3/1 - Inverter 26 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081504
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 135 Dakota CT - Inverter 12 |  | 2024-03-01 14:57 | 3/1 - Inverter 12 lost communications; production cannot be confirmed. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081505
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 65 Saturn Dr - Inverter 4 |  | 2024-03-01 14:58 | 3/1 - Inverter 4 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081506
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Dottin Place 1 - Amanda Ave Bldg 17A (154) - Inverter 3 |  | 2024-03-01 15:00 | 3/1 - Inverter 3 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081507
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Dottin Place 1 - Amanda Ave Bldg 7 (82) - Inverter 9 |  | 2024-03-01 15:01 | 3/1 - Inverter 9 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081508
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | DeMedeiros - 43 Whitman St West - Inverter 1 |  | 2024-03-04 12:53 | 3/4 - Inverter 1 at DeMedeiros is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081554
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 |  | 2024-03-04 12:55 | 3/4 - Inverter 46 at Brickenwood is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081555
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 310 Mt-Pleasant St Bldg 2 - Inverter 1 |  | 2024-03-04 12:58 | 3/4 - Inverter 1 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081556
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 174 Harvard - Inverter 52 | comms | 2023-05-18 14:07 | 10/17/23 - Inverter 52 is having frequent communication losses. Inverter is currently online. 04/18/23 - Inverter 52 is stopped communication at 09:09. | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR071691
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 7.6 | 2023-05-22 14:23 | 05/22/23 - Inverter 46 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071782
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 83 Pawnee CT - Inverter 26 | 5 | 2023-06-02 14:01 | 10/17/2023 - Inverter is still not communicating, possibly offline 06/01/23 - Inverter 26 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072182
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 27 Mohawk CT - Inverter 7 | 6 | 2023-07-16 05:59 | 10/17/2023 - Inverter is still not communicating, possibly offline 07/16/2023 - Inverter 7 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR073886
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Adams St - 14 Adams St - Inverter 3 | 12 | 2023-12-31 04:44 | 12/31/2023 - Inverter 3 is offline and reporting "Isolation Fault". | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR079845
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 104 Aries Dr - Inverter 13 | comms ? | 2023-10-16 09:42 | 10/16/23 - While examining the quarterly production log it appears that inverter 13 at Satellite is not communicating (production can't be confirmed). | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077488
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 25 - Inverter 8 | 7.6 | 2023-04-30 06:07 | 10/16/23 - Inverter has a history of tripping offline and self-resolves. 04/30/23 - Inverter has not started for the production on 04/29 | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071189
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 111 Mashpee CT - Inverter 49 | 6 | 2023-10-17 03:40 | 10/17/23 - Inverter 49 is not communicating from 07/09, possibly offline | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077517
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Dottin Place 1 - Amanda Ave Bldg 5 (61) - Inverter 4 | 6 | 2023-07-07 04:52 | 07/07/2023 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073621
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | DeMedeiros - 43 Whitman St West - Inverter 1 | 11.4 | 2023-08-19 16:45 | 10/16/23 - The inverter is still offline. 08/19/2023 - Inverter 1 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075268