## Year to Date
LX International America, Inc. |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 146483.5 | 57837 | 88646.5 | 153.3% | 0 | 146483.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Lake Havasu City - Police Station | AZ | 55862 | 22686 | 33176 | 146.2% | 0 | 55862
AZ: Lake Havasu City - Aquatic Center | AZ | 38996.5 | 10010 | 28986.5 | 289.6% | 0 | 38996.5
AZ: Lake Havasu City - City Hall | AZ | 37170 | 23925 | 13245 | 55.36% | 0 | 37170
AZ: Lake Havasu City - Public Works | AZ | 14455 | 1216 | 13239 | 1089% | 0 | 14455

## 1st Qtr
LX International America, Inc. |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 146483.5 | 57837 | 88646.5 | 153.3% | 0 | 146483.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Lake Havasu City - Police Station | AZ | 55862 | 22686 | 33176 | 146.2% | 0 | 55862
AZ: Lake Havasu City - Aquatic Center | AZ | 38996.5 | 10010 | 28986.5 | 289.6% | 0 | 38996.5
AZ: Lake Havasu City - City Hall | AZ | 37170 | 23925 | 13245 | 55.36% | 0 | 37170
AZ: Lake Havasu City - Public Works | AZ | 14455 | 1216 | 13239 | 1089% | 0 | 14455

## 2nd Qtr
LX International America, Inc. |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Lake Havasu City - Police Station | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - Aquatic Center | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - City Hall | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - Public Works | AZ | 0 | 0 | 0 |  |  | 0
|  | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
LX International America, Inc. |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Lake Havasu City - Police Station | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - Aquatic Center | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - City Hall | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - Public Works | AZ | 0 | 0 | 0 |  |  | 0
|  | 0 | 0 | 0 |  |  | 0

## 4th Qtr
LX International America, Inc. |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Lake Havasu City - Police Station | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - Aquatic Center | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - City Hall | AZ | 0 | 0 | 0 |  |  | 0
AZ: Lake Havasu City - Public Works | AZ | 0 | 0 | 0 |  |  | 0

## Jan
LX International America, Inc. |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 67928.5 | 6873 | 61055.5 | 888.3% | 0 | 67928.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ | 23850 | 2839 | 21011 | 740.1% | 0 | 23850 | 0% | 1. Weather station reporting erroneous values from 09/19/2023, due to that expected energy values are too low. | 1. SR071003
AZ: Lake Havasu City - Aquatic Center | AZ | 27794.5 | 2447 | 25347.5 | 1036% | 0 | 27794.5 | 0% | 1. Weather station data is virtually taken from the LHC Police station, resulting in expected energy values that are too low | 1. SR071003
AZ: Lake Havasu City - City Hall | AZ | 9540 | 930 | 8610 | 925.8% | 0 | 9540 | 0% | 1. Weather station data is virtually taken from the LHC Police station, resulting in expected energy values that are too low | 1. SR071003
AZ: Lake Havasu City - Public Works | AZ | 6744 | 657 | 6087 | 926.5% | 0 | 6744 | 0% | 1. The current weather station is analog and the current reporting is digital they do not match the weather station would need to be replaced to work correctly | 1. SR067178

## Feb
LX International America, Inc. |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 78555 | 50964 | 27591 | 54.14% | 0 | 78555 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ | 32012 | 19847 | 12165 | 61.29% | 0 | 32012 |  | 1. Weather station reporting erroneous values from 09/19/2023, due to that expected energy values are too low. 2. Inverter 3 is offline | 1. SR071003 2. SR081340
AZ: Lake Havasu City - Aquatic Center | AZ | 11202 | 7563 | 3639 | 48.12% | 0 | 11202 |  | 1. Weather station data is virtually taken from the LHC Police station, resulting in expected energy values that are too low. | 1. SR071003
AZ: Lake Havasu City - City Hall | AZ | 27630 | 22995 | 4635 | 20.16% | 0 | 27630 |  | 1. Weather station data is virtually taken from the LHC Police station, resulting in expected energy values that are too low. | 1. SR071003
AZ: Lake Havasu City - Public Works | AZ | 7711 | 559 | 7152 | 1279% | 0 | 7711 |  | 1. The current weather station is analog and the current reporting is digital they do not match the weather station would need to be replaced to work correctly | 1. SR067178

## Mar
LX International America, Inc. |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Apr
LX International America, Inc. |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## May
LX International America, Inc. |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Jun
LX International America, Inc. |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Jul
LX International America, Inc. |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Aug
LX International America, Inc. |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Sep
LX International America, Inc. |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Oct
LX International America, Inc. |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Nov
LX International America, Inc. |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Dec
LX International America, Inc. |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ

## Sites
Portfolio: | LX International America, Inc.
Site DAS Name | Site | State | Update | DAS
AZ: Lake Havasu City - Police Station | AZ: Lake Havasu City - Police Station | AZ
AZ: Lake Havasu City - Aquatic Center | AZ: Lake Havasu City - Aquatic Center | AZ
AZ: Lake Havasu City - City Hall | AZ: Lake Havasu City - City Hall | AZ
AZ: Lake Havasu City - Public Works | AZ: Lake Havasu City - Public Works | AZ