## Quarterly
Palmer Solar
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted
Quarter | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted
1st Quarter | 565060 | 0 | 565060 | 0% | 0 | 565060 | 0%
2nd Quarter | 892237 | 0 | 892237 | 0% | 0 | 892237 | 0%
3rd Quarter | 804698 | 0 | 804698 | 0% | 0 | 804698 | 0%
4th Quarter | 532889 | 0 | 532889 | 0% | 0 | 532889 | 0%
Year to Date | 2794884 | 0 | 2794884 | 0% | 0 | 2794884 | 0%

## Monthly
Palmer Solar
2022
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Feb | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Mar | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Apr | 0 | 0 | 0 | 0% | 0 | 0 | 0%
May | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Jun | 358822 | 0 | 358822 | 0% | 0 | 358822 | 0%
Jul | 393542 | 0 | 393542 | 0% | 0 | 393542 | 0%
Aug | 344979 | 0 | 344979 | 0% | 0 | 344979 | 0%
Sep | 286906 | 0 | 286906 | 0% | 0 | 286906 | 0%
Oct | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Nov | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dec | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Totals | 1384249 | 0 | 1384249 | 0% | 0 | 1384249 | 0%
2023
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 100696 | 0 | 100696 | 0% | 0 | 100696 | 0%
Feb | 188937 | 0 | 188937 | 0% | 0 | 188937 | 0%
Mar | 275427 | 0 | 275427 | 0% | 0 | 275427 | 0%
Apr | 303805 | 0 | 303805 | 0% | 0 | 303805 | 0%
May | 375176 | 0 | 375176 | 0% | 0 | 375176 | 0%
Jun | 213256 | 0 | 213256 | 0% | 0 | 213256 | 0%
Jul | 270954 | 0 | 270954 | 0% | 0 | 270954 | 0%
Aug | 286064 | 0 | 286064 | 0% | 0 | 286064 | 0%
Sep | 247680 | 0 | 247680 | 0% | 0 | 247680 | 0%
Oct | 221566 | 0 | 221566 | 0% | 0 | 221566 | 0%
Nov | 194357 | 0 | 194357 | 0% | 0 | 194357 | 0% | 1. Inverter 1 zone 7 was offline almost throughout the month | 1. SR078060
Dec | 116966 | 0 | 116966 | 0% | 0 | 116966 | 0%
Totals | 2794884 | 0 | 2794884 | 0% | 0 | 2794884 | 0%
2024
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 62254 | 0 | 62254 | 0% | 0 | 62254 | 0% | 1. Site tripped offline on 01/10 and reenerzied on 01/11 at 8:00 AM | 1. SR080119
Feb | 238221 | 0 | 238221 | 0% | 0 | 238221 | 0%
Mar | 258395 | 0 | 258395 | 0% | 0 | 258395 | 0% | 1. Inverter 1 derating 175 kW compared to its peers from 3/29 and still it is offline | 1. SR082921
Apr | 0 | 0 | 0 | 0% | 0 | 0 | 0%
May | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Jun | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Jul | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Aug | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sep | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Oct | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Nov | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dec | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Totals | 0 | 0 | 0 | 0% | 0 | 0 | 0%
0
2024 vs 2023 | % year over year | Notes
Jan | -61.75% | January 2024 was one of the worst production months in the last 5 years.
Feb | 20.69%
Mar | -6.591% | Rainy and overcast 52% of the month
Apr
May
Jun | [7 empty] | 0.51613
Jul
Aug
Sep
Oct
Nov
Dec