## YTD Total 2023
38 DN |  | Year to Date 2024 Actual v. Expected |  |  |  | Year to Date 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA | 124703.5 | 103355.9 | 21347.6 | 20.65% | 146126.1 | -21422.6 | -14.66%
Barton Acres | MA | 31509 | 84215.44 | -52706.44 | -62.59% | 69453.12 | -37944.12 | -54.63%
Bowden | MA | 69313 | 124922.7 | -55609.7 | -44.52% | 167677.4 | -98364.4 | -58.66%
Blair Wire Village | MA | 38474 | 97645.68 | -59171.68 | -60.6% | 83112.14 | -44638.14 | -53.71%
Boutilier | MA | 104475 | 117645.2 | -13170.2 | -11.19% | 190658.8 | -86183.8 | -45.2%
Cherry Valley | MA | 33861 | 93717.02 | -59856.02 | -63.87% | 77483 | -43622 | -56.3%
Cohasse | MA | 37057 | 86836.54 | -49779.54 | -57.33% | 114180.6 | -77123.6 | -67.55%
ISM Dighton Solar 2 | MA | 123864 | 178054.9 | -54190.9 | -30.43% | 195853.9 | -71989.9 | -36.76%
Dudley River 1 | MA | 43519 | 68762.9 | -25243.9 | -36.71% | 83762.23 | -40243.23 | -48.04%
Dudley River 2 | MA | 44123 | 70139.57 | -26016.57 | -37.09% | 81919.43 | -37796.43 | -46.14%
Dudley River 3 | MA | 47297 | 71573.83 | -24276.83 | -33.92% | 84149.19 | -36852.19 | -43.79%
Flint Pond | MA | 16497.5 | 40276 | -23778.5 | -59.04% | 33543.68 | -17046.18 | -50.82%
Incom | MA | 83086 | 159872.4 | -76786.4 | -48.03% | 220156.9 | -137070.9 | -62.26%
JH | MA | 32274 | 86355.93 | -54081.93 | -62.63% | 106218.7 | -73944.7 | -69.62%
Ledeaux | MA | 28537 | 58671.27 | -30134.27 | -51.36% | 98769.99 | -70232.99 | -71.11%
Palombo A | MA | 79689.0033 | 187942.8 | -108253.7967 | -57.6% | 250093 | -170403.9967 | -68.14%
Palombo B | MA | 32703 | 91961.55 | -59258.55 | -64.44% | 71768.39 | -39065.39 | -54.43%
St Josephs Church | MA | 37183 | 87772.32 | -50589.32 | -57.64% | 91531.02 | -54348.02 | -59.38%
Sunset A | MA | 16708.5 | 42789.35 | -26080.85 | -60.95% | 32696.87 | -15988.37 | -48.9%
Sunset B | MA | 16074.25 | 29669.2 | -13594.95 | -45.82% | 32307.32 | -16233.07 | -50.25%
Woodchuck | MA | 33788 | 71556.68 | -37768.68 | -52.78% | 96097.7 | -62309.7 | -64.84%
Total |  | 1074735.7533 | 1953737.18 | -879001.4267 | -44.99% | 2327559.48 | -1252823.7267 | -53.83%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 1st Quarter 2023
38 DN |  | 1st Quarter 2024 Actual v. Expected |  |  |  | 1st Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA | 124703.5 | 103355.9 | 21347.6 | 20.65% | 146126.1 | -21422.6 | -14.66%
Barton Acres | MA | 31509 | 84215.44 | -52706.44 | -62.59% | 69453.12 | -37944.12 | -54.63%
Bowden | MA | 69313 | 124922.7 | -55609.7 | -44.52% | 167677.4 | -98364.4 | -58.66%
Blair Wire Village | MA | 38474 | 97645.68 | -59171.68 | -60.6% | 83112.14 | -44638.14 | -53.71%
Boutilier | MA | 104475 | 117645.2 | -13170.2 | -11.19% | 190658.8 | -86183.8 | -45.2%
Cherry Valley | MA | 33861 | 93717.02 | -59856.02 | -63.87% | 77483 | -43622 | -56.3%
Cohasse | MA | 37057 | 86836.54 | -49779.54 | -57.33% | 114180.6 | -77123.6 | -67.55%
ISM Dighton Solar 2 | MA | 123864 | 178054.9 | -54190.9 | -30.43% | 195853.9 | -71989.9 | -36.76%
Dudley River 1 | MA | 43519 | 68762.9 | -25243.9 | -36.71% | 83762.23 | -40243.23 | -48.04%
Dudley River 2 | MA | 44123 | 70139.57 | -26016.57 | -37.09% | 81919.43 | -37796.43 | -46.14%
Dudley River 3 | MA | 47297 | 71573.83 | -24276.83 | -33.92% | 84149.19 | -36852.19 | -43.79%
Flint Pond | MA | 16497.5 | 40276 | -23778.5 | -59.04% | 33543.68 | -17046.18 | -50.82%
Incom | MA | 83086 | 159872.4 | -76786.4 | -48.03% | 220156.9 | -137070.9 | -62.26%
JH | MA | 32274 | 86355.93 | -54081.93 | -62.63% | 106218.7 | -73944.7 | -69.62%
Ledeaux | MA | 28537 | 58671.27 | -30134.27 | -51.36% | 98769.99 | -70232.99 | -71.11%
Palombo A | MA | 79689.0033 | 187942.8 | -108253.7967 | -57.6% | 250093 | -170403.9967 | -68.14%
Palombo B | MA | 32703 | 91961.55 | -59258.55 | -64.44% | 71768.39 | -39065.39 | -54.43%
St Josephs Church | MA | 37183 | 87772.32 | -50589.32 | -57.64% | 91531.02 | -54348.02 | -59.38%
Sunset A | MA | 16708.5 | 42789.35 | -26080.85 | -60.95% | 32696.87 | -15988.37 | -48.9%
Sunset B | MA | 16074.25 | 29669.2 | -13594.95 | -45.82% | 32307.32 | -16233.07 | -50.25%
Woodchuck | MA | 33788 | 71556.68 | -37768.68 | -52.78% | 96097.7 | -62309.7 | -64.84%
Total |  | 1074735.7533 | 1953737.18 | -879001.4267 | -44.99% | 2327559.48 | -1252823.7267 | -53.83%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 2nd Quarter 2023
38 DN |  | 2nd Quarter 2024 Actual v. Expected |  |  |  | 2nd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Barton Acres | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Bowden | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Blair Wire Village | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Boutilier | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Cherry Valley | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Cohasse | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
ISM Dighton Solar 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 1 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Flint Pond | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Incom | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
JH | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Ledeaux | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Palombo A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Palombo B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
St Josephs Church | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sunset A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sunset B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Woodchuck | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 3rd Quarter 2023
38 DN |  | 3rd Quarter 2024 Actual v. Expected |  |  |  | 3rd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Barton Acres | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Bowden | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Blair Wire Village | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Boutilier | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Cherry Valley | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Cohasse | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
ISM Dighton Solar 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 1 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Flint Pond | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Incom | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
JH | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Ledeaux | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Palombo A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Palombo B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
St Josephs Church | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sunset A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sunset B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Woodchuck | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 4th Quarter 2024
38 DN |  | 4th Quarter 2024 Actual v. Expected |  |  |  | 4th Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Barton Acres | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Bowden | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Blair Wire Village | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Boutilier | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Cherry Valley | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Cohasse | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
ISM Dighton Solar 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 1 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dudley River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Flint Pond | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Incom | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
JH | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Ledeaux | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Palombo A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Palombo B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
St Josephs Church | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sunset A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sunset B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Woodchuck | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 01-2024
38 DN |  | 01-2024 Actual v. Expected |  |  |  | 01-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA | 124703.5 | 103355.9 | 21347.6 | 20.65% | 146126.1 | -21422.6 | -14.66% | 1. Inverter 28 was offline from 12/14 and back online on 01/25 | 1. SR079280
Barton Acres | MA | 31509 | 84215.44 | -52706.44 | -62.59% | 69453.12 | -37944.12 | -54.63%
Bowden | MA | 69313 | 124922.7 | -55609.7 | -44.52% | 167677.4 | -98364.4 | -58.66%
Blair Wire Village | MA | 38474 | 97645.68 | -59171.68 | -60.6% | 83112.14 | -44638.14 | -53.71% | 1. Relay tripped and site is experiencing an outage on 01/07 at 09:47 and reclosed at 18:30 | 1. SR079999
Boutilier | MA | 104475 | 117645.2 | -13170.2 | -11.19% | 190658.8 | -86183.8 | -45.2%
Cherry Valley | MA | 33861 | 93717.02 | -59856.02 | -63.87% | 77483 | -43622 | -56.3% | 1. Inverter B stopped communicating at 08:15 on 01/23 and technican reset the inverter at 12:00 2. Inverter B stopped communicating on 01/28 at 111:15 and and technician reset the inverter at 12:00. on 01/29 3. Site tripped offline at 10:45 on 01/07 and back online 23:15 same day. | 1. SR080405 2. SR080529 3. SR080002
Cohasse | MA | 37057 | 86836.54 | -49779.54 | -57.33% | 114180.6 | -77123.6 | -67.55% | 1. site tripped offline at 21:00 on 01/09 and back online at 8:30 on 01/10. | 1. SR080109
ISM Dighton Solar 2 | MA | 123864 | 178054.9 | -54190.9 | -30.43% | 195853.9 | -71989.9 | -36.76% | 1. SEL Relay 2 tripped offline at 23:00 on 01/30 and reclosed at 10:45 on 01/31 2. Planned outage on 01/25 at 9:00 and site reclosed at 17:00 on same day. | 1. SR080611 2. SR080054
Dudley River 1 | MA | 43519 | 68762.9 | -25243.9 | -36.71% | 83762.23 | -40243.23 | -48.04%
Dudley River 2 | MA | 44123 | 70139.57 | -26016.57 | -37.09% | 81919.43 | -37796.43 | -46.14%
Dudley River 3 | MA | 47297 | 71573.83 | -24276.83 | -33.92% | 84149.19 | -36852.19 | -43.79%
Flint Pond | MA | 16497.5 | 40276 | -23778.5 | -59.04% | 33543.68 | -17046.18 | -50.82% | 1. site offline on 01/07 at 05:00 and resolved at 07:15 | 1. SR079998
Incom | MA | 83086 | 159872.4 | -76786.4 | -48.03% | 220156.9 | -137070.9 | -62.26% | 1. Site was offline on 01/25 at 04:45 and reclosed at 16:00 | 1. SR080455
JH | MA | 32274 | 86355.93 | -54081.93 | -62.63% | 106218.7 | -73944.7 | -69.62%
Ledeaux | MA | 28537 | 58671.27 | -30134.27 | -51.36% | 98769.99 | -70232.99 | -71.11%
Palombo A | MA | 79689.0033 | 187942.8 | -108253.7967 | -57.6% | 250093 | -170403.9967 | -68.14%
Palombo B | MA | 32703 | 91961.55 | -59258.55 | -64.44% | 71768.39 | -39065.39 | -54.43%
St Josephs Church | MA | 37183 | 87772.32 | -50589.32 | -57.64% | 91531.02 | -54348.02 | -59.38%
Sunset A | MA | 16708.5 | 42789.35 | -26080.85 | -60.95% | 32696.87 | -15988.37 | -48.9% | 1. Relay tripped at 3:50 Am on 01/30 and auto reclosed in minutes | 1. SR080186
Sunset B | MA | 16074.25 | 29669.2 | -13594.95 | -45.82% | 32307.32 | -16233.07 | -50.25% | 1. Relay tripped at 3:50 Am on 01/30 and auto reclosed in minutes | 1. SR080187
Woodchuck | MA | 33788 | 71556.68 | -37768.68 | -52.78% | 96097.7 | -62309.7 | -64.84%
Total |  | 1074735.7533 | 1953737.18 | -879001.4267 | -44.99% | 2327559.48 | -1252823.7267 | -53.83%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 02-2024
38 DN |  | 02-2024 Actual v. Expected |  |  |  | 02-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 03-2024
38 DN |  | 03-2024 Actual v. Expected |  |  |  | 03-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 04-2024
38 DN |  | 04-2023 Actual v. Expected |  |  |  | 04-2023 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 05-2024
38 DN |  | 05-2024 Actual v. Expected |  |  |  | 05-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 06-2024
38 DN |  | 06-2024 Actual v. Expected |  |  |  | 06-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 07-2024
38 DN |  | 07-2024 Actual v. Expected |  |  |  | 07-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 08-2024
38 DN |  | 08-2024 Actual v. Expected |  |  |  | 08-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 09-2024
38 DN |  | 09-2024 Actual v. Expected |  |  |  | 09-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 10-2024
38 DN |  | 10-2024 Actual v. Expected |  |  |  | 10-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 11-2024
38 DN |  | 11-2024 Actual v. Expected |  |  |  | 11-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 12-2024
38 DN |  | 12-2024 Actual v. Expected |  |  |  | 12-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
6th St. | CA |  |  | 0 | 0% |  | 0 | 0%
Barton Acres | MA |  |  | 0 | 0% |  | 0 | 0%
Bowden | MA |  |  | 0 | 0% |  | 0 | 0%
Blair Wire Village | MA |  |  | 0 | 0% |  | 0 | 0%
Boutilier | MA |  |  | 0 | 0% |  | 0 | 0%
Cherry Valley | MA |  |  | 0 | 0% |  | 0 | 0%
Cohasse | MA |  |  | 0 | 0% |  | 0 | 0%
ISM Dighton Solar 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 1 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Dudley River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Flint Pond | MA |  |  | 0 | 0% |  | 0 | 0%
Incom | MA |  |  | 0 | 0% |  | 0 | 0%
JH | MA |  |  | 0 | 0% |  | 0 | 0%
Ledeaux | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo A | MA |  |  | 0 | 0% |  | 0 | 0%
Palombo B | MA |  |  | 0 | 0% |  | 0 | 0%
St Josephs Church | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset A | MA |  |  | 0 | 0% |  | 0 | 0%
Sunset B | MA |  |  | 0 | 0% |  | 0 | 0%
Woodchuck | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sites
Portfolio: | 38 DN
Site DAS Name | Site | State | Column1
6th St. | 6th St. | CA | AEF
Barton Acres | Barton Acres | MA | AEF
Bowden | Bowden | MA | AEF
Blair Wire Village | Blair Wire Village | MA | AEF
Boutilier | Boutilier | MA | AEF
Cherry Valley | Cherry Valley | MA | AEF
Cohasse | Cohasse | MA | AEF
ISM Dighton Solar 2 | ISM Dighton Solar 2 | MA | AEF
Dudley River 1 | Dudley River 1 | MA | AEF
Dudley River 2 | Dudley River 2 | MA | AEF
Dudley River 3 | Dudley River 3 | MA | AEF
Flint Pond | Flint Pond | MA | AEF
Incom | Incom | MA | AEF
JH | JH | MA | AEF
Ledeaux | Ledeaux | MA | AEF
Palombo A | Palombo A | MA | AEF
Palombo B | Palombo B | MA | AEF
St Josephs Church | St Josephs Church | MA | AEF
Sunset A | Sunset A | MA | AEF
Sunset B | Sunset B | MA | AEF
Woodchuck | Woodchuck | MA | AEF

## 6th St.
6th St.
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 124703.5 | 103355.9 | 21347.6 | 20.65% | 146126.1 | -21422.6 | -14.66% | 1. Inverter 28 was offline from 12/14 and back online on 01/25 | 1. SR079280
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 124703.5 | 103355.9 | 21347.6 | 20.65% | 146126.1 | -21422.6 | -14.66%

## Barton Acres
Barton Acres
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 31509 | 84215.44 | -52706.44 | -62.59% | 69453.12 | -37944.12 | -54.63%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 31509 | 84215.44 | -52706.44 | -62.59% | 69453.12 | -37944.12 | -54.63%

## Bowden
Bowden
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 69313 | 124922.7 | -55609.7 | -44.52% | 167677.4 | -98364.4 | -58.66%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 69313 | 124922.7 | -55609.7 | -44.52% | 167677.4 | -98364.4 | -58.66%

## Blair Wire Village
Blair Wire Village
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 38474 | 97645.68 | -59171.68 | -60.6% | 83112.14 | -44638.14 | -53.71% | 1. Relay tripped and site is experiencing an outage on 01/07 at 09:47 and reclosed at 18:30 | 1. SR079999
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 38474 | 97645.68 | -59171.68 | -60.6% | 83112.14 | -44638.14 | -53.71%

## Boutilier
Boutilier
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 104475 | 117645.2 | -13170.2 | -11.19% | 190658.8 | -86183.8 | -45.2%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 104475 | 117645.2 | -13170.2 | -11.19% | 190658.8 | -86183.8 | -45.2%

## Cherry Valley
Cherry Valley
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 33861 | 93717.02 | -59856.02 | -63.87% | 77483 | -43622 | -56.3% | 1. Inverter B stopped communicating at 08:15 on 01/23 and technican reset the inverter at 12:00 2. Inverter B stopped communicating on 01/28 at 111:15 and and technician reset the inverter at 12:00. on 01/29 3. Site tripped offline at 10:45 on 01/07 and back online 23:15 same day. | 1. SR080405 2. SR080529 3. SR080002
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 33861 | 93717.02 | -59856.02 | -63.87% | 77483 | -43622 | -56.3%

## Cohasse
Cohasse
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 37057 | 86836.54 | -49779.54 | -57.33% | 114180.6 | -77123.6 | -67.55% | 1. site tripped offline at 21:00 on 01/09 and back online at 8:30 on 01/10. | 1. SR080109
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 37057 | 86836.54 | -49779.54 | -57.33% | 114180.6 | -77123.6 | -67.55%

## ISM Dighton Solar 2
ISM Dighton Solar 2
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 123864 | 178054.9 | -54190.9 | -30.43% | 195853.9 | -71989.9 | -36.76% | 1. SEL Relay 2 tripped offline at 23:00 on 01/30 and reclosed at 10:45 on 01/31 2. Planned outage on 01/25 at 9:00 and site reclosed at 17:00 on same day. | 1. SR080611 2. SR080054
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 123864 | 178054.9 | -54190.9 | -30.43% | 195853.9 | -71989.9 | -36.76%

## Dudley River 1
Dudley River 1
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 43519 | 68762.9 | -25243.9 | -36.71% | 83762.23 | -40243.23 | -48.04%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 43519 | 68762.9 | -25243.9 | -36.71% | 83762.23 | -40243.23 | -48.04%

## Dudley River 2
Dudley River 2
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 44123 | 70139.57 | -26016.57 | -37.09% | 81919.43 | -37796.43 | -46.14%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 44123 | 70139.57 | -26016.57 | -37.09% | 81919.43 | -37796.43 | -46.14%

## Dudley River 3
Dudley River 3
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 47297 | 71573.83 | -24276.83 | -33.92% | 84149.19 | -36852.19 | -43.79%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 47297 | 71573.83 | -24276.83 | -33.92% | 84149.19 | -36852.19 | -43.79%

## Flint Pond
Flint Pond
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 16497.5 | 40276 | -23778.5 | -59.04% | 33543.68 | -17046.18 | -50.82% | 1. site offline on 01/07 at 05:00 and resolved at 07:15 | 1. SR079998
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 16497.5 | 40276 | -23778.5 | -59.04% | 33543.68 | -17046.18 | -50.82%

## Incom
Incom
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 83086 | 159872.4 | -76786.4 | -48.03% | 220156.9 | -137070.9 | -62.26% | 1. Site was offline on 01/25 at 04:45 and reclosed at 16:00 | 1. SR080455
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 83086 | 159872.4 | -76786.4 | -48.03% | 220156.9 | -137070.9 | -62.26%

## JH
JH
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 32274 | 86355.93 | -54081.93 | -62.63% | 106218.7 | -73944.7 | -69.62%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 32274 | 86355.93 | -54081.93 | -62.63% | 106218.7 | -73944.7 | -69.62%

## Ledeaux
Ledeaux
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 28537 | 58671.27 | -30134.27 | -51.36% | 98769.99 | -70232.99 | -71.11%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 28537 | 58671.27 | -30134.27 | -51.36% | 98769.99 | -70232.99 | -71.11%

## Palombo A
Palombo A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 79689.0033 | 187942.8 | -108253.7967 | -57.6% | 250093 | -170403.9967 | -68.14%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 79689.0033 | 187942.8 | -108253.7967 | -57.6% | 250093 | -170403.9967 | -68.14%

## Palombo B
Palombo B
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 32703 | 91961.55 | -59258.55 | -64.44% | 71768.39 | -39065.39 | -54.43%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 32703 | 91961.55 | -59258.55 | -64.44% | 71768.39 | -39065.39 | -54.43%

## St Josephs Church
St Josephs Church
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 37183 | 87772.32 | -50589.32 | -57.64% | 91531.02 | -54348.02 | -59.38%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 37183 | 87772.32 | -50589.32 | -57.64% | 91531.02 | -54348.02 | -59.38%

## Sunset A
Sunset A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 16708.5 | 42789.35 | -26080.85 | -60.95% | 32696.87 | -15988.37 | -48.9% | 1. Relay tripped at 3:50 Am on 01/30 and auto reclosed in minutes | 1. SR080186
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 16708.5 | 42789.35 | -26080.85 | -60.95% | 32696.87 | -15988.37 | -48.9%

## Sunset B
Sunset B
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 16074.25 | 29669.2 | -13594.95 | -45.82% | 32307.32 | -16233.07 | -50.25% | 1. Relay tripped at 3:50 Am on 01/30 and auto reclosed in minutes | 1. SR080187
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 16074.25 | 29669.2 | -13594.95 | -45.82% | 32307.32 | -16233.07 | -50.25%

## Woodchuck
Woodchuck
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 33788 | 71556.68 | -37768.68 | -52.78% | 96097.7 | -62309.7 | -64.84%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 33788 | 71556.68 | -37768.68 | -52.78% | 96097.7 | -62309.7 | -64.84%