## YTD Total
Agilitas Energy |  | Year to Date 2024 Actual v. Expected |  |  |  | Year to Date 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 23660.31 | 29500.5 | -5840.19 | -19.8% | 37551.17 | -13890.86 | -36.99%
Auburn - Leicester Street Solar | MA | 172284.3333 | 0 | 172284.3333 | 0% | 0 | 172284.3333 | 0%
Rochester - Old Middleboro | MA | 406951 | 473358 | -66407 | -14.03% | 421672 | -14721 | -3.491%
Dover - Littleworth Road | NH | 10197 | 0 | 10197 | 0% | 0 | 10197 | 0%
Milton - Landfill | NH | 30705 | 0 | 30705 | 0% | 0 | 30705 | 0%
Total |  | 643797.6434 | 502858.5 | 140939.1434 | 28.03% | 459223.17 | 184574.4734 | 40.19%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 1st Qtr
Agilitas Energy |  | 1st Quarter 2024 Actual v. Expected |  |  |  | 1st Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 23660.31 | 29500.5 | -5840.19 | -19.8% | 37551.17 | -13890.86 | -36.99%
Auburn - Leicester Street Solar | MA | 172284.3333 | 0 | 172284.3333 | 0% | 0 | 172284.3333 | 0%
Rochester - Old Middleboro | MA | 406951 | 473358 | -66407 | -14.03% | 421672 | -14721 | -3.491%
Dover - Littleworth Road | NH | 10197 | 0 | 10197 | 0% | 0 | 10197 | 0%
Milton - Landfill | NH | 30705 | 0 | 30705 | 0% | 0 | 30705 | 0%
Total |  | 643797.6434 | 502858.5 | 140939.1434 | 28.03% | 459223.17 | 184574.4734 | 40.19%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 2nd Qtr
Agilitas Energy |  | 2nd Quarter 2024 Actual v. Expected |  |  |  | 2nd Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Auburn - Leicester Street Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Rochester - Old Middleboro | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dover - Littleworth Road | NH | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Milton - Landfill | NH | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 3rd Qtr
Agilitas Energy |  | 3rd Quarter 2024 Actual v. Expected |  |  |  | 3rd Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Auburn - Leicester Street Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Rochester - Old Middleboro | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dover - Littleworth Road | NH | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Milton - Landfill | NH | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 4th Qtr
Agilitas Energy |  | 4th Quarter 2024 Actual v. Expected |  |  |  | 4th Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Auburn - Leicester Street Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Rochester - Old Middleboro | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Dover - Littleworth Road | NH | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Milton - Landfill | NH | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jan
Agilitas Energy |  | January Actual v. Expected |  |  |  | January Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA | 23660.31 | 29500.5 | -5840.19 | -19.8% | 37551.17 | -13890.86 | -36.99%
Auburn - Leicester Street Solar | MA | 172284.3333 | 0 | 172284.3333 | 0% | 0 | 172284.3333 | 0% | 1. Site was offline on 01/07 at 10:00AM and later back online on 01/08 at 15:30. 2. Site tripped offline on 01/22 at 10:15AM and later back online on 01/25 at 15:45. 3. Inverters 28, 29 & 39 are offline from 01/26 and later back online on 01/31 at 14:45. | 1. SR080001 2. SR080133 3. SR080577
Rochester - Old Middleboro | MA | 406951 | 473358 | -66407 | -14.03% | 421672 | -14721 | -3.491% | 1. Site was offline on 01/13 from 06:15 to 11:30 . 2. Site was offline from 01/14 at 11:00 to 01/15 at 15:00. | 1. SR080191 2. SR080222
Dover - Littleworth Road | NH | 10197 | 0 | 10197 | 0% | 0 | 10197 | 0%
Milton - Landfill | NH | 30705 | 0 | 30705 | 0% | 0 | 30705 | 0%
Total |  | 643797.6434 | 502858.5 | 140939.1434 | 28.03% | 459223.17 | 184574.4734 | 40.19%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Feb
Agilitas Energy |  | February Actual v. Expected |  |  |  | February Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Mar
Agilitas Energy |  | March Actual v. Expected |  |  |  | March Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Apr
Agilitas Energy |  | April Actual v. Expected |  |  |  | April Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## May
Agilitas Energy |  | May Actual v. Expected |  |  |  | May Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jun
Agilitas Energy |  | June Actual v. Expected |  |  |  | June Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jul
Agilitas Energy |  | July Actual v. Expected |  |  |  | July Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Aug
Agilitas Energy |  | August Actual v. Expected |  |  |  | August Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sep
Agilitas Energy |  | September Actual v. Expected |  |  |  | September Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Oct
Agilitas Energy |  | October Actual v. Expected |  |  |  | October Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Nov
Agilitas Energy |  | November Actual v. Expected |  |  |  | November Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Dec
Agilitas Energy |  | December Actual v. Expected |  |  |  | December Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Rowley - Central Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Auburn - Leicester Street Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Rochester - Old Middleboro | MA |  |  | 0 | 0% |  | 0 | 0%
Dover - Littleworth Road | NH |  |  | 0 | 0% |  | 0 | 0%
Milton - Landfill | NH |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sites
Portfolio: | Agilitas Energy
Site DAS Name | Site | State | Column1 | DAS
Central Street Solar, Rowley | Rowley - Central Street Solar | MA | AEF | PowerTrack
Leicester Street Solar: DAS + BESS | Auburn - Leicester Street Solar | MA | AEF | PowerTrack
Middleboro Road | Rochester - Old Middleboro | MA | AEF | PowerTrack
Littleworth Road Solar | Dover - Littleworth Road | NH |  | SolrenView
Milton Municipal Landfill | Milton - Landfill | NH |  | SolrenView

## Rowley - Central Street Solar
Rowley - Central Street Solar
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 23660.31 | 29500.5 | -5840.19 | -19.8% | 37551.17 | -13890.86 | -36.99%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 23660.31 | 29500.5 | -5840.19 | -19.8% | 37551.17 | -13890.86 | -36.99%

## Auburn - Leicester Street Solar
Auburn - Leicester Street Solar
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 172284.3333 | 0 | 172284.3333 | 0% | 0 | 172284.3333 | 0% | 1. Site was offline on 01/07 at 10:00AM and later back online on 01/08 at 15:30. 2. Site tripped offline on 01/22 at 10:15AM and later back online on 01/25 at 15:45. 3. Inverters 28, 29 & 39 are offline from 01/26 and later back online on 01/31 at 14:45. | 1. SR080001 2. SR080133 3. SR080577
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 172284.3333 | 0 | 172284.3333 | 0% | 0 | 172284.3333 | 0%

## Rochester - Old Middleboro
Rochester - Old Middleboro
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 406951 | 473358 | -66407 | -14.03% | 421672 | -14721 | -3.491% | 1. Site was offline on 01/13 from 06:15 to 11:30 . 2. Site was offline from 01/14 at 11:00 to 01/15 at 15:00. | 1. SR080191 2. SR080222
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 406951 | 473358 | -66407 | -14.03% | 421672 | -14721 | -3.491%

## Dover - Littleworth Road
Dover - Littleworth Road
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 10197 | 0 | 10197 | 0% | 0 | 10197 | 0%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 10197 | 0 | 10197 | 0% | 0 | 10197 | 0%

## Milton - Landfill
Milton - Landfill
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 30705 | 0 | 30705 | 0% | 0 | 30705 | 0%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 30705 | 0 | 30705 | 0% | 0 | 30705 | 0%