## YTD Total
Ecofin |  | Year to Date 2024 Actual v. Expected |  |  |  | Year to Date 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 72896 | 73786 | -890 | -1.206% | 93005 | -20109 | -21.62%
San Luis Valley | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL 2 | CO | 6095 | 5887 | 208 | 3.533% | 7778 | -1683 | -21.64%
Golden NREL Wind 3 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 78991 | 79673 | -682 | -0.856% | 100783 | -21792 | -21.62%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 1st Qtr
Ecofin |  | 1st Quarter 2024 Actual v. Expected |  |  |  | 1st Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 72896 | 73786 | -890 | -1.206% | 93005 | -20109 | -21.62%
San Luis Valley | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL 2 | CO | 6095 | 5887 | 208 | 3.533% | 7778 | -1683 | -21.64%
Golden NREL Wind 3 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 78991 | 79673 | -682 | -0.856% | 100783 | -21792 | -21.62%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 2nd Qtr
Ecofin |  | 2nd Quarter 2024 Actual v. Expected |  |  |  | 2nd Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
San Luis Valley | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL 2 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL Wind 3 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 3rd Qtr
Ecofin |  | 3rd Quarter 2024 Actual v. Expected |  |  |  | 3rd Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
San Luis Valley | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL 2 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL Wind 3 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 4th Qtr
Ecofin |  | 4th Quarter 2024 Actual v. Expected |  |  |  | 4th Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
San Luis Valley | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL 2 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Golden NREL Wind 3 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jan
Ecofin |  | January Actual v. Expected |  |  |  | January Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO | 72896 | 73786 | -890 | -1.206% | 93005 | -20109 | -21.62% | 1. Inverter 1 is offline on 01/09, 01/10, 01/12, 01/17. | 1. SR080094
San Luis Valley | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0% | 1. Site was not communicating from 04/22 | 1. SR077495
Golden NREL 2 | CO | 6095 | 5887 | 208 | 3.533% | 7778 | -1683 | -21.64% | 1. Inverter was barely produced on 1/13, 1/14 and 1/15 | 1. SR080235
Golden NREL Wind 3 | CO | 0 | 0 | 0 | 0% | 0 | 0 | 0% | 1. Site was not communicating from 05/23/2022 | 1. SR079089
Total |  | 78991 | 79673 | -682 | -0.856% | 100783 | -21792 | -21.62%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Feb
Ecofin |  | February Actual v. Expected |  |  |  | February Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  | 0 | 0% |  | 0 | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Mar
Ecofin |  | March Actual v. Expected |  |  |  | March Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  | 0 | 0% |  | 0 | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Apr
Ecofin |  | April Actual v. Expected |  |  |  | April Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  | 0 | 0% |  | 0 | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## May
Ecofin |  | May Actual v. Expected |  |  |  | May Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  | 0 | 0% |  | 0 | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jun
Ecofin |  | June Actual v. Expected |  |  |  | June Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  | 0 | 0% |  | 0 | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jul
Ecofin |  | July Actual v. Expected |  |  |  | July Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  | 0 | 0% |  | 0 | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Aug
Ecofin |  | August Actual v. Expected |  |  |  | August Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  |  | 0% |  |  | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sep
Ecofin |  | September Actual v. Expected |  |  |  | September Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  |  | 0% |  |  | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Oct
Ecofin |  | October Actual v. Expected |  |  |  | October Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  |  | 0% |  |  | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Nov
Ecofin |  | November Actual v. Expected |  |  |  | November Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  |  | 0% |  |  | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Dec
Ecofin |  | December Actual v. Expected |  |  |  | December Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Alamosa School District | CO |  |  |  | 0% |  |  | 0%
San Luis Valley | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL 2 | CO |  |  | 0 | 0% |  | 0 | 0%
Golden NREL Wind 3 | CO |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sites
Portfolio: | Ecofin
Site DAS Name | Site | State | Update | DAS
CO: Alamosa - Alamosa School District | Alamosa School District | CO |  | PowerFactor
CO: Alamosa - San Luis Valley Regional MC | San Luis Valley | CO |  | PowerFactor
CO: Golden - NREL 2 | Golden NREL 2 | CO |  | PowerFactor
CO: Golden - NREL Wind 3 | Golden NREL Wind 3 | CO |  | PowerFactor

## Alamosa School District
Alamosa School District
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 72896 | 73786 | -890 | -1.206% | 93005 | -20109 | -21.62% | 1. Inverter 1 is offline on 01/09, 01/10, 01/12, 01/17. | 1. SR080094
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  |  | 0% |  |  | 0%
Sep |  |  |  | 0% |  |  | 0%
Oct |  |  |  | 0% |  |  | 0%
Nov |  |  |  | 0% |  |  | 0%
Dec |  |  |  | 0% |  |  | 0%
Totals | 72896 | 73786 | -890 | -1.206% | 93005 | -20109 | -21.62%

## San Luis Valley
San Luis Valley
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 0 | 0 | 0 | 0% | 0 | 0 | 0% | 1. Site was not communicating from 04/22 | 1. SR077495
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 0 | 0 | 0 | 0% | 0 | 0 | 0%

## Golden NREL 2
Golden NREL 2
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 6095 | 5887 | 208 | 3.533% | 7778 | -1683 | -21.64% | 1. Inverter was barely produced on 1/13, 1/14 and 1/15 | 1. SR080235
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 6095 | 5887 | 208 | 3.533% | 7778 | -1683 | -21.64%

## Golden NREL Wind 3
Golden NREL Wind 3
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 0 | 0 | 0 | 0% | 0 | 0 | 0% | 1. Site was not communicating from 05/23/2022 | 1. SR079089
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 0 | 0 | 0 | 0% | 0 | 0 | 0%