## Performance
2022 Plant Health Data Granville
| Actual | Adjusted | % | Actual | Estimated | %
January | - | - | - | - | - | -
February | - | - | - | - | - | -
March | - | - | - | - | - | -
April | - | - | - | - | - | -
May | - | - | - | - | - | -
June | - | - | - | - | - | -
July | 643983.64 | 786087.75 | 81.92% | 643983.64 | 1020000 | 63.14%
August | 955413.065 | 1059761.767 | 90.15% | 955413.065 | 947000 | 100.9%
September | 652911.485 | 745525.321 | 87.58% | 652911.485 | 820000 | 79.62%
October | 657773.309 | 711257.232 | 92.48% | 657773.309 | 645000 | 102%
November | 540605 | 577417.38 | 93.62% | 540605 | 503000 | 107.5%
December | 402544 | 411397 | 97.85% | 402544 | 362000 | 111.2%
Annual | 3853230.499 | 4291446.45 | 89.79% | 3853230.499 | 4297000 | 89.67%
2023 Plant Health Data Granville
| Actual | Adjusted | % | Actual | Estimated | %
January | 296126 | 319719 | 92.62% | 296126 | 445000 | 66.55%
February | 516517 | 535814 | 96.4% | 516517 | 572000 | 90.3%
March | 670965 | 811206 | 82.71% | 670965 | 764000 | 87.82%
April | 764674 | 843764.79 | 90.63% | 764674 | 848000 | 90.17%
May | 1055955 | 1190129.96 | 88.73% | 1055955 | 938000 | 112.6%
June | 818602 | 856238.6 | 95.6% | 818602 | 936000 | 87.46%
July | 887033 | 975142 | 90.96% | 887033 | 1020000 | 86.96%
August | 780776 | 902336 | 86.53% | 780776 | 947000 | 82.45%
September | 528867 | 760330 | 69.56% | 528867 | 820000 | 64.5%
October | 415886 | 680192.71 | 61.14% | 415886 | 645000 | 64.48%
November | 363338 | 558937.89 | 65.01% | 363338 | 503000 | 72.23%
December | 215103 | 333205.19 | 64.56% | 215103 | 362000 | 59.42%
Annual | 7313842 | 8767016.14 | 83.42% | 7313842 | 8800000 | 83.11%
2024 Plant Health Data Granville
| Actual | Adjusted | % | Actual | Estimated | %
January | 133982 | 302347.78 | 44.31% | 133982 | 445000 | 30.11%
February |  |  |  | 0
March |  |  |  | 0
April |  |  |  | 0
May |  |  |  | 0
June |  |  |  | 0
July |  |  |  | 0
August |  |  |  | 0
September |  |  |  | 0
October |  |  |  | 0
November |  |  |  | 0
December |  |  |  | 0
Annual | 133982 | 302347.78 | 44.31% | 133982 | 445000 | 30.11%

## Service Work
Owner | Asset | Request | Date | Status | Pending | Priority | Summary | Site Equipment | Purchase Order | Invoice Date | Invoice Number
Grasshopper | MA: New Bedford - Philips Road Condos | SR058449 | 2021-06-11 12:26 | Closed |  | Low | Ameresco UM - Other |  |  | 2021-09-22 | 7785
Grasshopper | MA: Blackstone–142 Blackstone St | SR060831 | 2021-12-23 10:30 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8144
Grasshopper | MA: Dighton - Brooks Street | SR060832 | 2021-12-23 10:33 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8145
Grasshopper | MA: Hopkington – 17 Wilson St | SR060834 | 2021-12-23 11:00 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8146
Grasshopper | MA: Granville – 0 Hayes Rd | SR060835 | 2021-12-23 11:06 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2021-12-23 | 8147
Grasshopper | MA: Granville – 0 Hayes Rd | SR063974 | 2022-07-12 19:03 | Closed |  | Low | Preventative Maintenance / Contract Payment / Contract Payment |  | Site Visit/ Training
Grasshopper | MA: Blackstone–142 Blackstone St | SR064975 | 2022-08-25 08:39 | Closed |  | PV Monitoring - Minor | Ameresco UM - Commissioning
Grasshopper | MA: Hopkington – 17 Wilson St | SR065196 | 2022-08-31 08:42 | Closed |  | PV Monitoring - Minor | Ameresco UM - Commissioning
Grasshopper | MA: Granville – 0 Hayes Rd | SR065847 | 2022-09-21 15:52 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2022-10-04 | 10279
Grasshopper | MA: Blackstone–142 Blackstone St | SR065888 | 2022-09-22 11:16 | Closed |  | PV - Site Maintenance | Ameresco - Mowing |  |  | 2022-11-22 | 10064
Grasshopper | MA: Granville – 0 Hayes Rd | SR065909 | 2022-09-23 07:31 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | INV 3-26 - Solectria 1500XGI Inverter
Grasshopper | MA: Granville – 0 Hayes Rd | SR065925 | 2022-09-23 13:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-13 - Solectria 1500XGI Inverter |  | 2022-10-04 | 10278
Grasshopper | MA: Granville – 0 Hayes Rd | SR065928 | 2022-09-23 14:47 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2022-11-30 | 10582
Grasshopper | MA: Granville – 0 Hayes Rd | SR065936 | 2022-09-23 18:06 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR066116 | 2022-09-29 15:44 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR066216 | 2022-10-02 18:47 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-15 - Solectria 1500XGI Inverter | Received to Westboro warehouse | 2022-11-15 | 10506
Grasshopper | MA: Granville – 0 Hayes Rd | SR066238 | 2022-10-04 11:08 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Hopkington – 17 Wilson St | SR066247 | 2022-10-04 15:09 | Closed |  | PV - Site Maintenance | Ameresco - Mowing |  |  | 2022-11-22 | 10372
Grasshopper | MA: Granville – 0 Hayes Rd | SR066327 | 2022-10-06 10:30 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | INV 2-13 - Solectria 1500XGI Inverter |  | 2022-11-21 | 10539
Grasshopper | MA: Granville – 0 Hayes Rd | SR066349 | 2022-10-07 13:55 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | INV 2-15 - Solectria 1500XGI Inverter
Grasshopper | MA: Granville – 0 Hayes Rd | SR066506 | 2022-10-19 08:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 3-34 - Solectria 1500XGI Inverter
Grasshopper | MA: Granville – 0 Hayes Rd | SR066614 | 2022-10-26 09:33 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-12 - Solectria 1500XGI Inverter |  | 2022-11-01 | 10404
Grasshopper | MA: Granville – 0 Hayes Rd | SR066867 | 2022-11-10 09:15 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | INV 3-34 - Solectria 1500XGI Inverter
Grasshopper | MA: Granville – 0 Hayes Rd | SR066877 | 2022-11-11 09:50 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-12 - Solectria 1500XGI Inverter |  | 2022-11-16 | 10509
Grasshopper | MA: Granville – 0 Hayes Rd | SR066880 | 2022-11-11 10:44 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-13 - Solectria 1500XGI Inverter | Received to Westboro warehouse
Grasshopper | MA: Granville – 0 Hayes Rd | SR066941 | 2022-11-15 10:22 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 3-29 - Solectria 1500XGI Inverter |  | 2022-11-22 | 10562
Grasshopper | MA: Granville – 0 Hayes Rd | SR066944 | 2022-11-15 12:18 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2022-11-22 | 10561
Grasshopper | MA: Granville – 0 Hayes Rd | SR066961 | 2022-11-16 10:07 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-15 - Solectria 1500XGI Inverter |  | 2022-11-22 | 10560
Grasshopper | MA: Granville – 0 Hayes Rd | SR066994 | 2022-11-19 16:12 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 3-29 - Solectria 1500XGI Inverter | Received to Westboro warehouse | 2023-01-17 | 11192
Grasshopper | MA: Granville – 0 Hayes Rd | SR067010 | 2022-11-21 10:51 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR067011 | 2022-11-21 10:54 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | INV 3-29 - Solectria 1500XGI Inverter
Grasshopper | MA: Granville – 0 Hayes Rd | SR067012 | 2022-11-21 11:09 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure |  | Logger reset
Grasshopper | MA: Granville – 0 Hayes Rd | SR067043 | 2022-11-22 12:03 | Closed |  | PV Monitoring - Major | Ameresco UM - Partial Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR067094 | 2022-11-27 15:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-12 - Solectria 1500XGI Inverter | Inverter Troubleshooting | 2023-01-17 | 11191
Grasshopper | MA: Granville – 0 Hayes Rd | SR067109 | 2022-11-29 12:00 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | INV 2-15 - Solectria 1500XGI Inverter | Inverter Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR067284 | 2022-12-06 17:29 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | INV 3-36 - Solectria 1500XGI Inverter | Inverter Troubleshooting
Grasshopper | MA: Granville – 0 Hayes Rd | SR067328 | 2022-12-07 17:04 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Hopkington – 17 Wilson St | SR067688 | 2022-12-15 15:43 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 2022-12-19 | 10939
Grasshopper | MA: Hopkington – 17 Wilson St | SR067761 | 2022-12-16 10:35 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2022-12-23 | 11052
Grasshopper | MA: Granville – 0 Hayes Rd | SR067818 | 2022-12-20 13:02 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure |  |  | 2022-12-29 | 11093
Grasshopper | MA: Granville – 0 Hayes Rd | SR067877 | 2022-12-22 14:21 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2022-12-22 | 11044
Grasshopper | MA: Granville – 0 Hayes Rd | SR067901 | 2022-12-23 10:54 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-7 - Solectria 1500XGI Inverter
Grasshopper | MA: Blackstone–142 Blackstone St | SR068211 | 2023-01-05 13:40 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2023-01-17 | 11190
Grasshopper | MA: Granville – 0 Hayes Rd | SR068253 | 2023-01-08 15:52 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 3-29 - Solectria 1500XGI Inverter | Received to Westboro warehouse | 2023-02-28 | 11479
Grasshopper | MA: Hopkington – 17 Wilson St | SR068275 | 2023-01-09 15:58 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-01-17 | 11193
Grasshopper | MA: Granville – 0 Hayes Rd | SR068280 | 2023-01-10 10:23 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-2 - Solectria 1500XGI Inverter | Received to Westboro warehouse
Grasshopper | MA: Granville – 0 Hayes Rd | SR068325 | 2023-01-12 09:55 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-22 - Solectria 1500XGI Inverter | received Westborough | 2023-02-06 | 11365
Grasshopper | MA: Granville – 0 Hayes Rd | SR068365 | 2023-01-16 09:56 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 3-32 - Solectria 1500XGI Inverter | Received to Westboro warehouse | 2023-02-06 | 11363
Grasshopper | MA: Hopkington – 17 Wilson St | SR068672 | 2023-02-02 10:50 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-02-09 | 11392
Grasshopper | MA: Hopkington – 17 Wilson St | SR068673 | 2023-02-02 11:14 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR069139 | 2023-02-22 11:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | INV 3-36 - Solectria 1500XGI Inverter | Received to Westboro warehouse | 2023-04-21 | 12371
Grasshopper | MA: Granville – 0 Hayes Rd | SR069497 | 2023-03-06 14:41 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-03-06 | 11632
Grasshopper | MA: Hopkington – 17 Wilson St | SR069507 | 2023-03-06 22:39 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2023-03-13 | 11669
Grasshopper | MA: Granville – 0 Hayes Rd | SR069661 | 2023-03-13 15:05 | Closed |  | PV - Site Maintenance | Site Maintenance - Snow Plowing - Civil Work |  |  | 2023-05-17 | 12573
Grasshopper | MA: Blackstone–142 Blackstone St | SR069669 | 2023-03-13 15:59 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2023-04-21 | 11683
Grasshopper | MA: Granville – 0 Hayes Rd | SR069961 | 2023-03-20 17:19 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | INV 1-1 - Solectria 1500XGI Inverter |  | 2023-03-31 | 12139
Grasshopper | MA: Granville – 0 Hayes Rd | SR069962 | 2023-03-20 17:46 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR069970 | 2023-03-21 09:12 | Closed |  | PV Monitoring - Major | Ameresco UM - Other |  |  | 2023-07-20 | 13353
Grasshopper | MA: Granville – 0 Hayes Rd | SR069977 | 2023-03-21 13:58 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR070354 | 2023-03-30 17:43 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 3-32 - Solectria 1500XGI Inverter
Grasshopper | MA: Blackstone–142 Blackstone St | SR070898 | 2023-04-18 15:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Module Replacement
Grasshopper | MA: Granville – 0 Hayes Rd | SR070953 | 2023-04-20 12:21 | Closed |  | PV Monitoring - Major | Ameresco UM - Other |  |  | 2023-06-13 | 12735
Grasshopper | MA: Granville – 0 Hayes Rd | SR071004 | 2023-04-21 18:14 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 3-30 - Solectria 1500XGI Inverter
Grasshopper | MA: Granville – 0 Hayes Rd | SR071770 | 2023-05-22 08:32 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-15 - Solectria 1500XGI Inverter |  | 2023-05-31 | 12665
Grasshopper | MA: Granville – 0 Hayes Rd | SR072106 | 2023-05-31 12:23 | Closed |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting |  |  | 2023-06-05 | 12683
Grasshopper | MA: Granville – 0 Hayes Rd | SR072219 | 2023-06-04 16:55 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-20 - Solectria 1500XGI Inverter | Received to Westboro warehouse | 2023-06-14 | 12740
Grasshopper | MA: Granville – 0 Hayes Rd | SR072307 | 2023-06-06 12:16 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-07-28 | 13418
Grasshopper | MA: Blackstone–142 Blackstone St | SR072308 | 2023-06-06 12:17 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-07-28 | 13419
Grasshopper | MA: Granville – 0 Hayes Rd | SR072573 | 2023-06-11 14:30 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-06-22 | 12841
Grasshopper | MA: Blackstone–142 Blackstone St | SR072604 | 2023-06-12 13:23 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2023-06-13 | 12734
Grasshopper | MA: Granville – 0 Hayes Rd | SR072643 | 2023-06-13 15:19 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-1 - Solectria 1500XGI Inverter |  | 2023-06-22 | 12842
Grasshopper | MA: Granville – 0 Hayes Rd | SR072674 | 2023-06-14 14:30 | Closed |  | PV Monitoring - Major | Ameresco UM - Medium Voltage Troubleshooting | PV - SWBD 02 - 2000A - AC Switchboard |  | 2023-06-27 | 13003
Grasshopper | MA: Granville – 0 Hayes Rd | SR072675 | 2023-06-14 14:31 | Closed |  | PV Monitoring - Major | Ameresco UM - Medium Voltage Troubleshooting | PV - SWBD 03 - 2000A - AC Switchboard |  | 2023-06-27 | 13004
Grasshopper | MA: Granville – 0 Hayes Rd | SR072763 | 2023-06-19 11:33 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-5 - Solectria 1500XGI Inverter |  | 2023-06-22 | 12831
Grasshopper | MA: Blackstone–142 Blackstone St | SR072888 | 2023-06-22 07:36 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2023-08-30 | 13779
Grasshopper | MA: Granville – 0 Hayes Rd | SR073072 | 2023-06-26 11:16 | Closed |  | PV Monitoring - PM Return Visit - Low | Ameresco UM - Required Return Visit | T2 - 1500kva Transformer |  | 2023-07-03 | 13267
Grasshopper | MA: Granville – 0 Hayes Rd | SR073123 | 2023-06-26 15:13 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-06-26 | 12971
Grasshopper | MA: Blackstone–142 Blackstone St | SR073133 | 2023-06-26 16:22 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-06-26 | 12977
Grasshopper | MA: Granville – 0 Hayes Rd | SR073495 | 2023-07-03 07:58 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 2-20 - Solectria 1500XGI Inverter |  | 2023-07-13 | 13321
Grasshopper | MA: Blackstone–142 Blackstone St | SR073596 | 2023-07-06 11:16 | Closed |  | PV Monitoring - Minor | Ameresco UM - Combiner Box Troubleshooting |  |  | 2023-07-17 | 13290
Grasshopper | MA: Blackstone–142 Blackstone St | SR073633 | 2023-07-07 11:14 | Closed |  | PV Operations - Service Level Agreements | Sungrow BESS Service |  |  | 2023-08-04 | 13277
Grasshopper | MA: Granville – 0 Hayes Rd | SR073728 | 2023-07-11 10:34 | Closed |  | PV Monitoring - Minor | Ameresco UM - String Repair and/or Testing | INV 2-24 - Solectria 1500XGI Inverter |  | 2023-07-13 | 13322
Grasshopper | MA: Granville – 0 Hayes Rd | SR073759 | 2023-07-11 17:08 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-07-13 | 13319
Grasshopper | MA: Blackstone–142 Blackstone St | SR073850 | 2023-07-14 08:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Combiner Box Troubleshooting | CB 1.1.3 - DC 1500v Combiner Box |  | 2023-10-30 | 13343
Grasshopper | MA: Granville – 0 Hayes Rd | SR073857 | 2023-07-14 11:01 | Closed |  | PV Monitoring - Major | Ameresco UM - Other |  |  | 2023-07-17 | 13336
Grasshopper | MA: Granville – 0 Hayes Rd | SR073921 | 2023-07-17 11:12 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-5 - Solectria 1500XGI Inverter |  | 2023-07-28 | 13413
Grasshopper | MA: Granville – 0 Hayes Rd | SR074367 | 2023-07-28 02:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Blackstone–142 Blackstone St | SR074651 | 2023-08-06 08:37 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure
Grasshopper | MA: Hopkington – 17 Wilson St | SR074652 | 2023-08-06 08:40 | Closed |  | PV Monitoring - Major | Ameresco UM - Communications Failure
Grasshopper | MA: Blackstone–142 Blackstone St | SR075127 | 2023-08-15 08:05 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage
Grasshopper | MA: Granville – 0 Hayes Rd | SR075138 | 2023-08-15 12:50 | Closed |  | PV - Site Maintenance | Ameresco VM - General Site Work |  |  | 2023-09-27 | 13693
Grasshopper | MA: Granville – 0 Hayes Rd | SR075237 | 2023-08-18 12:31 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-08-24 | 13686
Grasshopper | MA: Blackstone–142 Blackstone St | SR075313 | 2023-08-21 16:21 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Hopkington – 17 Wilson St | SR075314 | 2023-08-21 16:23 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR075356 | 2023-08-23 07:23 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR075446 | 2023-08-26 12:27 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-08-28 | 13739
Grasshopper | MA: Granville – 0 Hayes Rd | SR075638 | 2023-08-31 13:43 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-1 - Solectria 1500XGI Inverter |  | 2023-09-05 | 13875
Grasshopper | MA: Granville – 0 Hayes Rd | SR075855 | 2023-09-07 14:32 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting | INV 1-1 - Solectria 1500XGI Inverter |  | 2023-09-11 | 13924
Grasshopper | MA: Granville – 0 Hayes Rd | SR075888 | 2023-09-08 16:22 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-10-10 | 14611
Grasshopper | MA: Granville – 0 Hayes Rd | SR076111 | 2023-09-15 15:34 | Closed |  | PV - Site Maintenance | Subcontractor - Mowing |  |  | 2023-09-15 | 13963
Grasshopper | MA: Granville – 0 Hayes Rd | SR076112 | 2023-09-15 15:35 | Closed |  | PV - Site Maintenance | Subcontractor - Mowing |  |  | 2023-09-15 | 13964
Grasshopper | MA: Blackstone–142 Blackstone St | SR076122 | 2023-09-15 16:47 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-09-15 | 13969
Grasshopper | MA: Blackstone–142 Blackstone St | SR076123 | 2023-09-15 16:48 | Closed |  | PV - Site Maintenance | Vegetative Maintenance |  |  | 2023-09-15 | 13970
Grasshopper | MA: Blackstone–142 Blackstone St | SR076472 | 2023-09-20 13:22 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-09-20 | 14115
Grasshopper | MA: Blackstone–142 Blackstone St | SR076478 | 2023-09-20 14:09 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-12-20 | 15683
Grasshopper | MA: Granville – 0 Hayes Rd | SR076528 | 2023-09-21 12:19 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-09-21 | 14139
Grasshopper | MA: Granville – 0 Hayes Rd | SR076527 | 2023-09-21 12:19 | Pending | Quarterly Invoice | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment
Grasshopper | MA: Granville – 0 Hayes Rd | SR076529 | 2023-09-21 12:25 | Closed |  | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment |  |  | 2023-12-20 | 15681
Grasshopper | MA: Granville – 0 Hayes Rd | SR077199 | 2023-10-04 08:35 | Closed |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting |  |  | 2023-11-09 | 14890
Grasshopper | MA: Granville – 0 Hayes Rd | SR077198 | 2023-10-04 08:35 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Granville – 0 Hayes Rd | SR078135 | 2023-11-08 08:45 | New |  | PV Monitoring - Major | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Hopkington – 17 Wilson St | SR078177 | 2023-11-09 20:48 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Blackstone–142 Blackstone St | SR078431 | 2023-11-20 13:09 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other |  |  | 2023-11-28 | 15016
Grasshopper | MA: Blackstone–142 Blackstone St | SR078430 | 2023-11-20 13:09 | Closed |  | PV Monitoring - Minor | Ameresco UM - Other
Grasshopper | MA: Hopkington – 17 Wilson St | SR078763 | 2023-12-03 03:02 | Closed |  | PV Monitoring - Major | Ameresco UM - Other
Grasshopper | MA: Blackstone–142 Blackstone St | SR078860 | 2023-12-05 09:19 | Closed |  | PV Monitoring - Minor | Subcontractor UM - Electrical - Other
Grasshopper | MA: Granville – 0 Hayes Rd | SR079459 | 2023-12-18 12:52 | Closed |  | PV Monitoring Weather - 12-18-2023 | Ameresco UM - Inverter Troubleshooting
Grasshopper | MA: Blackstone–142 Blackstone St | SR079566 | 2023-12-20 07:38 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-12-26 | 15777
Grasshopper | MA: Granville – 0 Hayes Rd | SR079570 | 2023-12-20 09:57 | Pending | Quarterly Invoice | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment
Grasshopper | MA: Blackstone–142 Blackstone St | SR079572 | 2023-12-20 10:12 | Pending | Quarterly Invoice | Contract Payment | Preventative Maintenance / Contract Payment / Contract Payment
Grasshopper | MA: Hopkington – 17 Wilson St | SR079577 | 2023-12-20 10:40 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2023-12-26 | 15778
Grasshopper | MA: Hopkington – 17 Wilson St | SR079607 | 2023-12-20 14:41 | Closed |  | PV - Site Maintenance | Ameresco UM - Required Return Visit
Grasshopper | MA: Hopkington – 17 Wilson St | SR079740 | 2023-12-27 06:08 | New |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Hopkington – 17 Wilson St | SR080039 | 2024-01-08 08:31 | Closed |  | PV Monitoring - Major | Ameresco UM - Site Outage |  |  | 2024-01-16 | 15984
Grasshopper | MA: Hopkington – 17 Wilson St | SR080038 | 2024-01-08 08:31 | New |  | PV Monitoring - Minor | Ameresco UM - Site Outage
Grasshopper | MA: Blackstone - 142 Blackstone BESS | SR080246 | 2024-01-15 21:16 | New |  | PV Monitoring - Major | Ameresco UM - Site Outage
Grasshopper | MA: Blackstone–142 Blackstone St | SR080251 | 2024-01-16 09:09 | Closed |  | PV Monitoring - Minor | Ameresco UM - Site Outage |  |  | 2024-01-17 | 15989
Grasshopper | MA: Blackstone–142 Blackstone St | SR080261 | 2024-01-16 11:51 | New |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | Sungrow 125kw Inverter 01
Grasshopper | MA: Granville – 0 Hayes Rd | SR080578 | 2024-01-29 12:22 | Closed |  | PV - Site Maintenance | Ameresco UM - Snow Plowing