## YTD Total 2024
MN8 Bond |  | Year to Date 2024 Actual v. Expected |  |  |  | Year to Date 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 108788.8408 | 176557 | -67768.1592 | -38.38% | 245116 | -136327.1592 | -55.62%
Clara Barton | MA | 41686.1447 | 61398.72 | -19712.5753 | -32.11% | 84576.48 | -42890.3353 | -50.71%
Fairhaven Solar | MA | 55436 | 67352.87 | -11916.87 | -17.69% | 63727.01 | -8291.01 | -13.01%
Plympton-1 | MA | 67619 | 73871.03 | -6252.03 | -8.463% | 79420.95 | -11801.95 | -14.86%
French River 2 | MA | 41541.11 | 80016.27 | -38475.16 | -48.08% | 78833 | -37291.89 | -47.3%
French River 3 | MA | 86149.12 | 150506.8 | -64357.68 | -42.76% | 151308.7 | -65159.58 | -43.06%
French River 4 | MA | 85549.4664 | 154184.8 | -68635.3336 | -44.51% | 157760 | -72210.5336 | -45.77%
French River 5 | MA | 83292.5 | 147678.6 | -64386.1 | -43.6% | 154754.9 | -71462.4 | -46.18%
French River 6 | MA | 78703 | 125159 | -46456 | -37.12% | 148483.1 | -69780.1 | -47%
Stillwater River 1A | MA | 21302 | 36938.76 | -15636.76 | -42.33% | 38086.07 | -16784.07 | -44.07%
Stillwater River 2 | MA | 44604.12 | 82849.68 | -38245.56 | -46.16% | 79775.59 | -35171.47 | -44.09%
Stillwater River 3 | MA | 44552 | 81817.76 | -37265.76 | -45.55% | 78530.19 | -33978.19 | -43.27%
Stillwater River 4 | MA | 18009.3125 | 32813.84 | -14804.5275 | -45.12% | 35648.47 | -17639.1575 | -49.48%
Total |  | 777232.6144 | 1271145.13 | -493912.5156 | -38.86% | 1396020.46 | -618787.8456 | -44.33%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 1st Quarter 2024
MN8 Bond |  | 1st Quarter 2024 Actual v. Expected |  |  |  | 1st Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 108788.8408 | 176557 | -67768.1592 | -38.38% | 245116 | -136327.1592 | -55.62%
Clara Barton | MA | 41686.1447 | 61398.72 | -19712.5753 | -32.11% | 84576.48 | -42890.3353 | -50.71%
Fairhaven Solar | MA | 55436 | 67352.87 | -11916.87 | -17.69% | 63727.01 | -8291.01 | -13.01%
Plympton-1 | MA | 67619 | 73871.03 | -6252.03 | -8.463% | 79420.95 | -11801.95 | -14.86%
French River 2 | MA | 41541.11 | 80016.27 | -38475.16 | -48.08% | 78833 | -37291.89 | -47.3%
French River 3 | MA | 86149.12 | 150506.8 | -64357.68 | -42.76% | 151308.7 | -65159.58 | -43.06%
French River 4 | MA | 85549.4664 | 154184.8 | -68635.3336 | -44.51% | 157760 | -72210.5336 | -45.77%
French River 5 | MA | 83292.5 | 147678.6 | -64386.1 | -43.6% | 154754.9 | -71462.4 | -46.18%
French River 6 | MA | 78703 | 125159 | -46456 | -37.12% | 148483.1 | -69780.1 | -47%
Stillwater River 1A | MA | 21302 | 36938.76 | -15636.76 | -42.33% | 38086.07 | -16784.07 | -44.07%
Stillwater River 2 | MA | 44604.12 | 82849.68 | -38245.56 | -46.16% | 79775.59 | -35171.47 | -44.09%
Stillwater River 3 | MA | 44552 | 81817.76 | -37265.76 | -45.55% | 78530.19 | -33978.19 | -43.27%
Stillwater River 4 | MA | 18009.3125 | 32813.84 | -14804.5275 | -45.12% | 35648.47 | -17639.1575 | -49.48%
Total |  | 777232.6144 | 1271145.13 | -493912.5156 | -38.86% | 1396020.46 | -618787.8456 | -44.33%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 2nd Quarter 2024
MN8 Bond |  | 2nd Quarter 2024 Actual v. Expected |  |  |  | 2nd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Clara Barton | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Fairhaven Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Plympton-1 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 4 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 5 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 6 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 1A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 4 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 3rd Quarter 2024
MN8 Bond |  | 3rd Quarter 2024 Actual v. Expected |  |  |  | 3rd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Clara Barton | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Fairhaven Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Plympton-1 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 4 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 5 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 6 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 1A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 4 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 4th Quarter 2024
MN8 Bond |  | 4th Quarter 2024 Actual v. Expected |  |  |  | 4th Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Clara Barton | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Fairhaven Solar | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Plympton-1 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 4 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 5 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
French River 6 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 1A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 3 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Stillwater River 4 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 01-2024
MN8 Bond |  | 01-2024 Actual v. Expected |  |  |  | 01-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA | 108788.8408 | 176557 | -67768.1592 | -38.38% | 245116 | -136327.1592 | -55.62% | 1. Site tripped offline on 01/10 at 13:15 and later back online on 01/11 at 11:45AM. 2. Inverter 5.6B was did not came back online after site re-enerziation 01/11 at and later back online on 01/12 at 09:15AM. 3. Inverters 5.7B, 6.2B, and 6.5B are offline from 01/25 and later 5.7B is back online on 01/30 at 09:00AM | 1. SR080136 2. SR080158 3. SR080474
Clara Barton | MA | 41686.1447 | 61398.72 | -19712.5753 | -32.11% | 84576.48 | -42890.3353 | -50.71% | 1. Inverter 5.8 has tripped offline on 01/17 at 12:00 and back oline on 01/17 at 15:00. 2. Site tripped offline on 01/26 at 18:45 and back online on 01/27 at 10:45AM | 1. SR080289 2. SR080520
Fairhaven Solar | MA | 55436 | 67352.87 | -11916.87 | -17.69% | 63727.01 | -8291.01 | -13.01% | 1. Inverter 3 is offline on 01/11 after site is re-energized later back online on 01/11 at 13:30. 2. Inverters 1,4 12, 25, 28, 29 & 49 offline on 01/15 from 07:00AM and later back online on 01/17 at 11:15AM. 3. Site was tripped offline on 01/11 at 07:00 and back online 11:45 | 1. SR080159 2. SR080243 1. SR080152
Plympton-1 | MA | 67619 | 73871.03 | -6252.03 | -8.463% | 79420.95 | -11801.95 | -14.86%
French River 2 | MA | 41541.11 | 80016.27 | -38475.16 | -48.08% | 78833 | -37291.89 | -47.3% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
French River 3 | MA | 86149.12 | 150506.8 | -64357.68 | -42.76% | 151308.7 | -65159.58 | -43.06% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
French River 4 | MA | 85549.4664 | 154184.8 | -68635.3336 | -44.51% | 157760 | -72210.5336 | -45.77% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
French River 5 | MA | 83292.5 | 147678.6 | -64386.1 | -43.6% | 154754.9 | -71462.4 | -46.18% | 1. Inverter 62 is offline on 01/14 and later back online on 01/15 2. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080199 2. SR080519
French River 6 | MA | 78703 | 125159 | -46456 | -37.12% | 148483.1 | -69780.1 | -47% | 1. Inverter 41B is offline on 01/13 and later back online 01/14. 2. Inverter 62B is offline on 01/14 and later back online on 01/15. 3. Inverters 60 and 62 are tripped offline on 01/22 at 14:00, later 62B is back online on 01/23 at 07:00AM and 60B have multiple tripping events. 4. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080195 2. SR080198 3. SR080402 4. SR080519
Stillwater River 1A | MA | 21302 | 36938.76 | -15636.76 | -42.33% | 38086.07 | -16784.07 | -44.07% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Stillwater River 2 | MA | 44604.12 | 82849.68 | -38245.56 | -46.16% | 79775.59 | -35171.47 | -44.09% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Stillwater River 3 | MA | 44552 | 81817.76 | -37265.76 | -45.55% | 78530.19 | -33978.19 | -43.27% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Stillwater River 4 | MA | 18009.3125 | 32813.84 | -14804.5275 | -45.12% | 35648.47 | -17639.1575 | -49.48% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Total |  | 777232.6144 | 1271145.13 | -493912.5156 | -38.86% | 1396020.46 | -618787.8456 | -44.33%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 02-2024
MN8 Bond |  | 02-2024 Actual v. Expected |  |  |  | 02-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 03-2024
MN8 Bond |  | 03-2024 Actual v. Expected |  |  |  | 03-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 04-2024
MN8 Bond |  | 04-2024 Actual v. Expected |  |  |  | 04-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 05-2024
MN8 Bond |  | 05-2024 Actual v. Expected |  |  |  | 05-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 06-2024
MN8 Bond |  | 06-2024 Actual v. Expected |  |  |  | 06-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 07-2024
MN8 Bond |  | 07-2024 Actual v. Expected |  |  |  | 07-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 08-2024
MN8 Bond |  | 08-2024 Actual v. Expected |  |  |  | 08-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 09-2024
MN8 Bond |  | 09-2024 Actual v. Expected |  |  |  | 09-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 10-2024
MN8 Bond |  | 10-2024 Actual v. Expected |  |  |  | 10-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 11-2024
MN8 Bond |  | 11-2024 Actual v. Expected |  |  |  | 11-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 12-2024
MN8 Bond |  | 12-2024 Actual v. Expected |  |  |  | 12-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Grafton II | MA |  |  | 0 | 0% |  | 0 | 0%
Clara Barton | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven Solar | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton-1 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 5 | MA |  |  | 0 | 0% |  | 0 | 0%
French River 6 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 1A | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 3 | MA |  |  | 0 | 0% |  | 0 | 0%
Stillwater River 4 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sites
Portfolio: | MN8 Bond
Site DAS Name | Site | State | Column1
MA-02-001 - Grafton II | Grafton II | MA | AEF
MA-02-002 - Clara Barton | Clara Barton | MA | AEF
MA-02-003 - Fairhaven Solar | Fairhaven Solar | MA | AEF
MA-02-004 - Plympton | Plympton-1 | MA | AEF
MA-02-005A - French River 2 | French River 2 | MA | AEF
MA-02-005B - French River 3 | French River 3 | MA | AEF
MA-02-005C - French River 4 | French River 4 | MA | AEF
MA-02-005D - French River 5 | French River 5 | MA | AEF
MA-02-005E - French River 6 | French River 6 | MA | AEF
MA-02-006A - Stillwater River 1A | Stillwater River 1A | MA | AEF
MA-02-006B - Stillwater River 2 | Stillwater River 2 | MA | AEF
MA-02-006C - Stillwater River 3 | Stillwater River 3 | MA | AEF
MA-02-006D - Stillwater River 4 | Stillwater River 4 | MA | AEF

## Grafton II
Grafton II
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 108788.8408 | 176557 | -67768.1592 | -38.38% | 245116 | -136327.1592 | -55.62% | 1. Site tripped offline on 01/10 at 13:15 and later back online on 01/11 at 11:45AM. 2. Inverter 5.6B was did not came back online after site re-enerziation 01/11 at and later back online on 01/12 at 09:15AM. 3. Inverters 5.7B, 6.2B, and 6.5B are offline from 01/25 and later 5.7B is back online on 01/30 at 09:00AM | 1. SR080136 2. SR080158 3. SR080474
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 108788.8408 | 176557 | -67768.1592 | -38.38% | 245116 | -136327.1592 | -55.62%

## Clara Barton
Clara Barton
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 41686.1447 | 61398.72 | -19712.5753 | -32.11% | 84576.48 | -42890.3353 | -50.71% | 1. Inverter 5.8 has tripped offline on 01/17 at 12:00 and back oline on 01/17 at 15:00. 2. Site tripped offline on 01/26 at 18:45 and back online on 01/27 at 10:45AM | 1. SR080289 2. SR080520
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 41686.1447 | 61398.72 | -19712.5753 | -32.11% | 84576.48 | -42890.3353 | -50.71%

## Fairhaven Solar
Fairhaven Solar
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 55436 | 67352.87 | -11916.87 | -17.69% | 63727.01 | -8291.01 | -13.01% | 1. Inverter 3 is offline on 01/11 after site is re-energized later back online on 01/11 at 13:30. 2. Inverters 1,4 12, 25, 28, 29 & 49 offline on 01/15 from 07:00AM and later back online on 01/17 at 11:15AM. 3. Site was tripped offline on 01/11 at 07:00 and back online 11:45 | 1. SR080159 2. SR080243 1. SR080152
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 55436 | 67352.87 | -11916.87 | -17.69% | 63727.01 | -8291.01 | -13.01%

## Plympton-1
Plympton-1
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 67619 | 73871.03 | -6252.03 | -8.463% | 79420.95 | -11801.95 | -14.86%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 67619 | 73871.03 | -6252.03 | -8.463% | 79420.95 | -11801.95 | -14.86%

## French River 2
French River 2
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 41541.11 | 80016.27 | -38475.16 | -48.08% | 78833 | -37291.89 | -47.3% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 41541.11 | 80016.27 | -38475.16 | -48.08% | 78833 | -37291.89 | -47.3%

## French River 3
French River 3
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 86149.12 | 150506.8 | -64357.68 | -42.76% | 151308.7 | -65159.58 | -43.06% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 86149.12 | 150506.8 | -64357.68 | -42.76% | 151308.7 | -65159.58 | -43.06%

## French River 4
French River 4
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 85549.4664 | 154184.8 | -68635.3336 | -44.51% | 157760 | -72210.5336 | -45.77% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 85549.4664 | 154184.8 | -68635.3336 | -44.51% | 157760 | -72210.5336 | -45.77%

## French River 5
French River 5
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 83292.5 | 147678.6 | -64386.1 | -43.6% | 154754.9 | -71462.4 | -46.18% | 1. Inverter 62 is offline on 01/14 and later back online on 01/15 2. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080199 2. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 83292.5 | 147678.6 | -64386.1 | -43.6% | 154754.9 | -71462.4 | -46.18%

## French River 6
French River 6
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 78703 | 125159 | -46456 | -37.12% | 148483.1 | -69780.1 | -47% | 1. Inverter 41B is offline on 01/13 and later back online 01/14. 2. Inverter 62B is offline on 01/14 and later back online on 01/15. 3. Inverters 60 and 62 are tripped offline on 01/22 at 14:00, later 62B is back online on 01/23 at 07:00AM and 60B have multiple tripping events. 4. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080195 2. SR080198 3. SR080402 4. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 78703 | 125159 | -46456 | -37.12% | 148483.1 | -69780.1 | -47%

## Stillwater River 1A
Stillwater River 1A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 21302 | 36938.76 | -15636.76 | -42.33% | 38086.07 | -16784.07 | -44.07% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 21302 | 36938.76 | -15636.76 | -42.33% | 38086.07 | -16784.07 | -44.07%

## Stillwater River 2
Stillwater River 2
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 44604.12 | 82849.68 | -38245.56 | -46.16% | 79775.59 | -35171.47 | -44.09% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 44604.12 | 82849.68 | -38245.56 | -46.16% | 79775.59 | -35171.47 | -44.09%

## Stillwater River 3
Stillwater River 3
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 44552 | 81817.76 | -37265.76 | -45.55% | 78530.19 | -33978.19 | -43.27% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 44552 | 81817.76 | -37265.76 | -45.55% | 78530.19 | -33978.19 | -43.27%

## Stillwater River 4
Stillwater River 4
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 18009.3125 | 32813.84 | -14804.5275 | -45.12% | 35648.47 | -17639.1575 | -49.48% | 01. Site was tripped offline on 01/26 at 18:00 and back online at 01/27 at 8:00 AM. | 1. SR080519
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 18009.3125 | 32813.84 | -14804.5275 | -45.12% | 35648.47 | -17639.1575 | -49.48%