## YTD Total 2024
MN8 KEF |  | Year to Date 2024 Actual v. Expected |  |  |  | Year to Date 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 34976.7405 | 63711.84 | -28735.0995 | -45.1% | 96254.79 | -61278.0495 | -63.66%
Orange A KB | MA | 36812.4413 | 50249.95 | -13437.5087 | -26.74% | 78902.03 | -42089.5887 | -53.34%
Goshen A | MA | 25506 | 57487.3 | -31981.3 | -55.63% | 45574.37 | -20068.37 | -44.03%
Phillipston A KB | MA | 28771 | 81174.38 | -52403.38 | -64.56% | 48828.99 | -20057.99 | -41.08%
Uxbridge D | MA | 42944 | 75174.5 | -32230.5 | -42.87% | 103260 | -60316 | -58.41%
West Bridgewater A&B | MA | 84322 | 126671.7 | -42349.7 | -33.43% | 169067.9 | -84745.9 | -50.13%
Sutton A | MA | 30226 | 57946.25 | -27720.25 | -47.84% | 93432.82 | -63206.82 | -67.65%
North Adams A | MA | 33659 | 55008.74 | -21349.74 | -38.81% | 98462.86 | -64803.86 | -65.82%
North Adams B | MA | 25714 | 47004.33 | -21290.33 | -45.29% | 98462.86 | -72748.86 | -73.88%
Clarksburg A | MA | 25169 | 48116.73 | -22947.73 | -47.69% | 98015.59 | -72846.59 | -74.32%
Swansea B | MA | 54645 | 81330.64 | -26685.64 | -32.81% | 50080.16 | 4564.84 | 9.115%
Wareham 2 | MA | 59387.25 | 65302.43 | -5915.18 | -9.058% | 103231.1 | -43843.85 | -42.47%
Kingston 1 KB | MA | 46172 | 64095.79 | -17923.79 | -27.96% | 78554.16 | -32382.16 | -41.22%
Kingston 2 KB | MA | 38326 | 38638.25 | -312.25 | -0.8081% | 63052.82 | -24726.82 | -39.22%
Holliston B | MA | 32229 | 61034.62 | -28805.62 | -47.2% | 98146.17 | -65917.17 | -67.16%
Fairhaven C | MA | 120080 | 148303.4 | -28223.4 | -19.03% | 176726.2 | -56646.2 | -32.05%
Plympton A-2 | MA | 60641 | 77649.14 | -17008.14 | -21.9% | 98644.24 | -38003.24 | -38.53%
Total |  | 779580.4318 | 1198899.99 | -419319.5582 | -34.98% | 1598697.06 | -819116.6282 | -51.24%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 1st Quarter 2024
MN8 KEF |  | 1st Quarter 2024 Actual v. Expected |  |  |  | 1st Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 34976.7405 | 63711.84 | -28735.0995 | -45.1% | 96254.79 | -61278.0495 | -63.66%
Orange A KB | MA | 36812.4413 | 50249.95 | -13437.5087 | -26.74% | 78902.03 | -42089.5887 | -53.34%
Goshen A | MA | 25506 | 57487.3 | -31981.3 | -55.63% | 45574.37 | -20068.37 | -44.03%
Phillipston A KB | MA | 28771 | 81174.38 | -52403.38 | -64.56% | 48828.99 | -20057.99 | -41.08%
Uxbridge D | MA | 42944 | 75174.5 | -32230.5 | -42.87% | 103260 | -60316 | -58.41%
West Bridgewater A&B | MA | 84322 | 126671.7 | -42349.7 | -33.43% | 169067.9 | -84745.9 | -50.13%
Sutton A | MA | 30226 | 57946.25 | -27720.25 | -47.84% | 93432.82 | -63206.82 | -67.65%
North Adams A | MA | 33659 | 55008.74 | -21349.74 | -38.81% | 98462.86 | -64803.86 | -65.82%
North Adams B | MA | 25714 | 47004.33 | -21290.33 | -45.29% | 98462.86 | -72748.86 | -73.88%
Clarksburg A | MA | 25169 | 48116.73 | -22947.73 | -47.69% | 98015.59 | -72846.59 | -74.32%
Swansea B | MA | 54645 | 81330.64 | -26685.64 | -32.81% | 50080.16 | 4564.84 | 9.115%
Wareham 2 | MA | 59387.25 | 65302.43 | -5915.18 | -9.058% | 103231.1 | -43843.85 | -42.47%
Kingston 1 KB | MA | 46172 | 64095.79 | -17923.79 | -27.96% | 78554.16 | -32382.16 | -41.22%
Kingston 2 KB | MA | 38326 | 38638.25 | -312.25 | -0.8081% | 63052.82 | -24726.82 | -39.22%
Holliston B | MA | 32229 | 61034.62 | -28805.62 | -47.2% | 98146.17 | -65917.17 | -67.16%
Fairhaven C | MA | 120080 | 148303.4 | -28223.4 | -19.03% | 176726.2 | -56646.2 | -32.05%
Plympton A-2 | MA | 60641 | 77649.14 | -17008.14 | -21.9% | 98644.24 | -38003.24 | -38.53%
Total |  | 779580.4318 | 1198899.99 | -419319.5582 | -34.98% | 1598697.06 | -819116.6282 | -51.24%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 2nd Quarter 2024
MN8 KEF |  | 2nd Quarter 2024 Actual v. Expected |  |  |  | 2nd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Orange A KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Goshen A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Phillipston A KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Uxbridge D | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
West Bridgewater A&B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sutton A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
North Adams A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
North Adams B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Clarksburg A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Swansea B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Wareham 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Kingston 1 KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Kingston 2 KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Holliston B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Fairhaven C | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Plympton A-2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 3rd Quarter 2024
MN8 KEF |  | 3rd Quarter 2024 Actual v. Expected |  |  |  | 3rd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Orange A KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Goshen A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Phillipston A KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Uxbridge D | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
West Bridgewater A&B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sutton A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
North Adams A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
North Adams B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Clarksburg A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Swansea B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Wareham 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Kingston 1 KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Kingston 2 KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Holliston B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Fairhaven C | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Plympton A-2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 4th Quarter 2024
MN8 KEF |  | 4th Quarter 2024 Actual v. Expected |  |  |  | 4th Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Orange A KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Goshen A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Phillipston A KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Uxbridge D | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
West Bridgewater A&B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Sutton A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
North Adams A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
North Adams B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Clarksburg A | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Swansea B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Wareham 2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Kingston 1 KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Kingston 2 KB | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Holliston B | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Fairhaven C | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Plympton A-2 | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 01-2024
MN8 KEF |  | 1-2024 Actual v. Expected |  |  |  | 1-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA | 34976.7405 | 63711.84 | -28735.0995 | -45.1% | 96254.79 | -61278.0495 | -63.66%
Orange A KB | MA | 36812.4413 | 50249.95 | -13437.5087 | -26.74% | 78902.03 | -42089.5887 | -53.34% | 1. Site tripped offline on 01/13 multiple times early in the morningand auto-closed shortly after | 1. SR080185
Goshen A | MA | 25506 | 57487.3 | -31981.3 | -55.63% | 45574.37 | -20068.37 | -44.03% | 1. Site tripped on 01/14 at 14:30 and later back online on 01/15 at 10:00AM 2. Site tripped offline on 01/25 at 11:06AM and later back online 01/25 at 11:27AM. | 1. SR080209 2. SR080465
Phillipston A KB | MA | 28771 | 81174.38 | -52403.38 | -64.56% | 48828.99 | -20057.99 | -41.08%
Uxbridge D | MA | 42944 | 75174.5 | -32230.5 | -42.87% | 103260 | -60316 | -58.41%
West Bridgewater A&B | MA | 84322 | 126671.7 | -42349.7 | -33.43% | 169067.9 | -84745.9 | -50.13%
Sutton A | MA | 30226 | 57946.25 | -27720.25 | -47.84% | 93432.82 | -63206.82 | -67.65%
North Adams A | MA | 33659 | 55008.74 | -21349.74 | -38.81% | 98462.86 | -64803.86 | -65.82% | 1. Inverter 3.3 is offline on 01/13 at 07:00AM, later back online on 01/13 at 12:45PM and tripping on and off multiple days on and off. | 1. SR080193
North Adams B | MA | 25714 | 47004.33 | -21290.33 | -45.29% | 98462.86 | -72748.86 | -73.88%
Clarksburg A | MA | 25169 | 48116.73 | -22947.73 | -47.69% | 98015.59 | -72846.59 | -74.32%
Swansea B | MA | 54645 | 81330.64 | -26685.64 | -32.81% | 50080.16 | 4564.84 | 9.115% | 1. Site tripped offline on 01/29 at 16:00 and later back online on 01/30 at 11:15AM. | 1. SR080590
Wareham 2 | MA | 59387.25 | 65302.43 | -5915.18 | -9.058% | 103231.1 | -43843.85 | -42.47%
Kingston 1 KB | MA | 46172 | 64095.79 | -17923.79 | -27.96% | 78554.16 | -32382.16 | -41.22% | 1. Site tripped on 01/14 at 16:45 and later back online on 01/15 at 14:30. 2. Site tripped offline due to utility outage on 01/16 at 11:30AM and utility cleared outage on 01/18 at 07:45AM. | 1. SR080216 2. SR080258
Kingston 2 KB | MA | 38326 | 38638.25 | -312.25 | -0.8081% | 63052.82 | -24726.82 | -39.22% | 1. Site tripped on 01/14 at 16:45 and later back online on 01/15 at 14:30. 2. Site tripped offline due to utility outage on 01/16 at 11:30AM and utility cleared outage on 01/18 at 07:45AM. | 1. SR080217 2. SR080259
Holliston B | MA | 32229 | 61034.62 | -28805.62 | -47.2% | 98146.17 | -65917.17 | -67.16%
Fairhaven C | MA | 120080 | 148303.4 | -28223.4 | -19.03% | 176726.2 | -56646.2 | -32.05% | 1. Site tripped offline on 01/11 at 07:00AM and later back online on 01/12 at 07:45AM. 2. Inverter 47 was offline after site re-energize the site on 01/12 and back online on 14:15. | 1. SR080149 2. SR080171
Plympton A-2 | MA | 60641 | 77649.14 | -17008.14 | -21.9% | 98644.24 | -38003.24 | -38.53% | 1. Site tripped offline on 01/10 at 03:26AM and later back online on 01/10 at 06:24AM. | 1. SR080115
Total |  | 779580.4318 | 1198899.99 | -419319.5582 | -34.98% | 1598697.06 | -819116.6282 | -51.24%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 02-2024
MN8 KEF |  | 2-2024 Actual v. Expected |  |  |  | 2-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 03-2024
MN8 KEF |  | 3-2024 Actual v. Expected |  |  |  | 3-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 04-2024
MN8 KEF |  | 4-2024 Actual v. Expected |  |  |  | 4-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 05-2024
MN8 KEF |  | 5-2024 Actual v. Expected |  |  |  | 5-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 06-2024
MN8 KEF |  | 6-2024 Actual v. Expected |  |  |  | 6-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 07-2024
MN8 KEF |  | 7-2024 Actual v. Expected |  |  |  | 7-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 08-2024
MN8 KEF |  | 8-2024 Actual v. Expected |  |  |  | 8-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 09-2024
MN8 KEF |  | 9-2024 Actual v. Expected |  |  |  | 9-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 10-2024
MN8 KEF |  | 10-2024 Actual v. Expected |  |  |  | 10-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 11-2024
MN8 KEF |  | 11-2024 Actual v. Expected |  |  |  | 11-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 12-2024
MN8 KEF |  | 12-2024 Actual v. Expected |  |  |  | 12-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Williamsburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Orange A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Goshen A | MA |  |  | 0 | 0% |  | 0 | 0%
Phillipston A KB | MA |  |  | 0 | 0% |  | 0 | 0%
Uxbridge D | MA |  |  | 0 | 0% |  | 0 | 0%
West Bridgewater A&B | MA |  |  | 0 | 0% |  | 0 | 0%
Sutton A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams A | MA |  |  | 0 | 0% |  | 0 | 0%
North Adams B | MA |  |  | 0 | 0% |  | 0 | 0%
Clarksburg A | MA |  |  | 0 | 0% |  | 0 | 0%
Swansea B | MA |  |  | 0 | 0% |  | 0 | 0%
Wareham 2 | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 1 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Kingston 2 KB | MA |  |  | 0 | 0% |  | 0 | 0%
Holliston B | MA |  |  | 0 | 0% |  | 0 | 0%
Fairhaven C | MA |  |  | 0 | 0% |  | 0 | 0%
Plympton A-2 | MA |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sites
Portfolio: | MN8 KEF
Site DAS Name | Site | State | Column1
MA-11-001 - Williamsburg A #1058 | Williamsburg A | MA | AEF
MA-11-002 - Orange A KB | Orange A KB | MA | AEF
MA-11-003 - Goshen A #1052 | Goshen A | MA | AEF
MA-11-004 - Phillipston A KB | Phillipston A KB | MA | AEF
MA-11-005 - Uxbridge D | Uxbridge D | MA | AEF
MA-11-006 - West Bridgewater A&B #1063 | West Bridgewater A&B | MA | AEF
MA-11-007 - Sutton A #1054 | Sutton A | MA | AEF
MA-11-008 - North Adams A #1079 | North Adams A | MA | AEF
MA-11-009 - North Adams B #1080 | North Adams B | MA | AEF
MA-11-010 - Clarksburg A #1081 | Clarksburg A | MA | AEF
MA-11-011 - Swansea B #1098 | Swansea B | MA | AEF
MA-11-012 - Wareham 2 | Wareham 2 | MA | AEF
MA-11-013 - Kingston 1 KB | Kingston 1 KB | MA | AEF
MA-11-014 - Kingston 2 KB | Kingston 2 KB | MA | AEF
MA-11-015 - Holliston B | Holliston B | MA | AEF
MA-11-016 - Fairhaven C | Fairhaven C | MA | AEF
MA-11-017 - Plympton A | Plympton A-2 | MA | AEF

## Williamsburg A
Williamsburg A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 34976.7405 | 63711.84 | -28735.0995 | -45.1% | 96254.79 | -61278.0495 | -63.66%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 34976.7405 | 63711.84 | -28735.0995 | -45.1% | 96254.79 | -61278.0495 | -63.66%

## Orange A KB
Orange A KB
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 36812.4413 | 50249.95 | -13437.5087 | -26.74% | 78902.03 | -42089.5887 | -53.34% | 1. Site tripped offline on 01/13 multiple times early in the morningand auto-closed shortly after | 1. SR080185
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 36812.4413 | 50249.95 | -13437.5087 | -26.74% | 78902.03 | -42089.5887 | -53.34%

## Goshen A
Goshen A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 25506 | 57487.3 | -31981.3 | -55.63% | 45574.37 | -20068.37 | -44.03% | 1. Site tripped on 01/14 at 14:30 and later back online on 01/15 at 10:00AM 2. Site tripped offline on 01/25 at 11:06AM and later back online 01/25 at 11:27AM. | 1. SR080209 2. SR080465
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 25506 | 57487.3 | -31981.3 | -55.63% | 45574.37 | -20068.37 | -44.03%

## Phillipston A KB
Phillipston A KB
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 28771 | 81174.38 | -52403.38 | -64.56% | 48828.99 | -20057.99 | -41.08%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 28771 | 81174.38 | -52403.38 | -64.56% | 48828.99 | -20057.99 | -41.08%

## Uxbridge D
Uxbridge D
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 42944 | 75174.5 | -32230.5 | -42.87% | 103260 | -60316 | -58.41%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 42944 | 75174.5 | -32230.5 | -42.87% | 103260 | -60316 | -58.41%

## West Bridgewater A&B
West Bridgewater A&B
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 84322 | 126671.7 | -42349.7 | -33.43% | 169067.9 | -84745.9 | -50.13%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 84322 | 126671.7 | -42349.7 | -33.43% | 169067.9 | -84745.9 | -50.13%

## Sutton A
Sutton A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 30226 | 57946.25 | -27720.25 | -47.84% | 93432.82 | -63206.82 | -67.65%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 30226 | 57946.25 | -27720.25 | -47.84% | 93432.82 | -63206.82 | -67.65%

## North Adams A
North Adams A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 33659 | 55008.74 | -21349.74 | -38.81% | 98462.86 | -64803.86 | -65.82% | 1. Inverter 3.3 is offline on 01/13 at 07:00AM, later back online on 01/13 at 12:45PM and tripping on and off multiple days on and off. | 1. SR080193
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 33659 | 55008.74 | -21349.74 | -38.81% | 98462.86 | -64803.86 | -65.82%

## North Adams B
North Adams B
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 25714 | 47004.33 | -21290.33 | -45.29% | 98462.86 | -72748.86 | -73.88%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 25714 | 47004.33 | -21290.33 | -45.29% | 98462.86 | -72748.86 | -73.88%

## Clarksburg A
Clarksburg A
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 25169 | 48116.73 | -22947.73 | -47.69% | 98015.59 | -72846.59 | -74.32%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 25169 | 48116.73 | -22947.73 | -47.69% | 98015.59 | -72846.59 | -74.32%

## Swansea B
Swansea B
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 54645 | 81330.64 | -26685.64 | -32.81% | 50080.16 | 4564.84 | 9.115% | 1. Site tripped offline on 01/29 at 16:00 and later back online on 01/30 at 11:15AM. | 1. SR080590
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 54645 | 81330.64 | -26685.64 | -32.81% | 50080.16 | 4564.84 | 9.115%

## Wareham 2
Wareham 2
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 59387.25 | 65302.43 | -5915.18 | -9.058% | 103231.1 | -43843.85 | -42.47%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 59387.25 | 65302.43 | -5915.18 | -9.058% | 103231.1 | -43843.85 | -42.47%

## Kingston 1 KB
Kingston 1 KB
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 46172 | 64095.79 | -17923.79 | -27.96% | 78554.16 | -32382.16 | -41.22% | 1. Site tripped on 01/14 at 16:45 and later back online on 01/15 at 14:30. 2. Site tripped offline due to utility outage on 01/16 at 11:30AM and utility cleared outage on 01/18 at 07:45AM. | 1. SR080216 2. SR080258
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 46172 | 64095.79 | -17923.79 | -27.96% | 78554.16 | -32382.16 | -41.22%

## Kingston 2 KB
Kingston 2 KB
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 38326 | 38638.25 | -312.25 | -0.8081% | 63052.82 | -24726.82 | -39.22% | 1. Site tripped on 01/14 at 16:45 and later back online on 01/15 at 14:30. 2. Site tripped offline due to utility outage on 01/16 at 11:30AM and utility cleared outage on 01/18 at 07:45AM. | 1. SR080217 2. SR080259
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 38326 | 38638.25 | -312.25 | -0.8081% | 63052.82 | -24726.82 | -39.22%

## Holliston B
Holliston B
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 32229 | 61034.62 | -28805.62 | -47.2% | 98146.17 | -65917.17 | -67.16%
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 32229 | 61034.62 | -28805.62 | -47.2% | 98146.17 | -65917.17 | -67.16%

## Fairhaven C
Fairhaven C
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 120080 | 148303.4 | -28223.4 | -19.03% | 176726.2 | -56646.2 | -32.05% | 1. Site tripped offline on 01/11 at 07:00AM and later back online on 01/12 at 07:45AM. 2. Inverter 47 was offline after site re-energize the site on 01/12 and back online on 14:15. | 1. SR080149 2. SR080171
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 120080 | 148303.4 | -28223.4 | -19.03% | 176726.2 | -56646.2 | -32.05%

## Plympton A-2
Plympton A-2
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 60641 | 77649.14 | -17008.14 | -21.9% | 98644.24 | -38003.24 | -38.53% | 1. Site tripped offline on 01/10 at 03:26AM and later back online on 01/10 at 06:24AM. | 1. SR080115
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 60641 | 77649.14 | -17008.14 | -21.9% | 98644.24 | -38003.24 | -38.53%