## YTD Total 2024
MN8 NY8 |  | Year to Date 2024 Actual v. Expected |  |  |  | Year to Date 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY | 641158.184 | 1056577 | -415418.816 | -39.32% | 1516236 | -875077.816 | -57.71%
Puckett Solar | NY | 744866 | 630899.4 | 113966.6 | 18.06% | 1237718 | -492852 | -39.82%
Total |  | 1386024.184 | 1687476.4 | -301452.216 | -17.86% | 2753954 | -1367929.816 | -49.67%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 1st Quarter 2024
MN8 NY8 |  | 1st Quarter 2024 Actual v. Expected |  |  |  | 1st Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY | 641158.184 | 1056577 | -415418.816 | -39.32% | 1516236 | -875077.816 | 100%
Puckett Solar | NY | 744866 | 630899.4 | 113966.6 | 18.06% | 1237718 | -492852 | 100%
Total |  | 1386024.184 | 1687476.4 | -301452.216 | -17.86% | 2753954 | -1367929.816 | -49.67%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 2nd Quarter 2024
MN8 NY8 |  | 2nd Quarter 2024 Actual v. Expected |  |  |  | 2nd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Puckett Solar | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 3rd Quarter 2024
MN8 NY8 |  | 3rd Quarter 2024 Actual v. Expected |  |  |  | 3rd Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Puckett Solar | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 4th Quarter 2024
MN8 NY8 |  | 4th Quarter 2024 Actual v. Expected |  |  |  | 4th Quarter 2024 Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Puckett Solar | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 01-2024
MN8 NY8 |  | 01-2024 Actual v. Expected |  |  |  | 01-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY | 641158.184 | 1056577 | -415418.816 | -39.32% | 1516236 | -875077.816 | -57.71% | 1. Inverter 3.1,4.1 Module 1 and 5.1 module 2 has not started production on 01/09, 01/16, 01/18, 01/19 and 01/31 2.Inverter module 1.1 offline on 01/19 to 01/22 and started on 01/23 at 12:15 | 1.SR080623, SR080624 2.SR080390
Puckett Solar | NY | 744866 | 630899.4 | 113966.6 | 18.06% | 1237718 | -492852 | -39.82% | 1.Production meter was damaged they had to by pass the meter. 2.Inverter 5.1 module 2 is offfline on 01/17 and started on 01/18 at 10:45 3.Site tripped offlinedue to Utility planned outage on 01/25 at 12:00 and back online 02/01. Actual energy data is taken from Inverters data since production meter data is not available*** | 1.SR073174 2.SR080283 3.SR080466
Total |  | 1386024.184 | 1687476.4 | -301452.216 | -17.86% | 2753954 | -1367929.816 | -49.67%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 02-2024
MN8 NY8 |  | 02-2024 Actual v. Expected |  |  |  | 02-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 03-2024
MN8 NY8 |  | 03-2024 Actual v. Expected |  |  |  | 03-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 04-2024
MN8 NY8 |  | 04-2024 Actual v. Expected |  |  |  | 04-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 05-2024
MN8 NY8 |  | 05-2024 Actual v. Expected |  |  |  | 05-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 06-2024
MN8 NY8 |  | 06-2024 Actual v. Expected |  |  |  | 06-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 07-2024
MN8 NY8 |  | 07-2024 Actual v. Expected |  |  |  | 07-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 08-2024
MN8 NY8 |  | 08-2024 Actual v. Expected |  |  |  | 08-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 09-2024
MN8 NY8 |  | 09-2024 Actual v. Expected |  |  |  | 09-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 10-2024
MN8 NY8 |  | 10-2024 Actual v. Expected |  |  |  | 10-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 11-2024
MN8 NY8 |  | 11-2024 Actual v. Expected |  |  |  | 11-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 12-2024
MN8 NY8 |  | 12-2024 Actual v. Expected |  |  |  | 12-2024 Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Janis | NY |  |  | 0 | 0% |  | 0 | 0%
Puckett Solar | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sites
Portfolio: | MN8 NY8
Site DAS Name | Site | State | Column1
Janis | Janis | NY | AEF
Puckett Solar | Puckett Solar | NY | AEF

## Janis
Janis
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 641158.184 | 1056577 | -415418.816 | -39.32% | 1516236 | -875077.816 | -57.71% | 1. Inverter 3.1,4.1 Module 1 and 5.1 module 2 has not started production on 01/09, 01/16, 01/18, 01/19 and 01/31 2.Inverter module 1.1 offline on 01/19 to 01/22 and started on 01/23 at 12:15 | 1.SR080623, SR080624 2.SR080390
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 641158.184 | 1056577 | -415418.816 | -39.32% | 1516236 | -875077.816 | -57.71%

## Puckett Solar
Puckett Solar
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 744866 | 630899.4 | 113966.6 | 18.06% | 1237718 | -492852 | -39.82% | 1.Production meter was damaged they had to by pass the meter. 2.Inverter 5.1 module 2 is offfline on 01/17 and started on 01/18 at 10:45 3.Site tripped offlinedue to Utility planned outage on 01/25 at 12:00 and back online 02/01. Actual energy data is taken from Inverters data since production meter data is not available*** | 1.SR073174 2.SR080283 3.SR080466
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 744866 | 630899.4 | 113966.6 | 18.06% | 1237718 | -492852 | -39.82%