## YTD Total
Renewable Properties |  | Year to Date 2024 Actual v. Expected |  |  |  | Year to Date 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 47147 | 40450.07 | 6696.93 | 16.56% | 41873.17 | 5273.83 | 12.59%
Bullis | NY | 101870 | 146839.5 | -44969.5 | -30.62% | 265386.5 | -163516.5 | -61.61%
Rock Island | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 149017 | 187289.57 | -38272.57 | -20.43% | 307259.67 | -158242.67 | -51.5%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 1st Qtr
Renewable Properties |  | 1st Quarter 2024 Actual v. Expected |  |  |  | 1st Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 47147 | 40450.07 | 6696.93 | 16.56% | 41873.17 | 5273.83 | 12.59%
Bullis | NY | 101870 | 146839.5 | -44969.5 | -30.62% | 265386.5 | -163516.5 | -61.61%
Rock Island | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 149017 | 187289.57 | -38272.57 | -20.43% | 307259.67 | -158242.67 | -51.5%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 2nd Qtr
Renewable Properties |  | 2nd Quarter 2024 Actual v. Expected |  |  |  | 2nd Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Bullis | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Rock Island | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 3rd Qtr
Renewable Properties |  | 3rd Quarter 2024 Actual v. Expected |  |  |  | 3rd Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Bullis | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Rock Island | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## 4th Qtr
Renewable Properties |  | 4th Quarter 2024 Actual v. Expected |  |  |  | 4th Quarter 2024 Forecasted
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Bullis | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Rock Island | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jan
Renewable Properties |  | January Actual v. Expected |  |  |  | January Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 47147 | 40450.07 | 6696.93 | 16.56% | 41873.17 | 5273.83 | 12.59% | 1.Site tripped offline on 01/10/2024 at 01:31 & back online at 08:45 | 1.SR080111
Bullis | NY | 101870 | 146839.5 | -44969.5 | -30.62% | 265386.5 | -163516.5 | -61.61% | 1. Site tripped offline on 01/09/2024 at 14:30 & back online on 01/12/2024 at 17:00. 2. Inverter 2 tripped offline on 01/24/2024 at 14:00 & back online on 01/25 at 10:00 | 1. SR080100 2. SR080446
Rock Island | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0% | 1. Site was not communicating from 11/01 | 1. SR079012
Total |  | 149017 | 187289.57 | -38272.57 | -20.43% | 307259.67 | -158242.67 | -51.5%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Feb
Renewable Properties |  | February Actual v. Expected |  |  |  | February Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Mar
Renewable Properties |  | March Actual v. Expected |  |  |  | March Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Apr
Renewable Properties |  | April Actual v. Expected |  |  |  | April Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## May
Renewable Properties |  | May Actual v. Expected |  |  |  | May Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jun
Renewable Properties |  | June Actual v. Expected |  |  |  | June Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Jul
Renewable Properties |  | July Actual v. Expected |  |  |  | July Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Aug
Renewable Properties |  | August Actual v. Expected |  |  |  | August Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sep
Renewable Properties |  | September Actual v. Expected |  |  |  | September Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Oct
Renewable Properties |  | October Actual v. Expected |  |  |  | October Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Nov
Renewable Properties |  | November Actual v. Expected |  |  |  | November Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Dec
Renewable Properties |  | December Actual v. Expected |  |  |  | December Actual v. Forecasted |  |  | NOTES | SR
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA |  |  | 0 | 0% |  | 0 | 0%
Bullis | NY |  |  | 0 | 0% |  | 0 | 0%
Rock Island | NY |  |  | 0 | 0% |  | 0 | 0%
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Values in gold exceed expected or forecasted by 10% or more.
Values in red are below expected or forecasted by 10% or more.

## Sites
Portfolio: | Renewable Properties
Site DAS Name | Site | State | Update | DAS
60 Cedar Swamp Rd. (Renewable Properties) | Cedar Swamp Rd | MA |  | PowerTrack
Bullis | Bullis | NY |  | PowerTrack
Rock Island NY (Renew Prop) | Rock Island | NY |  | PowerTrack

## Cedar Swamp Rd
Cedar Swamp Rd
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 47147 | 40450.07 | 6696.93 | 16.56% | 41873.17 | 5273.83 | 12.59% | 1.Site tripped offline on 01/10/2024 at 01:31 & back online at 08:45 | 1.SR080111
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 47147 | 40450.07 | 6696.93 | 16.56% | 41873.17 | 5273.83 | 12.59%

## Bullis
Bullis
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 101870 | 146839.5 | -44969.5 | -30.62% | 265386.5 | -163516.5 | -61.61% | 1. Site tripped offline on 01/09/2024 at 14:30 & back online on 01/12/2024 at 17:00. 2. Inverter 2 tripped offline on 01/24/2024 at 14:00 & back online on 01/25 at 10:00 | 1. SR080100 2. SR080446
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 101870 | 146839.5 | -44969.5 | -30.62% | 265386.5 | -163516.5 | -61.61%

## Rock Island
Rock Island
Actual vs. Expected |  |  |  |  | Actual vs. Forecasted |  |  | Notes
Month | Actual | Expected | Delta Expected | % Expected | Forecasted | Delta Forecasted | % Forecasted | Notes | Service Request
Jan | 0 | 0 | 0 | 0% | 0 | 0 | 0% | 1. Site was not communicating from 11/01 | 1. SR079012
Feb |  |  | 0 | 0% |  | 0 | 0%
Mar |  |  | 0 | 0% |  | 0 | 0%
Apr |  |  | 0 | 0% |  | 0 | 0%
May |  |  | 0 | 0% |  | 0 | 0%
Jun |  |  | 0 | 0% |  | 0 | 0%
Jul |  |  | 0 | 0% |  | 0 | 0%
Aug |  |  | 0 | 0% |  | 0 | 0%
Sep |  |  | 0 | 0% |  | 0 | 0%
Oct |  |  | 0 | 0% |  | 0 | 0%
Nov |  |  | 0 | 0% |  | 0 | 0%
Dec |  |  | 0 | 0% |  | 0 | 0%
Totals | 0 | 0 | 0 | 0% | 0 | 0 | 0%