## Export
MeterID | Start Date | End Date | Generation | Asset | Asset | Meter Type | Utility Type | Owner | Comments | SR
232 | 2024-01-01 | 2024-01-31 | 5658.38 |  | AZ: ASU - Pardee - Discovery Hall | Generation | Measured kWh | Pardee (ENCAP)
234 | 2024-01-01 | 2024-01-31 | 20942.75 |  | AZ: ASU - Pardee - Farrington | Generation | Measured kWh | Pardee (ENCAP)
261 | 2024-01-01 | 2024-01-31 | 81571.87 |  | AZ: ASU - Pardee - Macro Tech. | Generation | Measured kWh | Pardee (ENCAP) | 1. Inverters 2, 3, and 4 lost communication on 12/27 and restored on 01/03/2024 and are offline | 1. SR079751
265 | 2024-01-01 | 2024-01-31 | 7336.12 |  | AZ: ASU - Pardee - McCord Hall | Generation | Measured kWh | Pardee (ENCAP)
288 | 2024-01-01 | 2024-01-31 | 17337.62 |  | AZ: ASU - Pardee - Parking Lot 11 | Generation | Measured kWh | Pardee (ENCAP)
289 | 2024-01-01 | 2024-01-31 | 24207.75 |  | AZ: ASU - Pardee - Parking Lot 19 | Generation | Measured kWh | Pardee (ENCAP)
290 | 2024-01-01 | 2024-01-31 | 18216.82 |  | AZ: ASU - Pardee - Parking Lot 41 | Generation | Measured kWh | Pardee (ENCAP)
291 | 2024-01-01 | 2024-01-31 | 18853.62 |  | AZ: ASU - Pardee - Parking Lot 58 | Generation | Measured kWh | Pardee (ENCAP)
292 | 2024-01-01 | 2024-01-31 | 23961.75 |  | AZ: ASU - Pardee - Parking Lot 59S | Generation | Measured kWh | Pardee (ENCAP)
302 | 2024-01-01 | 2024-01-31 | 19467.5 |  | AZ: ASU - Pardee - Sun Devil Complex | Generation | Measured kWh | Pardee (ENCAP)
1370 | 2024-01-01 | 2024-01-31 | 25401 |  | AZ: Cave Creek - DWES | Generation | Measured kWh | Cave Creek USD
1726 | 2024-01-01 | 2024-01-31 | 25675.94 |  | AZ: Cave Creek - DWES | Generation | Expected kWh | Cave Creek USD
1346 | 2024-01-01 | 2024-01-31 | 17366 |  | AZ: Cave Creek - HTES | Generation | Measured kWh | Cave Creek USD
1728 | 2024-01-01 | 2024-01-31 | 23255.94 |  | AZ: Cave Creek - HTES | Generation | Expected kWh | Cave Creek USD
1348 | 2024-01-01 | 2024-01-31 | 21556 |  | AZ: Cave Creek - LMES | Generation | Measured kWh | Cave Creek USD
228 | 2024-01-01 | 2024-01-31 | 21093 |  | AZ: COF Aquaplex | Generation | Measured kWh | City of Flagstaff
229 | 2024-01-01 | 2024-01-31 | 24843 |  | AZ: COF Rio de Flag | Generation | Measured kWh | City of Flagstaff
1438 | 2024-01-01 | 2024-01-31 | 25659.41 |  | AZ: COF Rio de Flag | Generation | Expected kWh | City of Flagstaff
230 | 2024-01-01 | 2024-01-31 | 26537 |  | AZ: COF Sun Bear | Generation | Measured kWh | City of Flagstaff
1436 | 2024-01-01 | 2024-01-31 | 24317.09 |  | AZ: COF Sun Bear | Generation | Expected kWh | City of Flagstaff
1406 | 2024-01-01 | 2024-01-31 | 18583 |  | AZ: Lake Havasu - District Office | Generation | Measured kWh | Lake Havasu USD
1416 | 2024-01-01 | 2024-01-31 | 18392.83 |  | AZ: Lake Havasu - District Office | Generation | Expected kWh | Lake Havasu USD
1408 | 2024-01-01 | 2024-01-31 | 8688 |  | AZ: Lake Havasu - HS Library | Generation | Measured kWh | Lake Havasu USD
1440 | 2024-01-01 | 2024-01-31 | 7939.29 |  | AZ: Lake Havasu - HS Library | Generation | Expected kWh | Lake Havasu USD
1712 | 2024-01-01 | 2024-01-31 | 27794.5 |  | AZ: Lake Havasu City - Aquatic Center | Generation | Measured kWh | LX International America, Inc.
1732 | 2024-01-01 | 2024-01-31 | 2447.36 |  | AZ: Lake Havasu City - Aquatic Center | Generation | Expected kWh | LX International America, Inc.
1734 | 2024-01-01 | 2024-01-31 | 930.47 |  | AZ: Lake Havasu City - City Hall | Generation | Expected kWh | LX International America, Inc.
1748 | 2024-01-01 | 2024-01-31 | 9540.13 |  | AZ: Lake Havasu City - City Hall | Generation | Measured kWh | LX International America, Inc.
1714 | 2024-01-01 | 2024-01-31 | 23850.48 |  | AZ: Lake Havasu City - Police Station | Generation | Measured kWh | LX International America, Inc.
1736 | 2024-01-01 | 2024-01-31 | 2839.44 |  | AZ: Lake Havasu City - Police Station | Generation | Expected kWh | LX International America, Inc.
1721 | 2024-01-01 | 2024-01-31 | 6743.68 |  | AZ: Lake Havasu City - Public Works | Generation | Measured kWh | LX International America, Inc.
1738 | 2024-01-01 | 2024-01-31 | 657.23 |  | AZ: Lake Havasu City - Public Works | Generation | Expected kWh | LX International America, Inc.
1410 | 2024-01-01 | 2024-01-31 | 11373 |  | AZ: Lake Havasu- Performing Arts | Generation | Measured kWh | Lake Havasu USD
1442 | 2024-01-01 | 2024-01-31 | 12052.07 |  | AZ: Lake Havasu- Performing Arts | Generation | Expected kWh | Lake Havasu USD
271 | 2024-01-01 | 2024-01-31 | 15252 |  | AZ: Marana - Degrazia ES | Generation | Measured kWh | Marana USD
272 | 2024-01-01 | 2024-01-31 | 12109 |  | AZ: Marana - Gladden Farms Ph 2 | Generation | Measured kWh | Marana USD
2352 | 2024-01-01 | 2024-01-31 | 23382 |  | AZ: Marana - Marana High School | Generation | Measured kWh | Marana USD
2355 | 2024-01-01 | 2024-01-31 | 82439 |  | AZ: Marana - Mountain View HS Exp. | Generation | Measured kWh | Marana USD
2356 | 2024-01-01 | 2024-01-31 | 18021 |  | AZ: Marana - Mountain View HS Exp. | Generation | Measured kWh | Marana USD
2342 | 2024-01-01 | 2024-01-31 | 19280 |  | AZ: Marana - Picture Rocks Intermediat | Generation | Measured kWh | Marana USD
2344 | 2024-01-01 | 2024-01-31 | 5246 |  | AZ: Marana - Picture Rocks Intermediat | Generation | Measured kWh | Marana USD
277 | 2024-01-01 | 2024-01-31 | 4897 |  | AZ: Marana - Rattlesnake Ridge ES | Generation | Measured kWh | Marana USD
278 | 2024-01-01 | 2024-01-31 | 21507 |  | AZ: Marana - Roadrunner ES | Generation | Measured kWh | Marana USD
279 | 2024-01-01 | 2024-01-31 | 10517 |  | AZ: Marana - Thornydale Elementary | Generation | Measured kWh | Marana USD
280 | 2024-01-01 | 2024-01-31 | 28275 |  | AZ: Marana - Tortolita MS | Generation | Measured kWh | Marana USD
281 | 2024-01-01 | 2024-01-31 | 37150 |  | AZ: NAU - SF Garage | Generation | Measured kWh | Pardee (ENCAP)
2808 | 2024-01-01 | 2024-01-31 | -13275797 |  | AZ: Peoria - Beardsley WWTP | Generation | Measured kWh | City of Peoria
2690 | 2024-01-01 | 2024-01-31 | 22132.5 |  | AZ: Peoria - City Hall | Generation | Measured kWh | City of Peoria
2701 | 2024-01-01 | 2024-01-31 | 8712.55 |  | AZ: Peoria - Fire Station 191 | Generation | Measured kWh | City of Peoria | Site stopped communicating overnight on 01/03 possibly offline. And self resolves the same day. | SR079900
2712 | 2024-01-01 | 2024-01-31 | 4070.75 |  | AZ: Peoria - Fire Station 195 | Generation | Measured kWh | City of Peoria
2714 | 2024-01-01 | 2024-01-31 | 6174.19 |  | AZ: Peoria - Fire Station 197 | Generation | Measured kWh | City of Peoria
2685 | 2024-01-01 | 2024-01-31 | 14545.25 |  | AZ: Peoria - Pinnacle Peak | Generation | Measured kWh | City of Peoria
2679 | 2024-01-01 | 2024-01-31 | 15881.25 |  | AZ: Peoria - Sunrise Library | Generation | Measured kWh | City of Peoria
298 | 2024-01-01 | 2024-01-31 | 40996.75 |  | AZ: Sky Harbor COB Admin Building | Generation | Measured kWh | City of Phoenix | Inverter 9 & 10 are offline on 01/21 & back on 01/22 | SR080379
1412 | 2024-01-01 | 2024-01-31 | 18248 |  | AZ: Superior High School | Generation | Measured kWh | Superior USD
3061 | 2024-01-01 | 2024-01-31 | 9019.92 |  | AZ: Tempe - ASU - Farmer | Generation | Measured kWh | Generate Capital
3066 | 2024-01-01 | 2024-01-31 | 29434.75 |  | AZ: Tempe - ASU - Fulton | Generation | Measured kWh | Generate Capital
3071 | 2024-01-01 | 2024-01-31 | 8806.3 |  | AZ: Tempe - ASU - Noble | Generation | Measured kWh | Generate Capital
3075 | 2024-01-01 | 2024-01-31 | 5979.46 |  | AZ: Tempe - ASU - Parking #3 | Generation | Measured kWh | Generate Capital | Inverter 1.1 is offline from 01/20 to 01/22 | SR080358, SR079991
3081 | 2024-01-01 | 2024-01-31 | 20730.37 |  | AZ: Tempe - ASU - PE East | Generation | Measured kWh | Generate Capital
3086 | 2024-01-01 | 2024-01-31 | 8913.15 |  | AZ: Tempe - ASU - Schwada | Generation | Measured kWh | Generate Capital
2824 | 2024-01-01 | 2024-01-31 | 668.16 |  | CA: Adams & Broadway - WF | Generation | Measured kWh | Wells Fargo
1661 | 2024-01-01 | 2024-01-31 | 124251.5 |  | CA: Rancho Cucamonga | Generation | Measured kWh | 38D North | Inverter 28 is offline from 12/14 to 01/25 | SR079280
1664 | 2024-01-01 | 2024-01-31 | 142693.7 |  | CA: Rancho Cucamonga | Generation | Expected kWh | 38D North
2819 | 2024-01-01 | 2024-01-31 | 1267.57 |  | CA: Van Nuys - WF | Generation | Measured kWh | Wells Fargo
1892 | 2023-12-31 | 2024-01-30 | 104955.3 |  | NV: Starbucks - Minden | Generation | Solar PVSyst | Starbucks
1888 | 2024-01-01 | 2024-01-31 | 89237.88 |  | NV: Starbucks - Minden | Generation | Measured kWh | Starbucks
1889 | 2024-01-01 | 2024-01-31 | 92249.58 |  | NV: Starbucks - Minden | Generation | Expected kWh | Starbucks
1892 | 2024-01-30 | 2024-02-26 | 139657.57 |  | NV: Starbucks - Minden | Generation | Solar PVSyst | Starbucks
Total |  |  | -11,464,006