## Year to Date
CITI |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 761476.62 | 875402.635 | -113926.015 | -13.01% | 819042.326 | -57565.706 | -7.028%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 23783.25 | 26802 | -3018.75 | -11.26% | 25333.655 | -1550.405 | -6.12%
CA: Antioch MC CUP - Citi | CA | 77142 | 87662 | -10520 | -12% | 82559.584 | -5417.584 | -6.562%
CA: Clovis - Citi | CA | 32833 | 29586 | 3247 | 10.97% | 39905.663 | -7072.663 | -17.72%
CA: Elk Grove MOB - Citi | CA | 45130 | 54986 | -9856 | -17.92% | 50117.35 | -4987.35 | -9.951%
CA: Elk Grove Promenade - Citi | CA | 22326 | 30384.635 | -8058.635 | -26.52% | 28265.13 | -5939.13 | -21.01%
CA: Fresno Sequioa - Citi | CA | 54028.75 | 54179 | -150.25 | -0.2773% | 60597.623 | -6568.873 | -10.84%
CA: Fresno MOB - Citi | CA | 23116 | 21868 | 1248 | 5.707% | 24310.019 | -1194.019 | -4.912%
CA: Modesto Bangs - Citi | CA | 12386.25 | 12166 | 220.25 | 1.81% | 13154.418 | -768.168 | -5.84%
CA: Napa Data Center - Citi | CA | 13910.87 | 18187 | -4276.13 | -23.51% | 17420.203 | -3509.333 | -20.15%
CA: Petaluma MOB - Citi | CA | 33858.75 | 43911 | -10052.25 | -22.89% | 41451.396 | -7592.646 | -18.32%
CA: Pleasanton Tec Ctr - Citi | CA | 45268 | 60582 | -15314 | -25.28% | 54214.861 | -8946.861 | -16.5%
CA: Rancho Cordova - Citi | CA | 81162.5 | 89248 | -8085.5 | -9.06% | 85149.358 | -3986.858 | -4.682%
CA: S Sacramento Wyndham - Citi | CA | 38853.75 | 47087 | -8233.25 | -17.49% | 39156.317 | -302.567 | -0.7727%
CA: Sacramento Point West - Citi | CA | 61132.5 | 90683 | -29550.5 | -32.59% | 84913.76 | -23781.26 | -28.01%
CA: San Jose FHC - Citi | CA | 16855.75 | 23498 | -6642.25 | -28.27% | 19495.033 | -2639.283 | -13.54%
CA: San Jose MOB - Citi | CA | 22890.75 | 38233 | -15342.25 | -40.13% | 30904.094 | -8013.344 | -25.93%
CA: Selma - Citi | CA | 16830.5 | 15271 | 1559.5 | 10.21% | 19231.67 | -2401.17 | -12.49%
CA: Vacaville Hospital | CA | 105587 | 131069 | -25482 | -19.44% | 102862.192 | 2724.808 | 2.649%
CA: Manteca - KP Manteca Hospital | CA | 34381 | 0 | 34381 | 0% | 0 | 34381 | 0%

## 1st Qtr
CITI |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 761476.62 | 875402.635 | -113926.015 | -13.01% | 819042.326 | -57565.706 | -7.028%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 23783.25 | 26802 | -3018.75 | -11.26% | 25333.655 | -1550.405 | -6.12%
CA: Antioch MC CUP - Citi | CA | 77142 | 87662 | -10520 | -12% | 82559.584 | -5417.584 | -6.562%
CA: Clovis - Citi | CA | 32833 | 29586 | 3247 | 10.97% | 39905.663 | -7072.663 | -17.72%
CA: Elk Grove MOB - Citi | CA | 45130 | 54986 | -9856 | -17.92% | 50117.35 | -4987.35 | -9.951%
CA: Elk Grove Promenade - Citi | CA | 22326 | 30384.635 | -8058.635 | -26.52% | 28265.13 | -5939.13 | -21.01%
CA: Fresno Sequioa - Citi | CA | 54028.75 | 54179 | -150.25 | -0.2773% | 60597.623 | -6568.873 | -10.84%
CA: Fresno MOB - Citi | CA | 23116 | 21868 | 1248 | 5.707% | 24310.019 | -1194.019 | -4.912%
CA: Modesto Bangs - Citi | CA | 12386.25 | 12166 | 220.25 | 1.81% | 13154.418 | -768.168 | -5.84%
CA: Napa Data Center - Citi | CA | 13910.87 | 18187 | -4276.13 | -23.51% | 17420.203 | -3509.333 | -20.15%
CA: Petaluma MOB - Citi | CA | 33858.75 | 43911 | -10052.25 | -22.89% | 41451.396 | -7592.646 | -18.32%
CA: Pleasanton Tec Ctr - Citi | CA | 45268 | 60582 | -15314 | -25.28% | 54214.861 | -8946.861 | -16.5%
CA: Rancho Cordova - Citi | CA | 81162.5 | 89248 | -8085.5 | -9.06% | 85149.358 | -3986.858 | -4.682%
CA: S Sacramento Wyndham - Citi | CA | 38853.75 | 47087 | -8233.25 | -17.49% | 39156.317 | -302.567 | -0.7727%
CA: Sacramento Point West - Citi | CA | 61132.5 | 90683 | -29550.5 | -32.59% | 84913.76 | -23781.26 | -28.01%
CA: San Jose FHC - Citi | CA | 16855.75 | 23498 | -6642.25 | -28.27% | 19495.033 | -2639.283 | -13.54%
CA: San Jose MOB - Citi | CA | 22890.75 | 38233 | -15342.25 | -40.13% | 30904.094 | -8013.344 | -25.93%
CA: Selma - Citi | CA | 16830.5 | 15271 | 1559.5 | 10.21% | 19231.67 | -2401.17 | -12.49%
CA: Vacaville Hospital | CA | 105587 | 131069 | -25482 | -19.44% | 102862.192 | 2724.808 | 2.649%
CA: Manteca - KP Manteca Hospital | CA | 34381 | 0 | 34381 | 0% | 0 | 34381 | 0%

## 2nd Qtr
CITI |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Antioch MC CUP - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Clovis - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Elk Grove MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Elk Grove Promenade - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Fresno Sequioa - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Fresno MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Modesto Bangs - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Napa Data Center - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Petaluma MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Pleasanton Tec Ctr - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Rancho Cordova - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: S Sacramento Wyndham - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Sacramento Point West - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: San Jose FHC - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: San Jose MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Selma - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Vacaville Hospital | CA | 0 | 0 | 0 |  |  | 0
CA: Manteca - KP Manteca Hospital | CA

## 3rd Qtr
CITI |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Antioch MC CUP - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Clovis - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Elk Grove MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Elk Grove Promenade - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Fresno Sequioa - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Fresno MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Modesto Bangs - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Napa Data Center - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Petaluma MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Pleasanton Tec Ctr - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Rancho Cordova - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: S Sacramento Wyndham - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Sacramento Point West - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: San Jose FHC - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: San Jose MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Selma - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Vacaville Hospital | CA | 0 | 0 | 0 |  |  | 0
CA: Manteca - KP Manteca Hospital | CA

## 4th Qtr
CITI |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Antioch MC CUP - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Clovis - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Elk Grove MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Elk Grove Promenade - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Fresno Sequioa - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Fresno MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Modesto Bangs - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Napa Data Center - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Petaluma MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Pleasanton Tec Ctr - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Rancho Cordova - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: S Sacramento Wyndham - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Sacramento Point West - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: San Jose FHC - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: San Jose MOB - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Selma - Citi | CA | 0 | 0 | 0 |  |  | 0
CA: Vacaville Hospital | CA | 0 | 0 | 0 |  |  | 0
CA: Manteca - KP Manteca Hospital | CA

## Jan
CITI |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 761476.62 | 875402.635 | -113926.015 | -13.01% | 819042.326 | -57565.706 | -7.028%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA | 23783.25 | 26802 | -3018.75 | -11.26% | 25333.655 | -1550.405 | -6.12%
CA: Antioch MC CUP - Citi | CA | 77142 | 87662 | -10520 | -12% | 82559.584 | -5417.584 | -6.562%
CA: Clovis - Citi | CA | 32833 | 29586 | 3247 | 10.97% | 39905.663 | -7072.663 | -17.72%
CA: Elk Grove MOB - Citi | CA | 45130 | 54986 | -9856 | -17.92% | 50117.35 | -4987.35 | -9.951%
CA: Elk Grove Promenade - Citi | CA | 22326 | 30384.635 | -8058.635 | -26.52% | 28265.13 | -5939.13 | -21.01% | 1. Inverter 2.3 was offline for whole month. | 1. SR079094
CA: Fresno Sequioa - Citi | CA | 54028.75 | 54179 | -150.25 | -0.2773% | 60597.623 | -6568.873 | -10.84%
CA: Fresno MOB - Citi | CA | 23116 | 21868 | 1248 | 5.707% | 24310.019 | -1194.019 | -4.912%
CA: Modesto Bangs - Citi | CA | 12386.25 | 12166 | 220.25 | 1.81% | 13154.418 | -768.168 | -5.84%
CA: Napa Data Center - Citi | CA | 13910.87 | 18187 | -4276.13 | -23.51% | 17420.203 | -3509.333 | -20.15% | 1. Inverter 3 was late started on 01/20 due to isolation fault. 2. Inverter 2 was late started on 01/23 due to isolation fault. | 1. SR080355 2. SR080409
CA: Petaluma MOB - Citi | CA | 33858.75 | 43911 | -10052.25 | -22.89% | 41451.396 | -7592.646 | -18.32% | 1. Inverter 5 tripped offline on 1/27 at 12:00 PM and back online on 1/28. | 1. SR080526
CA: Pleasanton Tec Ctr - Citi | CA | 45268 | 60582 | -15314 | -25.28% | 54214.861 | -8946.861 | -16.5%
CA: Rancho Cordova - Citi | CA | 81162.5 | 89248 | -8085.5 | -9.06% | 85149.358 | -3986.858 | -4.682%
CA: S Sacramento Wyndham - Citi | CA | 38853.75 | 47087 | -8233.25 | -17.49% | 39156.317 | -302.567 | -0.7727%
CA: Sacramento Point West - Citi | CA | 61132.5 | 90683 | -29550.5 | -32.59% | 84913.76 | -23781.26 | -28.01% | 1. Meter only captured 2/3rd of inverter production from 01/11 to 1/18 and later technician resolved the issue. 2. Inverter 1.1 offline on 01/17, 1/19. | 1. SR080147
CA: San Jose FHC - Citi | CA | 16855.75 | 23498 | -6642.25 | -28.27% | 19495.033 | -2639.283 | -13.54% | 1. Inverter 8 is derating approximately 10kW. | 1. SR080602
CA: San Jose MOB - Citi | CA | 22890.75 | 38233 | -15342.25 | -40.13% | 30904.094 | -8013.344 | -25.93% | 1. Inverter 2 is offline for whole month due to breaker over heating issue. | 1. PM4756
CA: Selma - Citi | CA | 16830.5 | 15271 | 1559.5 | 10.21% | 19231.67 | -2401.17 | -12.49%
CA: Vacaville Hospital | CA | 105587 | 131069 | -25482 | -19.44% | 102862.192 | 2724.808 | 2.649%
CA: Manteca - KP Manteca Hospital | CA | 34381 | 0 | 34381 | 0% | 0 | 34381 | 0%

## Feb
CITI |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Mar
CITI |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Apr
CITI |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## May
CITI |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Jun
CITI |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Jul
CITI |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Aug
CITI |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Sep
CITI |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Oct
CITI |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Nov
CITI |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Dec
CITI |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA

## Sites
Portfolio: | CITI
Site DAS Name | Site | State | Update | DAS
KP6 - Antioch Deer Valley - CN5701 | CA: Antioch Deer Valley - Citi | CA
KP6 - Antioch MC CUP - CN5701 | CA: Antioch MC CUP - Citi | CA
Clovis MOB | CA: Clovis - Citi | CA
Elk Grove MOB - CN73727 | CA: Elk Grove MOB - Citi | CA
Elk Grove Promenade - CN 6950 | CA: Elk Grove Promenade - Citi | CA
Fresno Sequioa Hospital | CA: Fresno Sequioa - Citi | CA
Fresno Medical Offices - CN7201 | CA: Fresno MOB - Citi | CA
Modesto Bangs MOB | CA: Modesto Bangs - Citi | CA
KP - Napa Data Center - CN2250 | CA: Napa Data Center - Citi | CA
Kaiser - Petaluma Medical Office - CN2001 | CA: Petaluma MOB - Citi | CA
Pleasanton PTC - Bldg B - CN470B | CA: Pleasanton Tec Ctr - Citi | CA
Rancho Cordova - Groundmount | CA: Rancho Cordova - Citi | CA
South Sacramento Wyndham CN6014 | CA: S Sacramento Wyndham - Citi | CA
Sacramento Point West MOB | CA: Sacramento Point West - Citi | CA
KP6 - San Jose FHC - CN6320 | CA: San Jose FHC - Citi | CA
KP6 - San Jose MOB - CN6310 | CA: San Jose MOB - Citi | CA
KP6 - Selma Medical Offices - CN8450 | CA: Selma - Citi | CA
Vacaville Hospital - CN6701 | CA: Vacaville Hospital | CA
Kaiser, KP6 - Manteca Hospital | CA: Manteca - KP Manteca Hospital | CA