## Year to Date
City of Peoria |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 181579.3849 | 192109.333 | -10529.9481 | -5.481% | 240650.964 | -59071.5791 | -24.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 4095.2355 | 2888.027 | 1207.2085 | 41.8% | 8175.821 | -4080.5855 | -49.91%
AZ: Peoria - Fire Station 191 | AZ | 8711.7123 | 7611.925 | 1099.7873 | 14.45% | 10085 | -1373.2877 | -13.62%
AZ: Peoria - Fire Station 195 | AZ | 4067.6883 | 3810.848 | 256.8403 | 6.74% | 5705.702 | -1638.0137 | -28.71%
AZ: Peoria - Fire Station 196 | AZ | 3092.2812 | 0 | 3092.2812 | 0% | 0 | 3092.2812 | 0%
AZ: Peoria - Fire Station 197 | AZ | 6174.4869 | 5275.923 | 898.5639 | 17.03% | 7203.861 | -1029.3741 | -14.29%
AZ: Peoria - Sunrise Library | AZ | 15881.2307 | 10942.25 | 4938.9807 | 45.14% | 22243 | -6361.7693 | -28.6%
AZ: Peoria - Beardsley WWTP | AZ | 102879 | 128491.1 | -25612.1 | -19.93% | 138763 | -35884 | -25.86%
AZ: Peoria - City Hall | AZ | 22132.5 | 21050.03 | 1082.47 | 5.142% | 31892.58 | -9760.08 | -30.6%
AZ: Peoria - Pinnacle Peak | AZ | 14545.25 | 12039.23 | 2506.02 | 20.82% | 16582 | -2036.75 | -12.28%

## 1st Qtr
City of Peoria |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 181579.3849 | 192109.333 | -10529.9481 | -5.481% | 240650.964 | -59071.5791 | -24.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 4095.2355 | 2888.027 | 1207.2085 | 41.8% | 8175.821 | -4080.5855 | -49.91%
AZ: Peoria - Fire Station 191 | AZ | 8711.7123 | 7611.925 | 1099.7873 | 14.45% | 10085 | -1373.2877 | -13.62%
AZ: Peoria - Fire Station 195 | AZ | 4067.6883 | 3810.848 | 256.8403 | 6.74% | 5705.702 | -1638.0137 | -28.71%
AZ: Peoria - Fire Station 196 | AZ | 3092.2812 | 0 | 3092.2812 | 0% | 0 | 3092.2812 | 0%
AZ: Peoria - Fire Station 197 | AZ | 6174.4869 | 5275.923 | 898.5639 | 17.03% | 7203.861 | -1029.3741 | -14.29%
AZ: Peoria - Sunrise Library | AZ | 15881.2307 | 10942.25 | 4938.9807 | 45.14% | 22243 | -6361.7693 | -28.6%
AZ: Peoria - Beardsley WWTP | AZ | 102879 | 128491.1 | -25612.1 | -19.93% | 138763 | -35884 | -25.86%
AZ: Peoria - City Hall | AZ | 22132.5 | 21050.03 | 1082.47 | 5.142% | 31892.58 | -9760.08 | -30.6%
AZ: Peoria - Pinnacle Peak | AZ | 14545.25 | 12039.23 | 2506.02 | 20.82% | 16582 | -2036.75 | -12.28%

## 2nd Qtr
City of Peoria |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 191 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 195 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 196 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 197 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Sunrise Library | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Beardsley WWTP | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Pinnacle Peak | AZ | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
City of Peoria |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 191 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 195 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 196 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 197 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Sunrise Library | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Beardsley WWTP | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Pinnacle Peak | AZ | 0 | 0 | 0 |  |  | 0

## 4th Qtr
City of Peoria |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 191 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 195 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 196 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Fire Station 197 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Sunrise Library | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Beardsley WWTP | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - City Hall | AZ | 0 | 0 | 0 |  |  | 0
AZ: Peoria - Pinnacle Peak | AZ | 0 | 0 | 0 |  |  | 0

## Jan
City of Peoria |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 181579.3849 | 192109.333 | -10529.9481 | -5.481% | 240650.964 | -59071.5791 | -24.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ | 4095.2355 | 2888.027 | 1207.2085 | 41.8% | 8175.821 | -4080.5855 | -49.91%
AZ: Peoria - Fire Station 191 | AZ | 8711.7123 | 7611.925 | 1099.7873 | 14.45% | 10085 | -1373.2877 | -13.62%
AZ: Peoria - Fire Station 195 | AZ | 4067.6883 | 3810.848 | 256.8403 | 6.74% | 5705.702 | -1638.0137 | -28.71%
AZ: Peoria - Fire Station 196 | AZ | 3092.2812 | 0 | 3092.2812 | 0% | 0 | 3092.2812 | 0%
AZ: Peoria - Fire Station 197 | AZ | 6174.4869 | 5275.923 | 898.5639 | 17.03% | 7203.861 | -1029.3741 | -14.29% | 1. Inverter is offline from 01/01 to 01/04 | 1. SR079271
AZ: Peoria - Sunrise Library | AZ | 15881.2307 | 10942.25 | 4938.9807 | 45.14% | 22243 | -6361.7693 | -28.6%
AZ: Peoria - Beardsley WWTP | AZ | 102879 | 128491.1 | -25612.1 | -19.93% | 138763 | -35884 | -25.86% | 1. Inverter B2 was back online from 01/24. | 1. SR075641
AZ: Peoria - City Hall | AZ | 22132.5 | 21050.03 | 1082.47 | 5.142% | 31892.58 | -9760.08 | -30.6%
AZ: Peoria - Pinnacle Peak | AZ | 14545.25 | 12039.23 | 2506.02 | 20.82% | 16582 | -2036.75 | -12.28%

## Feb
City of Peoria |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Mar
City of Peoria |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Apr
City of Peoria |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## May
City of Peoria |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Jun
City of Peoria |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Jul
City of Peoria |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Aug
City of Peoria |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Sep
City of Peoria |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Oct
City of Peoria |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Nov
City of Peoria |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Dec
City of Peoria |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
AZ: Peoria - Fire Station 191 | AZ
AZ: Peoria - Fire Station 195 | AZ
AZ: Peoria - Fire Station 196 | AZ
AZ: Peoria - Fire Station 197 | AZ
AZ: Peoria - Sunrise Library | AZ
AZ: Peoria - Beardsley WWTP | AZ
AZ: Peoria - City Hall | AZ
AZ: Peoria - Pinnacle Peak | AZ

## Sites
Portfolio: | City of Peoria
Site DAS Name | Site | State | Update | DAS
City of Peoria, . - Beardsley WWTP - Admin Building | AZ: Peoria - Beardsley WWTP - Ad. Bldg | AZ
Fire station 191(Peoria) | AZ: Peoria - Fire Station 191 | AZ
Fire Station 195 (Peoria) | AZ: Peoria - Fire Station 195 | AZ
Fire Station 196(Peoria) | AZ: Peoria - Fire Station 196 | AZ
Fire Station 197 (Peoria) | AZ: Peoria - Fire Station 197 | AZ
City of Peoria, . - Sunrise Library | AZ: Peoria - Sunrise Library | AZ
Beardsley WWTP - Trackers & East Canopy | AZ: Peoria - Beardsley WWTP | AZ
City of Peoria, . - DCS - Municipal Complex | AZ: Peoria - City Hall | AZ
City of Peoria, . - Pinnacle Peak | AZ: Peoria - Pinnacle Peak | AZ