## Year to Date
Cushman & Wakefield |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Arvin - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Bell - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Chula Vista - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Cupertino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Diamond Bar - Bank of America | CA | 0 | 0 | 0 |  |  | 0
El Centro - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Moreno Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Roseville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Bernardino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Diego - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Stockton - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Aurora - BA - Colfax Ave | CO | 0 | 0 | 0 |  |  | 0
Aurora - BA - Parker Rd | CO | 0 | 0 | 0 |  |  | 0
Broomfield - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Colorado Springs - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Denver - BA - 49th Ave | CO | 0 | 0 | 0 |  |  | 0
Denver - BA Wadsworth Blvd | CO | 0 | 0 | 0 |  |  | 0
Fort Collins - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lafayette - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lakewood - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Longmont - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Thornton - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Calumet City - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Downers Grove - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Bloomington - Bank of America | MN | 0 | 0 | 0 |  |  | 0
Clayton - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Manchester - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Eastern Ave | NV | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  |  | 0
Riverton - Bank of America | UT | 0 | 0 | 0 |  |  | 0
Salt Lake City - Bank of America | UT | 0 | 0 | 0 |  |  | 0

## 1st Qtr
Cushman & Wakefield |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Arvin - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Bell - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Chula Vista - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Cupertino - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Diamond Bar - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
El Centro - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Moreno Valley - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Roseville - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
San Bernardino - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
San Diego - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Stockton - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Aurora - BA - Colfax Ave | CO | 0 | 0 | 0 |  | 0 | 0
Aurora - BA - Parker Rd | CO | 0 | 0 | 0 |  | 0 | 0
Broomfield - Bank of America | CO | 0 | 0 | 0 |  | 0 | 0
Colorado Springs - Bank of America | CO | 0 | 0 | 0 |  | 0 | 0
Denver - BA - 49th Ave | CO | 0 | 0 | 0 |  | 0 | 0
Denver - BA Wadsworth Blvd | CO | 0 | 0 | 0 |  | 0 | 0
Fort Collins - Bank of America | CO | 0 | 0 | 0 |  | 0 | 0
Lafayette - Bank of America | CO | 0 | 0 | 0 |  | 0 | 0
Lakewood - Bank of America | CO | 0 | 0 | 0 |  | 0 | 0
Longmont - Bank of America | CO | 0 | 0 | 0 |  | 0 | 0
Thornton - Bank of America | CO | 0 | 0 | 0 |  | 0 | 0
Calumet City - Bank of America | IL | 0 | 0 | 0 |  | 0 | 0
Downers Grove - Bank of America | IL | 0 | 0 | 0 |  | 0 | 0
Bloomington - Bank of America | MN | 0 | 0 | 0 |  | 0 | 0
Clayton - Bank of America | MO | 0 | 0 | 0 |  | 0 | 0
Manchester - Bank of America | MO | 0 | 0 | 0 |  | 0 | 0
Las Vegas - BA - Eastern Ave | NV | 0 | 0 | 0 |  | 0 | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  | 0 | 0
Riverton - Bank of America | UT | 0 | 0 | 0 |  | 0 | 0
Salt Lake City - Bank of America | UT | 0 | 0 | 0 |  | 0 | 0

## 2nd Qtr
Cushman & Wakefield |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 156152.399 | 0 | 156152.399 | 0% | 0 | 156152.399 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Arvin - Bank of America | CA | 111.589 | 0 | 111.589 |  |  | 111.589
Bell - Bank of America | CA | 3792.873 | 0 | 3792.873 |  |  | 3792.873
Chula Vista - Bank of America | CA | 4240.63 | 0 | 4240.63 |  |  | 4240.63
Cupertino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Diamond Bar - Bank of America | CA | 9432.964 | 0 | 9432.964 |  |  | 9432.964
El Centro - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Moreno Valley - Bank of America | CA | 14415.777 | 0 | 14415.777 |  |  | 14415.777
Redlands - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Roseville - Bank of America | CA | 26572.962 | 0 | 26572.962 |  |  | 26572.962
San Bernardino - Bank of America | CA | 345.647 | 0 | 345.647 |  |  | 345.647
San Diego - Bank of America | CA | 387.905 | 0 | 387.905 |  |  | 387.905
Stockton - Bank of America | CA | 8459.808 | 0 | 8459.808 |  |  | 8459.808
Victorville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Aurora - BA - Colfax Ave | CO | 3984.494 | 0 | 3984.494 |  |  | 3984.494
Aurora - BA - Parker Rd | CO | 12024.477 | 0 | 12024.477 |  |  | 12024.477
Broomfield - Bank of America | CO | 4541.14 | 0 | 4541.14 |  |  | 4541.14
Colorado Springs - Bank of America | CO | 9230.448 | 0 | 9230.448 |  |  | 9230.448
Denver - BA - 49th Ave | CO | 0 | 0 | 0 |  |  | 0
Denver - BA Wadsworth Blvd | CO | 8322.924 | 0 | 8322.924 |  |  | 8322.924
Fort Collins - Bank of America | CO | 4992.021 | 0 | 4992.021 |  |  | 4992.021
Lafayette - Bank of America | CO | 5980.586 | 0 | 5980.586 |  |  | 5980.586
Lakewood - Bank of America | CO | 3795.586 | 0 | 3795.586 |  |  | 3795.586
Longmont - Bank of America | CO | 4087.775 | 0 | 4087.775 |  |  | 4087.775
Thornton - Bank of America | CO | 2872.995 | 0 | 2872.995 |  |  | 2872.995
Calumet City - Bank of America | IL | 3012.972 | 0 | 3012.972 |  |  | 3012.972
Downers Grove - Bank of America | IL | 7502.605 | 0 | 7502.605 |  |  | 7502.605
Bloomington - Bank of America | MN | 0 | 0 | 0 |  |  | 0
Clayton - Bank of America | MO | 7567.264 | 0 | 7567.264 |  |  | 7567.264
Manchester - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Eastern Ave | NV | 183.616 | 0 | 183.616 |  |  | 21.916
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  |  | 0
Riverton - Bank of America | UT | 8576.078 | 0 | 8576.078 |  |  | 8576.078
Salt Lake City - Bank of America | UT | 1717.263 | 0 | 1717.263 |  |  | 1717.263

## 3rd Qtr
Cushman & Wakefield |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Arvin - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Bell - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Chula Vista - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Cupertino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Diamond Bar - Bank of America | CA | 0 | 0 | 0 |  |  | 0
El Centro - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Moreno Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Roseville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Bernardino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Diego - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Stockton - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Aurora - BA - Colfax Ave | CO | 0 | 0 | 0 |  |  | 0
Aurora - BA - Parker Rd | CO | 0 | 0 | 0 |  |  | 0
Broomfield - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Colorado Springs - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Denver - BA - 49th Ave | CO | 0 | 0 | 0 |  |  | 0
Denver - BA Wadsworth Blvd | CO | 0 | 0 | 0 |  |  | 0
Fort Collins - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lafayette - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lakewood - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Longmont - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Thornton - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Calumet City - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Downers Grove - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Bloomington - Bank of America | MN | 0 | 0 | 0 |  |  | 0
Clayton - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Manchester - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Eastern Ave | NV | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  |  | 0
Riverton - Bank of America | UT | 0 | 0 | 0 |  |  | 0
Salt Lake City - Bank of America | UT | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Cushman & Wakefield |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Adelanto - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Apple Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Arvin - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Bell - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Chula Vista - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Cupertino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Diamond Bar - Bank of America | CA | 0 | 0 | 0 |  |  | 0
El Centro - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Moreno Valley - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Redlands - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Roseville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Bernardino - Bank of America | CA | 0 | 0 | 0 |  |  | 0
San Diego - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Stockton - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Victorville - Bank of America | CA | 0 | 0 | 0 |  |  | 0
Aurora - BA - Colfax Ave | CO | 0 | 0 | 0 |  |  | 0
Aurora - BA - Parker Rd | CO | 0 | 0 | 0 |  |  | 0
Broomfield - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Colorado Springs - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Denver - BA - 49th Ave | CO | 0 | 0 | 0 |  |  | 0
Denver - BA Wadsworth Blvd | CO | 0 | 0 | 0 |  |  | 0
Fort Collins - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lafayette - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Lakewood - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Longmont - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Thornton - Bank of America | CO | 0 | 0 | 0 |  |  | 0
Calumet City - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Downers Grove - Bank of America | IL | 0 | 0 | 0 |  |  | 0
Bloomington - Bank of America | MN | 0 | 0 | 0 |  |  | 0
Clayton - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Manchester - Bank of America | MO | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Eastern Ave | NV | 0 | 0 | 0 |  |  | 0
Las Vegas - BA - Town Ctr Dr | NV | 0 | 0 | 0 |  |  | 0
Riverton - Bank of America | UT | 0 | 0 | 0 |  |  | 0
Salt Lake City - Bank of America | UT | 0 | 0 | 0 |  |  | 0

## Jan
Cushman & Wakefield |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Feb
Cushman & Wakefield |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Mar
Cushman & Wakefield |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Apr
Cushman & Wakefield |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 46739.67 | 0 | 46739.67 | 0% | 0 | 46739.67 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0
Apple Valley - Bank of America | CA | 0
Arvin - Bank of America | CA | 89.616 | 0 | 89.616 |  | 0 | 89.616
Bell - Bank of America | CA | 1328.91 | 0 | 1328.91 |  | 0 | 1328.91 |  | 1. Site is underperforming. Peak performance is 7kW, but site capacity is 20kW. | 1. SR084100
Chula Vista - Bank of America | CA | 1406.354 | 0 | 1406.354 |  | 0 | 1406.354
Cupertino - Bank of America | CA | 0
Diamond Bar - Bank of America | CA | 3093.107 | 0 | 3093.107 |  | 0 | 3093.107
El Centro - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Moreno Valley - Bank of America | CA | 4725.482 | 0 | 4725.482 |  | 0 | 4725.482 |  | 1. microinverters are offline. BA.2, BA.3, BA.7, BA.8, BB.6, BB.7, BB.8, BC.5, BC.6, BC.7. | 1.SR084104
Redlands - Bank of America | CA | 0
Roseville - Bank of America | CA | 7831.804 | 0 | 7831.804 |  | 0 | 7831.804
San Bernardino - Bank of America | CA | 123.486 | 0 | 123.486 |  | 0 | 123.486
San Diego - Bank of America | CA | 120.601 | 0 | 120.601 |  | 0 | 120.601
Stockton - Bank of America | CA | 2434.676 | 0 | 2434.676 |  | 0 | 2434.676
Victorville - Bank of America | CA | 0
Aurora - BA - Colfax Ave | CO | 1180.68 | 0 | 1180.68 |  | 0 | 1180.68 |  | 1.Microinverter 202305090409 (B1.07) offline | 1.SR084072
Aurora - BA - Parker Rd | CO | 3520.819 | 0 | 3520.819 |  | 0 | 3520.819 |  | 1.Microinverters 202305087223 (B1.2) offline from 04/19 and back online on 04/22 and again offline on 04/27 and back on 04/28. Microinverter 202305087452 ( B1.7) offline 04/20 and back onlin on 04/21 and again offline from 04/27 and back online on 04/28 Microinverter 202305092763 (B4.1) offline from 04/19 and back online on 04/22 and again offline on 04/27 and back online on 04/28 Microinverter 202305094910 (B5.1) offline from 04/19 and back online on 04/22 and again offline on 04/27 and back online on 04/28 Micoinverter 202305097717 ( B6.9) offline from 04/19 and back online on 04/22 and again offline on 04/27 and back online on 04/28 | 1. SR085357
Broomfield - Bank of America | CO | 1441.335 | 0 | 1441.335 |  | 0 | 1441.335 |  | 1. 8 Microinverters are offline. | 1.SR084073
Colorado Springs - Bank of America | CO | 2872.694 | 0 | 2872.694 |  | 0 | 2872.694
Denver - BA - 49th Ave | CO | 0
Denver - BA Wadsworth Blvd | CO | 2521.677 | 0 | 2521.677 |  | 0 | 2521.677
Fort Collins - Bank of America | CO | 1441.048 | 0 | 1441.048 |  | 0 | 1441.048 |  | 1. Microinverters B2.21, B3.24, and B3.26 are offline. | 1.SR084089
Lafayette - Bank of America | CO | 1738.681 | 0 | 1738.681 |  | 0 | 1738.681
Lakewood - Bank of America | CO | 1143.274 | 0 | 1143.274 |  | 0 | 1143.274 |  | 1.Microinverters B3.20, B3.21, B3.22, and B3.25 are offline. | 1.SR084091
Longmont - Bank of America | CO | 1206.176 | 0 | 1206.176 |  | 0 | 1206.176
Thornton - Bank of America | CO | 1282.641 | 0 | 1282.641 |  | 0 | 1282.641 |  | 1. Microinverter 202305087320 offline from 04/19 Micro inverter 202305090399 offline Microinverter 202305094444 offline from 04/18 2. Gateway stopped communicating, cannot verify site production. | 1. SR084093 2.SR085585
Calumet City - Bank of America | IL | 839.463 | 0 | 839.463 |  | 0 | 839.463
Downers Grove - Bank of America | IL | 1009.329 | 0 | 1009.329 |  | 0 | 1009.329 |  | 1. Microinverter 202315097491 (B5:37) back online on 04/30. | 1. SR084095
Bloomington - Bank of America | MN | 0
Clayton - Bank of America | MO | 2289.44 | 0 | 2289.44 |  | 0 | 2289.44
Manchester - Bank of America | MO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicating since 03/04. | 1. SR084096
Las Vegas - BA - Eastern Ave | NV | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicated for whole month. | 1. SR087220
Las Vegas - BA - Town Ctr Dr | NV | 0
Riverton - Bank of America | UT | 2585.596 | 0 | 2585.596 |  | 0 | 2585.596
Salt Lake City - Bank of America | UT | 512.781 | 0 | 512.781 |  | 0 | 512.781

## May
Cushman & Wakefield |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 54097.039 | 0 | 54097.039 | 0% | 0 | 54097.039 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0
Apple Valley - Bank of America | CA | 0
Arvin - Bank of America | CA | 21.973 | 0 | 21.973 |  | 0 | 21.973 |  | 1. Site stopped communicating possibly offline from 05/08/2024 | 1. SR084097
Bell - Bank of America | CA | 1198.623 | 0 | 1198.623 |  | 0 | 1198.623 |  | 1. Site is underperforming. Peak performance is 7kW, but site capacity is 20kW. | 1.SR084100
Chula Vista - Bank of America | CA | 1452.321 | 0 | 1452.321 |  | 0 | 1452.321
Cupertino - Bank of America | CA | 0
Diamond Bar - Bank of America | CA | 2941.987 | 0 | 2941.987 |  | 0 | 2941.987
El Centro - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Moreno Valley - Bank of America | CA | 4958.294 | 0 | 4958.294 |  | 0 | 4958.294 |  | 1. microinverters are offline. BA.2, BA.3, BA.7, BA.8, BB.6, BB.7, BB.8, BC.5, BC.6, BC.7. | 1.SR084104
Redlands - Bank of America | CA | 0
Roseville - Bank of America | CA | 9427.401 | 0 | 9427.401 |  | 0 | 9427.401
San Bernardino - Bank of America | CA | 133.092 | 0 | 133.092 |  | 0 | 133.092
San Diego - Bank of America | CA | 125.218 | 0 | 125.218 |  | 0 | 125.218
Stockton - Bank of America | CA | 3031.547 | 0 | 3031.547 |  | 0 | 3031.547
Victorville - Bank of America | CA | 0
Aurora - BA - Colfax Ave | CO | 1388.135 | 0 | 1388.135 |  | 0 | 1388.135 |  | 1.Microinverter 202305090409 (B1.07) offline | 1.SR084072
Aurora - BA - Parker Rd | CO | 4257.477 | 0 | 4257.477 |  | 0 | 4257.477
Broomfield - Bank of America | CO | 1731.849 | 0 | 1731.849 |  | 0 | 1731.849 |  | 1. 8 micro inverters are offline. | 1.SR084073
Colorado Springs - Bank of America | CO | 3258.226 | 0 | 3258.226 |  | 0 | 3258.226
Denver - BA - 49th Ave | CO | 0
Denver - BA Wadsworth Blvd | CO | 2897.3 | 0 | 2897.3 |  | 0 | 2897.3
Fort Collins - Bank of America | CO | 1800.01 | 0 | 1800.01 |  | 0 | 1800.01 |  | 1.Microinverters B2.21, B3.24, and B3.26 are offline. | 1.SR084089
Lafayette - Bank of America | CO | 2171.084 | 0 | 2171.084 |  | 0 | 2171.084
Lakewood - Bank of America | CO | 1328.74 | 0 | 1328.74 |  | 0 | 1328.74 |  | 1.Microinverters B3.20, B3.21, B3.22, and B3.25 are offline. | 1.SR084091
Longmont - Bank of America | CO | 1464.895 | 0 | 1464.895 |  | 0 | 1464.895
Thornton - Bank of America | CO | 146.175 | 0 | 146.175 |  | 0 | 146.175 |  | 1. Microinverter 202305087320 offline from 04/19 Micro inverter 202305090399 offline Microinverter 202305094444 offline from 04/18 2. Gateway stopped communicating, cannot verify site production. | 1.SR084093 2.SR085585
Calumet City - Bank of America | IL | 1093.383 | 0 | 1093.383 |  | 0 | 1093.383
Downers Grove - Bank of America | IL | 3287.073 | 0 | 3287.073 |  | 0 | 3287.073 |  | 1.Microinverters 202315097491 (B5:37) and 202315094282(B4.30) were offline since 05/01 and back online on 05/28 | 1.SR084095
Bloomington - Bank of America | MN | 0
Clayton - Bank of America | MO | 2481.118 | 0 | 2481.118 |  | 0 | 2481.118
Manchester - Bank of America | MO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicating since 03/04. | 1. SR084096
Las Vegas - BA - Eastern Ave | NV | 21.916 | 0 | 21.916 |  | 0 | 21.916 |  | 1. Site was not communicated since 04/01 and regained comms on 05/29 | 1. SR087220
Las Vegas - BA - Town Ctr Dr | NV | 0
Riverton - Bank of America | UT | 2912.849 | 0 | 2912.849 |  | 0 | 2912.849
Salt Lake City - Bank of America | UT | 566.353 | 0 | 566.353 |  | 0 | 566.353

## Jun
Cushman & Wakefield |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 55315.69 | 0 | 55315.69 | 0% | 0 | 55315.69 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA | 0
Apple Valley - Bank of America | CA | 0
Arvin - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site stopped communicating possibly offline from 05/08/2024 | 1. SR084097
Bell - Bank of America | CA | 1265.34 | 0 | 1265.34 |  | 0 | 1265.34 |  | 1. Site is underperforming. Peak performance is 7kW, but site capacity is 20kW. | 1. SR084100
Chula Vista - Bank of America | CA | 1381.955 | 0 | 1381.955 |  | 0 | 1381.955
Cupertino - Bank of America | CA | 0
Diamond Bar - Bank of America | CA | 3397.87 | 0 | 3397.87 |  | 0 | 3397.87
El Centro - Bank of America | CA | 0 | 0 | 0 |  | 0 | 0
Moreno Valley - Bank of America | CA | 4732.001 | 0 | 4732.001 |  | 0 | 4732.001 |  | 1. Microinverters are offline. BA.2, BA.3, BA.7, BA.8, BB.6, BB.7, BB.8, BC.5, BC.6, BC.7. | 1.SR084104
Redlands - Bank of America | CA | 0
Roseville - Bank of America | CA | 9313.757 | 0 | 9313.757 |  | 0 | 9313.757
San Bernardino - Bank of America | CA | 89.069 | 0 | 89.069 |  | 0 | 89.069 |  | 1. Both microinverters stopped communicating, possibly offline from 06/06/2024 and back online on 06/12 & also again offline from 06/15 and back online on 06/17. | 1.SR085742
San Diego - Bank of America | CA | 142.086 | 0 | 142.086 |  | 0 | 142.086
Stockton - Bank of America | CA | 2993.585 | 0 | 2993.585 |  | 0 | 2993.585
Victorville - Bank of America | CA | 0
Aurora - BA - Colfax Ave | CO | 1415.679 | 0 | 1415.679 |  | 0 | 1415.679 |  | 1.Microinverter 202305090409 (B1.07) offline | 1.SR084072
Aurora - BA - Parker Rd | CO | 4246.181 | 0 | 4246.181 |  | 0 | 4246.181
Broomfield - Bank of America | CO | 1367.956 | 0 | 1367.956 |  | 0 | 1367.956 |  | 1. 8 micro inverters are offline. | 1.SR084073
Colorado Springs - Bank of America | CO | 3099.528 | 0 | 3099.528 |  | 0 | 3099.528
Denver - BA - 49th Ave | CO | 0
Denver - BA Wadsworth Blvd | CO | 2903.947 | 0 | 2903.947 |  | 0 | 2903.947
Fort Collins - Bank of America | CO | 1750.963 | 0 | 1750.963 |  | 0 | 1750.963 |  | 1.Microinverters B2.21, B3.24, and B3.26 are offline. | 1.SR084089
Lafayette - Bank of America | CO | 2070.821 | 0 | 2070.821 |  | 0 | 2070.821
Lakewood - Bank of America | CO | 1323.572 | 0 | 1323.572 |  | 0 | 1323.572 |  | 1.Microinverters B3.20, B3.21, B3.22, and B3.25 are offline. | 1.SR084091
Longmont - Bank of America | CO | 1416.704 | 0 | 1416.704 |  | 0 | 1416.704
Thornton - Bank of America | CO | 1444.179 | 0 | 1444.179 |  | 0 | 1444.179 |  | 1. Microinverter 202305087320 offline from 04/19 Micro inverter 202305090399 offline Microinverter 202305094444 offline from 04/18 2. Gateway stopped communicating, cannot verify site production. | 1.SR084093 2.SR085585
Calumet City - Bank of America | IL | 1080.126 | 0 | 1080.126 |  | 0 | 1080.126
Downers Grove - Bank of America | IL | 3206.203 | 0 | 3206.203 |  | 0 | 3206.203
Bloomington - Bank of America | MN | 0
Clayton - Bank of America | MO | 2796.706 | 0 | 2796.706 |  | 0 | 2796.706
Manchester - Bank of America | MO | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicating since 03/04. | 1. SR084096
Las Vegas - BA - Eastern Ave | NV | 161.7
Las Vegas - BA - Town Ctr Dr | NV | 0
Riverton - Bank of America | UT | 3077.633 | 0 | 3077.633 |  | 0 | 3077.633
Salt Lake City - Bank of America | UT | 638.129 | 0 | 638.129 |  | 0 | 638.129

## Jul
Cushman & Wakefield |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Aug
Cushman & Wakefield |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Sep
Cushman & Wakefield |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Oct
Cushman & Wakefield |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Nov
Cushman & Wakefield |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Dec
Cushman & Wakefield |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adelanto - Bank of America | CA
Apple Valley - Bank of America | CA
Arvin - Bank of America | CA
Bell - Bank of America | CA
Chula Vista - Bank of America | CA
Cupertino - Bank of America | CA
Diamond Bar - Bank of America | CA
El Centro - Bank of America | CA
Moreno Valley - Bank of America | CA
Redlands - Bank of America | CA
Roseville - Bank of America | CA
San Bernardino - Bank of America | CA
San Diego - Bank of America | CA
Stockton - Bank of America | CA
Victorville - Bank of America | CA
Aurora - BA - Colfax Ave | CO
Aurora - BA - Parker Rd | CO
Broomfield - Bank of America | CO
Colorado Springs - Bank of America | CO
Denver - BA - 49th Ave | CO
Denver - BA Wadsworth Blvd | CO
Fort Collins - Bank of America | CO
Lafayette - Bank of America | CO
Lakewood - Bank of America | CO
Longmont - Bank of America | CO
Thornton - Bank of America | CO
Calumet City - Bank of America | IL
Downers Grove - Bank of America | IL
Bloomington - Bank of America | MN
Clayton - Bank of America | MO
Manchester - Bank of America | MO
Las Vegas - BA - Eastern Ave | NV
Las Vegas - BA - Town Ctr Dr | NV
Riverton - Bank of America | UT
Salt Lake City - Bank of America | UT

## Sites
Portfolio: | Cushman & Wakefield
Site DAS Name | Site | State | Update | DAS
| Adelanto - Bank of America | CA |  | Enlighten Manager
| Apple Valley - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-D36 (Arvin, CA) | Arvin - Bank of America | CA |  | Enlighten Manager
Bank of America - CA8-122 (Bell, CA) (240 VAC High Leg Delta) | Bell - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-G59 (Chula Vista, CA) | Chula Vista - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-F39 (Cupertino, CA) | Cupertino - Bank of America | CA |  | Enlighten Manager
Bank of America - CA7-202 (Diamond Bar, CA) | Diamond Bar - Bank of America | CA |  | Enlighten Manager
Bank of America - CA0-119 (El Centro, CA) | El Centro - Bank of America | CA |  | Enlighten Manager
Bank of America - CA6-174 (Moreno Valley, CA) | Moreno Valley - Bank of America | CA |  | Enlighten Manager
| Redlands - Bank of America | CA |  | Enlighten Manager
Bank of America - CA2-113 (Roseville, CA) | Roseville - Bank of America | CA |  | Enlighten Manager
Bank of America - CAW-E84 (San Bernardino, CA) | San Bernardino - Bank of America | CA |  | Enlighten Manager
Bank of America (San Diego, CA) | San Diego - Bank of America | CA |  | Enlighten Manager
Bank of America - CA2-154 (Stockton, CA) | Stockton - Bank of America | CA |  | Enlighten Manager
| Victorville - Bank of America | CA |  | Enlighten Manager
BOA, Arapahoe Crossings #CO1-112 | Aurora - BA - Colfax Ave | CO |  | Enlighten Manager
BOA, Chambers Plaza #COW-139 | Aurora - BA - Parker Rd | CO |  | Enlighten Manager
BOA, BroomFeild #COW-107 | Broomfield - Bank of America | CO |  | Enlighten Manager
BOA, Garden of the Gods #CO1-140 | Colorado Springs - Bank of America | CO |  | Enlighten Manager
BOA, Green Valley Ranch #CO1-121 | Denver - BA - 49th Ave | CO |  | Enlighten Manager
BOA, South Wadsworth #COW-113 | Denver - BA Wadsworth Blvd | CO |  | Enlighten Manager
BOA, Front Range Village #COW-143 | Fort Collins - Bank of America | CO |  | Enlighten Manager
Bank of America - COW-135 (Lafayette, CO) | Lafayette - Bank of America | CO |  | Enlighten Manager
BOA, Lakewood #COW-115 | Lakewood - Bank of America | CO |  | Enlighten Manager
BOA,Village at the Peaks #CO1-109 | Longmont - Bank of America | CO |  | Enlighten Manager
BOA, Thornton #COW-118 | Thornton - Bank of America | CO |  | Enlighten Manager
Bank of America - IL4-020 (River Oaks, IL) | Calumet City - Bank of America | IL |  | Enlighten Manager
BOA, WoodRidge IL2-251 | Downers Grove - Bank of America | IL |  | Enlighten Manager
| Bloomington - Bank of America | MN |  | Enlighten Manager
Bank of America - Forsyth (Clayton, MO) | Clayton - Bank of America | MO |  | Enlighten Manager
Bank of America - MO1-064 (Manchester, MO) | Manchester - Bank of America | MO |  | Enlighten Manager
Bank Of America (Las Vegas, NV) | Las Vegas - BA - Eastern Ave | NV |  | Enlighten Manager
| Las Vegas - BA - Town Ctr Dr | NV |  | Enlighten Manager
Bank of America - UTW-024 (Riverton, UT) | Riverton - Bank of America | UT |  | Enlighten Manager
Bank of America - UT3-111 (Salt Lake City, UT) | Salt Lake City - Bank of America | UT |  | Enlighten Manager