## Year to Date
Freepoint |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 4344785.9 | 4886175.839 | -541389.939 | -11.08% | 4457584.77 | -112798.87 | -2.53%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NY: Coxsackie - State Route 9 West | NY | 4344785.9 | 4886175.839 | -541389.939 | -11.08% | 4457584.77 | -112798.87 | -2.53%

## 1st Qtr
Freepoint |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1387741 | 1609829 | -222088 | -13.8% | 1820407 | -432666 | -23.77%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NY: Coxsackie - State Route 9 West | NY | 1387741 | 1609829 | -222088 | -13.8% | 1820407 | -432666 | -23.77%

## 2nd Qtr
Freepoint |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 2957044.9 | 3276346.839 | -319301.939 | -9.746% | 2637177.77 | 319867.13 | 12.13%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NY: Coxsackie - State Route 9 West | NY | 2957044.9 | 3276346.839 | -319301.939 | -9.746% | 2637177.77 | 319867.13 | 12.13%

## 3rd Qtr
Freepoint |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NY: Coxsackie - State Route 9 West | NY | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Freepoint |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NY: Coxsackie - State Route 9 West | NY | 0 | 0 | 0 |  |  | 0

## Jan
Freepoint |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 218416 | 252237 | -33821 | -13.41% | 463971 | -245555 | -52.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY | 218416 | 252237 | -33821 | -13.41% | 463971 | -245555 | -52.92% | 1. Site tripped offline on 01/04/2024 at 08:30 & back online on 01/09/2024 at 09:45. 2. Site tripped offline due to Utility outage on 1/18 at 1:15 AM and back online at 5:00 AM on the same day | 1. SR079936 2. SR080309

## Feb
Freepoint |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 615270 | 719590 | -104320 | -14.5% | 588255 | 27015 | 4.592%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY | 615270 | 719590 | -104320 | -14.5% | 588255 | 27015 | 4.592%

## Mar
Freepoint |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 554055 | 638002 | -83947 | -13.16% | 768181 | -214126 | -27.87%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY | 554055 | 638002 | -83947 | -13.16% | 768181 | -214126 | -27.87% | 1. Site was offline from 03/11 to 03/14 at 10:45. 2. Site tripped offline at 15:40 on 03/25 & back online on 03/26 at 09:45. | 1. SR081759 2.SR082726

## Apr
Freepoint |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 736702 | 827800 | -91098 | -11% | 839914 | -103212 | -12.29%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY | 736702 | 827800 | -91098 | -11% | 839914 | -103212 | -12.29% | 1. Site is offline on 04/10 due to planned outage & back online on 04/11 at 08:30. 2. Site is offline on 04/16 from 09:15 to 10:30. 3. Site tripped offline on 04/22 at 10:30 & back online at 13:40 & again tripped offline at 14:00, back online at 17:15. | 1. SR083290 2. SR083482 3. SR083686

## May
Freepoint |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 1116473 | 1218952.94 | -102479.94 | -8.407% | 900955.66 | 215517.34 | 23.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY | 1116473 | 1218952.94 | -102479.94 | -8.407% | 900955.66 | 215517.34 | 23.92% | 1. Site is offline on 05/15 at 20:30 due to relay open and later technician closed the relay at site and back online on 05/16 at 12:15pm | 1. SR084756

## Jun
Freepoint |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 1103869.9 | 1229593.899 | -125723.999 | -10.22% | 896308.11 | 207561.79 | 23.16%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY | 1103869.9 | 1229593.899 | -125723.999 | -10.22% | 896308.11 | 207561.79 | 23.16% | 1. Inverter 2.12 is offline on 06/09 and it has been RMA'd and back online on 06/24 at 11:30AM. | 1. SR085776

## Jul
Freepoint |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY

## Aug
Freepoint |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY

## Sep
Freepoint |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY

## Oct
Freepoint |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY

## Nov
Freepoint |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY

## Dec
Freepoint |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NY: Coxsackie - State Route 9 West | NY

## Sites
Portfolio: | Freepoint
Site DAS Name | Site | State | Update | DAS
Coxsackie | NY: Coxsackie - State Route 9 West | NY | AEF | PowerTrack