## Year to Date
HAJJAR SOLAR LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 276400.7975 | 0 | 276400.7975 | 0% | 588964.79 | -312563.9925 | -53.07%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 183242.9275 | 0 | 183242.9275 |  | 229140 | -45897.0725 | -20.03%
Hanover - Hajjar Solar LLC | MA | 93157.87 | 0 | 93157.87 |  | 359824.79 | -29944.22 | -8.322%

## 1st Qtr
HAJJAR SOLAR LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 156184.1821 | 0 | 156184.1821 | 0% | 213712.09 | -57527.9079 | -26.92%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 63026.3121 | 0 | 63026.3121 |  | 90610 | -27583.6879 | -30.44%
Hanover - Hajjar Solar LLC | MA | 93157.87 | 0 | 93157.87 |  | 123102.09 | -29944.22 | -24.32%

## 2nd Qtr
HAJJAR SOLAR LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 321549.7154 | 0 | 321549.7154 | 0% | 375252.7 | -53702.9846 | -14.31%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 120216.6154 | 0 | 120216.6154 |  | 138530 | -18313.3846 | -13.22%
Hanover - Hajjar Solar LLC | MA | 201333.1 | 0 | 201333.1 |  | 236722.7 | -35389.6 | -14.95%

## 3rd Qtr
HAJJAR SOLAR LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 0 | 0 | 0 |  |  | 0
Hanover - Hajjar Solar LLC | MA | 0 | 0 | 0 |  |  | 0

## 4th Qtr
HAJJAR SOLAR LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
South Easton - Hajjar Solar LLC | MA | 0 | 0 | 0 |  |  | 0
Hanover - Hajjar Solar LLC | MA | 0 | 0 | 0 |  |  | 0

## Jan
HAJJAR SOLAR LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 22427.4275 | 0 | 22427.4275 | 0% | 52572.45 | -30145.0225 | -57.34%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 7854.4375 | 0 | 7854.4375 |  | 23810 | -15955.5625 | -67.01%
Hanover - Hajjar Solar LLC | MA | 14572.99 | 0 | 14572.99 |  | 28762.45 | -14189.46 | -49.33%

## Feb
HAJJAR SOLAR LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 55384.7546 | 0 | 55384.7546 | 0% | 66869.64 | -11484.8854 | -17.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 23218.8746 | 0 | 23218.8746 |  | 28409 | -5190.1254 | -18.27%
Hanover - Hajjar Solar LLC | MA | 32165.88 | 0 | 32165.88 |  | 38460.64 | -6294.76 | -16.37%

## Mar
HAJJAR SOLAR LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 78372 | 0 | 78372 | 0% | 94270 | -15898 | -16.86%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 31953 | 0 | 31953 |  | 38391 | -6438 | -16.77%
Hanover - Hajjar Solar LLC | MA | 46419 | 0 | 46419 |  | 55879 | -9460 | -16.93%

## Apr
HAJJAR SOLAR LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 93426.2254 | 0 | 93426.2254 | 0% | 114666.8 | -21240.5746 | -18.52%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 33375.6254 | 0 | 33375.6254 |  | 43075 | -9699.3746 | -22.52%
Hanover - Hajjar Solar LLC | MA | 60050.6 | 0 | 60050.6 |  | 71591.8 | -11541.2 | -16.12%

## May
HAJJAR SOLAR LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 106982.35 | 0 | 106982.35 | 0% | 129749.2 | -22766.85 | -17.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 38263.75 | 0 | 38263.75 |  | 47735 | -9471.25 | -19.84%
Hanover - Hajjar Solar LLC | MA | 68718.6 | 0 | 68718.6 |  | 82014.2 | -13295.6 | -16.21%

## Jun
HAJJAR SOLAR LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 121141.14 | 0 | 121141.14 | 0% | 130836.7 | -9695.56 | -7.41%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA | 48577.24 | 0 | 48577.24 |  | 47720 | 857.24 | 1.796% | 1. Inverter 2 left unit is offline from 07:30AM to 14:32 on 06/27. | 1. SR087060
Hanover - Hajjar Solar LLC | MA | 72563.9 | 0 | 72563.9 |  | 83116.7 | -10552.8 | -12.7% | 1. Inverter 4 left unit is offline from 06/22. Inverter being RMA'd | 1. SR086954

## Jul
HAJJAR SOLAR LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA
Hanover - Hajjar Solar LLC | MA

## Aug
HAJJAR SOLAR LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA
Hanover - Hajjar Solar LLC | MA

## Sep
HAJJAR SOLAR LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA
Hanover - Hajjar Solar LLC | MA

## Oct
HAJJAR SOLAR LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA
Hanover - Hajjar Solar LLC | MA

## Nov
HAJJAR SOLAR LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA
Hanover - Hajjar Solar LLC | MA

## Dec
HAJJAR SOLAR LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
South Easton - Hajjar Solar LLC | MA
Hanover - Hajjar Solar LLC | MA

## Sites
Portfolio: | HAJJAR SOLAR LLC
Site DAS Name | Site | State | Update | DAS
24 Norfolk Ave | South Easton - Hajjar Solar LLC | MA |  | PowerTrack
389 Columbia Road | Hanover - Hajjar Solar LLC | MA | AF | PowerTrack