## Year to Date
Joseph City USD |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1002703.3678 | 3795.1 | 998908.2678 | 26321% | 69735 | 932968.3678 | 1338%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 1002703.3678 | 3795.1 | 998908.2678 | 26321% | 69735 | 932968.3678 | 1338%

## 1st Qtr
Joseph City USD |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 0 | 0 | 0 | 0% | 0 | 0 | 0%

## 2nd Qtr
Joseph City USD |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 1002703.3678 | 3795.1 | 998908.2678 | 26321% | 69735 | 932968.3678 | 1338%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 1002703.3678 | 3795.1 | 998908.2678 | 26321% | 69735 | 932968.3678 | 1338%

## 3rd Qtr
Joseph City USD |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Joseph City USD |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  |  | 0

## Jan
Joseph City USD |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 0 | 0 | 0 | 0% | 0 | 0 | 0% | 1. The sites were not communicated from 11/05/2022 | 1. SR067220

## Feb
Joseph City USD |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. The sites were not communicated from 11/05/2022 | 1. SR067220

## Mar
Joseph City USD |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. The sites were not communicated from 11/05/2022 | 1. SR067220

## Apr
Joseph City USD |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is not communicating from 11/05/2022. | 1. SR067220

## May
Joseph City USD |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site is not communicating from 11/05/2022. Modem being replaced | 1. SR067220

## Jun
Joseph City USD |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 1002703.3678 | 3795.1 | 998908.2678 | 26321% | 69735 | 932968.3678 | 1338%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ | 1002703.3678 | 3795.1 | 998908.2678 | 26321% | 69735 | 932968.3678 | 1338% | 1. Modem was replaced and site regained communication at 06:00am on 06/23 but seems like the actual energy is the combination all previous months. 2. Inverter C1 offline after site regained communication and is still offline 3. Inverter A9 tripped offline at 11:00 on 06/24 and back online the next day. Inverter 9 again tripped offline at 07:00 on 06/26 and back online the next day. | 1. SR067220 2. SR087334 3. SR087354

## Jul
Joseph City USD |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Aug
Joseph City USD |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Sep
Joseph City USD |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Oct
Joseph City USD |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Nov
Joseph City USD |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Dec
Joseph City USD |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Joseph City USD | AZ

## Sites
Portfolio: | Joseph City USD
Site DAS Name | Site | State | Update | DAS
JCUSD | AZ: Joseph City USD | AZ