## Year to Date
Lodestar |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 39508991.6223 | 35969928.34 | 3539063.2823 | 9.839% | 35375284.97 | 4133706.6523 | 11.69%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 815259 | 897120.11 | -81861.11 | -9.125% | 931936.27 | -116677.27 | -12.52%
Bunce | CT | 1631468.75 | 1459757.1 | 171711.65 | 11.76% | 0 | 1631468.75
Norcap North | CT | 1710994 | 1799898.9 | -88904.9 | -4.939% | 1761606.3 | -50612.3 | -2.873%
Norcap South | CT | 1747716 | 1936246.2 | -188530.2 | -9.737% | 1699763.6 | 47952.4 | 2.821%
Platt Hill | CT | 1876979 | 1957589 | -80610 | -4.118% | 2076215.5 | -199236.5 | -9.596%
Powder Hill | CT | 1677637 | 1776485.7 | -98848.7 | -5.564% | 1405140 | 272497 | 19.39%
Sand Road | CT | 1763025.4802 | 1628027 | 134998.4802 | 8.292% | 1605405 | 157620.4802 | 9.818%
Suffield | CT | 1752023 | 1746843.1 | 5179.9 | 0.2965% | 1827264.5 | -75241.5 | -4.118%
Ashby-Duffy | MA | 1624078 | 2095815.9 | -471737.9 | -22.51% | 1653076.9 | -28998.9 | -1.754%
Ashland | MA | 1116485.5473 | 847595.19 | 268890.3573 | 31.72% | 1512138.4 | -395652.8527 | -26.17%
Barrington | MA | 370354 | 349297.54 | 21056.46 | 6.028% | 407400 | -37046 | -9.093%
Bedford - 205 Burlington Rd | MA | 187760 | 0 | 187760 |  | 0 | 187760
Billerica - 6 Cook Street | MA | 161334 | 0 | 161334 |  | 0 | 161334
Billerica - 780 Boston Road | MA | 203320 | 0 | 203320 |  | 0 | 203320
Cheshire | MA | 376112.75 | 406942.04 | -30829.29 | -7.576% | 309677.42 | 66435.33 | 21.45%
Lilly Lane | MA | 839836.5 | 825571.31 | 14265.19 | 1.728% | 940473.4 | -100636.9 | -10.7%
Monument Valley | MA | 1640893.5 | 339893.48 | 1301000.02 | 382.8% | 0 | 1640893.5
Nationwide | MA | 2960384 | 2634351 | 326033 | 12.38% | 2711802.1 | 248581.9 | 9.167%
Pulpit Hill | MA | 3566326.65 | 3300489.8 | 265836.85 | 8.054% | 3788933.5 | -222606.85 | -5.875%
Sandwich | MA | 2353043 | 0 | 2353043 |  | 0 | 2353043
Sturbridge Barn | MA | 836733 | 904298.76 | -67565.76 | -7.472% | 993341.3 | -156608.3 | -15.77%
Sturbridge Garage | MA | 423248.75 | 432911.81 | -9663.06 | -2.232% | 464570.88 | -41322.13 | -8.895%
Halsey Valley | NY | 3974635 | 4208100.9 | -233465.9 | -5.548% | 4485000 | -510365 | -11.38%
Hunt Creek | NY | 2817101.914 | 3061835.3 | -244733.386 | -7.993% | 3146100 | -328998.086 | -10.46%
Smith Creek | NY | 3082242.7807 | 3360858.2 | -278615.4193 | -8.29% | 3655439.9 | -573197.1193 | -15.68%

## 1st Qtr
Lodestar |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 14301791.4442 | 14622211.35 | -320419.9058 | -2.191% | 13577124.93 | 724666.5142 | 5.337%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 331357 | 391097.81 | -59740.81 | -15.28% | 378859.37 | -47502.37 | -12.54%
Bunce | CT | 589639.25 | 643231.5 | -53592.25 | -8.332% | 0 | 589639.25
Norcap North | CT | 642155 | 816049.6 | -173894.6 | -21.31% | 700223.8 | -58068.8 | -8.293%
Norcap South | CT | 665333.5 | 894303.9 | -228970.4 | -25.6% | 659879.9 | 5453.6 | 0.8265%
Platt Hill | CT | 713579.3442 | 797244.8 | -83665.4558 | -10.49% | 861464.8 | -147885.4558 | -17.17%
Powder Hill | CT | 611028 | 714272.8 | -103244.8 | -14.45% | 566964 | 44064 | 7.772%
Sand Road | CT | 639429 | 660829.7 | -21400.7 | -3.238% | 602989 | 36440 | 6.043%
Suffield | CT | 645254 | 692965.8 | -47711.8 | -6.885% | 732511.5 | -87257.5 | -11.91%
Ashby-Duffy | MA | 623058 | 1011075.2 | -388017.2 | -38.38% | 651654.5 | -28596.5 | -4.388%
Ashland | MA | 9993.5 | 38664.69 | -28671.19 | -74.15% | 361298.4 | -351304.9 | -97.23%
Barrington | MA | 133250 | 132357.65 | 892.35 | 0.6742% | 159190 | -25940 | -16.29%
Bedford - 205 Burlington Rd | MA | 68679 | 0 | 68679 |  | 0 | 68679
Billerica - 6 Cook Street | MA | 60164 | 0 | 60164 |  | 0 | 60164
Billerica - 780 Boston Road | MA | 67050 | 0 | 67050 |  | 0 | 67050
Cheshire | MA | 136259.5 | 156576.82 | -20317.32 | -12.98% | 106349.84 | 29909.66 | 28.12%
Lilly Lane | MA | 293261 | 319905.81 | -26644.81 | -8.329% | 407685.3 | -114424.3 | -28.07%
Monument Valley | MA | 597881 | 148824.21 | 449056.79 |  | 0 | 597881
Nationwide | MA | 953320.5 | 1079498 | -126177.5 |  | 1097779 | -144458.5
Pulpit Hill | MA | 1415998.4 | 1508555.6 | -92557.2 |  | 1513090.9 | -97092.5
Sandwich | MA | 1215871 | 0 | 1215871 |  | 0 | 1215871
Sturbridge Barn | MA | 300101 | 374920.06 | -74819.06 | -19.96% | 417980.1 | -117879.1 | -28.2%
Sturbridge Garage | MA | 148743 | 179839.5 | -31096.5 | -17.29% | 201387.32 | -52644.32 | -26.14%
Halsey Valley | NY | 1416755 | 1627635.5 | -210880.5 | -12.96% | 1609000 | -192245 | -11.95%
Hunt Creek | NY | 927108.45 | 1155381.6 | -228273.15 | -19.76% | 1067900 | -140791.55 | -13.18%
Smith Creek | NY | 1096523 | 1278980.8 | -182457.8 | -14.27% | 1480917.2 | -384394.2 | -25.96%

## 2nd Qtr
Lodestar |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 25207200.1781 | 21347716.99 | 3859483.1881 | 18.08% | 21798160.04 | 3409040.1381 | 15.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 483902 | 506022.3 | -22120.3 | -4.371% | 553076.9 | -69174.9 | -12.51%
Bunce | CT | 1041829.5 | 816525.6 | 225303.9 | 27.59% | 0 | 1041829.5
Norcap North | CT | 1068839 | 983849.3 | 84989.7 | 8.638% | 1061382.5 | 7456.5 | 0.7025%
Norcap South | CT | 1082382.5 | 1041942.3 | 40440.2 | 3.881% | 1039883.7 | 42498.8 | 4.087%
Platt Hill | CT | 1163399.6558 | 1160344.2 | 3055.4558 | 0.2633% | 1214750.7 | -51351.0442 | -4.227%
Powder Hill | CT | 1066609 | 1062212.9 | 4396.1 | 0.4139% | 838176 | 228433 | 27.25%
Sand Road | CT | 1123596.4802 | 967197.3 | 156399.1802 | 16.17% | 1002416 | 121180.4802 | 12.09%
Suffield | CT | 1106769 | 1053877.3 | 52891.7 | 5.019% | 1094753 | 12016 | 1.098%
Ashby-Duffy | MA | 1001020 | 1084740.7 | -83720.7 | -7.718% | 1001422.4 | -402.4 | -0.04018%
Ashland | MA | 1106492.0473 | 808930.5 | 297561.5473 | 36.78% | 1150840 | -44347.9527 | -3.854%
Barrington | MA | 237104 | 216939.89 | 20164.11 | 9.295% | 248210 | -11106 | -4.474%
Bedford - 205 Burlington Rd | MA | 119081 | 0 | 119081 |  | 0 | 119081
Billerica - 6 Cook Street | MA | 101170 | 0 | 101170 |  | 0 | 101170
Billerica - 780 Boston Road | MA | 136270 | 0 | 136270 |  | 0 | 136270
Cheshire | MA | 239853.25 | 250365.22 | -10511.97 | -4.199% | 203327.58 | 36525.67 | 17.96%
Lilly Lane | MA | 546575.5 | 505665.5 | 40910 | 8.09% | 532788.1 | 13787.4 | 2.588%
Monument Valley | MA | 1043012.5 | 191069.27 | 851943.23 | 445.9% | 0 | 1043012.5
Nationwide | MA | 2007063.5 | 1554853 | 452210.5 | 29.08% | 1614023.1 | 393040.4 | 24.35%
Pulpit Hill | MA | 2150328.25 | 1791934.2 | 358394.05 | 20% | 2275842.6 | -125514.35 | -5.515%
Sandwich | MA | 1137172 | 0 | 1137172 |  | 0 | 1137172
Sturbridge Barn | MA | 536632 | 529378.7 | 7253.3 | 1.37% | 575361.2 | -38729.2 | -6.731%
Sturbridge Garage | MA | 274505.75 | 253072.31 | 21433.44 | 8.469% | 263183.56 | 11322.19 | 4.302%
Halsey Valley | NY | 2557880 | 2580465.4 | -22585.4 | -0.8752% | 2876000 | -318120 | -11.06%
Hunt Creek | NY | 1889993.464 | 1906453.7 | -16460.236 | -0.8634% | 2078200 | -188206.536 | -9.056%
Smith Creek | NY | 1985719.7807 | 2081877.4 | -96157.6193 | -4.619% | 2174522.7 | -188802.9193 | -8.682%

## 3rd Qtr
Lodestar |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 0 | 0 | 0 |  |  | 0
Bunce | CT | 0 | 0 | 0 |  |  | 0
Norcap North | CT | 0 | 0 | 0 |  |  | 0
Norcap South | CT | 0 | 0 | 0 |  |  | 0
Platt Hill | CT | 0 | 0 | 0 |  |  | 0
Powder Hill | CT | 0 | 0 | 0 |  |  | 0
Sand Road | CT | 0 | 0 | 0 |  |  | 0
Suffield | CT | 0 | 0 | 0 |  |  | 0
Ashby-Duffy | MA | 0 | 0 | 0 |  |  | 0
Ashland | MA | 0 | 0 | 0 |  |  | 0
Barrington | MA | 0 | 0 | 0 |  |  | 0
Bedford - 205 Burlington Rd | MA | 0 | 0 | 0 |  |  | 0
Billerica - 6 Cook Street | MA | 0 | 0 | 0 |  |  | 0
Billerica - 780 Boston Road | MA | 0 | 0 | 0 |  |  | 0
Cheshire | MA | 0 | 0 | 0 |  |  | 0
Lilly Lane | MA | 0 | 0 | 0 |  |  | 0
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Barn | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Garage | MA | 0 | 0 | 0 |  |  | 0
Halsey Valley | NY | 0 | 0 | 0 |  |  | 0
Hunt Creek | NY | 0 | 0 | 0 |  |  | 0
Smith Creek | NY | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Lodestar |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 0 | 0 | 0 |  |  | 0
Bunce | CT | 0 | 0 | 0 |  |  | 0
Norcap North | CT | 0 | 0 | 0 |  |  | 0
Norcap South | CT | 0 | 0 | 0 |  |  | 0
Platt Hill | CT | 0 | 0 | 0 |  |  | 0
Powder Hill | CT | 0 | 0 | 0 |  |  | 0
Sand Road | CT | 0 | 0 | 0 |  |  | 0
Suffield | CT | 0 | 0 | 0 |  |  | 0
Ashby-Duffy | MA | 0 | 0 | 0 |  |  | 0
Ashland | MA | 0 | 0 | 0 |  |  | 0
Barrington | MA | 0 | 0 | 0 |  |  | 0
Bedford - 205 Burlington Rd | MA | 0 | 0 | 0 |  |  | 0
Billerica - 6 Cook Street | MA | 0 | 0 | 0 |  |  | 0
Billerica - 780 Boston Road | MA | 0 | 0 | 0 |  |  | 0
Cheshire | MA | 0 | 0 | 0 |  |  | 0
Lilly Lane | MA | 0 | 0 | 0 |  |  | 0
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Barn | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Garage | MA | 0 | 0 | 0 |  |  | 0
Halsey Valley | NY | 0 | 0 | 0 |  |  | 0
Hunt Creek | NY | 0 | 0 | 0 |  |  | 0
Smith Creek | NY | 0 | 0 | 0 |  |  | 0

## Jan
Lodestar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 1646953.4436 | 2934622.41 | -1287668.9664 | -43.88% | 3459095.53 | -1812142.0864 | -52.39%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 40962 | 81116.11 | -40154.11 | -49.5% | 95666.17 | -54704.17 | -57.18%
Bunce | CT | 85317.75 | 134339.2 | -49021.45 | -36.49% | 0 | 85317.75
Norcap North | CT | 86946 | 190151.4 | -103205.4 | -54.28% | 179846.6 | -92900.6 | -51.66%
Norcap South | CT | 92879.5 | 212284 | -119404.5 | -56.25% | 156565.5 | -63686 | -40.68% | 1. Inverter 1 started at 14:00 on 01/05. 2. Inverter 1 offline on 01/07 and resolved on 01/10 and reporting Bus Differential High Fault - Fault 0110. 2. inverter 4 is currently offline on 01/07 and resolved on 01/09 and reporting Bus Differential High Fault - Fault 0110. 3. Inverters 1, 4 and 11 are offline on 01/13 and resolved on 01/14 due to "Bus differential high fault". 4. Inverter 11 is offline on 01/13 resolved on 01/19 due to Bus differential fault. 5. Inverter 11 is offline from 01/19 due to Bus differential fault. | 1. SR079979 2. SR080049 3. SR080194 4. SR080314 5. SR080441
Platt Hill | CT | 104226.4936 | 164040.9 | -59814.4064 | -36.46% | 232504.1 | -128277.6064 | -55.17% | 1.Inverters 61 to 64 have tripped offline at 11:15am on 01/01 and resolved next day 2.Inverters 61 to 64 have tripped offline at 11:15am on 01/15 and resolved next day 3.Inverter 48 was offline due to "Bus sum high" fault on 01/27 and RMA'd | 1.SR079853 2.SR080230 3.SR080522
Powder Hill | CT | 73609 | 144364.9 | -70755.9 | -49.01% | 155676 | -82067 | -52.72%
Sand Road | CT | 78068.5 | 124790 | -46721.5 | -37.44% | 145302 | -67233.5 | -46.27% | 1.Inverter 1 is offline and reporting "Excessive Leakage Current" from 01/01 to 01/15 2.Inverter 5 is offline and reporting "Internal hardware failure" on 01/22 and back online next day 3.Inverter 1 is offline and reporting "Excessive Leakage Current from 01/25 and still offline | 1.SR078505 2.SR080384 3.SR080614
Suffield | CT | 86425 | 139100 | -52675 | -37.87% | 191955.4 | -105530.4 | -54.98%
Ashby-Duffy | MA | 83884 | 228874 | -144990 | -63.35% | 158269.5 | -74385.5 | -47% | 1.Site tripped offline on 01/16 at 19:15 and autoreclosed at 19:30 2. CB 1.8 on DAS, (CB 10 onsite) was offline from 01/23 to 02/01. | 1.SR080271 2.SR080413
Ashland | MA | 3053 | 18082.05 | -15029.05 | -83.12% | 134293.1 | -131240.1 | -97.73%
Barrington | MA | 15412 | 23642.96 | -8230.96 | -34.81% | 35820 | -20408 | -56.97% | 1.Site was tripped offline from 12/22/2023 to 01/10/2024 and again tripped offline on the same day and still offline | 1.SR080143
Bedford - 205 Burlington Rd | MA | 7938 | 0 | 7938 |  | 0 | 7938
Billerica - 6 Cook Street | MA | 7069 | 0 | 7069 |  | 0 | 7069
Billerica - 780 Boston Road | MA | 7922 | 0 | 7922 |  | 0 | 7922
Cheshire | MA | 15272 | 27330.66 | -12058.66 | -44.12% | 24314.38 | -9042.38 | -37.19%
Lilly Lane | MA | 37262 | 61721.41 | -24459.41 | -39.63% | 113135.5 | -75873.5 | -67.06%
Monument Valley | MA | 68801 | 28968.03 | 39832.97 | 137.5% | 0 | 68801
Nationwide | MA | 98960 | 221313.9 | -122353.9 | -55.29% | 298977.6 | -200017.6 | -66.9%
Pulpit Hill | MA | 147440 | 286661.3 | -139221.3 | -48.57% | 356965.5 | -209525.5 | -58.7% | 1.Inverters 20,24,25 and 26 came back online on 01/25 | 1.SR077715
Sandwich | MA | 69116 | 0 | 69116 |  | 0 | 69116
Sturbridge Barn | MA | 40594 | 79345.86 | -38751.86 | -48.84% | 110612.6 | -70018.6 | -63.3% | 1.Site was offline at around 6:30am and later back online at 19:15 due to planned outage 2.Site was offline from 01/12 till 01/26 due to planned outage. | 1.SR080613 2.SR080117
Sturbridge Garage | MA | 20528.25 | 36997.33 | -16469.08 | -44.51% | 55886.08 | -35357.83 | -63.27% | 1.Site has a brief outage and later auto reclosed. | 1.SR080569
Halsey Valley | NY | 147564 | 292774.6 | -145210.6 | -49.6% | 384000 | -236436 | -61.57% | 1.Inverter 11 tripped offline on an arc fault on 01/31 at EOD and back online next day. | 1.SR080631
Hunt Creek | NY | 87616.95 | 201235.3 | -113618.35 | -56.46% | 228700 | -141083.05 | -61.69% | 1. Site tripped offline at 10:05 am on 01/05 and back online at 7:00 Am on 01/06. 2. Inverter 29 started late for the production on 01/15, 01/17 and 01/20 3. Inverter was 25 tripped offline on 01/22 and back online 02/06. 4. Site has a brief outage and later self resolved on 01/29 | 1.SR079976 2.SR080227 3.SR080394 4.SR080570
Smith Creek | NY | 140087 | 237488.5 | -97401.5 | -41.01% | 400605.5 | -260518.5 | -65.03%

## Feb
Lodestar |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 5730613.6364 | 5700189.23 | 30424.4064 | 0.5337% | 4428387.15 | 1302226.4864 | 29.41%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 137901 | 155136.7 | -17235.7 | -11.11% | 118880.1 | 19020.9 | 16%
Bunce | CT | 255566.25 | 264677.8 | -9111.55 | -3.443% | 0 | 255566.25
Norcap North | CT | 258225.5 | 313527 | -55301.5 | -17.64% | 213416.4 | 44809.1 | 21%
Norcap South | CT | 270255 | 346522.8 | -76267.8 | -22.01% | 203138.3 | 67116.7 | 33.04% | 1. Inverter 48 was offline from 01/27 & back online on 02/07 after replacement of inverter. 2. Inverter 36 is offline from 08:00 to 14:45 on 02/24, offline on 02/28 & back online on 02/29. 3. Inverter 49 is offline on 02/26 & RMA'd. | 1.SR080522 2. SR081051 3.SR081326
Platt Hill | CT | 291036.5064 | 311905.1 | -20868.5936 | -6.691% | 274974.6 | 16061.9064 | 5.841%
Powder Hill | CT | 245989 | 275345.2 | -29356.2 | -10.66% | 178140 | 67849 | 38.09%
Sand Road | CT | 267257 | 262006 | 5251 | 2.004% | 179737 | 87520 | 48.69%
Suffield | CT | 246077 | 257109 | -11032 | -4.291% | 223048.4 | 23028.6 | 10.32% | 1. SEL relay tripped open due to drop in B phase Voltage. Battery mode activate from 02/15 at 13:15 and back online on 02/18 at 09:00 2. After site came back online on 02/18, Inverter 2 Combiner boxes 2.15 and 2.16 offline and back onlline at 11:30 | 1. SR081008 2. SR081084
Ashby-Duffy | MA | 261552 | 374863.5 | -113311.5 | -30.23% | 210128.9 | 51423.1 | 24.47%
Ashland | MA | 6940.5 | 20582.64 | -13642.14 | -66.28% | 227005.3 | -220064.8 | -96.94% | 1.Site was tripped offline from 12/22/2023 to 01/10/2024 and again tripped offline on the same day and still offline | 1. .SR080143
Barrington | MA | 57373.5 | 51584.33 | 5789.17 | 11.22% | 54460 | 2913.5 | 5.35%
Bedford - 205 Burlington Rd | MA | 27156 | 0 | 27156 |  | 0 | 27156
Billerica - 6 Cook Street | MA | 23191 | 0 | 23191 |  | 0 | 23191
Billerica - 780 Boston Road | MA | 25917 | 0 | 25917 |  | 0 | 25917 |  | 1. Inverter 4 offline due to isolation fault on 02/24 and back online at EOD | 1. SR081293
Cheshire | MA | 59648.75 | 63568.84 | -3920.09 | -6.167% | 34278.74 | 25370.01 | 74.01%
Lilly Lane | MA | 106235.5 | 114676.2 | -8440.7 | -7.36% | 134093 | -27857.5 | -20.77% | 1. Inverter 55 tripped offline 02/02 at 11:30 and back online on 022/03 and again offline from 02/14 and back online on 02/06 2. Utility planned outage from 02/25 to 02/28 | 1. SR080677 2. SR081010
Monument Valley | MA | 256982.68 | 60936.71 | 196045.97 | 321.7% | 0 | 256982.68
Nationwide | MA | 335697.5 | 411623.2 | -75925.7 | -18.45% | 341058.3 | -5360.8 | -1.572%
Pulpit Hill | MA | 599611.2 | 582439.6 | 17171.6 | 2.948% | 492197.3 | 107413.9 | 21.82%
Sandwich | MA | 388044 | 0 | 388044 |  | 0 | 388044 |  | 1. planned outage from 01/31 to 02/09 2. Planned outage on 2/29/24 | 2. SR081024
Sturbridge Barn | MA | 109399 | 145433.5 | -36034.5 | -24.78% | 134159 | -24760 | -18.46% | 1. planned outage from 02/25 to 02/28 | 1. SR081011
Sturbridge Garage | MA | 54338.25 | 70059.81 | -15721.56 | -22.44% | 66239.01 | -11900.76 | -17.97% | 1. planned outage from 02/25 to 02/28 | 1. SR081012
Halsey Valley | NY | 605139 | 647510 | -42371 | -6.544% | 528000 | 77139 | 14.61%
Hunt Creek | NY | 375246.5 | 461895.2 | -86648.7 | -18.76% | 340300 | 34946.5 | 10.27% | 1. Site tripped offline on 02/17/2024 at 10:45AM and later back online on 02/18/2024 at 07:45AM. 2. Inverters 2 to 6, 8, 10 to 19, 21 to 32 are tripped offline on 02/22/2024 at 12:15 and later back online on 02/22/2024 at 16:15 3. Inverters 2, 3, 5, 8, 15, 23, 27 and 28 are tripped offline 02/26/2024 at 13:30 and later back online on 02/26/2024 at 14:15 | 1. SR081075 2. SR081200 3. SR081338
Smith Creek | NY | 465834 | 508786.1 | -42952.1 | -8.442% | 475132.8 | -9298.8 | -1.957% | 1. Inverters 1, 2, 8, 9, 10, 14, 15, 22, 23, 24, 25, 27, and 30 having tripping events on 02/03/2024, 02/04/2024 and 02/05/2024. 2. Inverters 1, 4-6, 9, 11-13, 16, 17, 20, 22, 24, and 29 are offline on 02/22/2024 at 12:15 and later back online on 02/22/2024 at 16:15 | 1. SR080710 2. SR081201

## Mar
Lodestar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 6924224.3642 | 5987399.71 | 936824.6542 | 15.65% | 5689642.25 | 1234582.1142 | 21.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 152494 | 154845 | -2351 | -1.518% | 164313.1 | -11819.1 | -7.193%
Bunce | CT | 248755.25 | 244214.5 | 4540.75 | 1.859% | 0 | 248755.25 |  | 1. Site tripped offline on 03/08 and back online on 03/09 and again the site is offline on 03/11 and back online on 03/12. | 1. SR081731
Norcap North | CT | 296983.5 | 312371.2 | -15387.7 | -4.926% | 306960.8 | -9977.3 | -3.25% | 1. Inverter 25 is offline on 03/06 and back online on 03/07 2. Inverter 16 is offline on 03/11 and back online on 03/21 | 1. SR081597 2. SR081757
Norcap South | CT | 302199 | 335497.1 | -33298.1 | -9.925% | 300176.1 | 2022.9 | 0.6739% | 1. Inverter 49 is offline from 03/01 to 03/21 | 1. SR082215
Platt Hill | CT | 318316.3442 | 321298.8 | -2982.4558 | -0.9282% | 353986.1 | -35669.7558 | -10.08%
Powder Hill | CT | 291430 | 294562.7 | -3132.7 | -1.064% | 233148 | 58282 | 25%
Sand Road | CT | 294103.5 | 274033.7 | 20069.8 | 7.324% | 277950 | 16153.5 | 5.812%
Suffield | CT | 312752 | 296756.8 | 15995.2 | 5.39% | 317507.7 | -4755.7 | -1.498%
Ashby-Duffy | MA | 277622 | 407337.7 | -129715.7 | -31.84% | 283256.1 | -5634.1 | -1.989% | 1. Site was offline from 10:05AM to 10:36AM on 03/19. 2. Inverter 6 tripped offline on 03/10 and back online on 03/21. | 1. SR082098 2. SR081729
Ashland | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was offline for whole month. | 1. SR082823
Barrington | MA | 60464.5 | 57130.36 | 3334.14 | 5.836% | 68910 | -8445.5 | -12.26%
Bedford - 205 Burlington Rd | MA | 33585 | 0 | 33585 |  | 0 | 33585
Billerica - 6 Cook Street | MA | 29904 | 0 | 29904 |  | 0 | 29904
Billerica - 780 Boston Road | MA | 33211 | 0 | 33211 |  | 0 | 33211 |  | 1. Inverter 5 was offline from 11/07 to 03/25. Inverter 3 is offline since 11/07 | 1. SR078016
Cheshire | MA | 61338.75 | 65677.32 | -4338.57 | -6.606% | 47756.72 | 13582.03 | 28.44%
Lilly Lane | MA | 149763.5 | 143508.2 | 6255.3 | 4.359% | 160456.8 | -10693.3 | -6.664%
Monument Valley | MA | 272097.32 | 58919.47 | 213177.85 | 361.8% | 0 | 272097.32
Nationwide | MA | 518663 | 446560.9 | 72102.1 | 16.15% | 457743.1 | 60919.9 | 13.31%
Pulpit Hill | MA | 668947.2 | 639454.7 | 29492.5 | 4.612% | 663928.1 | 5019.1 | 0.756% | 1. Inverter 23 tripped offline on 03/30 and inverter 25 is offline on 03/31. | 1. SR082932
Sandwich | MA | 758711 | 0 | 758711 |  | 0 | 758711
Sturbridge Barn | MA | 150108 | 150140.7 | -32.7 | -0.02178% | 173208.5 | -23100.5 | -13.34%
Sturbridge Garage | MA | 73876.5 | 72782.36 | 1094.14 | 1.503% | 79262.23 | -5385.73 | -6.795%
Halsey Valley | NY | 664052 | 687350.9 | -23298.9 | -3.39% | 697000 | -32948 | -4.727% | 1. Inverter 13 is underproducing 100kW down compared to its peers since 03/15 | 1. SR081967
Hunt Creek | NY | 464245 | 492251.1 | -28006.1 | -5.689% | 498900 | -34655 | -6.946% | 1. Inverters 5, 23, and 27 tripped offline on 03817 at 13:15 and back online at 14:45 and again all inverters except inverter 7 tripped offline at 15:45 and back online at 17:15 2. inverters 2, 3, 5, 8, 15, 23, and 27 have tripped offline on 03/02 and back online on 03/03. | 1. SR081969 2. SR081519
Smith Creek | NY | 490602 | 532706.2 | -42104.2 | -7.904% | 605178.9 | -114576.9 | -18.93% | 1. All the inverters have tripped offline on 03/17 at 15:45 and back online at 17:15 and inverters 1-6, 8,10 -13, 15- 17, 21, 23, 24,28 and 29 tripped offline on 03/24 at 11:00 and back online at 17:15 and again Inverters 1,2,8,9, 11-13,15,17,20,24,25,28,29 tripped offline on 03/30 at 8:45 and back online at 10:30 | 1. SR081977

## Apr
Lodestar |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 6808143.6945 | 6153090.57 | 655053.1245 | 10.65% | 6703815.27 | 104328.4245 | 1.556% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 157884 | 155450.8 | 2433.2 | 1.565% | 171280.9 | -13396.9 | -7.822%
Bunce | CT | 289452 | 236881.7 | 52570.3 | 22.19% | 0 | 289452
Norcap North | CT | 307060 | 292119.5 | 14940.5 | 5.115% | 325819.4 | -18759.4 | -5.758% | 1. Inverters 5 and 29 are underperforming approximately 4kW compared to its peers from 01/15/24. | 1. SR083869
Norcap South | CT | 313759.5 | 311746.2 | 2013.3 | 0.6458% | 319425.1 | -5665.6 | -1.774% | 1. Inverters 48, 49. 50 and 51 tripped offline due to "Grid under frequency" at 15:00 on 04/09 and later back online at 09:00AM on 11:30AM and site was offline from 07:30AM to 09:00AM on 04/10. 2. Inverters 47, 50 and 53 are underperforming approximately 6kW compared to its peers from 12/21/23. | 1. SR083271 2. SR083868
Platt Hill | CT | 331891.6558 | 331208.9 | 682.7558 | 0.2061% | 384644.4 | -52752.7442 | -13.71%
Powder Hill | CT | 307749 | 304400.8 | 3348.2 | 1.1% | 265344 | 42405 | 15.98% | 1. Inverter 2 was offline at 07:00AM on 04/11 and inverter was back at 07:00AM on 04/12. | 1. SR083323, SR083324
Sand Road | CT | 309752.5 | 274136.8 | 35615.7 | 12.99% | 308583 | 1169.5 | 0.379%
Suffield | CT | 328549 | 309402.9 | 19146.1 | 6.188% | 336370.6 | -7821.6 | -2.325% | 1. Combiner box 1.3 underperforming 6kW compared to its peers combiner box since 7/3/21 | 1. SR083968
Ashby-Duffy | MA | 302085 | 366955.6 | -64870.6 | -17.68% | 296590.6 | 5494.4 | 1.853% | 1. Inverter 31 was offline from 12:15PM to 14:30 on 04/04/2024. 2. Inverter 44 tripped offline at 07:00AM on 04/26 and inverter was back online at 13:30 on 04/30. | 1. SR083095 2. SR083848, SR083990
Ashland | MA | 245156.8607 | 116306.1 | 128850.7607 | 110.8% | 351693.9 | -106537.0393 | -30.29% | 1. Inverter 66 tripped offline 06:45AM to 15:45 on 04/08. 2. Inverter 5 was underperforming approximately 18kW compared to its peers. 3. Inverter 30 and 56 are offline on 04/12 , inverter 30 was back online at 08:30AM and inverter 56 was back online at 09:15AM on 04/13. 4. Inverter 66 tripped offline from 07:45AM to 14:00 on 04/15 5. Weather station was not communicated from 04/15 to 05/08 due to that expected energy was low | 1. SR083192 2. SR083238, SR072698, SR084779 3. SR083364 4. SR083424
Barrington | MA | 64661 | 64127.95 | 533.05 | 0.8312% | 74480 | -9819 | -13.18% | 1. Inverter was offline from 12:00PM to 17:15 on 04/16. 2. Technician took site offline from 07:25AM to 11:30AM on 04/17 to work on relay. | 1. SR083488 2. SR083527
Bedford - 205 Burlington Rd | MA | 38794 | 0 | 38794 |  | 0 | 38794
Billerica - 6 Cook Street | MA | 35642 | 0 | 35642 |  | 0 | 35642
Billerica - 780 Boston Road | MA | 39610 | 0 | 39610 |  | 0 | 39610 |  | 1. Inverter 4 was offline at 07:00AM on 04/13 and inverter back online at 07:10AM on 04/14. | 1. SR083379
Cheshire | MA | 66969.75 | 70639.95 | -3670.2 | -5.196% | 59983.95 | 6985.8 | 11.65%
Lilly Lane | MA | 155710 | 147625.5 | 8084.5 | 5.476% | 179054.8 | -23344.8 | -13.04% | 1. Site tripped offline at 13:00 on 04/05 and back online at 11:00AM on 04/06. 2. Site was offline from 05:00AM to 07:15AM on 04/12. | 1. SR083124 2. SR083349
Monument Valley | MA | 305805.678 | 59124.94 | 246680.738 | 417.2% | 0 | 305805.678 |  | 1. Site tripped at 23:15 on 04/04 and back online at 09:00AM on 04/05 2. Expected energy values are low compared to actual and estimated, case created with Also Energy. | 1. SR083052 2. SR087370
Nationwide | MA | 573692.5 | 473387.6 | 100304.9 | 21.19% | 509562 | 64130.5 | 12.59% | 1. Inverters 1,12 and 26 are underperforming approximately 20kW compared to its peers from 04/24 | 1. SR083822
Pulpit Hill | MA | 638849.75 | 637225.2 | 1624.55 | 0.2549% | 688685.2 | -49835.45 | -7.236% | 1. Inverters 24 was offline from 03/31, inverter 25 was offline from 04/01 and inverters are back online after replacing the AC panel board at 12:00 on 04/26. Inverters 23 was offline from 03/31, inverter 22 was offline from 04/01. 2. Inverter 34 tripped offline at 12:00PM on 04/09 and back online at 12:45PM on 04/10. | 1. SR083067 2. SR083265
Sandwich | MA | 478,696 | 0 |  |  | 0 |  |  | 1. Pad 4 was offline from 07:00AM to 10:30AM on 04/04. 2. Pads 3 and 4 are offline from 10:15AM to 11:15AM on 04/16 | 1. SR083072 2. SR083480
Sturbridge Barn | MA | 154149 | 154864.9 | -715.9 | -0.4623% | 177649.4 | -23500.4 | -13.23% | 1. Site tripped offline at 13:00 on 04/05 and back online at 10:45AM on 04/06. 2. Site was offline from 05:00AM to 07:00AM on 04/12 | 1. SR083125 2. SR083347
Sturbridge Garage | MA | 79604.5 | 74429.43 | 5175.07 | 6.953% | 88448.22 | -8843.72 | -9.999% | 1. Site was offline from 13:00 to 19:45 on 04/05. 2. Site was offline from 05:00PM to 07:15PM on 04/12. | 1. SR083123 2. SR083348
Halsey Valley | NY | 693683 | 696330.8 | -2647.8 | -0.3803% | 868000 | -174317 | -20.08% | 1. Site was offline at 20:00 on 04/03 and back online at 02:00AM on 04/04. | 1. SR083051
Hunt Creek | NY | 521834 | 517166.8 | 4667.2 | 0.9025% | 629400 | -107566 | -17.09% | 1. Inverter 2,3,4,5,6,8,10,14,15,16,17,18,19,22,23,25,27,28 and 29 are offline from 11:15AM to 13:30 on 04/21. | 1. SR083658
Smith Creek | NY | 545799 | 559558.2 | -13759.2 | -2.459% | 668799.8 | -123000.8 | -18.39% | 1. Inverters 1 and 20 was offline from 14:45 to 15:30 on 04/01 | 1. SR081977

## May
Lodestar |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 9079070.9148 | 7601050.39 | 1478020.5248 | 19.44% | 7556275.23 | 1522795.6848 | 20.15%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 174396 | 179679.3 | -5283.3 | -2.94% | 187813.4 | -13417.4 | -7.144% | 1.Combiner box 1.13 was offline from 05/13 | 1. SR084617
Bunce | CT | 374138.75 | 294274.7 | 79864.05 | 27.14% | 0 | 374138.75 |  | 1. Site was offline from 09:45AM to 13:35 on 05/14. | 1. SR084667
Norcap North | CT | 366441 | 334709.1 | 31731.9 | 9.48% | 363260.7 | 3180.3 | 0.8755% | 1. Inverter 29 was underperforming approximately 4kW compared to its peers from 01/15/24. | 1.SR083869
Norcap South | CT | 370295 | 353336.4 | 16958.6 | 4.8% | 355513.2 | 14781.8 | 4.158% | 1. Inverter 55 was offline at 07:00AM on 05/23 due to "Bus differential High Fault 0110" and later back online at 11:00AM on 05/24. 2. Inverter 55 was offline at 07:00AM on 05/25 due to "Bus differential High Fault 0110" and back online at 16:15 on 05/29. 3. Inverter 55 was offline from 07:00AM to 14:15 due to "Bus differential High Fault 05/29. | 1. SR085050 2. SR085150 3. SR085318
Platt Hill | CT | 396267 | 396413 | -146 | -0.03683% | 422036.3 | -25769.3 | -6.106%
Powder Hill | CT | 371291 | 364769 | 6522 | 1.788% | 285876 | 85415 | 29.88% | 1.Inverter 6 derating during high irradiance days since 5/24/24 2.Inverter 3 underperforming since 5/21/24 | 1.SR085493 2.SR085494
Sand Road | CT | 402004 | 350805.7 | 51198.3 | 14.59% | 345518 | 56486 | 16.35%
Suffield | CT | 369211 | 346940.2 | 22270.8 | 6.419% | 372477.3 | -3266.3 | -0.8769% | 1. Site tripped offline at 08:45AM on 05/10 and later site back online at 13:15 on 05/12. | 1. SR084537
Ashby-Duffy | MA | 332695.5 | 357298 | -24602.5 | -6.886% | 348234.4 | -15538.9 | -4.462%
Ashland | MA | 452990.1393 | 284266.8 | 168723.3393 | 59.35% | 397972.9 | 55017.2393 | 13.82% | 1. Inverter 56 was offline from 07:00AM to 17:00 on 05/16. 2. Inverter 5 was underperforming approximately 3kW from 05/13 at 12:45 and back to its peers from 05/17 at 10:00 inverter 7 was underperforming approximately 10kW 05/10 and back to its peers from 05/17 at 10:00 inverter 26 was underperforming approximately 4kW from 06/09/21 and back to its peers from 05/17 at 10:00. 3. Inverter 56 was offline from 07:00AM to 12:00PM on 05/19. 4. Inverter 64 was offline from 10:00AM to 13:45 on 05/21. 5. Inverter 6 was offline at 13:30 on 05/23 and back online at 07:00AM on 05/24. 6. Inverter 51 was underperforming approximately 4kW compare to its peers from 05/21 at 14:15 7. Weather station was not communicated from 04/15 to 05/08 | 1. SR084763 2. SR084779, SR083238, SR072698 3. SR084836 4. SR084939 5. SR085082 6. SR085277
Barrington | MA | 86339.5 | 77217.49 | 9122.01 | 11.81% | 88630 | -2290.5 | -2.584%
Bedford - 205 Burlington Rd | MA | 42474 | 0 | 42474 |  | 0 | 42474 |  | 1. Inverter 3 was offline at 07:00AM on 05/25 and later back online at 14:50 on 05/28, 2. Inverter 3 was offline from 07:00AM on 05/29 and Inverter 3 needs an arc board and will stay offline, inverter 5 tripped offline on 05/29 at 15:25 and back online on 05/31 at 16:00 | 1. SR085151 2. SR085278
Billerica - 6 Cook Street | MA | 36051 | 0 | 36051 |  | 0 | 36051 |  | 1. Site offline from 12:50PM on 05/28 to month end | 1. SR085274
Billerica - 780 Boston Road | MA | 45941 | 0 | 45941 |  | 0 | 45941 |  | 1. Inverter 7 tripped offline at 10:15AM on 05/21 and later back online at 07:00AM on 05/22 | 1. SR084969
Cheshire | MA | 86900 | 90124.36 | -3224.36 | -3.578% | 72538.91 | 14361.09 | 19.8%
Lilly Lane | MA | 187341 | 170623 | 16718 | 9.798% | 175820.9 | 11520.1 | 6.552%
Monument Valley | MA | 345191.5255 | 62239.27 | 282952.2555 | 454.6% | 0 | 345191.5255 |  | 1. Planned outage from 05/28 to 06/01 2. Expected energy values are low compared to actual and estimated, case created with Also Energy. | 1. SR084791 2. SR087370
Nationwide | MA | 688778.5 | 520436.9 | 168341.6 | 32.35% | 551905.2 | 136873.3 | 24.8% | 1.Inverter 13 tripped offline on 05/28 at 08:15 till end of the month | 1.SR085230
Pulpit Hill | MA | 778918.25 | 792881.8 | -13963.55 | -1.761% | 784998.9 | -6080.65 | -0.7746% | 1. Inverters 17-21 were left offline on 05/10 for stripped lug for panel HP5 and back online on 05/31 at 13:00 | 1.SR084525
Sandwich | MA | 554953 | 0 | 554953 |  | 0 | 554953 |  | 1.Pad 4 was offline from 08:00 to 09:45 on 05/31 | 1.SR085345
Sturbridge Barn | MA | 183646 | 179311.5 | 4334.5 | 2.417% | 200705.7 | -17059.7 | -8.5%
Sturbridge Garage | MA | 92582.75 | 85768.17 | 6814.58 | 7.945% | 86851.12 | 5731.63 | 6.599%
Halsey Valley | NY | 923966 | 928661.1 | -4695.1 | -0.5056% | 1022000 | -98034 | -9.592% | 1.Inverter 13 tripped offline on 05/05 at 11:15 till end of the month 2.Inverter 25 started late at 16:00 on 05/10 3.Inverter 14 has a string down from 03/17 till end of the month and tripped offline on 06/27 at 09:30 and back online at 14:45. | 1.SR084274 2.SR084564 3.SR081968
Hunt Creek | NY | 691726 | 684081.8 | 7644.2 | 1.117% | 742100 | -50374 | -6.788% | 1.Inverters 1-6, 8, 10-19, 22-30 are tripped offline on 05/23 at 13:45 and back online at 15:00, site has a brief outage from 09:44 AM to 10:04AM on 05/27 and inverters back back online at 11:15 but inverter 27 was back online at 14:30 and inevrter 27 again tripped offline at 17:30 and resolved at the end of the day 2.Site tripped offline on 05/14 at 00:30 and back online at 03:00 | 1.SR083658 2.SR084647
Smith Creek | NY | 724533 | 747212.8 | -22679.8 | -3.035% | 752022.3 | -27489.3 | -3.655% | 1.Site tripped offline on 05/14 at 00:30 and back online at 01:30 2.All Inverters except 10 & 14 tripped offline at 18:30 on 05/26 and back online on 05/27 at 07:00, Site has a brief outage from 09:43AM to 10:00AM and inverters started late at 11:00. | 1.SR084646 2.SR085174

## Jun
Lodestar |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 9319985.5688 | 7593576.03 | 1726409.5388 | 22.74% | 7538069.54 | 1781916.0288 | 23.64%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 151622 | 170892.2 | -19270.2 | -11.28% | 193982.6 | -42360.6 | -21.84% | 1.Site tripped offline on 06/21 at 19:00 and back online on 06/26 at 15:00 2.Combiner box 1.13 was offline from 05/13 3.Combiner box 1.1 was offline from 06/04 at 07:00 4.Site tripped offline on 06/30 at 14:30 5.The site was taken offline from 09:00 to 12:15 on 06/17 for safety inspect the AC switchgear. | 1.SR086618 2.SR084617 3.SR085539 4.SR087141 5.PM3268
Bunce | CT | 378238.75 | 285369.2 | 92869.55 | 32.54% | 0 | 378238.75
Norcap North | CT | 395338 | 357020.7 | 38317.3 | 10.73% | 372302.4 | 23035.6 | 6.187% | 1.Inverter 7 tripped offline at 16:00 on 06/01 and back online on 06/13 at 09:45 2. Inverter 4 was offline from 06/05 at 07:00 and back online on 06/06 3.Inverter 4 was offline from 06/18 at 07:00 and back online on 06/19 and again offline on 06/23 at 07:00 and back online on 06/24 4.Inverter 25 was offline from 06/23 at 07:00 and back online on 06/24 5. Inverter 29 was underperforming approximately 4kW compared to its peers from 01/15/24. | 1.SR085410 2.SR085568 3.SR086136 4.SR086764 5. SR083869
Norcap South | CT | 398328 | 376859.7 | 21468.3 | 5.697% | 364945.4 | 33382.6 | 9.147% | 1.Inverter 55 was back online on 06/02 at 11:30 2.Inverter 55 was offline from 06/03 at 07:00 and back online on 06/13 at 10:00 3.Inverter 61 was offline from 06/17 at 06:15 | 1.SR085318 2.SR085761 3.SR086313
Platt Hill | CT | 435241 | 432722.3 | 2518.7 | 0.5821% | 408070 | 27171 | 6.658%
Powder Hill | CT | 387569 | 393043.1 | -5474.1 | -1.393% | 286956 | 100613 | 35.06% | 1.Inverter 6 derating during high irradiance days since 5/24/24 2.Inverter 3 underperforming since 5/21/24 and back to peersfrom 06/12 at 15:15 3.Inverter 4 tripped offline on 06/20 at 06:45 and back online on 06/26 at 12:45 4.Inverter 6 tripped offline at 07:30 on 06/22 and back online on 06/26 at 09:30 | 1.SR085493 2.SR085494 3.SR086487 4.SR086637
Sand Road | CT | 411839.9802 | 342254.8 | 69585.1802 | 20.33% | 348315 | 63524.9802 | 18.24% | 1.Site tripped offline at 12:30 on 06/30 | 1.SR087147
Suffield | CT | 409009 | 397534.2 | 11474.8 | 2.886% | 385905.1 | 23103.9 | 5.987%
Ashby-Duffy | MA | 366239.5 | 360487.1 | 5752.4 | 1.596% | 356597.4 | 9642.1 | 2.704% | 1.Inverter 44 tripped offline on 06/24 at 10:30 and back online on 06/27 at 14:45 | 1.SR086870
Ashland | MA | 408345.0473 | 408357.6 | -12.5527 | -0.003074% | 401173.2 | 7171.8473 | 1.788% | 1.Inverter 51 was producing with its peers from 06/21 at 11:00 | 1.SR085277
Barrington | MA | 86103.5 | 75594.45 | 10509.05 | 13.9% | 85100 | 1003.5 | 1.179%
Bedford - 205 Burlington Rd | MA | 37813 | 0 | 37813 |  | 0 | 37813 |  | 1.Inverter 3 was offline from 07:00AM on 05/29 through out the month 2.Inverter 5 tripped offline on 06/10 at 18:10 | 1.SR085278 2.SR085862
Billerica - 6 Cook Street | MA | 29477 | 0 | 29477 |  | 0 | 29477 |  | 1.Site was back online from 06/06 at 09:15 2.Site was offline on 06/08 at 12:30 and back online on 06/09 at 10:35 3.Site was offline on 06/10 at 14:05 back online 06/13 at 09:40 4.Site was offline on 06/20 at 12:30 and back online on 06/21 at 08:15 and again offline from 10:20 and back online on 06/26 at 09:00 | 1. SR085274 2.SR085758 3.SR085857 4.SR086514
Billerica - 780 Boston Road | MA | 50719 | 0 | 50719 |  | 0 | 50719
Cheshire | MA | 85983.5 | 89600.91 | -3617.41 | -4.037% | 70804.72 | 15178.78 | 21.44% | 1.Site tripped offline on 06/24 at 20:30 and back online at 21:15 | 1.SR086878
Lilly Lane | MA | 203524.5 | 187417 | 16107.5 | 8.594% | 177912.4 | 25612.1 | 14.4% | 1.Inverters 57-63 are tripped offline on 06/28 at 09:45 and back online at 16:00 | 1.SR087087
Monument Valley | MA | 392015.2965 | 69705.06 | 322310.2365 | 462.4% | 0 | 392015.2965 |  | 1.Site was back online on 06/01 at 12:00 2.Site was offline from 20:00 on 06/01 and back online on 11:45 on 06/02 3. Expected Gneration values are too low , reached out to AlsoEnergy for asswastance | 1. SR084791 2.SR085414 3. SR087370
Nationwide | MA | 744592.5 | 561028.5 | 183564 | 32.72% | 552555.9 | 192036.6 | 34.75% | 1.Inverter 13 was back online from 06/02 at 11:15 and offline from 06/03 and back online from 06/10 at 06:30 | 1.SR085230
Pulpit Hill | MA | 732560.25 | 361827.2 | 370733.05 | 102.5% | 802158.5 | -69598.25 | -8.676% | 1.Inverter 19 was derating about 17kW and external fan fault from 06/02 at 14:15 and back to normal on 06/07 2.Inverter 6 tripped offline on 06/04 at 09:15 and back online at 12:15 on 06/05 and again tripped offline 10:00 on 06/06 and back online on 06/07 and again tripped offline on 06/07 at 11 :15 and back online on 06/26 at 12:45 3.Inverter 22 has a multiple tripping and have a hwastory of self resolving and again tripping offline the next day 4. Weather station stopped communicating from 06/09 to 06/26 due to that expected generation was nearly half of the actual. | 1.SR085486 2.SR085541 3.SR087059 4.SR085796
Sandwich | MA | 582219 | 0 | 582219 |  | 0 | 582219 |  | 1. Site was kept offline from 06/13 at 06:15 and tunedback online on 06/14 at 10:15 2.Site tripped offline on 06/23 at 21:15 and back online on 06/24 at 13:30 3.Inverter 8 was kept offline on 06/23 and back online on 06/26 at 09:30 | 1.SR085727 2.SR086809 3.SR086848
Sturbridge Barn | MA | 198837 | 195202.3 | 3634.7 | 1.862% | 197006.1 | 1830.9 | 0.9294%
Sturbridge Garage | MA | 102318.5 | 92874.71 | 9443.79 | 10.17% | 87884.22 | 14434.28 | 16.42%
Halsey Valley | NY | 940231 | 955473.5 | -15242.5 | -1.595% | 986000 | -45769 | -4.642% | 1.Inverter 13 tripped offline on 05/05 at 11:15 till end of the month 2.Inverter 14 has a string down from 03/17 till end of the month and tripped offline on 06/27 at 09:30 and back online at 14:45. | 1.SR084274 2.SR081968
Hunt Creek | NY | 676433.464 | 705205.1 | -28771.636 | -4.08% | 706700 | -30266.536 | -4.283% | 1.Inverters 2, 8, 13, 14, 15, 17, 18, 22, 26, 27, 28 are tripped offline on 06/05 at 18:30 and back online at 07:00 on 06/06, Inverters 2, 3, 5, 8, 14, 15, 19, 23 & 27 at 17:15 on 06/06 and back online at 19:00, Inverters 2, 5, 8, 14, 23, 27 & 28 are tripped offline on 06/17 at 14:45 and back online at 16:45 2.Site was offline on 06/20 at 17:15 and back online on 06/21 at 07:00 3.Site tripped offline on 06/30 at 08:30 and back online on 07/01 | 1.SR085607 2.SR086524 3.SR087138
Smith Creek | NY | 715387.7807 | 775106.4 | -59718.6193 | -7.705% | 753700.6 | -38312.8193 | -5.083% | 1.Site was offline on 06/20 at 17:15 and back online on 06/21 at 07:00 2.Site has tripped offline on 06/30 at 08:30 and back online on 07/01 | 1.SR086525 2.SR087137

## Jul
Lodestar |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Aug
Lodestar |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Sep
Lodestar |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Oct
Lodestar |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Nov
Lodestar |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Dec
Lodestar |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Sites
Portfolio: | Lodestar
Site DAS Name | Site | State | Update | DAS
Barkhamsted Solar | Barkhamsted | CT | AEF | PowerTrack
Bunce Solar | Bunce | CT | AEF | PowerTrack
Norcap North | Norcap North | CT | AEF | PowerTrack
Norcap South | Norcap South | CT | AEF | PowerTrack
Platt Hill | Platt Hill | CT | AEF | PowerTrack
Powder Hill | Powder Hill | CT | AEF | PowerTrack
Sand Road Solar | Sand Road | CT | AEF | PowerTrack
Suffield Solar | Suffield | CT | AEF | PowerTrack
Ashby-Duffy | Ashby-Duffy | MA | AEF | PowerTrack
Ashland Solar | Ashland | MA | AEF | PowerTrack
Barrington Fairgrounds | Barrington | MA | AEF | PowerTrack
MA: Bedford - 205 Burlington Rd | Bedford - 205 Burlington Rd | MA |  | GPM
MA: Billerica: 6 Cook Street | Billerica - 6 Cook Street | MA |  | GPM
MA: Billerica - 780 Boston Road | Billerica - 780 Boston Road | MA |  | GPM
Cheshire Solar | Cheshire | MA | AEF | PowerTrack
Lilly Lane (N-4) | Lilly Lane | MA | AEF | PowerTrack
Monument Valley | Monument Valley | MA | AEF | PowerTrack
Nationwide | Nationwide | MA | AEF | PowerTrack
Pulpit Hill | Pulpit Hill | MA | AEF | PowerTrack
MA: Sandwich - 9 Victory Drive Solar | Sandwich | MA |  | PowerTrack
Sturbridge Barn (N-3) | Sturbridge Barn | MA | AEF | PowerTrack
Sturbridge Garage (R-2) | Sturbridge Garage | MA | AEF | PowerTrack
Halsey Valley | Halsey Valley | NY | AEF | PowerTrack
Hunt Creek Solar | Hunt Creek | NY | AEF | PowerTrack
Smith Creek Solar | Smith Creek | NY | AEF | PowerTrack