## Year to Date
MAC Phase I |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1521582 | 583224 | 938358 | 160.9% | 771856 | 749726 | 97.13%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 1521582 | 583224 | 938358 | 160.9% | 771856 | 749726 | 97.13%

## 1st Qtr
MAC Phase I |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%

## 2nd Qtr
MAC Phase I |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 992413 | 387837 | 604576 | 155.9% | 505696 | 486717 | 96.25%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 992413 | 387837 | 604576 | 155.9% | 505696 | 486717 | 96.25%

## 3rd Qtr
MAC Phase I |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  |  | 0

## 4th Qtr
MAC Phase I |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  |  | 0

## Jan
MAC Phase I |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 91599 | 30865 | 60734 | 196.8% | 62234 | 29365 | 47.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 91599 | 30865 | 60734 | 196.8% | 62234 | 29365 | 47.18% | 1. Inverter 2.3(old 22) was offline from 01/16 2. Inverter 1.17 was offline from 01/23 and back online on 01/26 at 10:00am | 1. SR080257 2. SR080410

## Feb
MAC Phase I |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 171585 | 63395 | 108190 | 170.7% | 84292 | 87293 | 103.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 171585 | 63395 | 108190 | 170.7% | 84292 | 87293 | 103.6% | 1. Inverter 2.3(old 22) was offline for entire month | 1. SR080257

## Mar
MAC Phase I |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 265985 | 101127 | 164858 | 163% | 119634 | 146351 | 122.3%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 265985 | 101127 | 164858 | 163% | 119634 | 146351 | 122.3% | 1. Inverter 2.3(old 22) was offline for entire month. Inverter being RMA'd 2. Inverter 1.15 was offline from offline on 03/21 | 1. SR080257 2. SR082315

## Apr
MAC Phase I |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 284251 | 108295 | 175956 | 162.5% | 137029 | 147222 | 107.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 284251 | 108295 | 175956 | 162.5% | 137029 | 147222 | 107.4% | 1. Inverter 1.15 is offline from 03/21 and back online at 10:45AM on 04/18. 2. Inverter 2.3(old 22) is offline from 01/15 and back online at 10:00AM on 04/18. 3. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1. SR082315 2. SR080257

## May
MAC Phase I |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 371604 | 146173 | 225431 | 154.2% | 181197 | 190407 | 105.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 371604 | 146173 | 225431 | 154.2% | 181197 | 190407 | 105.1% | 1. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2

## Jun
MAC Phase I |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 336558 | 133369 | 203189 | 152.4% | 187470 | 149088 | 79.53%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 336558 | 133369 | 203189 | 152.4% | 187470 | 149088 | 79.53% | 1. Inverter 3.4 is offline from 07:00AM to 11:45AM on 06/11 and also again Inverter 3.4 is offline from 07:00AM on 06/12 and back online at 15:10 on 06/16 2. Actual Energy is the combination of Both MAC -Phase 1 and MAC Phase 2 | 1. SR085851

## Jul
MAC Phase I |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Aug
MAC Phase I |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Sep
MAC Phase I |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Oct
MAC Phase I |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Nov
MAC Phase I |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Dec
MAC Phase I |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Sites
Portfolio: | MAC Phase I
Site DAS Name | Site | State | Update | DAS
MAC | MAC - Phase 1 | MN |  | PowerTrack