## Year to Date
One United (Cheer Pack) |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1218296 | 1306885.4 | -88589.4 | -6.779% | 500815.3 | 717480.7 | 143.3%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 1218296 | 1306885.4 | -88589.4 | -6.779% | 500815.3 | -112805.9 | -22.52%

## 1st Qtr
One United (Cheer Pack) |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 394602 | 463986 | -69384 | -14.95% | 500815.3 | -106213.3 | -21.21%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 394602 | 463986 | -69384 | -14.95% | 500815.3 | -106213.3 | -21.21%

## 2nd Qtr
One United (Cheer Pack) |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 823694 | 842899.4 | -19205.4 | -2.278% | 0 | 823694 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 823694 | 842899.4 | -19205.4 | -2.278% |  | -6592.6

## 3rd Qtr
One United (Cheer Pack) |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 0 | 0 | 0 |  |  | 0

## 4th Qtr
One United (Cheer Pack) |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 0 | 0 | 0 |  |  | 0

## Jan
One United (Cheer Pack) |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 59106 | 98220.7 | -39114.7 | -39.82% | 120187.9 | -61081.9 | -50.82%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 59106 | 98220.7 | -39114.7 | -39.82% | 120187.9 | -61081.9 | -50.82%

## Feb
One United (Cheer Pack) |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 139092 | 162361.3 | -23269.3 | -14.33% | 153747.4 | -14655.4 | -9.532%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 139092 | 162361.3 | -23269.3 | -14.33% | 153747.4 | -14655.4 | -9.532%

## Mar
One United (Cheer Pack) |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 196404 | 203404 | -7000 | -3.441% | 226880 | -30476 | -13.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 196404 | 203404 | -7000 | -3.441% | 226880 | -30476 | -13.43% | 1. Inverter 2 is offline due to Isolated fault on 03/22 and the inverter was re energized by technician and is back online on 03/23. | 1. SR082397

## Apr
One United (Cheer Pack) |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 244760 | 241399.8 | 3360.2 | 1.392% | 248718 | -3958 | -1.591%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 244760 | 241399.8 | 3360.2 | 1.392% | 248718 | -3958 | -1.591%

## May
One United (Cheer Pack) |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 276998 | 279548.9 | -2550.9 | -0.9125% | 292988.8 | -15990.8 | -5.458%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 276998 | 279548.9 | -2550.9 | -0.9125% | 292988.8 | -15990.8 | -5.458%

## Jun
One United (Cheer Pack) |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 301936 | 321950.7 | -20014.7 | -6.217% | 288579.8 | 13356.2 | 4.628%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 301936 | 321950.7 | -20014.7 | -6.217% | 288579.8 | 13356.2 | 4.628% | 1. Inverter 2 is derating from 06/23 at 11:30 approximately 150kW compared to its peer inverters and also Inverter 2 is offline from 06/28 | 1.SR086763

## Jul
One United (Cheer Pack) |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Aug
One United (Cheer Pack) |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Sep
One United (Cheer Pack) |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Oct
One United (Cheer Pack) |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Nov
One United (Cheer Pack) |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Dec
One United (Cheer Pack) |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Sites
Portfolio: | One United (Cheer Pack)
Site DAS Name | Site | State | Update | DAS
Cheer Pack | MA: West Bridgewater - One United | MA | AEF | PowerTrack