## Year to Date
Starbucks |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1154229.88 | 885962.88 | 268267 | 30.28% | 339538 | 814691.88 | 239.9%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 1154229.88 | 885962.88 | 268267 | 30.28% | 339538 | 17657.16 | 5.2%

## 1st Qtr
Starbucks |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 377896.88 | 397843.58 | -19946.7 | -5.014% | 339538 | 38358.88 | 11.3%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 377896.88 | 397843.58 | -19946.7 | -5.014% | 339538 | 38358.88 | 11.3%

## 2nd Qtr
Starbucks |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 776333 | 488119.3 | 288213.7 | 59.05% | 0 | 776333 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 776333 | 488119.3 | 288213.7 | 59.05% |  | -20701.72

## 3rd Qtr
Starbucks |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Starbucks |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
NV: Starbucks - Minden | NV | 0 | 0 | 0 |  |  | 0

## Jan
Starbucks |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 89237.88 | 92249.58 | -3011.7 | -3.265% | 0 | 89237.88 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 89237.88 | 92249.58 | -3011.7 | -3.265% | 0 | 89237.88 | 0%

## Feb
Starbucks |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 122811 | 123904 | -1093 | -0.8821% | 139658 | -16847 | -12.06%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 122811 | 123904 | -1093 | -0.8821% | 139658 | -16847 | -12.06%

## Mar
Starbucks |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 165848 | 181690 | -15842 | -8.719% | 199880 | -34032 | -17.03%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 165848 | 181690 | -15842 | -8.719% | 199880 | -34032 | -17.03% | 1.Inverter 4 is offline since 03/20/2024 & continued. | 1.SR082349

## Apr
Starbucks |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 218040.74 | 245902.51 | -27861.77 | -11.33% | 235942.91 | -17902.17 | -7.588%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 218040.74 | 245902.51 | -27861.77 | -11.33% | 235942.91 | -17902.17 | -7.588% | 1. Inverter 3 tripped offline at 12:45 PM on 04/24 and was offline for the whole month | 1. SR083785

## May
Starbucks |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 268728.5 | 242173.18 | 26555.32 | 10.97% | 271501.45 | -2772.95 | -1.021%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 268728.5 | 242173.18 | 26555.32 | 10.97% | 271501.45 | -2772.95 | -1.021% | 1. Inverter 3 was offline from 04/24 and was replaced on 05/17 2. Weather station reporting 0 w/m2 from 05/28 | 1. SR083785 2. SR086768

## Jun
Starbucks |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 289563.76 | 43.61 | 289520.15 | 663885% | 289590.36 | -26.6 | -0.009185%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV | 289563.76 | 43.61 | 289520.15 | 663885% | 289590.36 | -26.6 | -0.009185% | 1. Weather station reporting 0 w/m2 from 05/28 due to that expected value is low | 1. SR086768

## Jul
Starbucks |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Aug
Starbucks |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Sep
Starbucks |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Oct
Starbucks |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Nov
Starbucks |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Dec
Starbucks |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
NV: Starbucks - Minden | NV

## Sites
Portfolio: | Starbucks
Site DAS Name | Site | State | Update | DAS
NV: Starbucks - Minden | NV: Starbucks - Minden | NV