## Year to Date
Troy School District |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | -2173690.6194 | 543761.2516 | -2717451.871 | -499.8% | 0 | -2173690.6194 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 193030.5 | 87540.7259 | 105489.7741 | 120.5% | 0 | 193030.5
Joliet - Heritage Trail | IL | 73363.0006 | 93318.7095 | -19955.7089 | -21.38% | 0 | 73363.0006
Plainfield - Troy | IL | -2673543.62 | 72354.0195 | -2745897.6395 | -3795% | 0 | -2673543.62
Plainfield - William B Orenic | IL | 75380.75 | 91529.3444 | -16148.5944 | -17.64% | 0 | 75380.75
Shorewood - Cronin | IL | 85943.5 | 101280.8892 | -15337.3892 | -15.14% | 0 | 85943.5
Shorewood - Hofer | IL | 72135.25 | 97737.5631 | -25602.3131 | -26.19% | 0 | 72135.25

## 1st Qtr
Troy School District |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | -2300763.6194 | 543761.2516 | -2844524.871 | -523.1% | 0 | -2300763.6194 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 65957.5 | 87540.7259 | -21583.2259 | -24.66% | 0 | 65957.5
Joliet - Heritage Trail | IL | 73363.0006 | 93318.7095 | -19955.7089 | -21.38% | 0 | 73363.0006
Plainfield - Troy | IL | -2673543.62 | 72354.0195 | -2745897.6395 | -3795% | 0 | -2673543.62
Plainfield - William B Orenic | IL | 75380.75 | 91529.3444 | -16148.5944 | -17.64% | 0 | 75380.75
Shorewood - Cronin | IL | 85943.5 | 101280.8892 | -15337.3892 | -15.14% | 0 | 85943.5
Shorewood - Hofer | IL | 72135.25 | 97737.5631 | -25602.3131 | -26.19% | 0 | 72135.25

## 2nd Qtr
Troy School District |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 909941.25 | 177342.34 | 732598.91 | 413.1% | 0 | 909941.25 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 127073 | 0 | 127073 |  |  | 127073
Joliet - Heritage Trail | IL | 154349 | 0 | 154349 |  |  | 154349
Plainfield - Troy | IL | 150555 | 0 | 150555 |  |  | 150555
Plainfield - William B Orenic | IL | 150161 | 0 | 150161 |  |  | 150161
Shorewood - Cronin | IL | 172370.5 | 177342.34 | -4971.84 | -2.804% |  | 172370.5
Shorewood - Hofer | IL | 155432.75 | 0 | 155432.75 |  |  | 155432.75

## 3rd Qtr
Troy School District |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 0 | 0 | 0 |  |  | 0
Joliet - Heritage Trail | IL | 0 | 0 | 0 |  |  | 0
Plainfield - Troy | IL | 0 | 0 | 0 |  |  | 0
Plainfield - William B Orenic | IL | 0 | 0 | 0 |  |  | 0
Shorewood - Cronin | IL | 0 | 0 | 0 |  |  | 0
Shorewood - Hofer | IL | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Troy School District |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Joliet - Craughwell | IL | 0 | 0 | 0 |  |  | 0
Joliet - Heritage Trail | IL | 0 | 0 | 0 |  |  | 0
Plainfield - Troy | IL | 0 | 0 | 0 |  |  | 0
Plainfield - William B Orenic | IL | 0 | 0 | 0 |  |  | 0
Shorewood - Cronin | IL | 0 | 0 | 0 |  |  | 0
Shorewood - Hofer | IL | 0 | 0 | 0 |  |  | 0

## Jan
Troy School District |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 25235 | 102094 | -76859 | -75.28% | 0 | 25235 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 3467 | 15948 | -12481 | -78.26% | 0 | 3467
Joliet - Heritage Trail | IL | 4288 | 17449 | -13161 | -75.43% | 0 | 4288
Plainfield - Troy | IL | 4367 | 14453 | -10086 | -69.78% | 0 | 4367
Plainfield - William B Orenic | IL | 4435 | 17416 | -12981 | -74.53% | 0 | 4435
Shorewood - Cronin | IL | 4681 | 18468 | -13787 | -74.65% | 0 | 4681
Shorewood - Hofer | IL | 3997 | 18360 | -14363 | -78.23% | 0 | 3997

## Feb
Troy School District |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | -2554905.25 | 195441.7231 | -2750346.9731 | -1407% | 0 | -2554905.25 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 27622.5 | 33134.5072 | -5512.0072 | -16.64% | 0 | 27622.5
Joliet - Heritage Trail | IL | 30818 | 35701.0638 | -4883.0638 | -13.68% | 0 | 30818
Plainfield - Troy | IL | -2714541.5 | 15739.5838 | -2730281.0838 | -17347% | 0 | -2714541.5 |  | 1. Meter damaged due to thermal event and inverter 1 is offline from 02/14 to 02/29 | 1. SR081003
Plainfield - William B Orenic | IL | 32717.75 | 34977.9039 | -2260.1539 | -6.462% | 0 | 32717.75
Shorewood - Cronin | IL | 37469.75 | 38519.7755 | -1050.0255 | -2.726% | 0 | 37469.75
Shorewood - Hofer | IL | 31008.25 | 37368.8889 | -6360.6389 | -17.02% | 0 | 31008.25

## Mar
Troy School District |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 228906.6306 | 246225.5285 | -17318.8979 | -7.034% | 0 | 228906.6306 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 34868 | 38458.2187 | -3590.2187 | -9.335% | 0 | 34868
Joliet - Heritage Trail | IL | 38257.0006 | 40168.6457 | -1911.6451 | -4.759% | 0 | 38257.0006
Plainfield - Troy | IL | 36630.88 | 42161.4357 | -5530.5557 | -13.12% | 0 | 36630.88 |  | 1. Inverter 1 is offline from 02/14 to 03/18 | 1. SR081003
Plainfield - William B Orenic | IL | 38228 | 39135.4405 | -907.4405 | -2.319% | 0 | 38228
Shorewood - Cronin | IL | 43792.75 | 44293.1137 | -500.3637 | -1.13% | 0 | 43792.75
Shorewood - Hofer | IL | 37130 | 42008.6742 | -4878.6742 | -11.61% | 0 | 37130 |  | 1. Inverter 7 is offline on 03/30 and back online on 03/31 | 1. SR082935

## Apr
Troy School District |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 263649 | 49433 | 214216 | 433.3% | 0 | 263649 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 40399 | 0 | 40399 |  | 0 | 40399 |  | 1. Inverter 2.2 was offline throughout the month | 1. SR077210
Joliet - Heritage Trail | IL | 43972 | 0 | 43972 |  | 0 | 43972
Plainfield - Troy | IL | 45621 | 0 | 45621 |  | 0 | 45621
Plainfield - William B Orenic | IL | 42537 | 0 | 42537 |  | 0 | 42537
Shorewood - Cronin | IL | 49064.5 | 49433 | -368.5 | -0.7455% | 0 | 49064.5
Shorewood - Hofer | IL | 42055.5 | 0 | 42055.5 |  | 0 | 42055.5 |  | 1. Inverter 7 was offline from 04/29 | 1. SR083982

## May
Troy School District |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 338091.75 | 65584.36 | 272507.39 | 415.5% | 0 | 338091.75 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 47126 | 0 | 47126 |  | 0 | 47126 |  | 1. Inverter 2.2 was offline throughout the month | 1. SR077210
Joliet - Heritage Trail | IL | 56820 | 0 | 56820 |  | 0 | 56820
Plainfield - Troy | IL | 56900 | 0 | 56900 |  | 0 | 56900 |  | 1. Inverter 2 was offline from 05/17 and issue continued throughout the month | 1. SR084831
Plainfield - William B Orenic | IL | 55554 | 0 | 55554 |  | 0 | 55554
Shorewood - Cronin | IL | 63684 | 65584.36 | -1900.36 | -2.898% | 0 | 63684
Shorewood - Hofer | IL | 58007.75 | 0 | 58007.75 |  | 0 | 58007.75 |  | 1. Inverter 7 was offline on 05/03,05/10,05/14, 05/27 | 1. SR083982

## Jun
Troy School District |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 308200.5 | 62324.98 | 245875.52 | 394.5% | 0 | 308200.5 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL | 39548 | 0 | 39548 |  | 0 | 39548 |  | 1. Inverter 2.2 was offline throughout the month 2. Inverter 1.2 was offline on 06/18, 06/28 & 06/29 | 1. SR077210 2. SR086359
Joliet - Heritage Trail | IL | 53557 | 0 | 53557 |  | 0 | 53557 |  | 1. Inverter 3.1 was offline on 06/01,06/10,06/12,06/24,06/28 | 1. SR085406
Plainfield - Troy | IL | 48034 | 0 | 48034 |  | 0 | 48034 |  | 1. Inverter 2 was offline throughout the month | 1. SR084831
Plainfield - William B Orenic | IL | 52070 | 0 | 52070 |  | 0 | 52070
Shorewood - Cronin | IL | 59622 | 62324.98 | -2702.98 | -4.337% | 0 | 59622
Shorewood - Hofer | IL | 55369.5 | 0 | 55369.5 |  | 0 | 55369.5
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Expected Energy not available from April.

## Jul
Troy School District |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## Aug
Troy School District |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## Sep
Troy School District |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## Oct
Troy School District |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## Nov
Troy School District |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## Dec
Troy School District |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Joliet - Craughwell | IL
Joliet - Heritage Trail | IL
Plainfield - Troy | IL
Plainfield - William B Orenic | IL
Shorewood - Cronin | IL
Shorewood - Hofer | IL

## Sites
Portfolio: | Troy School District
Site DAS Name | Site | State | Update | DAS
IL: Joliet - Craughwell ES | Joliet - Craughwell | IL |  | AssetPlanner
IL: Joliet - Heritage Trail | Joliet - Heritage Trail | IL |  | AssetPlanner
IL: Plainfield - Troy MS | Plainfield - Troy | IL |  | AssetPlanner
IL: Plainfield - William B Orenic IS | Plainfield - William B Orenic | IL |  | AssetPlanner
IL: Shorewood - Cronin ES | Shorewood - Cronin | IL |  | AssetPlanner
IL: Shorewood - Hofer ES | Shorewood - Hofer | IL |  | AssetPlanner