## Year to Date
ALIGNED |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1307497.564 | 1220608.914 | 86888.65 | 7.118% | 722393.893 | 585103.671 | 81%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 327655.917 | 292322.874 | 35333.043 | 12.09% | 0 | 327655.917
Loudon - 7046 Pleasant Street | NH | 350305.433 | 378379.092 | -28073.659 | -7.419% | 431548.337 | -81242.904 | -18.83%
Nashua - Pennichuck Water East | NH | 358682.73 | 309986.653 | 48696.077 | 15.71% | 290845.556 | 67837.174 | 23.32%
Nashua - Pennichuck Water West | NH | 270853.484 | 239920.295 | 30933.189 | 12.89% | 0 | 270853.484

## 1st Qtr
ALIGNED |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1307497.564 | 1220608.914 | 86888.65 | 7.118% | 722393.893 | 585103.671 | 81%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 327655.917 | 292322.874 | 35333.043 | 12.09% | 0 | 327655.917
Loudon - 7046 Pleasant Street | NH | 350305.433 | 378379.092 | -28073.659 | -7.419% | 431548.337 | -81242.904 | -18.83%
Nashua - Pennichuck Water East | NH | 358682.73 | 309986.653 | 48696.077 | 15.71% | 290845.556 | 67837.174 | 23.32%
Nashua - Pennichuck Water West | NH | 270853.484 | 239920.295 | 30933.189 | 12.89% | 0 | 270853.484

## 2nd Qtr
ALIGNED |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 0 | 0 | 0 |  |  | 0
Loudon - 7046 Pleasant Street | NH | 0 | 0 | 0 |  |  | 0
Nashua - Pennichuck Water East | NH | 0 | 0 | 0 |  |  | 0
Nashua - Pennichuck Water West | NH | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
ALIGNED |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 0 | 0 | 0 |  |  | 0
Loudon - 7046 Pleasant Street | NH | 0 | 0 | 0 |  |  | 0
Nashua - Pennichuck Water East | NH | 0 | 0 | 0 |  |  | 0
Nashua - Pennichuck Water West | NH | 0 | 0 | 0 |  |  | 0

## 4th Qtr
ALIGNED |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 0 | 0 | 0 |  |  | 0
Loudon - 7046 Pleasant Street | NH | 0 | 0 | 0 |  |  | 0
Nashua - Pennichuck Water East | NH | 0 | 0 | 0 |  |  | 0
Nashua - Pennichuck Water West | NH | 0 | 0 | 0 |  |  | 0

## Jan
ALIGNED |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 238595.97 | 248096.297 | -9500.327 | -3.829% | 197956.142 | 40639.828 | 20.53%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH | 51558.18 | 56747.743 | -5189.563 | -0.09145 | 0 | 51558.18 |  | 1. Site is offline on 01/05 at 15:30 & back online at 09:30 on 03/06. 2. Inverter 3 tripped offline on 01/08 & back online at 01/30 at 12:15. | 1.SR079989 2.SR080070
Loudon - 7046 Pleasant Street | NH | 67770.851 | 82178.825 | -14407.974 | -0.17532 | 123440.303 | -55669.452 | -45.1% | 1. Site tripped offline 11:00 on 01/16 & back online at 15:15 on 01/17. | 1.SR080260
Nashua - Pennichuck Water East | NH | 67621.655 | 53199.536 | 14422.119 | 0.27109 | 74515.839 | -6894.184 | -9.252%
Nashua - Pennichuck Water West | NH | 51645.284 | 55970.193 | -4324.909 | -0.077272 | 0 | 51645.284

## Feb
ALIGNED |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 542127.641 | 466672.239 | 75455.402 | 16.17% | 231919.026 | 310208.615 | 133.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH | 140527.5 | 108093.885 | 32433.615 | 0.30005 | 0 | 140527.5 |  | 1.Site is offline on 02/03 at 02:00 AM & back online at 11:00 on same day. 2. Site tripped offline on 02/21 at 11:45 & back online at 14:15 on same day. 3. Site tripped offline at 20:42 on 02/27 & back online at 09:45 on 02/28. | 1.SR080689 2. SR081163 3.SR081393
Loudon - 7046 Pleasant Street | NH | 150009.984 | 152658.214 | -2648.23 | -0.017347 | 139467.87 | 10542.114 | 7.559% | 1. Site tripped offline on 02/01 at 13:30 & back online at 08:45 on 02/02. 2. Site tripped offline at 08:00 on 02/11 & back online at 10:15 same day. 3. Site tripped offline at 22:57 on 02/28 & back online at 11:00 on 02/29. | 1. SR080653 2. SR080918 3. SR081434
Nashua - Pennichuck Water East | NH | 144333 | 113480.588 | 30852.412 | 0.27187 | 92451.156 | 51881.844 | 56.12%
Nashua - Pennichuck Water West | NH | 107257.157 | 92439.552 | 14817.605 | 0.1603 | 0 | 107257.157 |  | 1. Site tripped offline on 02/27 at 05:48 & back online at 10:15 on same day. | 1. SR081357

## Mar
ALIGNED |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 526773.953 | 505840.378 | 20933.575 | 4.138% | 292518.725 | 234255.228 | 80.08%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH | 135570.237 | 127481.246 | 8088.991 | 6.345% | 0 | 135570.237 |  | 1.Site tripped offline at 04:30AM on 03/10 & back online at 13:30. 2. Site was offline on 03/29 at 21:06 & back online at 12:15 on 03/30. | 1.SR081720 2.SR082923
Loudon - 7046 Pleasant Street | NH | 132524.598 | 143542.053 | -11017.455 | -7.675% | 168640.164 | -36115.566 | -21.42% | 1.Site tripped offline on 03/02 at 19:00 & back online 03/03 at 08:00 2. Site tripped offline on 03/11 at 11:15 & back online 03/12 at 09:00. 3. Site tripped offline on 03/22 at 14:15 & back online at 16:00 same day. 4. Site tripped offline on 03/23 at 19;57 & back online at 08:30 on 03/25. | 1.SR081520 2.SR081755 3. SR082501 4. SR082606
Nashua - Pennichuck Water East | NH | 146728.075 | 143306.529 | 3421.546 | 2.388% | 123878.561 | 22849.514 | 18.45%
Nashua - Pennichuck Water West | NH | 111951.043 | 91510.55 | 20440.493 | 22.34% | 0 | 111951.043

## Apr
ALIGNED |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## May
ALIGNED |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Jun
ALIGNED |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Jul
ALIGNED |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Aug
ALIGNED |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Sep
ALIGNED |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Oct
ALIGNED |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Nov
ALIGNED |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Dec
ALIGNED |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH

## Sites
Portfolio: | ALIGNED
Site DAS Name | Site | State | Update | DAS
Conway - Lake | Conway -US 302 and Stirch Road | NH | AEF | PowerTrack
Loudon Pleasant Street Solar GSSG | Loudon - 7046 Pleasant Street | NH | AEF | PowerTrack
Pennichuck Water East GSSG | Nashua - Pennichuck Water East | NH | AEF | PowerTrack
Pennichuck Water West GSSG | Nashua - Pennichuck Water West | NH | AEF | PowerTrack