## Year to Date
Amergy Solar |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 295596 | 333524 | -37928 | -11.37% | 349521 | -53925 | -15.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 121256 | 129357 | -8101 | -6.263% | 185061 | -63805 | -34.48%
Mount Laurel - Igloo Ice Rink | NJ | 174340 | 204167 | -29827 | -14.61% | 164460 | 9880 | 6.008%

## 1st Qtr
Amergy Solar |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 295596 | 333524 | -37928 | -11.37% | 349521 | -53925 | -15.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 121256 | 129357 | -8101 | -6.263% | 185061 | -63805 | -34.48%
Mount Laurel - Igloo Ice Rink | NJ | 174340 | 204167 | -29827 | -14.61% | 164460 | 9880 | 6.008%

## 2nd Qtr
Amergy Solar |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 0 | 0 | 0 |  |  | 0
Mount Laurel - Igloo Ice Rink | NJ | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
Amergy Solar |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 0 | 0 | 0 |  |  | 0
Mount Laurel - Igloo Ice Rink | NJ | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Amergy Solar |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Farmingdale - Howell Ice Arena | NJ | 0 | 0 | 0 |  |  | 0
Mount Laurel - Igloo Ice Rink | NJ | 0 | 0 | 0 |  |  | 0

## Jan
Amergy Solar |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 42875 | 60849 | -17974 | -29.54% | 83738 | -40863 | -48.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 17773 | 22778 | -5005 | -21.97% | 48244 | -30471 | -63.16%
Mount Laurel - Igloo Ice Rink | NJ | 25102 | 38071 | -12969 | -34.07% | 35494 | -10392 | -29.28%

## Feb
Amergy Solar |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 105722 | 117230 | -11508 | -9.817% | 108237 | -2515 | -2.324%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 42119 | 44694 | -2575 | -5.761% | 59297 | -17178 | -28.97%
Mount Laurel - Igloo Ice Rink | NJ | 63603 | 72536 | -8933 | -12.32% | 48940 | 14663 | 29.96% | 1. Inverter 14 tripped offline on 02/21 at 12:50 and back online on 02/22 at 14:45 | 1. SR081176

## Mar
Amergy Solar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 146999 | 155445 | -8446 | -5.433% | 157546 | -10547 | -6.695%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ | 61364 | 61885 | -521 | -0.8419% | 77520 | -16156 | -20.84%
Mount Laurel - Igloo Ice Rink | NJ | 85635 | 93560 | -7925 | -8.471% | 80026 | 5609 | 7.009% | 1. Inverter 15 was offline on 03/01 between 09:15 to 11:45. Inverter again tripped offline on 03/3 at 09:47 and back online on 03/04 2. Inverter 6 was offline on 03/10 between 11:00 to 13:30 3. Inverter 15 tripped offline on 03/19 at 14:15 and back online on 03/22 4. Inverter 12 tripped offline on 03/21 at 14:35 and back online on 03/22 5. Inverter 3 was offline on 03/31 between 08:15 and back online at 14:20 | 1. SR081489 2. SR081728 3. SR082200 4. SR082289 5. SR082944

## Apr
Amergy Solar |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## May
Amergy Solar |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Jun
Amergy Solar |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Jul
Amergy Solar |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Aug
Amergy Solar |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Sep
Amergy Solar |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Oct
Amergy Solar |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Nov
Amergy Solar |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Dec
Amergy Solar |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Farmingdale - Howell Ice Arena | NJ
Mount Laurel - Igloo Ice Rink | NJ

## Sites
Portfolio: | Amergy Solar
Site DAS Name | Site | State | Update | DAS
Howell Ice Arena | Farmingdale - Howell Ice Arena | NJ | AEF | PowerTrack
Igloo | Mount Laurel - Igloo Ice Rink | NJ | AEF | PowerTrack