## Year to Date
City of Phoenix |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 168125.75 | 188107.85 | -19982.1 | -10.62% | 191038.45 | -22912.7 | -11.99%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 168125.75 | 188107.85 | -19982.1 | -10.62% | 191038.45 | -22912.7 | -11.99%

## 1st Qtr
City of Phoenix |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 168125.75 | 188107.85 | -19982.1 | -10.62% | 191038.45 | -22912.7 | -11.99%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 168125.75 | 188107.85 | -19982.1 | -10.62% | 191038.45 | -22912.7 | -11.99%

## 2nd Qtr
City of Phoenix |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
City of Phoenix |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 0 | 0 | 0 |  |  | 0

## 4th Qtr
City of Phoenix |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Sky Harbor COB Admin Building | AZ | 0 | 0 | 0 |  |  | 0

## Jan
City of Phoenix |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 40996.75 | 47627.85 | -6631.1 | -13.92% | 54968.45 | -13971.7 | -25.42%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 40996.75 | 47627.85 | -6631.1 | -13.92% | 54968.45 | -13971.7 | -25.42% | 1. Inverters 9 and 10 are offline on 01/21 at 9:15 AM and self resolved next day. | 1. SR080379

## Feb
City of Phoenix |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 52699 | 58562 | -5863 | -10.01% | 59097 | -6398 | -10.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 52699 | 58562 | -5863 | -10.01% | 59097 | -6398 | -10.83%

## Mar
City of Phoenix |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 74430 | 81918 | -7488 | -9.141% | 76973 | -2543 | -3.304%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ | 74430 | 81918 | -7488 | -9.141% | 76973 | -2543 | -3.304% | 1. Inverters 7 -10 tripped offline on 0/07 at 11:30 & back online at 03/04. | 1.SR081642

## Apr
City of Phoenix |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## May
City of Phoenix |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Jun
City of Phoenix |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Jul
City of Phoenix |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Aug
City of Phoenix |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Sep
City of Phoenix |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Oct
City of Phoenix |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Nov
City of Phoenix |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Dec
City of Phoenix |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Sky Harbor COB Admin Building | AZ

## Sites
Portfolio: | City of Phoenix
Site DAS Name | Site | State | Update | DAS
SKY HARBOR AIRPORT PV PROJECT 1 COB ADMIN BUILDING | AZ: Sky Harbor COB Admin Building | AZ