## Year to Date
Lodestar |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 14295976.4442 | 14622211.35 | -326234.9058 | -2.231% | 13577124.93 | 718851.5142 | 5.295%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 331357 | 391097.81 | -59740.81 | -15.28% | 378859.37 | -47502.37 | -12.54%
Bunce | CT | 589639.25 | 643231.5 | -53592.25 | -8.332% | 0 | 589639.25
Norcap North | CT | 642155 | 816049.6 | -173894.6 | -21.31% | 700223.8 | -58068.8 | -8.293%
Norcap South | CT | 665333.5 | 894303.9 | -228970.4 | -25.6% | 659879.9 | 5453.6 | 0.8265%
Platt Hill | CT | 713579.3442 | 797244.8 | -83665.4558 | -10.49% | 861464.8 | -147885.4558 | -17.17%
Powder Hill | CT | 611028 | 714272.8 | -103244.8 | -14.45% | 566964 | 44064 | 7.772%
Sand Road | CT | 639429 | 660829.7 | -21400.7 | -3.238% | 602989 | 36440 | 6.043%
Suffield | CT | 645254 | 692965.8 | -47711.8 | -6.885% | 732511.5 | -87257.5 | -11.91%
Ashby-Duffy | MA | 623058 | 1011075.2 | -388017.2 | -38.38% | 651654.5 | -28596.5 | -4.388%
Ashland | MA | 9993.5 | 38664.69 | -28671.19 | -74.15% | 361298.4 | -351304.9 | -97.23%
Barrington | MA | 133250 | 132357.65 | 892.35 | 0.6742% | 159190 | -25940 | -16.29%
Bedford - 205 Burlington Rd | MA | 68679 | 0 | 68679 |  | 0 | 68679
Billerica - 6 Cook Street | MA | 55658 | 0 | 55658 |  | 0 | 55658
Billerica - 780 Boston Road | MA | 65741 | 0 | 65741 |  | 0 | 65741
Cheshire | MA | 136259.5 | 156576.82 | -20317.32 | -12.98% | 106349.84 | 29909.66 | 28.12%
Lilly Lane | MA | 293261 | 319905.81 | -26644.81 | -8.329% | 407685.3 | -114424.3 | -28.07%
Monument Valley | MA | 597881 | 148824.21 | 449056.79 | 301.7% | 0 | 597881
Nationwide | MA | 953320.5 | 1079498 | -126177.5 | -11.69% | 1097779 | -144458.5 | -13.16%
Pulpit Hill | MA | 1415998.4 | 1508555.6 | -92557.2 | -6.135% | 1513090.9 | -97092.5 | -6.417%
Sandwich | MA | 1215871 | 0 | 1215871 |  | 0 | 1215871
Sturbridge Barn | MA | 300101 | 374920.06 | -74819.06 | -19.96% | 417980.1 | -117879.1 | -28.2%
Sturbridge Garage | MA | 148743 | 179839.5 | -31096.5 | -17.29% | 201387.32 | -52644.32 | -26.14%
Halsey Valley | NY | 1416755 | 1627635.5 | -210880.5 | -12.96% | 1609000 | -192245 | -11.95%
Hunt Creek | NY | 927108.45 | 1155381.6 | -228273.15 | -19.76% | 1067900 | -140791.55 | -13.18%
Smith Creek | NY | 1096523 | 1278980.8 | -182457.8 | -14.27% | 1480917.2 | -384394.2 | -25.96%

## 1st Qtr
Lodestar |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 14295976.4442 | 14622211.35 | -326234.9058 | -2.231% | 13577124.93 | 718851.5142 | 5.295%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 331357 | 391097.81 | -59740.81 | -15.28% | 378859.37 | -47502.37 | -12.54%
Bunce | CT | 589639.25 | 643231.5 | -53592.25 | -8.332% | 0 | 589639.25
Norcap North | CT | 642155 | 816049.6 | -173894.6 | -21.31% | 700223.8 | -58068.8 | -8.293%
Norcap South | CT | 665333.5 | 894303.9 | -228970.4 | -25.6% | 659879.9 | 5453.6 | 0.8265%
Platt Hill | CT | 713579.3442 | 797244.8 | -83665.4558 | -10.49% | 861464.8 | -147885.4558 | -17.17%
Powder Hill | CT | 611028 | 714272.8 | -103244.8 | -14.45% | 566964 | 44064 | 7.772%
Sand Road | CT | 639429 | 660829.7 | -21400.7 | -3.238% | 602989 | 36440 | 6.043%
Suffield | CT | 645254 | 692965.8 | -47711.8 | -6.885% | 732511.5 | -87257.5 | -11.91%
Ashby-Duffy | MA | 623058 | 1011075.2 | -388017.2 | -38.38% | 651654.5 | -28596.5 | -4.388%
Ashland | MA | 9993.5 | 38664.69 | -28671.19 | -74.15% | 361298.4 | -351304.9 | -97.23%
Barrington | MA | 133250 | 132357.65 | 892.35 | 0.6742% | 159190 | -25940 | -16.29%
Bedford - 205 Burlington Rd | MA | 68679 | 0 | 68679 |  | 0 | 68679
Billerica - 6 Cook Street | MA | 55658 | 0 | 55658 |  | 0 | 55658
Billerica - 780 Boston Road | MA | 65741 | 0 | 65741 |  | 0 | 65741
Cheshire | MA | 136259.5 | 156576.82 | -20317.32 | -12.98% | 106349.84 | 29909.66 | 28.12%
Lilly Lane | MA | 293261 | 319905.81 | -26644.81 | -8.329% | 407685.3 | -114424.3 | -28.07%
Monument Valley | MA | 597881 | 148824.21 | 449056.79 |  | 0 | 597881
Nationwide | MA | 953320.5 | 1079498 | -126177.5 |  | 1097779 | -144458.5
Pulpit Hill | MA | 1415998.4 | 1508555.6 | -92557.2 |  | 1513090.9 | -97092.5
Sandwich | MA | 1215871 | 0 | 1215871 |  | 0 | 1215871
Sturbridge Barn | MA | 300101 | 374920.06 | -74819.06 | -19.96% | 417980.1 | -117879.1 | -28.2%
Sturbridge Garage | MA | 148743 | 179839.5 | -31096.5 | -17.29% | 201387.32 | -52644.32 | -26.14%
Halsey Valley | NY | 1416755 | 1627635.5 | -210880.5 | -12.96% | 1609000 | -192245 | -11.95%
Hunt Creek | NY | 927108.45 | 1155381.6 | -228273.15 | -19.76% | 1067900 | -140791.55 | -13.18%
Smith Creek | NY | 1096523 | 1278980.8 | -182457.8 | -14.27% | 1480917.2 | -384394.2 | -25.96%

## 2nd Qtr
Lodestar |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 0 | 0 | 0 |  |  | 0
Bunce | CT | 0 | 0 | 0 |  |  | 0
Norcap North | CT | 0 | 0 | 0 |  |  | 0
Norcap South | CT | 0 | 0 | 0 |  |  | 0
Platt Hill | CT | 0 | 0 | 0 |  |  | 0
Powder Hill | CT | 0 | 0 | 0 |  |  | 0
Sand Road | CT | 0 | 0 | 0 |  |  | 0
Suffield | CT | 0 | 0 | 0 |  |  | 0
Ashby-Duffy | MA | 0 | 0 | 0 |  |  | 0
Ashland | MA | 0 | 0 | 0 |  |  | 0
Barrington | MA | 0 | 0 | 0 |  |  | 0
Bedford - 205 Burlington Rd | MA | 0 | 0 | 0 |  |  | 0
Billerica - 6 Cook Street | MA | 0 | 0 | 0 |  |  | 0
Billerica - 780 Boston Road | MA | 0 | 0 | 0 |  |  | 0
Cheshire | MA | 0 | 0 | 0 |  |  | 0
Lilly Lane | MA | 0 | 0 | 0 |  |  | 0
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Barn | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Garage | MA | 0 | 0 | 0 |  |  | 0
Halsey Valley | NY | 0 | 0 | 0 |  |  | 0
Hunt Creek | NY | 0 | 0 | 0 |  |  | 0
Smith Creek | NY | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
Lodestar |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 0 | 0 | 0 |  |  | 0
Bunce | CT | 0 | 0 | 0 |  |  | 0
Norcap North | CT | 0 | 0 | 0 |  |  | 0
Norcap South | CT | 0 | 0 | 0 |  |  | 0
Platt Hill | CT | 0 | 0 | 0 |  |  | 0
Powder Hill | CT | 0 | 0 | 0 |  |  | 0
Sand Road | CT | 0 | 0 | 0 |  |  | 0
Suffield | CT | 0 | 0 | 0 |  |  | 0
Ashby-Duffy | MA | 0 | 0 | 0 |  |  | 0
Ashland | MA | 0 | 0 | 0 |  |  | 0
Barrington | MA | 0 | 0 | 0 |  |  | 0
Bedford - 205 Burlington Rd | MA | 0 | 0 | 0 |  |  | 0
Billerica - 6 Cook Street | MA | 0 | 0 | 0 |  |  | 0
Billerica - 780 Boston Road | MA | 0 | 0 | 0 |  |  | 0
Cheshire | MA | 0 | 0 | 0 |  |  | 0
Lilly Lane | MA | 0 | 0 | 0 |  |  | 0
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Barn | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Garage | MA | 0 | 0 | 0 |  |  | 0
Halsey Valley | NY | 0 | 0 | 0 |  |  | 0
Hunt Creek | NY | 0 | 0 | 0 |  |  | 0
Smith Creek | NY | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Lodestar |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barkhamsted | CT | 0 | 0 | 0 |  |  | 0
Bunce | CT | 0 | 0 | 0 |  |  | 0
Norcap North | CT | 0 | 0 | 0 |  |  | 0
Norcap South | CT | 0 | 0 | 0 |  |  | 0
Platt Hill | CT | 0 | 0 | 0 |  |  | 0
Powder Hill | CT | 0 | 0 | 0 |  |  | 0
Sand Road | CT | 0 | 0 | 0 |  |  | 0
Suffield | CT | 0 | 0 | 0 |  |  | 0
Ashby-Duffy | MA | 0 | 0 | 0 |  |  | 0
Ashland | MA | 0 | 0 | 0 |  |  | 0
Barrington | MA | 0 | 0 | 0 |  |  | 0
Bedford - 205 Burlington Rd | MA | 0 | 0 | 0 |  |  | 0
Billerica - 6 Cook Street | MA | 0 | 0 | 0 |  |  | 0
Billerica - 780 Boston Road | MA | 0 | 0 | 0 |  |  | 0
Cheshire | MA | 0 | 0 | 0 |  |  | 0
Lilly Lane | MA | 0 | 0 | 0 |  |  | 0
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Barn | MA | 0 | 0 | 0 |  |  | 0
Sturbridge Garage | MA | 0 | 0 | 0 |  |  | 0
Halsey Valley | NY | 0 | 0 | 0 |  |  | 0
Hunt Creek | NY | 0 | 0 | 0 |  |  | 0
Smith Creek | NY | 0 | 0 | 0 |  |  | 0

## Jan
Lodestar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 1646953.4436 | 2934622.41 | -1287668.9664 | -43.88% | 3459095.53 | -1812142.0864 | -52.39%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 40962 | 81116.11 | -40154.11 | -49.5% | 95666.17 | -54704.17 | -57.18%
Bunce | CT | 85317.75 | 134339.2 | -49021.45 | -36.49% | 0 | 85317.75
Norcap North | CT | 86946 | 190151.4 | -103205.4 | -54.28% | 179846.6 | -92900.6 | -51.66%
Norcap South | CT | 92879.5 | 212284 | -119404.5 | -56.25% | 156565.5 | -63686 | -40.68% | 1. Inverter 1 started at 14:00 on 01/05. 2. Inverter 1 offline on 01/07 and resolved on 01/10 and reporting Bus Differential High Fault - Fault 0110. 2. inverter 4 is currently offline on 01/07 and resolved on 01/09 and reporting Bus Differential High Fault - Fault 0110. 3. Inverters 1, 4 and 11 are offline on 01/13 and resolved on 01/14 due to "Bus differential high fault". 4. Inverter 11 is offline on 01/13 resolved on 01/19 due to Bus differential fault. 5. Inverter 11 is offline from 01/19 due to Bus differential fault. | 1. SR079979 2. SR080049 3. SR080194 4. SR080314 5. SR080441
Platt Hill | CT | 104226.4936 | 164040.9 | -59814.4064 | -36.46% | 232504.1 | -128277.6064 | -55.17% | 1.Inverters 61 to 64 have tripped offline at 11:15am on 01/01 and resolved next day 2.Inverters 61 to 64 have tripped offline at 11:15am on 01/15 and resolved next day 3.Inverter 48 was offline due to "Bus sum high" fault on 01/27 and RMA'd | 1.SR079853 2.SR080230 3.SR080522
Powder Hill | CT | 73609 | 144364.9 | -70755.9 | -49.01% | 155676 | -82067 | -52.72%
Sand Road | CT | 78068.5 | 124790 | -46721.5 | -37.44% | 145302 | -67233.5 | -46.27% | 1.Inverter 1 is offline and reporting "Excessive Leakage Current" from 01/01 to 01/15 2.Inverter 5 is offline and reporting "Internal hardware failure" on 01/22 and back online next day 3.Inverter 1 is offline and reporting "Excessive Leakage Current from 01/25 and still offline | 1.SR078505 2.SR080384 3.SR080614
Suffield | CT | 86425 | 139100 | -52675 | -37.87% | 191955.4 | -105530.4 | -54.98%
Ashby-Duffy | MA | 83884 | 228874 | -144990 | -63.35% | 158269.5 | -74385.5 | -47% | 1.Site tripped offline on 01/16 at 19:15 and autoreclosed at 19:30 2. CB 1.8 on DAS, (CB 10 onsite) was offline from 01/23 to 02/01. | 1.SR080271 2.SR080413
Ashland | MA | 3053 | 18082.05 | -15029.05 | -83.12% | 134293.1 | -131240.1 | -97.73%
Barrington | MA | 15412 | 23642.96 | -8230.96 | -34.81% | 35820 | -20408 | -56.97% | 1.Site was tripped offline from 12/22/2023 to 01/10/2024 and again tripped offline on the same day and still offline | 1.SR080143
Bedford - 205 Burlington Rd | MA | 7938 | 0 | 7938 |  | 0 | 7938
Billerica - 6 Cook Street | MA | 7069 | 0 | 7069 |  | 0 | 7069
Billerica - 780 Boston Road | MA | 7922 | 0 | 7922 |  | 0 | 7922
Cheshire | MA | 15272 | 27330.66 | -12058.66 | -44.12% | 24314.38 | -9042.38 | -37.19%
Lilly Lane | MA | 37262 | 61721.41 | -24459.41 | -39.63% | 113135.5 | -75873.5 | -67.06%
Monument Valley | MA | 68801 | 28968.03 | 39832.97 | 137.5% | 0 | 68801
Nationwide | MA | 98960 | 221313.9 | -122353.9 | -55.29% | 298977.6 | -200017.6 | -66.9%
Pulpit Hill | MA | 147440 | 286661.3 | -139221.3 | -48.57% | 356965.5 | -209525.5 | -58.7% | 1.Inverters 20,24,25 and 26 came back online on 01/25 | 1.SR077715
Sandwich | MA | 69116 | 0 | 69116 |  | 0 | 69116
Sturbridge Barn | MA | 40594 | 79345.86 | -38751.86 | -48.84% | 110612.6 | -70018.6 | -63.3% | 1.Site was offline at around 6:30am and later back online at 19:15 due to planned outage 2.Site was offline from 01/12 till 01/26 due to planned outage. | 1.SR080613 2.SR080117
Sturbridge Garage | MA | 20528.25 | 36997.33 | -16469.08 | -44.51% | 55886.08 | -35357.83 | -63.27% | 1.Site has a brief outage and later auto reclosed. | 1.SR080569
Halsey Valley | NY | 147564 | 292774.6 | -145210.6 | -49.6% | 384000 | -236436 | -61.57% | 1.Inverter 11 tripped offline on an arc fault on 01/31 at EOD and back online next day. | 1.SR080631
Hunt Creek | NY | 87616.95 | 201235.3 | -113618.35 | -56.46% | 228700 | -141083.05 | -61.69% | 1. Site tripped offline at 10:05 am on 01/05 and back online at 7:00 Am on 01/06. 2. Inverter 29 started late for the production on 01/15, 01/17 and 01/20 3. Inverter was 25 tripped offline on 01/22 and back online 02/06. 4. Site has a brief outage and later self resolved on 01/29 | 1.SR079976 2.SR080227 3.SR080394 4.SR080570
Smith Creek | NY | 140087 | 237488.5 | -97401.5 | -41.01% | 400605.5 | -260518.5 | -65.03%

## Feb
Lodestar |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 5730613.6364 | 5700189.23 | 30424.4064 | 0.5337% | 4428387.15 | 1302226.4864 | 29.41%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 137901 | 155136.7 | -17235.7 | -11.11% | 118880.1 | 19020.9 | 16%
Bunce | CT | 255566.25 | 264677.8 | -9111.55 | -3.443% | 0 | 255566.25
Norcap North | CT | 258225.5 | 313527 | -55301.5 | -17.64% | 213416.4 | 44809.1 | 21%
Norcap South | CT | 270255 | 346522.8 | -76267.8 | -22.01% | 203138.3 | 67116.7 | 33.04% | 1. Inverter 48 was offline from 01/27 & back online on 02/07 after replacement of inverter. 2. Inverter 36 is offline from 08:00 to 14:45 on 02/24, offline on 02/28 & back online on 02/29. 3. Inverter 49 is offline on 02/26 & RMA'd. | 1.SR080522 2. SR081051 3.SR081326
Platt Hill | CT | 291036.5064 | 311905.1 | -20868.5936 | -6.691% | 274974.6 | 16061.9064 | 5.841%
Powder Hill | CT | 245989 | 275345.2 | -29356.2 | -10.66% | 178140 | 67849 | 38.09%
Sand Road | CT | 267257 | 262006 | 5251 | 2.004% | 179737 | 87520 | 48.69%
Suffield | CT | 246077 | 257109 | -11032 | -4.291% | 223048.4 | 23028.6 | 10.32% | 1. SEL relay tripped open due to drop in B phase Voltage. Battery mode activate from 02/15 at 13:15 and back online on 02/18 at 09:00 2. After site came back online on 02/18, Inverter 2 Combiner boxes 2.15 and 2.16 offline and back onlline at 11:30 | 1. SR081008 2. SR081084
Ashby-Duffy | MA | 261552 | 374863.5 | -113311.5 | -30.23% | 210128.9 | 51423.1 | 24.47%
Ashland | MA | 6940.5 | 20582.64 | -13642.14 | -66.28% | 227005.3 | -220064.8 | -96.94% | 1.Site was tripped offline from 12/22/2023 to 01/10/2024 and again tripped offline on the same day and still offline | 1. .SR080143
Barrington | MA | 57373.5 | 51584.33 | 5789.17 | 11.22% | 54460 | 2913.5 | 5.35%
Bedford - 205 Burlington Rd | MA | 27156 | 0 | 27156 |  | 0 | 27156
Billerica - 6 Cook Street | MA | 23191 | 0 | 23191 |  | 0 | 23191
Billerica - 780 Boston Road | MA | 25917 | 0 | 25917 |  | 0 | 25917 |  | 1. Inverter 4 offline due to isolation fault on 02/24 and back online at EOD | 1. SR081293
Cheshire | MA | 59648.75 | 63568.84 | -3920.09 | -6.167% | 34278.74 | 25370.01 | 74.01%
Lilly Lane | MA | 106235.5 | 114676.2 | -8440.7 | -7.36% | 134093 | -27857.5 | -20.77% | 1. Inverter 55 tripped offline 02/02 at 11:30 and back online on 022/03 and again offline from 02/14 and back online on 02/06 2. Utility planned outage from 02/25 to 02/28 | 1. SR080677 2. SR081010
Monument Valley | MA | 256982.68 | 60936.71 | 196045.97 | 321.7% | 0 | 256982.68
Nationwide | MA | 335697.5 | 411623.2 | -75925.7 | -18.45% | 341058.3 | -5360.8 | -1.572%
Pulpit Hill | MA | 599611.2 | 582439.6 | 17171.6 | 2.948% | 492197.3 | 107413.9 | 21.82%
Sandwich | MA | 388044 | 0 | 388044 |  | 0 | 388044 |  | 1. planned outage from 01/31 to 02/09 2. Planned outage on 2/29/24 | 2. SR081024
Sturbridge Barn | MA | 109399 | 145433.5 | -36034.5 | -24.78% | 134159 | -24760 | -18.46% | 1. planned outage from 02/25 to 02/28 | 1. SR081011
Sturbridge Garage | MA | 54338.25 | 70059.81 | -15721.56 | -22.44% | 66239.01 | -11900.76 | -17.97% | 1. planned outage from 02/25 to 02/28 | 1. SR081012
Halsey Valley | NY | 605139 | 647510 | -42371 | -6.544% | 528000 | 77139 | 14.61%
Hunt Creek | NY | 375246.5 | 461895.2 | -86648.7 | -18.76% | 340300 | 34946.5 | 10.27% | 1. Site tripped offline on 02/17/2024 at 10:45AM and later back online on 02/18/2024 at 07:45AM. 2. Inverters 2 to 6, 8, 10 to 19, 21 to 32 are tripped offline on 02/22/2024 at 12:15 and later back online on 02/22/2024 at 16:15 3. Inverters 2, 3, 5, 8, 15, 23, 27 and 28 are tripped offline 02/26/2024 at 13:30 and later back online on 02/26/2024 at 14:15 | 1. SR081075 2. SR081200 3. SR081338
Smith Creek | NY | 465834 | 508786.1 | -42952.1 | -8.442% | 475132.8 | -9298.8 | -1.957% | 1. Inverters 1, 2, 8, 9, 10, 14, 15, 22, 23, 24, 25, 27, and 30 having tripping events on 02/03/2024, 02/04/2024 and 02/05/2024. 2. Inverters 1, 4-6, 9, 11-13, 16, 17, 20, 22, 24, and 29 are offline on 02/22/2024 at 12:15 and later back online on 02/22/2024 at 16:15 | 1. SR080710 2. SR081201

## Mar
Lodestar |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 6918409.3642 | 5987399.71 | 931009.6542 | 15.55% | 5689642.25 | 1228767.1142 | 21.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT | 152494 | 154845 | -2351 | -1.518% | 164313.1 | -11819.1 | -7.193%
Bunce | CT | 248755.25 | 244214.5 | 4540.75 | 1.859% | 0 | 248755.25 |  | 1. Site tripped offline on 03/08 and back online on 03/09 and again the site is offline on 03/11 and back online on 03/12. | 1. SR081731
Norcap North | CT | 296983.5 | 312371.2 | -15387.7 | -4.926% | 306960.8 | -9977.3 | -3.25% | 1. Inverter 25 is offline on 03/06 and back online on 03/07 2. Inverter 16 is offline on 03/11 and back online on 03/21 | 1. SR081597 2. SR081757
Norcap South | CT | 302199 | 335497.1 | -33298.1 | -9.925% | 300176.1 | 2022.9 | 0.6739% | 1. Inverter 49 is offline from 03/01 to 03/21 | 1. SR082215
Platt Hill | CT | 318316.3442 | 321298.8 | -2982.4558 | -0.9282% | 353986.1 | -35669.7558 | -10.08%
Powder Hill | CT | 291430 | 294562.7 | -3132.7 | -1.064% | 233148 | 58282 | 25%
Sand Road | CT | 294103.5 | 274033.7 | 20069.8 | 7.324% | 277950 | 16153.5 | 5.812%
Suffield | CT | 312752 | 296756.8 | 15995.2 | 5.39% | 317507.7 | -4755.7 | -1.498%
Ashby-Duffy | MA | 277622 | 407337.7 | -129715.7 | -31.84% | 283256.1 | -5634.1 | -1.989% | 1. Site was offline from 10:05AM to 10:36AM on 03/19. 2. Inverter 6 tripped offline on 03/10 and back online on 03/21. | 1. SR082098 2. SR081729
Ashland | MA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was offline for whole month. | 1. SR082823
Barrington | MA | 60464.5 | 57130.36 | 3334.14 | 5.836% | 68910 | -8445.5 | -12.26%
Bedford - 205 Burlington Rd | MA | 33585 | 0 | 33585 |  | 0 | 33585
Billerica - 6 Cook Street | MA | 25398 | 0 | 25398 |  | 0 | 25398
Billerica - 780 Boston Road | MA | 31902 | 0 | 31902 |  | 0 | 31902 |  | 1. Inverter 5 was offline from 11/07 to 03/25. Inverter 3 is offline since 11/07 | 1. SR078016
Cheshire | MA | 61338.75 | 65677.32 | -4338.57 | -6.606% | 47756.72 | 13582.03 | 28.44%
Lilly Lane | MA | 149763.5 | 143508.2 | 6255.3 | 4.359% | 160456.8 | -10693.3 | -6.664%
Monument Valley | MA | 272097.32 | 58919.47 | 213177.85 | 361.8% | 0 | 272097.32
Nationwide | MA | 518663 | 446560.9 | 72102.1 | 16.15% | 457743.1 | 60919.9 | 13.31%
Pulpit Hill | MA | 668947.2 | 639454.7 | 29492.5 | 4.612% | 663928.1 | 5019.1 | 0.756% | 1. Inverter 23 tripped offline on 03/30 and inverter 25 is offline on 03/31. | 1. SR082932
Sandwich | MA | 758711 | 0 | 758711 |  | 0 | 758711
Sturbridge Barn | MA | 150108 | 150140.7 | -32.7 | -0.02178% | 173208.5 | -23100.5 | -13.34%
Sturbridge Garage | MA | 73876.5 | 72782.36 | 1094.14 | 1.503% | 79262.23 | -5385.73 | -6.795%
Halsey Valley | NY | 664052 | 687350.9 | -23298.9 | -3.39% | 697000 | -32948 | -4.727% | 1. Inverter 13 is underproducing 100kW down compared to its peers since 03/15 | 1. SR081967
Hunt Creek | NY | 464245 | 492251.1 | -28006.1 | -5.689% | 498900 | -34655 | -6.946% | 1. Inverters 5, 23, and 27 tripped offline on 03817 at 13:15 and back online at 14:45 and again all inverters except inverter 7 tripped offline at 15:45 and back online at 17:15 2. inverters 2, 3, 5, 8, 15, 23, and 27 have tripped offline on 03/02 and back online on 03/03. | 1. SR081969 2. SR081519
Smith Creek | NY | 490602 | 532706.2 | -42104.2 | -7.904% | 605178.9 | -114576.9 | -18.93% | 1. All the inverters have tripped offline on 03/17 at 15:45 and back online at 17:15 and inverters 1-6, 8,10 -13, 15- 17, 21, 23, 24,28 and 29 tripped offline on 03/24 at 11:00 and back online at 17:15 and again Inverters 1,2,8,9, 11-13,15,17,20,24,25,28,29 tripped offline on 03/30 at 8:45 and back online at 10:30 | 1. SR081977

## May
Lodestar |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Apr
Lodestar |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Jun
Lodestar |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Jul
Lodestar |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Aug
Lodestar |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Sep
Lodestar |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Oct
Lodestar |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Nov
Lodestar |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Dec
Lodestar |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barkhamsted | CT
Bunce | CT
Norcap North | CT
Norcap South | CT
Platt Hill | CT
Powder Hill | CT
Sand Road | CT
Suffield | CT
Ashby-Duffy | MA
Ashland | MA
Barrington | MA
Bedford - 205 Burlington Rd | MA
Billerica - 6 Cook Street | MA
Billerica - 780 Boston Road | MA
Cheshire | MA
Lilly Lane | MA
Monument Valley | MA
Nationwide | MA
Pulpit Hill | MA
Sandwich | MA
Sturbridge Barn | MA
Sturbridge Garage | MA
Halsey Valley | NY
Hunt Creek | NY
Smith Creek | NY

## Sites
Portfolio: | Lodestar
Site DAS Name | Site | State | Update | DAS
Barkhamsted Solar | Barkhamsted | CT | AEF | PowerTrack
Bunce Solar | Bunce | CT | AEF | PowerTrack
Norcap North | Norcap North | CT | AEF | PowerTrack
Norcap South | Norcap South | CT | AEF | PowerTrack
Platt Hill | Platt Hill | CT | AEF | PowerTrack
Powder Hill | Powder Hill | CT | AEF | PowerTrack
Sand Road Solar | Sand Road | CT | AEF | PowerTrack
Suffield Solar | Suffield | CT | AEF | PowerTrack
Ashby-Duffy | Ashby-Duffy | MA | AEF | PowerTrack
Ashland Solar | Ashland | MA | AEF | PowerTrack
Barrington Fairgrounds | Barrington | MA | AEF | PowerTrack
MA: Bedford - 205 Burlington Rd | Bedford - 205 Burlington Rd | MA |  | GPM
MA: Billerica: 6 Cook Street | Billerica - 6 Cook Street | MA |  | GPM
MA: Billerica - 780 Boston Road | Billerica - 780 Boston Road | MA |  | GPM
Cheshire Solar | Cheshire | MA | AEF | PowerTrack
Lilly Lane (N-4) | Lilly Lane | MA | AEF | PowerTrack
Monument Valley | Monument Valley | MA | AEF | PowerTrack
Nationwide | Nationwide | MA | AEF | PowerTrack
Pulpit Hill | Pulpit Hill | MA | AEF | PowerTrack
MA: Sandwich - 9 Victory Drive Solar | Sandwich | MA |  | PowerTrack
Sturbridge Barn (N-3) | Sturbridge Barn | MA | AEF | PowerTrack
Sturbridge Garage (R-2) | Sturbridge Garage | MA | AEF | PowerTrack
Halsey Valley | Halsey Valley | NY | AEF | PowerTrack
Hunt Creek Solar | Hunt Creek | NY | AEF | PowerTrack
Smith Creek Solar | Smith Creek | NY | AEF | PowerTrack