## Year to Date
MAC Phase I |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%

## 1st Qtr
MAC Phase I |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 529169 | 195387 | 333782 | 170.8% | 266160 | 263009 | 98.82%

## 2nd Qtr
MAC Phase I |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
MAC Phase I |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  |  | 0

## 4th Qtr
MAC Phase I |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MAC - Phase 1 | MN | 0 | 0 | 0 |  |  | 0

## Jan
MAC Phase I |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 91599 | 30865 | 60734 | 196.8% | 62234 | 29365 | 47.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 91599 | 30865 | 60734 | 196.8% | 62234 | 29365 | 47.18% | 1. Inverter 2.3(old 22) was offline from 01/16 2. Inverter 1.17 was offline from 01/23 and back online on 01/26 at 10:00am | 1. SR080257 2. SR080410

## Feb
MAC Phase I |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 171585 | 63395 | 108190 | 170.7% | 84292 | 87293 | 103.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 171585 | 63395 | 108190 | 170.7% | 84292 | 87293 | 103.6% | 1. Inverter 2.3(old 22) was offline for entire month | 1. SR080257

## Mar
MAC Phase I |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 265985 | 101127 | 164858 | 163% | 119634 | 146351 | 122.3%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN | 265985 | 101127 | 164858 | 163% | 119634 | 146351 | 122.3% | 1. Inverter 2.3(old 22) was offline for entire month. Inverter being RMA'd 2. Inverter 1.15 was offline from offline on 03/21 | 1. SR080257 2. SR082315

## Apr
MAC Phase I |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## May
MAC Phase I |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Jun
MAC Phase I |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Jul
MAC Phase I |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Aug
MAC Phase I |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Sep
MAC Phase I |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Oct
MAC Phase I |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Nov
MAC Phase I |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Dec
MAC Phase I |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MAC - Phase 1 | MN

## Sites
Portfolio: | MAC Phase I
Site DAS Name | Site | State | Update | DAS
MAC | MAC - Phase 1 | MN |  | PowerTrack