## Year to Date
Marana USD |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 857250 | 0 | 857250 | 0% | 0 | 857250 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Marana - Degrazia ES | AZ | 54234 | 0 | 54234 | 0% | 0 | 54234 | 0%
AZ: Marana - Gladden Farms Ph 2 | AZ | 49713 | 0 | 49713 | 0% | 0 | 49713 | 0%
AZ: Marana - Marana High School | AZ | 92114 | 0 | 92114 | 0% | 0 | 92114 | 0%
AZ: Marana - Mountain View HS Exp. | AZ | 340237 | 0 | 340237 | 0% | 0 | 340237 | 0%
AZ: Marana - Rattlesnake Ridge ES | AZ | 42567 | 0 | 42567 | 0% | 0 | 42567 | 0%
AZ: Marana - Roadrunner ES | AZ | 50827 | 0 | 50827 | 0% | 0 | 50827 | 0%
AZ: Marana - Thornydale Elementary | AZ | 36998 | 0 | 36998 | 0% | 0 | 36998 | 0%
AZ: Marana - Tortolita MS | AZ | 104614 | 0 | 104614 | 0% | 0 | 104614 | 0%
AZ: Marana - Picture Rocks Intermediat | AZ | 85946 | 0 | 85946 | 0% | 0 | 85946 | 0%

## 1st Qtr
Marana USD |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 857250 | 0 | 857250 | 0% | 0 | 857250 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Marana - Degrazia ES | AZ | 54234 | 0 | 54234 | 0% | 0 | 54234 | 0%
AZ: Marana - Gladden Farms Ph 2 | AZ | 49713 | 0 | 49713 | 0% | 0 | 49713 | 0%
AZ: Marana - Marana High School | AZ | 92114 | 0 | 92114 | 0% | 0 | 92114 | 0%
AZ: Marana - Mountain View HS Exp. | AZ | 340237 | 0 | 340237 | 0% | 0 | 340237 | 0%
AZ: Marana - Rattlesnake Ridge ES | AZ | 42567 | 0 | 42567 | 0% | 0 | 42567 | 0%
AZ: Marana - Roadrunner ES | AZ | 50827 | 0 | 50827 | 0% | 0 | 50827 | 0%
AZ: Marana - Thornydale Elementary | AZ | 36998 | 0 | 36998 | 0% | 0 | 36998 | 0%
AZ: Marana - Tortolita MS | AZ | 104614 | 0 | 104614 | 0% | 0 | 104614 | 0%
AZ: Marana - Picture Rocks Intermediat | AZ | 85946 | 0 | 85946 | 0% | 0 | 85946 | 0%

## 2nd Qtr
Marana USD |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Marana - Degrazia ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Gladden Farms Ph 2 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Marana High School | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Mountain View HS Exp. | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Rattlesnake Ridge ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Roadrunner ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Thornydale Elementary | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Tortolita MS | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Picture Rocks Intermediat | AZ | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
Marana USD |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Marana - Degrazia ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Gladden Farms Ph 2 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Marana High School | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Mountain View HS Exp. | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Rattlesnake Ridge ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Roadrunner ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Thornydale Elementary | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Tortolita MS | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Picture Rocks Intermediat | AZ | 0 | 0 | 0 |  |  | 0

## 4th Qtr
Marana USD |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Marana - Degrazia ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Gladden Farms Ph 2 | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Marana High School | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Mountain View HS Exp. | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Rattlesnake Ridge ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Roadrunner ES | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Thornydale Elementary | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Tortolita MS | AZ | 0 | 0 | 0 |  |  | 0
AZ: Marana - Picture Rocks Intermediat | AZ | 0 | 0 | 0 |  |  | 0

## Jan
Marana USD |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 240925 | 0 | 240925 | 0% | 0 | 240925 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ | 15252 | 0 | 15252 | 0% | 0 | 15252 | 0%
AZ: Marana - Gladden Farms Ph 2 | AZ | 12109 | 0 | 12109 | 0% | 0 | 12109 | 0% | 1. Inverter C2 was offline for whole month and the inverter RMA'd 2. Inverter A1 was offline for whole month | 1. SR077925 2. SR079708
AZ: Marana - Marana High School | AZ | 23382 | 0 | 23382 | 0% | 0 | 23382 | 0% | 1. Array A and C are running but not communicating, and Array B and G are offline due to Structure damage | 1. SR075233, SR075779
AZ: Marana - Mountain View HS Exp. | AZ | 100460 | 0 | 100460 | 0% | 0 | 100460 | 0%
AZ: Marana - Rattlesnake Ridge ES | AZ | 4897 | 0 | 4897 | 0% | 0 | 4897 | 0% | 1. Site was offline due to fire accident from May 2023 and back online on 01/18/2024 | 1. SR071245
AZ: Marana - Roadrunner ES | AZ | 21507 | 0 | 21507 | 0% | 0 | 21507 | 0% | 1. Inverter A2 was offline on 01/22 and 1/23 due to ground faults | 1. SR078885
AZ: Marana - Thornydale Elementary | AZ | 10517 | 0 | 10517 | 0% | 0 | 10517 | 0%
AZ: Marana - Tortolita MS | AZ | 28275 | 0 | 28275 | 0% | 0 | 28275 | 0% | 1. Inverter C2 was back online from 01/23 | 1. SRO75975
AZ: Marana - Picture Rocks Intermediat | AZ | 24526 | 0 | 24526 | 0% | 0 | 24526 | 0%

## Feb
Marana USD |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 264671 | 0 | 264671 | 0% | 0 | 264671 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ | 16822 | 0 | 16822 |  | 0 | 16822
AZ: Marana - Gladden Farms Ph 2 | AZ | 13631 | 0 | 13631 |  | 0 | 13631 |  | 1. Inverter C2 was offline for whole month 2. Inverter A1 was offline from 01/09 replaced on 02/28 | 1. SR077925 2. SR079708
AZ: Marana - Marana High School | AZ | 25498 | 0 | 25498 |  | 0 | 25498
AZ: Marana - Mountain View HS Exp. | AZ | 108379 | 0 | 108379 |  | 0 | 108379
AZ: Marana - Rattlesnake Ridge ES | AZ | 16195 | 0 | 16195 |  | 0 | 16195
AZ: Marana - Roadrunner ES | AZ | 13863 | 0 | 13863 |  | 0 | 13863
AZ: Marana - Thornydale Elementary | AZ | 9239 | 0 | 9239 |  | 0 | 9239 |  | 1.Inverter A3 tripped offline at 10:15 on 02/15 & back online at 02/20 at 15:00 | 1.SR081030
AZ: Marana - Tortolita MS | AZ | 34032 | 0 | 34032 |  | 0 | 34032
AZ: Marana - Picture Rocks Intermediat | AZ | 27012 | 0 | 27012 |  | 0 | 27012

## Mar
Marana USD |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 351654 | 0 | 351654 | 0% | 0 | 351654 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ | 22160 | 0 | 22160 |  | 0 | 22160
AZ: Marana - Gladden Farms Ph 2 | AZ | 23973 | 0 | 23973 |  | 0 | 23973 |  | 1. Inverter C2 was replaced on 03/19 | 1. SR077925
AZ: Marana - Marana High School | AZ | 43234 | 0 | 43234 |  | 0 | 43234 |  | 1. Inverter A5 replaced on 03/18 but not communicating in AP 2. Inverter C1 replaced on 03/12 but not communicating in AP 3. Inverter A2 replaced on 03/19 but not communicating in AP | 1. SR081612 2. SR081791 3. SR081996
AZ: Marana - Mountain View HS Exp. | AZ | 131398 | 0 | 131398 |  | 0 | 131398 |  | 1. Inverter A4 is tripped offline mid of the day from 03/04 almost through out the month | 1. SR082498
AZ: Marana - Rattlesnake Ridge ES | AZ | 21475 | 0 | 21475 |  | 0 | 21475
AZ: Marana - Roadrunner ES | AZ | 15457 | 0 | 15457 |  | 0 | 15457
AZ: Marana - Thornydale Elementary | AZ | 17242 | 0 | 17242 |  | 0 | 17242
AZ: Marana - Tortolita MS | AZ | 42307 | 0 | 42307 |  | 0 | 42307 |  | 1. Meter is capturing around 80% production of inverters | 1. SR082837
AZ: Marana - Picture Rocks Intermediat | AZ | 34408 | 0 | 34408 |  | 0 | 34408

## Apr
Marana USD |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## May
Marana USD |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Jun
Marana USD |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Jul
Marana USD |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Aug
Marana USD |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Sep
Marana USD |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Oct
Marana USD |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Nov
Marana USD |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Dec
Marana USD |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ

## Sites
Portfolio: | Marana USD
Site DAS Name | State | Update | DAS
AZ: Marana - Degrazia ES | AZ
AZ: Marana - Gladden Farms Ph 2 | AZ
AZ: Marana - Marana High School | AZ
AZ: Marana - Mountain View HS Exp. | AZ
AZ: Marana - Rattlesnake Ridge ES | AZ
AZ: Marana - Roadrunner ES | AZ
AZ: Marana - Thornydale Elementary | AZ
AZ: Marana - Tortolita MS | AZ
AZ: Marana - Picture Rocks Intermediat | AZ