## Production
Monthly Site Performance Summary
Account: | Ameresco
Report's period: | 03/01/2024 - 03/31/2024
Sites: | Manually selected sites
# of sites: | 11
Generated on: | 04/09/2024 02:05
Site Information | [5 empty] | Open Alerts | Current Month |  |  | Previous Month |  |  | Same month last year |  |  | Previous twelve months
# | Site Name | Country | State | City | Peak Power (kWp) | Highest Alert Impact | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue
1 | NBHA Adams st | United States | Massachusetts | New Bedford | 69.255 | 1 | 4706.6 | 68 |  | 2013.9 | 29.1 |  | 7091.5 | 102.4 |  | 71553.8 | 1033.2
2 | NBHA Ben Rose | United States | Massachusetts | New Bedford | 152.425 | 5 | 14631 | 96 |  | 9639.6 | 63.2 |  | 15378.6 | 100.9 |  | 164334.5 | 1078.1
3 | NBHA Brickenwood | United States | Massachusetts | New Bedford | 572.325 | 6 | 54147.2 | 94.6 |  | 39166.9 | 68.4 |  | 58992.4 | 103.1 |  | 663142.5 | 1158.7
4 | NBHA Chaffee Fairfield | United States | Massachusetts | New Bedford | 49.4 | 2 | 5129 | 103.8 |  | 3415.3 | 69.1 |  | 2213.1 | 44.8 |  | 54941 | 1112.2
5 | NBHA DeMedeiros | United States | Massachusetts | New Bedford | 64.35 | 2 | 4922.3 | 76.5 |  | 2958.1 | 46 |  | 6725.3 | 104.5 |  | 70145.9 | 1090.1
6 | NBHA Dottin Place 1 | United States | Massachusetts | New Bedford | 88.4 | 5 | 7961.9 | 90.1 |  | 5118.1 | 57.9 |  | 9432.5 | 106.7 |  | 100622.4 | 1138.3
7 | NBHA Hillside | United States | Massachusetts | New Bedford | 117 | 2 | 11612.9 | 99.3 |  | 7281.9 | 62.2 |  | 12549.5 | 107.3 |  | 139681.1 | 1193.9
8 | NBHA Presidential | United States | Massachusetts | New Bedford | 468.65 | 6 | 37325.4 | 79.6 |  | 28464.2 | 60.7 |  | 44616.9 | 95.2 |  | 453879.4 | 968.5
9 | NBHA Satellite | United States | Massachusetts | New Bedford | 169 | 2 | 14683.1 | 86.9 |  | 11189.5 | 66.2 |  | 15917.1 | 94.2 |  | 192835 | 1141
10 | NBHA Shawmut Village | United States | Massachusetts | New Bedford | 443.625 | 2 | 39272.6 | 88.5 |  | 26297.4 | 59.3 |  | 47999.8 | 108.2 |  | 480858.2 | 1083.9
11 | NBHA Westlawn | United States | Massachusetts | New Bedford | 267.8 | 2 | 24671.5 | 92.1 |  | 14019 | 52.3 |  | 26519.3 | 99 |  | 292482.9 | 1092.2
Total |  |  |  |  | 2462.23 |  | 219063.5 |  |  | 149563.9 |  |  | 247436 |  |  | 2684476.7

## Open Item
Owner | Asset | Site Equipment | kW Down | Date | Description | Account Manager | Status | Pending | Priority | Summary | Request | D365 Project
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 164 Van-Buren St Bldg 8 - Inverter 32 | 9 | 2024-03-30 19:01 | 3/30/24 - inverter 32 is offline, reporting AC voltage too low. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR082939 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 88 Malden - Inverter 27 | Inv comms | 2024-03-21 12:45 | 11/7 - Inverter 27 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR082331 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 872 Shawmut - Inverter 2 | 6 | 2024-03-12 12:57 | 3/12 - Inverter 2 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081809 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 872 Shawmut - Inverter 2 | 6 | 2024-03-12 12:56 | 3/12 - Inverter 2 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081808 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Ben Rose - 676 S 1St St - Inverter 15 | 6 | 2024-03-08 12:13 | 3/8 - Inverter 15 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081702 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 310 Mt-Pleasant St Bldg 2 - Inverter 1 | 14.4 | 2024-03-04 12:57 | 3/4 - Inverter 1 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081556 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 6 | 2024-03-04 12:55 | 3/4 - Inverter 46 at Brickenwood is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081555 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | DeMedeiros - 43 Whitman St West - Inverter 1 | 11.4 | 2024-03-04 12:52 | 3/4 - Inverter 1 at DeMedeiros is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081554 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 45 - Inverter 23 | 10 | 2024-02-20 14:04 | 2/20/24 - Inverter 23 stopped communicating; cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081129 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Ben Rose - 26 Delano St - Inverter 16 | 11.4 | 2023-12-18 16:44 | 12/18 - Inverter 16 tripped offline on a DC isolation fault. | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR079489 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 29 Mohawk CT - Inverter 6 | 6 | 2023-12-04 13:14 | 12/4 - Inverter 6 has been tripping offline on isolation faults due to wet weather. See prior history on SR073371 and SR068558. | Diana Balayan | Pending | Pending Reoccurring Events | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | SR078791 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 111 Mashpee CT - Inverter 49 | 6 | 2023-10-17 03:39 | 10/17/23 - Inverter 49 is not communicating from 07/09, possibly offline | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077517 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 104 Aries Dr - Inverter 13 | comms ? | 2023-10-16 09:41 | 10/16/23 - While examining the quarterly production log it appears that inverter 13 at Satellite is not communicating (production can't be confirmed). | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077488 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 90 Libra Dr - Inverter 11 | 6 | 2023-10-05 14:16 | 10/5/23 - Inverter 11 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR077287 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Adams St - 14 Adams St - Inverter 4 | <12 | 2023-08-31 14:53 | 10/16/23 - Inverter is still offline. 08/31/23 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075642 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | DeMedeiros - 43 Whitman St West - Inverter 1 | 11.4 | 2023-08-19 16:45 | 10/16/23 - The inverter is still offline. 08/19/2023 - Inverter 1 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075268 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 21 Malden - Inverter 18 | comms | 2023-08-17 14:35 | 10/17/23 - Inverter 18 again lost communication at 12:34 from 10/14 08/17/23 - Inverter 18 stopped communicating. | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075214 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Inv 24 Solect36K(89%) | 7.6 ? | 2023-08-10 12:06 | 10/17/23 - Inverter 10 still not communicating or possibly offline from 08/10 8/10/23 - Inverter 10 stopped communicating overnight, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074960 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 121 Mashpee CT - Inverter 25 | 7.6 | 2023-08-09 12:46 | 10/17/2023 - Inverter is still not reporting, possibly offline 8/9 - Inverter 25 stopped communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074887 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 27 Mohawk CT - Inverter 7 | 6 | 2023-07-16 05:59 | 10/17/2023 - Inverter is still not communicating, possibly offline 07/16/2023 - Inverter 7 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR073886 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 45 Cherokee CT - Inverter 37 | 6 | 2023-07-13 12:37 | 10/17/2023 - Inverter is still not communicating from 07/10, possibly offline 7/13 - Inverter 37 stopped communicating, possibly offline. S/N: 73086310-EE | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR073825 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 190 Harvard - Inverter 35 | 10 | 2023-07-11 13:59 | 10/17/23 - Inverter 35 is still offline 07/11/23 - Inverter 35 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073743 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Dottin Place 1 - Amanda Ave Bldg 5 (61) - Inverter 4 | 6 | 2023-07-07 04:52 | 07/07/2023 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073621 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 87 Libra Dr - Inverter 10 | 6 ? | 2023-06-15 12:50 | 10/16/23 - Inverter 10 is not communicating and production can't be confirmed. 06/15/23 - Inverter 10 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072700 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 83 Pawnee CT - Inverter 26 | 5 | 2023-06-02 14:01 | 10/17/2023 - Inverter is still not communicating, possibly offline 06/01/23 - Inverter 26 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072182 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 7.6 | 2023-05-22 14:23 | 05/22/23 - Inverter 46 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071782 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 174 Harvard - Inverter 52 | comms | 2023-05-18 14:06 | 10/17/23 - Inverter 52 is having frequent communication losses. Inverter is currently online. 04/18/23 - Inverter 52 is stopped communication at 09:09. | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR071691 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 63 Apache CT - Inverter 42 | 5 | 2023-05-09 14:11 | 10/17/2023 - Inverter is still not communicating from 05/07, possibly offline 5/9 - Inverter 42 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071467 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 25 - Inverter 8 | 7.6 | 2023-04-30 06:07 | 10/16/23 - Inverter has a history of tripping offline and self-resolves. 04/30/23 - Inverter has not started for the production on 04/29 | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071189 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 67 Apache CT - Inverter 48 | 7.6 | 2023-04-21 12:34 | 10/17/2023 - Inverter is still not communicating from 04/11, possibly offline 4/21 - Inverter 48 stopped communicating. | Diana Balayan | Pending |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR070992 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 119 Fillmore St Bldg 9 - Inverter 21 | 9 ? | 2023-01-03 12:33 | 10/17/2023 - Issue still exists 4/3/23 - Issue still exists. 1/3/23 - Inverter 21 lost communications on 8/23/22. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR068143 | 1006999