## Year to Date
RINGS END |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 47309.03 | 0 | 47309.03 | 0% | 39533.952 | 7775.078 | 19.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 16857.69 | 0 | 16857.69 |  | 25911.952 | -9054.262 | -34.94%
Milford - Rings End | CT | 16892.285 | 0 | 16892.285 |  | 13622 | 3270.285 | 24.01%
New Milford - Rings End | CT | 13559.055 | 0 | 13559.055 |  | 0 | 13559.055

## 1st Qtr
RINGS END |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 47309.03 | 0 | 47309.03 | 0% | 39533.952 | 7775.078 | 19.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 16857.69 | 0 | 16857.69 |  | 25911.952 | -9054.262 | -34.94%
Milford - Rings End | CT | 16892.285 | 0 | 16892.285 |  | 13622 | 3270.285 | 24.01%
New Milford - Rings End | CT | 13559.055 | 0 | 13559.055 |  | 0 | 13559.055

## 2nd Qtr
RINGS END |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 0 | 0 | 0 |  |  | 0
Milford - Rings End | CT | 0 | 0 | 0 |  |  | 0
New Milford - Rings End | CT | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
RINGS END |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 0 | 0 | 0 |  |  | 0
Milford - Rings End | CT | 0 | 0 | 0 |  |  | 0
New Milford - Rings End | CT | 0 | 0 | 0 |  |  | 0

## 4th Qtr
RINGS END |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Branford - Rings End | CT | 0 | 0 | 0 |  |  | 0
Milford - Rings End | CT | 0 | 0 | 0 |  |  | 0
New Milford - Rings End | CT | 0 | 0 | 0 |  |  | 0

## Jan
RINGS END |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 7806.03 | 0 | 7806.03 | 0% | 9581.952 | -1775.922 | -18.53%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT | 3149.69 | 0 | 3149.69 |  | 6283.952 | -3134.262 | -49.88% | 1. Inverter 1 was offline from 09/13/2023 | 1. SR076020
Milford - Rings End | CT | 2701.285 | 0 | 2701.285 |  | 3298 | -596.715 | -18.09%
New Milford - Rings End | CT | 1955.055 | 0 | 1955.055 |  | 0 | 1955.055

## Feb
RINGS END |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 13636 | 0 | 13636 | 0% | 12156 | 1480 | 12.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT | 5190 | 0 | 5190 |  | 7951 | -2761 | -34.73% | 1. Inverter 1 is offline from 09/13/2023 | 1. SR076020, SR074671
Milford - Rings End | CT | 4570 | 0 | 4570 |  | 4205 | 365 | 8.68%
New Milford - Rings End | CT | 3876 | 0 | 3876 |  | 0 | 3876

## Mar
RINGS END |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 25867 | 0 | 25867 | 0% | 17796 | 8071 | 45.35%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT | 8518 | 0 | 8518 |  | 11677 | -3159 | -27.05% | 1. Inverter 1 is offline from 09/13/2023 | 1. SR076020
Milford - Rings End | CT | 9621 | 0 | 9621 |  | 6119 | 3502 | 57.23% | 1. Inverter 1 tripped offline on 03/09 and back online on 03/12 | 1. SR081724
New Milford - Rings End | CT | 7728 | 0 | 7728 |  | 0 | 7728

## May
RINGS END |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Apr
RINGS END |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Jun
RINGS END |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Jul
RINGS END |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Aug
RINGS END |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Sep
RINGS END |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Oct
RINGS END |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Nov
RINGS END |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Dec
RINGS END |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Branford - Rings End | CT
Milford - Rings End | CT
New Milford - Rings End | CT

## Sites
Portfolio: | RINGS END
Site DAS Name | Site | State | Update | DAS
Ring's End - Branford Store | Branford - Rings End | CT | AF | PowerTrack
Ring's End - Milford | Milford - Rings End | CT | AF | PowerTrack
Ring's End - New Milford | New Milford - Rings End | CT | A | PowerTrack