## Year to Date
ALIGNED |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 147069.43 | 156494.349 | -9424.919 | -6.023% | 84521.241 | 62548.189 | 74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 72084.19 | 76368.481 | -4284.291 | -5.61% | 0 | 72084.19
Westbrook - Lee Building 82 | CT | 74985.24 | 80125.868 | -5140.628 | -6.416% | 84521.241 | -9536.001 | -11.28%

## 1st Qtr
ALIGNED |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 147069.43 | 156494.349 | -9424.919 | -6.023% | 84521.241 | 62548.189 | 74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 72084.19 | 76368.481 | -4284.291 | -5.61% | 0 | 72084.19
Westbrook - Lee Building 82 | CT | 74985.24 | 80125.868 | -5140.628 | -6.416% | 84521.241 | -9536.001 | -11.28%

## 2nd Qtr
ALIGNED |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 0 | 0 | 0 |  |  | 0
Westbrook - Lee Building 82 | CT | 0 | 0 | 0 |  |  | 0

## 3rd Qtr
ALIGNED |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 0 | 0 | 0 |  |  | 0
Westbrook - Lee Building 82 | CT | 0 | 0 | 0 |  |  | 0

## 4th Qtr
ALIGNED |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 0 | 0 | 0 |  |  | 0
Westbrook - Lee Building 82 | CT | 0 | 0 | 0 |  |  | 0

## Jan
ALIGNED |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 23279.28 | 31853.409 | -8574.129 | -26.92% | 23363.283 | -84.003 | -0.3596%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 11433.8 | 15679.7 | -4245.9 | -0.27079 | 0 | 11433.8
Westbrook - Lee Building 82 | CT | 11845.48 | 16173.709 | -4328.229 | -0.26761 | 23363.283 | -11517.803 | -49.3%

## Feb
ALIGNED |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 52653.18 | 57932.348 | -5279.168 | -9.113% | 27025.858 | 25627.322 | 94.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 26066.52 | 28274.989 | -2208.469 | -0.078107 | 0 | 26066.52
Westbrook - Lee Building 82 | CT | 26586.66 | 29657.359 | -3070.699 | -0.10354 | 27025.858 | -439.198 | -1.625% | 1. Inverter 9 tripped offline at 09:00am on 02/18 and back online on 02/20 at 9:30am. | 1. SR081093

## Mar
ALIGNED |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 71136.97 | 66708.592 | 4428.378 | 6.638% | 34132.1 | 37004.87 | 108.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 34583.87 | 32413.792 | 2170.078 | 0.066949 | 0 | 34583.87
Westbrook - Lee Building 82 | CT | 36553.1 | 34294.8 | 2258.3 | 0.06585 | 34132.1 | 2421 | 7.093%

## Apr
ALIGNED |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## May
ALIGNED |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Jun
ALIGNED |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Jul
ALIGNED |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Aug
ALIGNED |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Sep
ALIGNED |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Oct
ALIGNED |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Nov
ALIGNED |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Dec
ALIGNED |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Sites
Portfolio: | ALIGNED
Site DAS Name | Site | State | Update | DAS
Lee Company - B9 | Westbrook - Lee Building 9 | CT | AEF | PowerTrack
The Lee Company B82 | Westbrook - Lee Building 82 | CT | AEF | PowerTrack