## sites
Monthly Site Performance Summary
Account: | Ameresco
Report's period: | 05/01/2024 - 05/31/2024
Sites: | Manually selected sites
# of sites: | 11
Generated on: | 06/05/2024 04:59
Site Information | [6 empty] | Open Alerts | Current Month |  |  | Previous Month |  |  | Same month last year |  |  | Previous twelve months
# | Site Name | Country | State | City | Installation Date | Peak Power (kWp) | Highest Alert Impact | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue | kWh | kWh/kWp | Revenue
1 | NBHA Adams st | United States | Massachusetts | New Bedford | 12/01/2020 | 69.255 | 2 | 6291.2 | 90.8 |  | 5418.3 | 78.2 |  | 12060.7 | 174.1 |  | 66366.2 | 958.3
2 | NBHA Ben Rose | United States | Massachusetts | New Bedford | 03/03/2022 | 152.425 | 0 | 18965.4 | 124.4 |  | 15742.3 | 103.3 |  | 25147.2 | 165 |  | 161404.7 | 1058.9
3 | NBHA Brickenwood | United States | Massachusetts | New Bedford | 03/01/2022 | 572.325 | 1 | 68522.9 | 119.7 |  | 60102.5 | 105 |  | 94416.3 | 165 |  | 651958.3 | 1139.1
4 | NBHA Chaffee Fairfield | United States | Massachusetts | New Bedford | 07/29/2020 | 49.4 | 0 | 6383.7 | 129.2 |  | 5734.4 | 116.1 |  | 8440 | 170.9 |  | 59069.3 | 1195.7
5 | NBHA DeMedeiros | United States | Massachusetts | New Bedford | 01/10/2022 | 64.35 | 6 | 5838.5 | 90.7 |  | 5548.6 | 86.2 |  | 11285 | 175.4 |  | 66243.3 | 1029.4
6 | NBHA Dottin Place 1 | United States | Massachusetts | New Bedford | 07/29/2020 | 88.4 | 0 | 10456.8 | 118.3 |  | 9177.8 | 103.8 |  | 15396 | 174.2 |  | 97834.4 | 1106.7
7 | NBHA Hillside | United States | Massachusetts | New Bedford | 06/28/2021 | 117 | 0 | 14795.1 | 126.5 |  | 13057.2 | 111.6 |  | 19664.4 | 168.1 |  | 138075.5 | 1180.1
8 | NBHA Presidential | United States | Massachusetts | New Bedford | 09/12/2021 | 468.65 | 2 | 47465.4 | 101.3 |  | 40129 | 85.6 |  | 65873 | 140.6 |  | 438329.7 | 935.3
9 | NBHA Satellite | United States | Massachusetts | New Bedford | 11/18/2021 | 169 | 1 | 16666.3 | 98.6 |  | 15831.6 | 93.7 |  | 28886.8 | 170.9 |  | 189301.4 | 1120.1
10 | NBHA Shawmut Village | United States | Massachusetts | New Bedford | 10/21/2020 | 443.625 | 2 | 44779.7 | 100.9 |  | 41489.2 | 93.5 |  | 69808.8 | 157.4 |  | 462127.5 | 1041.7
11 | NBHA Westlawn | United States | Massachusetts | New Bedford | 03/03/2022 | 267.8 | 1 | 29040.4 | 108.4 |  | 27096.5 | 101.2 |  | 43023.6 | 160.7 |  | 288121.1 | 1075.9
Total | [5 empty] | 2462.23 |  | 269205.4 |  |  | 239327.4 |  |  | 394001.8 |  |  | 2618831.4

## Open Items
Owner | Asset | Site Equipment | kW Down | Date | Description | Account Manager | Status | Pending | Priority | Summary | Request | D365 Project
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 58 Yale - Inverter 49 | 5 | 2024-06-03 12:37 | 6/3/24 - inverter 49 stopped communicating on 5/25/24; possibly offline. | Diana Balayan | New |  | PV Monitoring - Minor | Ameresco UM - Inverter Troubleshooting | SR085484 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | DeMedeiros - 43 Whitman St West - Inverter 2 | Inv comms. | 2024-05-31 14:14 | 5/31/24 - inverter 2 stopped communicating on 5/22/24; possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR085374 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | Inv comms | 2024-05-17 13:29 | 5/17/24 - Shawmut inverter 52 have stopped communicating; possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084811 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | Inv comms. | 2024-05-17 12:41 | 5/17/24 - Presidential inverters 18, 27 have stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR084807 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | Inv comms | 2024-05-11 13:39 | 6/3/24 - invs 15 and 16 regained comms, invs 4 and 6 still have no comms. 5/11 - Westlawn inverters 4, 6, 15, 16 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR084580 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 59 Apache CT - Inverter 32 | Inv comms | 2024-05-11 13:37 | 5/10 - Inverter 32 lost comms again. Inverter has a history of comms losses - see SR071733 for prior history. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR084579 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 102 Navaho CT - Inverter 53 | Inv comms. | 2024-04-19 12:53 | 4/18 - Shawmut Inverter 53 is not communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083628 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 105 Navaho CT - Inverter 46 | Inv comms | 2024-04-19 12:51 | 4/19 - Inverter 46 is not communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083627 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 107 Navaho CT - Inverter 18 | 6 | 2024-04-11 12:17 | 4/11/24 - inverter 18 offline tripped offline on 4/8 at 1 pm; reporting internal error code 181. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083331 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 25 - Inverter 8 |  | 2024-04-10 12:46 | 4/10 - Inverter 8 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR083302 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 310 Mt-Pleasant St Bldg 2 - Inverter 1 | 14.4 | 2024-03-04 12:57 | 3/4 - Inverter 1 is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081556 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 76 | 2024-03-04 12:55 | 3/4 - Inverter 46 at Brickenwood is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081555 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | DeMedeiros - 43 Whitman St West - Inverter 1 | 14 | 2024-03-04 12:52 | 3/4 - Inverter 1 at DeMedeiros is offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR081554 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 45 - Inverter 23 | Inv comms. | 2024-02-20 14:04 | 2/20/24 - Inverter 23 stopped communicating; cannot confirm production. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure / Production Not Confirmed | SR081129 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 111 Mashpee CT - Inverter 49 | 6 | 2023-10-17 03:39 | 10/17/23 - Inverter 49 is not communicating from 07/09, possibly offline | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077517 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 104 Aries Dr - Inverter 13 | Inv comms. | 2023-10-16 09:41 | 10/16/23 - While examining the quarterly production log it appears that inverter 13 at Satellite is not communicating (production can't be confirmed). | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR077488 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 90 Libra Dr - Inverter 11 | 6 | 2023-10-05 14:16 | 10/5/23 - Inverter 11 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR077287 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Adams St - 14 Adams St - Inverter 4 | 12 | 2023-08-31 14:53 | 10/16/23 - Inverter is still offline. 08/31/23 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075642 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | DeMedeiros - 43 Whitman St West - Inverter 1 | 14 | 2023-08-19 16:45 | 10/16/23 - The inverter is still offline. 08/19/2023 - Inverter 1 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR075268 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring |  | 7.6 | 2023-08-10 12:06 | 10/17/23 - Brickenwood inverter 10 still not communicating or possibly offline from 08/10 8/10/23 - Brickenwood inverter 10 stopped communicating overnight, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074960 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 121 Mashpee CT - Inverter 25 | 7.6 | 2023-08-09 12:46 | 10/17/2023 - Inverter is still not reporting, possibly offline 8/9 - Inverter 25 stopped communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR074887 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 45 Cherokee CT - Inverter 37 | 6 | 2023-07-13 12:37 | 10/17/2023 - Inverter is still not communicating from 07/10, possibly offline 7/13 - Inverter 37 stopped communicating, possibly offline. S/N: 73086310-EE | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR073825 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 190 Harvard - Inverter 35 | 10 | 2023-07-11 13:59 | 10/17/23 - Inverter 35 is still offline 07/11/23 - Inverter 35 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073743 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Dottin Place 1 - Amanda Ave Bldg 5 (61) - Inverter 4 | 6 | 2023-07-07 04:52 | 07/07/2023 - Inverter 4 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR073621 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 77 Saturn Dr - Inverter 7 | Inv comms | 2023-06-20 14:57 | 06/20/ - Inverter 7 stopped communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072800
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Satellite - 87 Libra Dr - Inverter 10 | 6 | 2023-06-15 12:50 | 10/16/23 - Inverter 10 is not communicating and production can't be confirmed. 06/15/23 - Inverter 10 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072700 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 83 Pawnee CT - Inverter 26 | 5 | 2023-06-02 14:01 | 10/17/2023 - Inverter is still not communicating, possibly offline 06/01/23 - Inverter 26 is not communicating. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Communications Failure | SR072182 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Brickenwood - 240 Harvard - Inverter 46 | 7.6 | 2023-05-22 14:23 | 05/22/23 - Inverter 46 tripped offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071782 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 63 Apache CT - Inverter 42 | Inv comms. | 2023-05-09 14:11 | 10/17/2023 - Inverter is still not communicating from 05/07, possibly offline 5/9 - Inverter 42 stopped communicating, possibly offline. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071467 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Westlawn - 197 Liberty St Bldg 25 - Inverter 8 | 7.6 | 2023-04-30 06:07 | 10/16/23 - Inverter has a history of tripping offline and self-resolves. 04/30/23 - Inverter has not started for the production on 04/29 | Diana Balayan | Pending | Pending Reoccurring Events | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR071189 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Shawmut Village - 67 Apache CT - Inverter 48 | 7.6 | 2023-04-21 12:34 | 10/17/2023 - Inverter is still not communicating from 04/11, possibly offline 4/21 - Inverter 48 stopped communicating. | Diana Balayan | Pending |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR070992 | 1006999
New Bedford Housing Authority | MA: New Bedford – HA Monitoring | Presidential - 119 Fillmore St Bldg 9 - Inverter 21 | Inv comms. | 2023-01-03 12:33 | 10/17/2023 - Issue still exists 4/3/23 - Issue still exists. 1/3/23 - Inverter 21 lost communications on 8/23/22. | Diana Balayan | New |  | PV-Monitoring-ROC | Ameresco UM - Inverter Troubleshooting | SR068143 | 1006999
Total